| Sr. No. | Tender Description | Bidder Query | Reply |
| --- | --- | --- | --- |
|  | SBD Part-2, TS | TS of 400 kVA Distribution Transformer not received. Please provide the same. | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of 630 kVA Distribution Transformer not received. Please provide the same. | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of 1000 kVA Distribution Transformer not received. Please provide the same. | Refer SBD Part-2, Technical Specifications (3 Phase Distribution Transformers 11 or 33 kV/433-250V (Outdoor Type) & Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of LT Distribution Box of 400 kVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of LT Distribution Box of 630 kVA not received. Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of LT Distribution Box of 1000 kVA not received, Please provide the same. | For general construction, refer SBD Part-2, Technical Specifications for 63,100, 200 & 315 kVA LT Distribution Box. For no of outgoing circuits & Incomer/Outgoing details, refer Section projects Clause 2.4.2. |
|  | SBD Part-2, TS | TS of Shackle Insulator & Fitting not received. Please provide the same. | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | SBD Part-2, TS | TS of 11kV HG Fuse not received. Please provide the same. | Refer Section projects Clause 3.3, General Technical Requirements which states “In case specification of any equipment /material is not included in this volume, the same shall be supplied as per relevant standards. Latest REC specification & Construction Standards may also be referred to”. |
|  | General | Please clarify whether BOCW is applicable for service contract or total contract price. | Bidder have to comply with all the statutory requirements. |