| Sr. No. | Ref. Clause No. | Existing RFP Clause/Provision | Bidder's Query/Comment | Reply from POWERGRID |
| --- | --- | --- | --- | --- |
| 1 | Technical Specification, Section–Project, Rev.00 Reactor Package- 4RT-03-BULK for procurement of 420KV Reactors under " Bulk Procurement of 765kV & 400kV Class Transformers & Reactors of various capacities" | SCOPE The scope of this specification shall cover following: 2.1 The broad scope of this Reactor Package 4RT-03 shall cover following: i) 2 nos. 125 MVAR ,420 kV, 3-Phase Reactor ii) 2 nos. 80 MVAR ,420 kV, 3-Phase Reactor iii) 1 no. 63 MVAR ,420 kV, 3-Phase Reactor iv) Insulating oil for Reactors : as per BPS. v) 145kV NGR (Oil filled), along with support structure & terminal connectors, for each Reactor Unit: : as per BPS | With reference to the requirement of 145kV NGR (Oil filled) the Customer may kindly note that Oil filled NGR is plinth mounted, Therefore no support structure shall be applicable. Kindly review and accept. | Plinth mounted NGR (Oil filled) including Foundation Bolt is also acceptable. |