## Package I II & III
Clarification No-I (Commercial) dated 08/12/2023 to the bidding documents of:
Package-I: Ground Improvement using Vibro Stone Column at KPS-2 Substation associated with Establishment of Khavda Pooling Station-2 (KPS-2) in Khavda RE Park; Spec. No.: CC/T/W-CIVIL/DOM/A00/23/11747, Package-II: Ground Improvement using Vibro Stone Column at KPS-3 Substation associated with Establishment of Khavda Pooling Station-3 (KPS-3) in Khavda RE Park; Spec. No.: CC/T/W-CIVIL/DOM/A00/23/11748, and Package-III: Ground Improvement using Vibro Stone Column for Transmission line corridor between KPS-2 and KPS- 3 associated with Establishment of Khavda Pooling Station-3 (KPS-3) in Khavda RE Park; Spec. No.: CC/T/W-CIVIL/DOM/A00/23/11749.
S. No | Clause as per bidder's query | Package | Clause | Bidder's Queries | Clarification
1 | Attachment-18, Clasue 9.3 (s) of ITB Page No. 20 | Package 1,2 &3 | The Bidder shall complete the accompanying Safety Pact, which shall be applicable for bidding as well as contract execution, duly signed on each page by the person signing the bid and shall be submitted by the Bidder in two (2) originals along with the Techno - Commercial Part in a separate envelope, duly superscripted with ‘Safety Pact’. The Bidder shall submit the Safety Pact on a non judicial stamp paper of Rs. 100/-. | Please provide the format of safety pact. | For format of Safert Pact, Bidders are requested to refer Attachment-18 available in First_Envelope_and_Bid_Forms excle sheet
2 | Attachment 8 | Package 1,2 &3 | Manufacturerer's Authorization Form | Please confirm this form is applicable for Contractor as this form is not relevant for the current scope of work. | Attachment 8 i.e. Manufacturer's Authorization Form is not applicable under subject package.
3 | Attachment 23 | Package 1,2 &3 | Compliance of DMI & SP Policy | Please confirm this form is applicable for Contractor as this form is not relevant for the current scope of work. | Bidders are to submit Attachment-23 (Undertaking by the bidder regarding Compliance of DMI&SP policy) along with the bid in order to comply the requirement of provsion of clause GCC 41 of the bidding documnet. Further in line with Cl. GCC 41, in case iron and steel products (whose HS codes are falling in Appendix-A of the DMI&SP policy as revised from time to time) are included in the BoQ/ scope of the package, the Contractor shall be required to provide the requisite Certificate(s)/ Affidavit(s) in line with aforesaid policy during execution stage.
4 | Attachment 5A | Package 1,2 &3 | Services proposed ro be sourced from Micro and small enterprises | Please confirm this form is applicable for Contractor as this form is not relevant for the current scope of work. | In Attachment-5A (Items, Components, Raw Material, Services proposed to be sourced from Micro and Small Enterprises) bidder shall furnish the details of the items, components, raw material, services which they propose to buy/avail from Micro and Small Enterprises for the purpose of completion of works. Bidder may provide the details of such MSE, if the same is available at the time of bid submission with them, in this Attachment 5A.
5 | Attachment 7. Clause 9.2 of ITB | Package 1,2 &3 | Bidders shall note that, if permitted according to the BDS, they are entitled to submit an alternative bid within the scope specified in the Technical Specification. In such cases, bidders shall submit full details and justifications, etc., in Attachment 7 to the bid as indicated in ITB Sub-Clause 9.3 (h) below | Please confirm this form is applicaple or not | Bidders are requested to refer ITB Clause 9.2 in BDS which states that Alternative bids shall not be permitted.
6 | Attachment 4. Clause 9.2 (d) of ITB | Package 1,2 &3 | Eligibility and Conformity of the facilities | Please confirm this form is applicable for Contractor as this form is not relevant for the current scope of work. | In Attachment 4 (Eligibility and Conformity of the Facilities) bidders are required to provide details/documentary evidence established in accordance with ITB Clause 3 (Eligible Plant, Equipment, and Services) that the facilities offered by the Bidder in its bid are eligible and conforming to the Bidding Documents.
7 | Attachment 26 & Attachment 27 | Package 1,2 &3 | Attachment 26: Declaration by the Bidder regarding events encountered pursuant to ITB Clause 2.1 Attachment 27: Certification by the Bidder as per DoE Order in line with ITB Clause 2.1 | As per clause 2.1 of ITB in Bid Data Sheet, The Bidder shall in its bid submit a certificate in compliance to DoE order as per the given format. We request the competent authority to please provide the said format. | For format of events encountered pursuant to ITB Clause 2.1, Bidders are requested to refer Attachment-26 available in Volume-III of the Bidding Documents. For format of compliance to DoE Order in line with ITB Clause 2.1, Bidders are requested to refer Attachment-27 available in Volume-III of the Bidding Documents.
8 | Attachment 5 (Subcontractors Proposed by the Bidder) Clause 9.2 (e) of ITB | Package 1,2 &3 | The Bidder shall include in its bid details of all major items of supply or services i.e. items, whose price is more than 10% of the Bid Price, that it proposes to purchase or sublet, and shall give details of the name and nationality of the proposed Subcontractor, including vendors, for each of those items. Bidders are free to list more than one Subcontractor against each item of the facilities | As per the technical specification and Price schedule, Contractor need to procure only stone aggregates, sand and fuel as majour procured items. Remaining scope will be service which will be using inhouse and few local rented equipments. As these supply items are from local query and fueld station and equipment services are locally procured based on requirement and instant availability, it will be difficult to declare the name of the proposed Subcontractor and vendors. | In Attachment 5 (Subcontractors Proposed by the Bidder)bidder are inter-alia required to provide the details of all major items of supply or services i.e. items, whose price is more than 10% of the Bid Price, that they proposes to purchase or sublet, and shall give details of the name and nationality of the proposed Subcontractor, including vendors, for each of those items. Bidder may provide the details of such sub-contractor, if the same is available at the time of bid submission with them, in this Attachment 5.
9 | Clause 23.2.1 & 23.2.1.1 of BDS | Package 1,2 &3 | The determination shall also take into account the assessment of Bid Capacity of a bidder before considering them for award of contract(s). Such Bid Capacity for regulating award of contract(s) on a bidder during any Financial Year (i.e. April to March) shall be subject to the condition that aggregate of the annualized requirement specified at para A, B, & C below, which corresponds to various packages to be considered for award [shall mean the package(s) for which award has been placed on that Bidder/ Bidder is under the zone of consideration for award of the package(s)] during such Financial Year (i.e. April to March), shall not exceed 1.5 (one and half) times the Average Annual Turnover (AAT) of the Bidder worked out in the manner as specified in Qualification Requirement for the Bidder (Annexure-A(BDS), Section-III, Volume-I of Bidding Documents): A. For packages under TBCB: 40% of Minimum Average Annual Turnover (MAAT) requirement specified in Qualification Requirement (Annexure-A(BDS), Section-III, Volume-I of Bidding Documents) shall be considered for analyzing the available Bid Capacity till POWERGRID emerges as the successful bidder of the TBCB project. Thereafter, 100% of such value worked out based on the Award value of the package shall be considered for analyzing the available Bid Capacity. | Please clarify the given clause during pre bid meeting. | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote accordingly.
10 | Sl. No. 5 & Clause 3.2 of Bid Data Sheet | Package 1,2 &3 | All plant and equipment to be supplied and works carried out under the contract shall have their origin in any country barring those countries against whom sanction for conducting business is imposed by Government of India and barring those firms with whom business is banned by the Employer. | The scope of works does not include supply of any equipments. Do we need to provide the details of equipments used for services( installation of stone column). We also, request the competent authority to provide the list of countries & firms with which Government of India & PGCIL barring for doing business in India. | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote accordingly. List of Firms with whom Business has been Banned/Black-listed by POWERGRID is available on POWERGRID website i.e. powergrid.in.
11 | Sl. No. 6 Page 7 of Bid Data Sheet (BDS) | Package 1,2 &3 | 5.9 Appendix-9: Contract Co-ordination Procedure 5.10 Appendix-10: Break-up of Contract Price for On-Account Payment Purpose. 5.11 Integrity Pact 5.12 Safety Pact | Clause 5.9 & 5.10, Integrity pact & Safety pact is missing from Section VI-Sample Forms and Procedures (FP) document. Please provide | For format of Safert Pact, Bidders are requested to refer Attachment-18, and For format of Integrity Pact, Bidders are requested to refer Attachment-14 available in First_Envelope_and_Bid_Forms excle sheet
12 | Attachment 4, 4A & 5 | Package 1,2 &3 | Attachment 4 (Eligibility and Conformity of the Facilities), 4A (List of Special Maintenance Tools & Tackles) & 5 (Subcontractors Proposed by the Bidder) | Please confirm this form is applicaple or not | Please refer reply at Sl. No. 6 & 8 above.
13 | Clause 41 of GCC | Package 1,2 &3 | Contractor's Liability & Insurance | Is Contractor's All Risk (CAR) Policy to be considered? If yes, then please provide the details of policy Coverage to be considered for each package. | Bidders are requested to refer GCC Clause 41 (Contractor’s Liability and Insurance) which is amply clear in this regard. Bidders to quote accordingly.
14 | Form 22 of Section VI: Forms & Procedure | Package 1,2 &3 | INFORMATION TO BE FURNISHED BY THE CONTRACTOR IN RESPECT OF THE PROCUREMENT MADE FROM MSE VENDORS | Please confirm whether its applicable for purchasing Stone Aggregate, which is the stand alone major procurement item in this contract. | This form is applicable for furninshing the details of MSE, if any, during the execution of the contract.
15 | Appendix-5: Section VI: Forms & Procedure | Package 1,2 &3 | List of Approved Subcontractors | Please provide the same. | The said Appendix -5 is indicative format to be used at the time of issuance of contract for providing the detail of Sub-Contractors proposed, if any, by bidder in its bid. Further, Bidders are required to refer Cl. GCC 44.0 (SUB-LETTING OF WORK) which is amply clear in this regard.
16 | Sl. No.15 of SCC & GCC 8.4 | Package 1,2 &3 | List of scheduled commercial private bank |  | Refer Amendment No-I
17 | Attachment-21 & Attachment-22 |  | Affidavit of Self certification regarding Minimum Local Content in line with PPP-MII Order and MoP order (Certificate from statutory auditor or cost auditor of the company (in the case of companies) or from a practicing cost accountant or practicing chartered accountant (in respect of suppliers other than companies) giving the percentage of Local Content) | As per the technical specification and Price schedule, Contractor need to procure only stone aggregates, sand and fuel as majour procured items. Remaining scope will be service which will be using inhouse and rented equipments. Please confirm is this Local Content is applicable for the above items. | Applicable. In order to comply the Public Procurement (Preference to Make in India) Order, 2017 issued by Department for promotion of Industry and Internal Trade (DPIIT), Ministry of Commerce and Industry, Government of India vide order dated 15/06/2017, its revision dated 16/09/2020 (PPP-MII Order) read in conjunction with ‘Public Procurement (Preference to Make in India) to provide for Purchase Preference (linked with local content) in respect of Power Sector’ order dated 16/11/2021 issued by Ministry of Power (MoP Order) and subsequent modifications/amendments, if any, Bidder are required to furnish Attachment-21 & Attachment-22 in line with the provision of the bidding documents.
18 | Clause 22.3 of GCC | Package 1,2 &3 | Labour cess/ BOCW Cess | We understand that , for given scope of work 1% of CV BOCW/Labour cess shall be deducted by employer same has to be budgeted by bidder in his price bid. Please confirm | Bidders are requested to refer GCC Clause 22.9(o) which is amply clear in this regard.
19 | clause 1.1) A) Appendix 1 of Section VI in page no 14 & 15 of Sample Forms and Procedures (Forms) SCC SI. No. 8, 9 in page no 5 and 6 of Section V GCC clause 55 in page no 81 of Section IV. | Package 1,2 &3 | Initial Advance : An advance of 10% of the contract price shall be paid as an interest bearing initial advance on submission of a) Proforma Invoice b) Certification of Engineer In charge on completion of mobilization of at least one no of machine c) L2 network d) Advance Bank Guarantee for 110% of the amount of Advance plus GST e) Performance Security in line with GCC clause 8.3 Interest rate is applicable on advance payment to the Contractor shall be at the rate of equal to 1 year MCLR rate published by state Bank of India prevailing as on the date of drawl of advance. This Advance Bank Guarantee shall be issued with initial validity of up to 90 days beyond the date of Completion of Facilities in accordance with GCC clause 13.... | We rtequest the comptenet authority to issue the interest free advance of 20% of CV for which Bidder shall provide the advance BG of equivalent amount | Provision of the Bidding Documents shall remail unchanged. Bidders to quote as per the provsion of bidding documents.
20 | Clause 1.2 Appendix 1 of Section VI in page no 15 of Sample Forms and Procedures (Forms) GCC clause 55 in page no 81 of Section IV. | Package 1,2 &3 | Progressive Payment: Interim bills shall be submitted by the Contractor on monthly basis. | The Contractor request Employer to consider for fortnight Invoices. Kindly confirm. | Provision of the Bidding Documents shall remail unchanged. Bidders to quote as per the provsion of bidding documents.
21 | Clause 1.3 B) Appendix 1 of Section VI in page no 16 of Sample Forms and Procedures (Forms) GCC clause 55 in page no 81 of Section IV. | Package 1,2 &3 | Payment of Contractor bills submitted complete with documents shall be made by the Employer within 30 days from the date of submission of the bill subject to the acceptance of the Engineer in charge and in the event of any likely delay beyond 30 days 75% of amount would be released on submission of Proforma balance 25% with the subsequent months payment. | The Contractor request Employer to consider the following: 100% payment towards Running Account Bills shall be released within 21 days from the date of submission of Invoice. Alternatively Employer shall release 75% of the progress claim within 7 days from the Invoice submission date and balance 50% within 21 days from the date of submission of Invoice. Kindly confirm, | Provision of the Bidding Documents shall remail unchanged. Bidders to quote as per the provsion of bidding documents.
22 | Clause 1.4) Appendix 1 of Section VI in page no 17 of Sample Forms and Procedures (Forms) GCC clause 55 in page no 81 of Section IV. | Package 1,2 &3 | Time Limit of Payment of final bill The final bill shall be submitted by Contractor within three months of physical completion of works. Payment of these items in respect of which there is no dispute shall be made within the period of six months from the date of receipt of the bill by the Engineer in charge. | The final bill shall be submitted within 30 days from the physical completion of Contractor scope of works. We request the authority to kindly release the Final Bill payment within 30 days from the date of submission of Invoice. | Provision of the Bidding Documents shall remail unchanged. Bidders to quote as per the provsion of bidding documents.
23 | Appendix 2 of Section VI in page no 20 of Sample Forms and Procedures (Forms) GCC clause 5.0, clause 56 of page no 81 | Package 1,2 &3 | The price shall remain firm and fixed during the execution of the Contract | Rate revision applicable due to quantity variation, inflation in material components, compensation for extended stay and the like of. Escalation and Over run stay compensation applicable for the extended period in case of delay in completion of planned progress for reasons not attributable due to the Contractor. Kindly confirm. | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote as per the provsion of bidding documents.
24 | Clause 1.2 of Appendix 4 of Section VI in page no 25 of Sample Forms and Procedures (Forms) GCC clause 4 | Package 1,2 &3 | The Employer reserves the right to request minor changes in the work schedule at the time of Award to the successful Bidder. | This tender is to be priced on consideration of 100% design inputs and work fronts from the Award date for smooth completion of works within 4 months from the Effective date of contract. Hence, any deviation to the above at later stage shall be treated as variation and its commercial impact shall be discussed and agreed mutually between parties prior to commencement of works. | Bidders to quote as per the completion schedule provided in the bidding documents.
25 | CC SI. No. 10, 11 of page no 6 and 11 of Section V GCC clause 8.3 of Section IV in page no 13. | Package 1,2 &3 | As a security towards satisfactory performance of the contract, the successful bidder to whom the work is awarded shall be required to furnish performance guarantee in the amount equivalent to 10% of Contract price in favour of the Employer within 28 days from the date of notification of award . The guarantee shall be valid up to 90 days after the end of defect liability period. The guarantee amount shall be encashed by the Employer without any condition whatsoever, in the event of defects or deficines which come up during the validity of the guarantee period. | We request the Employer to consider Performance Bank Guarantee for an amount equivalent to 5% of the contract value. This Performance Bank Guarantee shall remain valid up to defect liability period plus 30 days claim period. The defect liability shall be 12 months from the date of physical completion of Contractor scope of works. The Contractor request for a cure period of 30 days for rectification of defects if any. If any defects are identified during the DLP, the Employer shall issue 30 days notice for suitable remedy. In case of no positive response from the Contractor within the said notice period, thereon the Employer shall act under the contract provisions. Kindly confirm | Provision of the Bidding Documents shall remail unchanged.
26 | SCC SI. No. 11 of page no 6 and 11 of Section V GCC clause 8.3.1.4 of Section IV in page no 13. | Package 1,2 &3 | Apart from the performance security to be furnished as per clause GCC 8.3.1 above, additional performance security as specified in the Bidding documents shall be arranged furnished by the Contractor at any time after notification of award. The submission of these performance securities to the Employer shall, however be one of the conditions precedent for release of payment due against such equipment / works for which the said performance security is required to be submitted. | Kindly confirm, if any addinal bank guarantees apart from the performance bank guarantee of 5% of the order value to be obtained under this contract. | Bidders are requested to refer GCC Cl. 8.3.1 read in conjuction with GCC Cl. 8.3.1.4 of the Bidding Documents which inter-alia states that all the performance securities as specified in the Bidding Documents, shall be arranged and furnished by the Contractor after the Notification of Award.
27 | GCC clause 1.0, subclause e), m),bb), dd). In page 1 to 5 in Section IV | Package 1,2 &3 | e) Completion : Completion means that the facilities have been completed operationally and structurally and put in a tight and clean condition and that all works in respect of commissioning of the facilities has been completed (wherever required as per Technical Specifications) m) Effective Date : Effective date means the date of notification of award rom which time for completion shall be determined. bb) Taking Over : Taking over shall mean the Employers written acceptance of works performed under the contract after successful commissioning and performance of guarantee tests as per specifications or otherwise agreed under the contract and after necessary clearances from statutory bodies before occupation dd) Time for Completion : Time for completion means the time which the Completion of the facilities is to be attained in accordance with the specifications as a whole where a separate Time for completion of such part has been prescribed in and taking over by the Employer is to be attained. | "Completion" means physical completion of Contractor scope of works (and not to be linked with any commissioning works) "Effective Date" means the date of handing of site. "Taking Over" means written acceptance of works under the contract after successful physical completion of Contractor scope of works. "Time for Completion" means physical completion of Contractor scope of works. Kindly Confirm | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote accordingly.
28 | GCC clause 36 in page no 61 in Section IV | Package 1,2 &3 | Subject to provisions to the contrary contained in the contract, none of the permanent works shall be carried out during night or on Sundays or on authorised holidays without the permission in writing of the Engineer-in-Charge and subject to the Engineer-in-Charge having satisfied himself to the Contractor’s adequacy of supervision, quality assurance and safe working environments including lighting and ventilation etc. | We understand that the provided schedule to complete the scope of work with day & night working permission. Kindly Confirm | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote accordingly.
29 | SCC SI No.25 in page no 14 of Section V GCC clause 23.3 in page no 48 of Section IV | Package 1,2 &3 | In case the Contractor fails to deploy Qualified Safety officer/ safety supervisor/safety stewards under each contract as specified in the safety plan, then the Contractor shall be responsible for payment of a sum of Rs 15,00,000/- per quarter or part thereof, on a prorata basis till the safety officer / safety supervisor is deployed, to be deposited with the Employer which will be retained in the Safety Corpus Fund pursuant to GCC subclause 18.3.3.26 | There is no clause quoted in GCC pursuant to subclause 18.3.3.26, 18.3.3.19 in the tender document. | Refer Amendment No-I
30 | SCC SI No. 49 in page no 23 of Section V GCC clause 59 in page no 83 of Section IV | Package 1,2 &3 | The arbitration shall be conducted by a sole arbitrator in case the amount of claim is less than Rs 25 Crore and by three member arbitral tribunal in case the amount of claim is greater than Rs 25 Crore. The sole arbitrator shall be chosen from a panel of empanelled arbitrators maintained by POWERGRID | The appointment of sole arbitrator shall be jointly done by both parties. | Provisions of the Bidding Documents shall remain unchanged.
31 | GCC clause 61 in page no 86 of Section IV | Package 1,2 &3 | the aggregate liability of the Contractor to the Employer, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the Contractor to indemnify the Employer with respect to patent infringement. | Request to consider the total liability limiting to 10% of the total contract price. | Provision of the Bidding Documents shall remail unchanged.
32 | Clause 36 of GCC Page 61 of 90 |  | 36.0 WORK DURING NIGHT OR ON SUNDAYS AND HOLIDAYS 36.1 Subject to any provisions to the contrary contained in the Contract, none of the permanent works shall be carried out during night or on Sundays or on authorised holidays without the permission in writing of the Engineer-in-Charge and subject to the Engineer-in-Charge having satisfied himself to the Contractor’s adequacy of supervision, quality assurance and safe working environments including lighting and ventilation etc. | Bidder requests to allow for working permission to be granted for night shifts and holidays considering the short duration of job. | Provision of the Bidding Documents are amply clear in this regard and shall remail unchanged.
33 | Clause 3-H of GCC Page 13 of 90 |  | 3.0 SCOPE OF THE WORK 3.1 Scope of the work under this Contract shall be on single source responsibility basis completely covering all the services, works and materials specified under the accompanied Technical Specifications/Bill of Quantities indicated in Bid Proposal Sheets & drawings. It will inter-alia include the following: .......................................... ............................................................ (h) Obtaining clearances /approvals from concerned local/ statutory bodies. ................................. | Any work related permits shall be in the scope of employer. | Provisions of the Bidding Documents are amply clear in this regard and shall remain unchanged.
34 | Clause 1.1 A Section – VI: Samples Forms and Procedures | Page 15 of 103 Supply of Services Portion: Price Component for Installation (including Civil Works) | Initial Advance (Optional ^): An advance of 10% (ten) of the Contract price shall be paid as an interest bearing initial advance | We request for Interest free Advance of 15% of the total contract value against Advane Bank Guarantee. Please consider. | Provision of the Bidding Documents shall remail unchanged.
35 | Clause 1.2 Section – VI: Samples Forms and Procedures | Page 16 of 103 Progressive Payment | Interim bills shall be submitted by the Contractor on monthly . Payment of the Contractor's bills submitted complete with documents shall be made by the Employer within 30 days from the date of submission of the bill subject to the acceptance of the Engineer-in-Charge | Considering short duration of the project, we request you consider the payment terms of RA bills as mentioned below - The progressive invoice shall be raised every 15 days, bill certification is to be done in 7 days. Payment to be released within 15 days of certification. Please consider | Provision of the Bidding Documents shall remail unchanged.
36 | Clause 1.4 Section – VI: Samples Forms and Procedures | Page 18 of 103 TIME LIMIT FOR PAYMENT OF FINAL BILL | The final bill shall be submitted by Contractor within three months of physical completion of the works. No further claims shall be made by the Contractor after submission of the final bill and these shall be deemed to have been waived and extinguished. Payment of these items of the bill in respect of which there is no dispute and of items of dispute, for quantities and at rates as approved by Engineer-in-Charge, shall be made within the period of six months from the date of receipt of the bill by the Engineer-in-Charge | The payment of the final bill shall be released after 45 days of bill submission including certification and checking from client. Please consider | Provision of the Bidding Documents shall remail unchanged.
37 | Clause 28 Section - III, Bid Data Sheet (BDS) | Page 18 Bid Security | Bid Security shall not be applicable in this Package. All the Bidders shall submit as part of their bid, a Bid Securing Declaration in Attachment-28 of the Bid Forms. | We understand there is no requirement of EMD/ Bid secuirty for these packages. Please confirm | Provisions of the Bidding Documents are amply clear in this regard. Bidders to quote accordingly.
38 | Clause 27 Section - III, Bid Data Sheet (BDS) | Page 18 Add new Clauses ITB 11.4.2 and ITB 11.4.3: | 11.4.2 The extent of deviations and variations and pricing shall be as per the provision of clause 15 of GCC, Vol. I. For the items above ground level, the rates shall remain valid upto a variation of 25% in the quantity of individual item and for items below the ground, the above limit is 100% for individual items. However, the limit of deviations for overall contract value shall be 25%. | From price point of view, we request to limit the variation to +/- 15% and for variation beyond this shall be discussed and agreed mutually. In case of revised quantities forcing to work after monsoon, suitable compensation to be provided for loss of production during monsoon. | Provision of the Bidding Documents shall remail unchanged.
39 | General | Taxes and Duties | BOCW | We understand that the BOCW/ Labourcess charges (1% of Contract Value) shall be in employer scope .kindly confirm. | Bidders are requested to refer GCC Clause 22.9(o) which is amply clear in this regard.
40 | General | Insurance | Contractor All Risk (CAR) Policy | We understand that CAR policy is in employer scope. Kindly confirm | Bidders are requested to refer GCC Clause 41 (Contractor’s Liability and Insurance) which is amply clear in this regard. Bidders to quote accordingly.
41 | ITB clause 29 (e-Reverse Auction (e-RA)) |  | 29.1 The Employer reserves the right to conduct e-Reverse Auction (e-RA) for further reduction in the price. In case e-RA is conducted, same shall be done in the manner as indicated at Annexure-B (BDS). For the purpose of the aforesaid, the ‘Indicative Estimated Cost for e-RA’ is: INR 35.565 Crore for Package-I; INR 43.412 Crore for Package-II; INR 25.907 Crore for Package-III; Further, Business Rules for e-Reverse Auction and a sample format for e-Reverse Auction Notice is enclosed at Annexure-C (BDS). ...................................................... | Reference vide above tender reference & ITB clause 29, Sl.no. 53 Page 27 of Bid Data Sheet (reference document attached), the “ Indicative Estimated Cost for e-RA” i.e. INR 35.565 Crore for Package-I; INR 43.412 Crore for Package-II; INR 25.907 Crore for Package-III. We understand that all above indicative cost for e-RA are excluding GST. | In this regard bidders are requested to refer Annexure-B (BDS) Vol-I of the bidding documents, read in conjunction with ITB Cl. 27.6, which is amply clear.