## Sheet1
S.No | Query | POWERGRID's reply
1 | All the network elements/components in PGCIL network is connected and monitored by the respective EMS or NMS software through which we can get the required details necessary for delivering the tender requirements. In case there will be orphaned devices in the network with no EMS or NMS governing them, we request you to provide the details in terms of count and location of the orphaned devices to plan the counter measures and contingency works. Further, we request you to understand the technical limitations and challenges in integrating very old/legacy devices/orphan devices with non-industry standard interfaces either in hard form or in soft form to be excluded from the assessment and validation part. However, we will put the best of efforts to interface and integrate very old/legacy devices/orphan devices into the mainstream UNMS system. Alternatively, we suggest to replace in the best possible cases very old/legacy devices/orphan devices with State of the art aggregation devices, wherever possible we will try to use conversion technologies with practical possibilities. Further, we understand that existing NMS/EMS, Network Element & Link details has given in Annexure A, however total no. of devices has not specified in Link details, in this case we request you to provide total no. of device count with bifurcation of location according to Annexure A. | Bidder to comply TS. The details of existing system are provided at Annexure-A. Bidder to propose the system as per system sizing mentioned at Annexure-G with 200% expansion as per requirement of TS . However, If needed, details in addition to TS may be collected by the Bidder on their own.