## Sheet1
Package - I : Unified Network Management System (U-NMS) for Central Sector and State Sector Communication in NER under Establishment of State of Art Unified Network Management System (U-NMS) for ISTS and State Utility Communication network in North Eastern Region (NER)
S. No. | RFP Vol | Section | Sub-Section | Page No. | Clause No. | Clause Description | Clarification Required | Reply
12 | Vol-II | Part A | Section 1 | 10 (Pdf Pg14) | 1.7.o | Shifting and Installation of new system in UNMS Centre. This shall include all the services including cabling, interface modification and shifting or re-shifting of system required for intervening period and for final shifting to main UNMS Centre. Re-cabling for some or all equipments as required for final shifting shall also be in the scope of supplier. | The vendor should be paid for the additional services/material in case of shifting/re-work. | Bidder to Comply TS
13 | Vol-II | Part A | Section 1 | 11 (Pdf Pg 15) | 1.8 (6 Par) | An analysis of the functional and performance requirements of this specification and/or site surveys, design, and engineering may lead the Contractor to conclude that additional items and services are required that are not specifically mentioned in this specification. The Contractor shall be responsible for providing at no added cost to the Employer/Owner, all such additional items and services such that a viable and fully functional UNMS System is implemented that meets or exceeds the capacity, and performance requirements specified. Such materials and services shall be considered to be within the scope of the contract. | All the supplies, installations and services should be strictly in accordance with provisoins of RFP. Any additional supplies/services should be on chargeable basis. | Bidder to Comply TS
14 | Vol-II | Part A | Section 3 | 13 (Pdf Pg 61) | 3.4.9.3 | Penalty for System Availability SLA: > 99.99% @ NIL; Less than 99.99% @ Deduction of 2% of the apportioned price of the apportioned quarterly AMC for every 0.5% or part there of decrease in availability under 99.99%. (Maximum amount of deduction is limited to 100% of AMC charges) | As per prevelent industry norms penalties are capped upto 10% of the value of the particular component/services. | Bidder to Comply TS
15 | Vol-II | Part A | Section 3 | 13 (Pdf Pg 61) | 3.4.9.3.i | Penalty for not deploying/ non-availability (absence/leaves without replacement for more than three days) of man power resources at the indicated locations shall attract penalty of Rs. 10,000/- per day. | These penalties are very high as per industry standards and may be reduced. Also while calculating penalties, on ground realties and reasons beyond control of the vendor may be given due considerations. | Bidder to Comply TS
16 | Vol-II | Part A | Section 3 | 13 (Pdf Pg 61) | 3.4.9.3.ii | If the resources are not deployed/ not available (including leaves) for more than 50% of time during the month then resource would be considered not available for entire month and shall attract penalty of Rs. 50,000/- per day. | These penalties are very high as per industry standards and may be reduced. Also while calculating penalties, on ground realties and reasons beyond control of the vendor may be given due considerations. | Bidder to Comply TS
17 | Vol-II | Part B | Section 7 | 12 (Pdf Pg 192) | 7.8.3.1 | Test Responsibilities Employer/Owner will be responsible for conducting the availability test. The test shall consist of normal UNMS operations without special test equipment or procedures. Test records defined in the availability test plan and procedures will be maintained by Employer/Owner personnel. Employer/Owner will operate and maintain the system according to procedures described in the approved Contractor documentation. UNMS maintenance on an on-call basis shall be provided by the Contractor during the availability test period. When on-site maintenance support is needed, qualified Contractor personnel shall arrive at the site within maximum four (4) hours of notification and shall keep employer/Owner fully informed of the progress in problem resolution. For availability purposes, this service response time and the associated on-site maintenance time shall be taken into account as defined in as per relevant section of the specification. | Manpower is already proposed to be deployed at site of UNMS as per RFP requirement. In case of any additional resource required, then employer/owner shall give one day prior notification to contractor. Kindly consider. | Bidder to Comply TS