## Prebid Queries
Package - I : Unified Network Management System (U-NMS) for Central Sector and State Sector Communication in NER under Establishment of State of Art Unified Network Management System (U-NMS) for ISTS and State Utility Communication network in North Eastern Region (NER)
S.NO | Section in RFP | Sub Section in RFP | Excerpts from the RFP | Page No | Detailed Query | POWERGRID's Reply
2 | Vol II Final TS for NER UNMS | 1.6 | Under this project, new UNMS system shall be established at Shillong RTAMC and Guwahati & SLDC of AEGCL of Assam, MePTCL of Meghalaya, DOP of Arunachal Pradesh, DOP of Nagaland, MSPCL of Manipur, P&E of Mizoram, TSECL, Tripura of North Eastern Region as per the intent given below | 12 | 1. Please confirm if the system has to be deployed between DC/DR at Shillong & Guwahati only. At other locations mentioned Meghalaya, Arunachal Pradesh etc) no separate UNMS access will be provided 2. We understand that Furniture requested for is to be deployed at Shillong only. Kindly confirm 3. Please confirm location of UNMS National (Main) & Backup as well as Regional Main & backup | Technical Specification provides the information sought in the query.
3 | Vol II Final TS for NER UNMS | 1.7 ( C) | Splitter required for redundant Channels integration of NE shall be in scope of contractor | 13 | Please eloborate the requirement. | Splitter shall be required to transmit NMS/NE data through redundant channels in case of no port redundancy in NMS/NE.
4 | Vol II Final TS for NER UNMS | 1.7 ( h) | Integration & Testing with U-NMS at National level coming up during implementation and AMC period of this Contract. | 14 | 1. Please confirm what integrations are expected with National Level UNMS. 2. Please share count of Integrations | 1. Integration of proposed UNMS with upcoming national UNMS is for data exchange between these UNMSs to facilitate visibility of inter-regional links and cross-border links. 2. Bidder to comply TS. If needed, details in addition to TS may be collected by the Bidder on it's own.
5 | Vol II Final TS for NER UNMS | 1.7 ( n) | Shifting of existing system workstations and Installation of new system workstations at temporary location in parallel for intervening period. | 14 | Please elaborate the requirement | The requirement pertains to UNMS locations involving minor renovation work , if any..
6 | Vol II Final TS for NER UNMS | 1.8 | The contractor for ensuring compliance of cyber security standards shall do Vulnerability Assessment and Penetration Testing (VAPT) & all patch management for complete life cycle of the project | 15 | Please confirm frequency of VA/PT required | It will be applicable as per relevant standards of cyber security and GOI guidelines being issued time to time
7 | Vol II Final TS for NER UNMS | 1.8 | The bidders are advised to visit sites (at their own expense), prior to the submission of proposal, and make surveys and assessments as deemed necessary for proposal submission. The successful bidder (Contractor) is required to visit sites. The site visits/routes shall include all necessary surveys to allow the contractor to perform the design and implementation functions. The Contractor shall inform their site survey schedule to the Employer/Owner well in advance. The site survey schedule shall be finalized in consultation with the Employer/Owner. The Employer/Owner may be associated with the Contractor during their site survey activities | 15 | Please confirm will PGCIL will allow to conduct site survey in Pandemic situation | Bidder to comply TS.
8 | Vol II Final TS for NER UNMS | 1:08 | Teaming Agreement of bidder with OEM | 16 | We understand that OEM means UNMS platform provider. This is not applicable to associated Infrastructure (Server, SWC, Router and other Infrastrucure). Please confirm | Only UNMS platform provider.
9 | Vol II Final TS for NER UNMS | 2:07 | Description of APIs being used for different subsystems under UNMS SYSTEM for interfacings/Integrating other systems such as ERP/IT/ICCP etc | 37 | Please share list of other Systems with which proposed UNMS solution needs to integrate e.g TT with CRM. Propsoed UNMS inter system integrations will be factored by bidder | Bidder to comply TS.
10 | Vol II Final TS for NER UNMS | 2:07 | Switch Over from Main to backup UNMS center | 39 | 1. Please confirm if HA setup is required at DC & DR 2. Please confirm RTO/RPO required between DC/DR | Bidder to comply TS.
11 | Vol II Final TS for NER UNMS | 2:08 | Training Requirement for UNMS System | 43 | We understand that the training requirement given is one time training | Confirmed
12 | Vol II Final TS for NER UNMS | 3:04 | Spares Management | 56 | Please confirm if proposed spares can be hosted at PGCIL's DC/DR location | Bidder to comply TS.
13 | Vol II Final TS for NER UNMS | 1:02 | Communication channels between Regional UNMS and National UNMS shall be configured in redundant mode. The communication channel shall be designed for automatic switchover to protection communication channel on failure of main links | 73 | Please elaborate the requirement. We understand the is just a design requirement for DC/DR Infra architecture. | The redundant channel is design requirement to ensure system availability.
14 | Vol II Final TS for NER UNMS | 4.9 | Database development tools | 155 | Please confirm if Open Source softwares are allowed | Bidder to comply TS.
15 | Vol II Final TS for NER UNMS | 7.8.1.3 | Integrated System Test: | 189 | Please confirm if Software functional test is to be executed with complete network data or with technology and OEM Pilot nodes. | Database developed for NER regional and inter-regional communication system to be used for all factory and site testing purposes.