## Query
Package - I : Unified Network Management System (U-NMS) for Central Sector and State Sector Communication in NER under Establishment of State of Art Unified Network Management System (U-NMS) for ISTS and State Utility Communication network in North Eastern Region (NER)
SN # | RFP Volume Section and sub- section | Page no. | Clause/ Content in the RFP | Clarification sought/ Change Request (highlight the portion with red color which is intended to be changed.) | POWERGRID's Reply
1 | VOL-II Appendix Appendix D 10. Firewall Features/Characteristics required of internal Firewall: | Page 10 of 21 | 22.DNS guard features | Request you to modify the clause "Firewall with IPS should provide comprehensive protection against DNS based attacks such as DNS tunnelling, malformed DNS requests, DNS DOS, buffer overflows etc." DNS guard is a proprietary vendor term hence request to modify the same. | Industry standards meeting our technical specificatios are acceptable.
2 | VOL-II Appendix Appendix D 10. Firewall Features/Characteristics required of internal Firewall: | Page 10 of 21 | 23. Content Filtering : Java and Active X Blocking | Request you to modify the clause to "Java blocking" Active X is a deprecated technology with all modern browers already discontinuing/ discontinued support. Pls refer below links. Hence request you to remove Active X in the clause. https://support.netdocuments.com/hc/en-us/articles/360025874251-End-of-Life-Internet-Explorer-and-ActiveX-Support | Industry standards meeting our technical specificatios are acceptable.
3 | VOL-II Appendix Appendix D 10. Firewall Features/Characteristics required of internal Firewall: | Page 10 of 21 | 28.Detect devices based on operating system (added in sec-4 also) | Request you to remove the following clause as this IPS functionality is bundled as part of the overall NGFW functionality and not dedicated. Secondly, IPS is a network traffic filtering appliance and this specific specification is vendor proprietary for standalone IPS | Bidder to comply TS. All Industry standards meeting our technical specificatios are acceptables.
4 | VOL-II PART-B Sec 5 5.5.4 Intrusion Detection and Prevention System (IDPS) | Page 10 of 15 | The contractor shall provide an intrusion detection and prevention system, to have a dedicated NIPS (Network Intrusion Protection System) appliance and the IPS (Intrusion Protection System) functionality shall not be coupled with the Firewall solutions, which shall be integrated to detect and prevent intrusion, worm, virus etc) | Request you to provide more clarity on the clause as there is also an ask of a dedicated NIPS solution which is not part of NGFW solution Moreover in the section "VOL-II Appendix Appendix D 10. Firewall Features/Characteristics required of internal Firewall" the IPS is being asked as inbuilt functionality within firewall solution" | Bidder to comply TS.
5 | VOL-II Appendix Appendix D 11. Sizing Parameters Internal Firewall: | Page 12 of 21 | 4. Minimum number of concurrent sessions: 500 | Request you to modify the clause " Minimum number of concurrent sessions: 2 Million" Having only 500 concurrent sessions for a Datacenter Internal firewall is highly conservative and not practical as there are close to 6 LAN interfaces/zones(DTS,UNMS,Internal,Data,Office,Interfacing LAN Zones) which would be connected to this firewall for traffic filtering and inspection. Therefore firewall should have a much greater capacity to handle connections(application,User,LAN) without becoming a bottleneck in the network. | Refer Amendment-IV
6 | VOL-II Appendix Appendix D 11. Sizing Parameters Internal Firewall: | Page 12 of 21 | 5. Minimum new sessions per second processing :500 | Request you to modify the clause " Minimum new sessions per second: 60000" Having only 500 new sessions capacity for a Datacenter Internal firewall is highly conservative and not practical as there are close to 6 LAN interfaces/zones(DTS,UNMS,Internal,Data,Office,Interfacing LAN Zones) which would be connected to this firewall for traffic filtering and inspection. (hence proposing 10000 new sessions per zone) Moreover as DOS protection capability is also required and hence firewall should have extra room to cater to new sessions during peak loads and network DoS and C& C traffic | Refer Amendment-IV
7 | VOL-II Appendix Appendix D 11. Sizing Parameters Internal Firewall: | Page 12 of 21 | Minimum number of ports 8x10 Gbps Fibre optic ports and 8x1 Gbps Ethernet Ports at Server Location 4x10 Gbps Fibre optic ports and 4x1 Gbps Ethernet Ports at State | Request you to modify the clause for Server location firewalls "4x10 Gbps Fibre optic ports and 8x1 Gbps Ethernet Ports at Server Location 4x10 Gbps Fibre optic ports and 4x1 Gbps Ethernet Ports at State" While we understand that the overall throughput requirement is ~1.5 Gbps at 30% load the excessive amount of 10G interfaces being asked is not proportional to the traffic handling capacity of the device at Server locations.Moreover, based on the network architecture provided the internal firewall will have connectivity to 6 zones, hence would request you to modify and reduce the 10G interfaces to 4 for firewalls at server location. This will still provide ample connectivity options (total 12 Data interfaces- 4x10G and 8x1G for server location firewalls) with only 6 or 50% interfaces being connected and remaining 50% for future use. | Bidder to comply TS.
8 | VOL-II Appendix Appendix D 12. Firewall Features/Characteristics required of external Firewall/UTM: | Page 14 of 21 | 21. DNS guard features | Request you to modify the clause "Firewall with IPS should provide comprehensive protection against DNS based attacks such as DNS tunnelling, malformed DNS requests, DNS DOS, buffer overflows etc." DNS guard is a proprietary vendor term hence request to modify the same. | Please refer reply at Sl.no.1
9 | VOL-II Appendix Appendix D 12. Firewall Features/Characteristics required of external Firewall/UTM: | Page 14 of 21 | 22. Content Filtering : Java and Active X Blocking | Request you to modify the clause to "Java blocking" Active X is a deprecated technology with all modern browers already discontinuing support. Pls refer below links. Hence request you to remove Active X in the clause. https://support.netdocuments.com/hc/en-us/articles/360025874251-End-of-Life-Internet-Explorer-and-ActiveX-Support | Please refer reply at Sl.no.2
10 | VOL-II Appendix Appendix D 13. Sizing Parameters External Firewall/UTM: | Page 14 of 21 | 4. Minimum number of concurrent sessions: 500 | Request you to modify the clause " Minimum number of concurrent sessions: 2 Million" Having only 500 concurrent sessions for a Datacenter External firewall is highly conservative and not practical as there are close to 3 interfaces/zones(ISP, External DMZ, Data LAN) which would be connected to this firewall for traffic filtering and inspection. Therefore firewall should have a much greater capacity to handle connections(inbound application, DMZ,Internet outbound, DDoS etc.) without becoming a bottleneck in the network. Secondly, the device should suffice the new connection/application traffic requirements as number of legitimate users increase An average heavy user can easily consume anywhere from 100-200 connections. reference can be found below:- https://superuser.com/questions/1206866/how-many-concurrent-tcp-connections-does-an-average-internet-user-consume | Refer Amendment-IV
11 | VOL-II Appendix Appendix D 13. Sizing Parameters External Firewall/UTM: | Page 14 of 21 | 5. Minimum new sessions per second processing :500 | Request you to modify the clause " Minimum new sessions per second: 50000" Having only 500 new sessions capacity for a Datacenter External firewall is very low New connections per second count is very low for optmized Security device usage and scalable to growing traffic needs (This device has three zones connected: External DMZ,ISP and Data LAN and should cater to almost ~15k new sessions per respective zone) Secondly, the device should be able to cater to surge in traffic during critical business conditions without dropping new connections and the ability to handle DDOS/C&C traffic without affecting legitimate traffic | Refer Amendment-IV
12 | VOL-II Appendix Appendix D 13. Sizing Parameters External Firewall/UTM: | Page 14 of 21 | Minimum number of ports 8x10 Gbps Fibre optic ports and 8x1 Gbps Ethernet Ports at Server Location 4x10 Gbps Fibre optic ports and 4x1 Gbps Ethernet Ports at State | Request you to modify the clause for Server location firewalls "4x10 Gbps Fibre optic ports and 8x1 Gbps Ethernet Ports at Server Location 4x10 Gbps Fibre optic ports and 4x1 Gbps Ethernet Ports at State" While we understand that the overall throughput requirement is ~1.5 Gbps at 30% load the excessive amount of 10G interfaces being asked is not proportional to the traffic handling capacity of the device at Server locations.Moreover, based on the network architecture provided the external firewall will have connectivity to minimum 3 zones, hence would request you to modify and reduce the 10G interfaces to 4 for firewalls at server location. This will still provide ample connectivity options (total 12 Data interfaces- 4x10G and 8x1G for server location firewalls) with only 3 or 25% interfaces being connected and remaining vacant for future use. | Bidder to comply TS.