## Sheet1
Package - I : Unified Network Management System (U-NMS) for Central Sector and State Sector Communication in NER under Establishment of State of Art Unified Network Management System (U-NMS) for ISTS and State Utility Communication network in North Eastern Region (NER)
Sr. No. | Section of The RFP, Page No. | Clause Description | Clarification Sought | Reply
27 | Vol. I , Section IV Page 13 Page 73 | Provide to the extent possible drawings of sites and facilities for which Non- Converged Internet Network and Content Caching Solution installations are planned | We understand that Civil works is not part of the scope of the contractor/bidder. If yes, Please provide the details .OR Kinldy delete this clause. | Bidder to comply TS.
29 |  | Multiple Makes | Since as System Integrator, We are responsible to meet the technical specification and SLA levels for the entire technical Solution. In this regard we understand that we shall propose multiple makes which are technically equivalent and would meet RFP requirements. This will help the SI to offer a very competitive price to the customer by taking aggressive risks on their costs, which will totally benefit the customer. If only one make is insisted the vendor does not support the Si in times and therefore the costs go up considerably. For your Kind information, in almost all of the government contracts there is a list of Compendium of Suppliers approved for each of their item required for the Project. This list is made part of the contract. During execution of the contract, the SI/Contractor shall have to supply materials of makes/vendors who are in that list only. | Provision of the bidding document is amply clear.
30 | Part A, Vol 2, Section 1, Page 9 of 21 | 1.7 Scope of Work, d) Development of complete Database, displays and reports either from scratch or by extracting existing database, displays and reports. | Kindly provide details of the existing databases in use. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
31 | Part A, Vol 2, Section 1, Page 9 of 21 | 1.7 Scope of Work, e) Import and Adaption of database & displays made by Employer/Owner for existing NMS system including import of historical data stored in existing servers for integration in new system. | Kindly provide details regarding the available data formats for importing into proposed NMS. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
32 | Part A, Vol 2, Section 1, Page 9 of 21 | 1.7 Scope of Work, g) Integration & Testing with new EMS/NMS/NEs coming up during implementation and AMC period of this Contract. | Kindly confirm that this requirement refers the interoperability capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
33 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, h) Integration & Testing with U-NMS at National level coming up during implementation and AMC period of this Contract. | Kindly confirm that this requirement refers the interoperability capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
34 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, l) Integration of all the supplied equipments and existing system | Kindly confirm that this requirement refers to the monitoring of elements supplied under the scope of this RFP by U-NMS. | Bidder to comply TS.
35 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, m) The contractor’s scope shall include customization of its database, such as configuration of database, scan period and all other database parameters required to integrate existing system successfully. | Kindly provide details of the existing databases in use, for planning the integration | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
36 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, o) Shifting and Installation of new system in UNMS Centre. This shall include all the services including cabling, interface modification and shifting or re-shifting of system required for intervening period and for final shifting to main UNMS Centre. Re-cabling for some or all equipments as required for final shifting shall also be in the scope of supplier. | Kindly confirm if shifting is applicable to both main and backup UNMS center, also we understand that this refers to shifting of equipment within the same premises. | Bidder to comply TS.
37 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, p) Additional Hardware, software and services necessary to ensure compatibility with existing equipment | Kindly confirm that this requirement refers the interoperability capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
38 | Part A, Vol 2, Section 1, Page 10 of 21 | 1.7 Scope of Work, t) Integration with third party Applications: The new UNMS Systems being supplied shall have provision to exchange data with the existing and or to be purchased third party applications of Employer/Owner in standard formats like ODBC, OPC & XML etc. | Kindly confirm that this refers to the capability of the proposed tool only, any additional BOQ for new requirement post detailed study shall be taken as variation order. | Bidder to comply TS.
39 | Part A, Vol 2, Section 1, Page 12 of 21 | The equipment shall be designed and provisioned for expansions and reconfigurations without impairing normal operation, including adding and removing NMS/EMS/NEs/channels & UNMS Centers. | Kindly confirm that this requirement refers the capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
40 | Part A, Vol 2, Section 1, Page 15 of 21 | 1.9.2 Contractor’s Responsibilities and Obligations, (xxv) After successful deployment of UNMS system, all data from Excel sheets and disparate sources shall be migrated to proposed UNMS system so that operations team can work efficiently. | Kindly elaborate on the sources of data to be considered for data migration. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
41 | Part A, Vol 2, Section 1, Page 16 of 21 | 1.9.2 Contractor’s Responsibilities and Obligations, (xxx) Full system backup of all installed software for all machines. | Kindly confirm that the clause refers only to the equipment covered under the supply scope of this RFP. | Bidder to comply TS.
42 | Part A, Vol 2, Section 1, Page 18 of 21 | 1.11 Main and Backup UNMS Centre Operational Philosophy, In case of failure of the Main UNMS Centre, the Backup UNMS Centre shall take over operations and functions of Main UNMS Centre. | Please specify the RTO and RPO. | Bidder to comply TS.
43 | Part A, Vol 2, Section 1, Page 20 of 21 | The available equivalent Indian Standard shall be complied and in absence of Indian standards the following standards and codes shall be generally applicable to the equipment and works supplied under this Contract, wherever applicable: 1. TMF-513 Data Information Model 2. TMF-814 - CORBA based NML-EML Interface 3. TMF-864 - MTOSI/XML based NML-EML Interface 4. TMF – 854 5. TMF-MTNM 3.5 6. TMF-MTOSI 4.0 | Kindly confirm if the existing EMS/NMS supports TMF 639 and TMF 638 based APIs | Bidder to comply TS.
44 | Part A, Vol 2, Section 3, Page 6 of 16 | 3.4.4.1. Preventive Maintenance, Updates & Upgrades:, iv. Changes/upgrade/Update in U-NMS application software due to update/upgrade in EMS/NMS application/database software version shall also be provided by contractor without any financial implications to POWERGRID. The EMS/NMS software upgrade/update shall be verified by the U-NMS contractor in lab environment using test server & applications instances as factored in BoQ, in coordination with respective OEM/Vendors within stipulated time approved by the Employer/Owner. The updates/upgrades shall be deployed only after U-NMS contractor has verified the same. The U-NMS contractor shall carry out necessary changes if required due to update/upgrade of underlying EMS/NMS. | Kindly confirm if a separate lab environment for development, staging and testing is being envisaged as part of the requirement, or is this requirement covered by the Programming Development System? | Bidder to comply TS.
45 | Part A, Vol 2, Section 3, Page 12 of 16 | 3.4.9.3. Penalty Clause In case the quarterly average availability for the U-NMS Applications & integrations fall short of stipulated criteria of 99.9%, the Contractor shall be liable to the penalty for deficit in meeting the assured availability parameters | Kindly confirm if the uptime SLA is to be read as 99.9%, as elsewhere it is mentioned as 99.99% | SLA of 99.99% may be read as 99.9 %. Kindly Refer amendment-A
46 | Part B, Vol 2, Section 1, Page 4 of 19 | UNMS FUNCTIONS 1.0 Introduction, a) Network Resource Management - This shall include inventory data discovery from NE and underlying NMS/EMS. | Kindly confirm if NE without EMS/NMS shall support SNMP for direct monitoring by U-NMS | Bidder to comply TS.
47 | Part B, Vol 2, Section 1, Page 4 of 19 | UNMS FUNCTIONS, 1.1 UNMS Functions:, The U-NMS system shall have capability of integration with multiple wired/wireless technologies like SDH, PDH, DWDM, CWDM, ASON, OTN, PTN, MPLS, VSAT, Radio etc. from multiple vendors. | Kindly confirm if the clause refers to capability of the U-NMS only, as some of the technologies mentioned are yet to be implemented as part of the network. | UNMS should have capabilities for the technologies that are not implemeted yet.
48 | Part B, Vol 2, Section 1, Page 6 of 19 | 1.1.1.4- The UNMS Centre computer system shall be able to collect any data (individually, as scan groups, or collectively) from any of its NMS/EMS/NEs on a non-periodic (demand) basis. Demand scans shall be initiated automatically for an NE whenever the following situations arise: (a) A change of status of NMS/EMS/NEs is detected | Kindly confirm if the existing NMS supports REST API with Event notification capabilities for capturing real time network updates to U-NMS. | Bidder to comply TS.
49 | Part B, Vol 2, Section 1, Page 8 of 19 | The UNMS system shall prepare all the acquired data for use by the UNMS System applications. The UNMS system shall have capability to accept data from the following sources: (a) Real-time (also referred as telemetered) data received from Existing NMS/National UNMS and NEs | Kindly mention the software being used for National UNMS and the format of data be exchanged with National UNMS. | Bidder to comply TS.
50 | Part B, Vol 2, Section 1, Page 15 of 19 | 1.6.2.8 Interface with Business Applications A well-documented API shall be provided to exchange data with third party software. The API must be able to query data and models held within the ISR System. The Historian System must offer connectivity to third | Kindly mention the third party applications envisaged for integration with ISR system. | Bidder to comply TS.
51 | Part B, Vol 2, Section 2, Page 5 of 38 | 2.3.Application Functions 2.3.1. Network Resource Management:, Redundant communication channels shall be provided between UNMS System (UNMS Centre) and NEs/underlying NMS/EMS. If valid data cannot be acquired from one of the NEs/NMS/EMS, the UNMS System shall automatically failover to the backup Communication channel. A communications failure shall not cause a server failover. | Kindly confirm that communication channel abd backup communication channel from U-NMS center to NE shall be the scope of the Purchaser, while monitoring the NE over the provided channels shall be the scope of the Bidder. | Confirmed
52 | Part B, Vol 2, Section 2, Page 6 of 38 | 2.3.1. Network Resource Management:, a) Integration with other Existing Inventory Management Systems, if exists. | Kindly provide details of the exisiting inventory systems. Does this refer to the inventory of the exisiting NMS/EMS. Please clarify. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
53 | Part B, Vol 2, Section 2, Page 6 of 38 | 2.3.1. Network Resource Management:, Appropriate Bridge/Agent/Adapter software for each Vendor technology shall communicate either with the respective NMSs or with the NEs directly, without adding any further delay. | Kindly confirm that all NE shall support the SNMP feature for direct integration in the absence of NMS/EMS. | Bidder to comply TS.
54 | Part B, Vol 2, Section 2, Page 9 of 38 | 2.3.3. Network Configuration and Planning, 9) The proposed system needs to interface with NMS/network elements belonging to different OEMs, supporting different interfaces in the future also. | Kindly confirm that this requirement refers the capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
55 | Part B, Vol 2, Section 2, Page 27 of 38 | 2.4.4. U-NMS Console on Mobile/Handheld | Kindly confirm the number of users of Mobile platform. | Bidder to comply TS.
56 | Part B, Vol 2, Section 2, Page 30 of 38 | 2.5.Generic Integration Requirements: 2.5.1. Integration Points The Bidder must ensure that UNMS application supports standard internationally acceptable formats, protocols & open standard interface for ensuring the integration with other Employer’s systems such as GIS, ERP & SD-WAN (if required by Employer) at a later date but before the expiry of UNMS contract. | Kindly confirm that this requirement refers the capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
57 | Part B, Vol 2, Section 2, Page 30 of 38 | 2.5.2. Future Readiness 1) UNMS will be able to integrate and assure a range of Network Function Virtualization (NFV) solutions from a range of vendors | Kindly confirm that this requirement refers the capability of proposed NMS only, any additional BOQ for new requirement shall be taken as variation order. | Bidder to comply TS.
58 | Part B, Vol 2, Section 3, Page 5 of 20 | 3.2 Identity Manager, An Identity management application shall be deployed to manage and to help achieve seamless access to all applications for authenticated users. | Kindly mention the number of users per DLC for sizing the IDAM. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
59 | Part B, Vol 2, Section 3, Page 14 of 20 | 3.12 Web based Trouble Ticketing System, There should be dedicated Android/iOS-based app of the tracking of trouble ticket. The customer should be able to raise the trouble ticket form the app itself. | Kindly mention the number of users of the mobile app. | Bidder to comply TS.
60 | Part B, Vol 2, Section 3, Page 18 of 38 | 2.3.7. Performance Management System (PMS), 23) PMS should be integrated with various modules such as IMS, Discovery, FMS, RCA, etc. | Please clarify IMS refered in this clause. | Bidder to comply TS.
61 | Part B, Vol 2, Section 5, Page 5 of 15 | 5.1.1.2 Reliability, Scalability, Performance and Backup Restore, 2. The supplied U-NMS System shall be able to operate 24x7 with 99.9% availability or better. | Kindly confirm if the uptime SLA is to be read as 99.9%, as elsewhere it is mentioned as 99.99% | SLA of 99.99% may be read as 99.9 %. Kindly Refer amendment-A
62 | Appendix G, Page 1 of 1 | Appendix G SYSTEM SIZING | Kindly specify the number of communication channels | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
63 | 3.4.9.1 |  | Request you to change the clause as Timeline for Initial Response time from 30 minutes to 60 Minutes Critical---> High | Bidder to comply TS.
64 | 2.5.3.2 | The System shall be customizable towards Two Factor Authentication with OTP (One Time Password) support. | As per RFP, Requirement of 2FA is given. Please mention the Specification and Include the same in BoQ | Bidder to comply TS.
65 | General | Manpower | For Cyber Security Monitoring, Kindly provide the Manpower requirement. | Bidder to comply TS.
66 | 5.9 | A separate appliance/server/ machine shall be supplied to be used as Centralized Management console for the HIDS, NIPS and firewall & Anti APT (Advance Persistent Threat) Device | We Understand that proposed Centralised management console solution is SIEM . Kindly elaborate the requirement for the same and Provide the technical specfication for the same. | Bidder to comply TS.
67 | 3.8 | There shall not be any separate charges for supply and integration of the Hardware/Software as per the recommendation of “Cyber Security Auditor” to ensure cyber security of the supplied system. | We understand that cyber security auditor will be in scope of MSI .if yes ,Pls provide the Manpower requirement for auditor. | Bidder to comply TS.
68 | 5.9 | A separate appliance/server/ machine shall be supplied to be used as Centralized Management console for the HIDS, NIPS and firewall & Anti APT (Advance Persistent Threat) Device | Kindly Clarify whether Anti-APT can be part of firewall or seperate appliance . | Bidder to comply TS.
69 | 4.5.3 | A. Intrusion Detection and Prevention System (Host Based) B. Network based Intrusion Prevention System (NIPS) | As per RFP, Funtional Requirement of NIPS and HIPS is mentioned. Please include the Technical Specification for the same. | Bidder to comply TS.
70 | Vol 2, Appendices, Appendix-C BoQ of UNMS, Page 1 of 3 | 17. 44U SERVER RACK WITH KVM SWITCH &MONITOR | Kindly provide the specification for 44U rack & PDU | Bidder to comply TS.
71 | 1.9.4 The Employer/ Owner’s Responsibilities and Obligations, | (ii) Providing infrastructure like building, Air-conditioning, DG set etc. for installation of U-NMS | Please confirm, required cable between DG/DG panel to UPS incomer ACDB will be provided by purchaser or readily avaialble for termination. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
72 | 1.9.4 The Employer/ Owner’s Responsibilities and Obligations, | (ii) Providing infrastructure like building, Air-conditioning, DG set etc. for installation of U-NMS | Kindly provode the distance between, i. DG to UPS room ii. Raw power source to UPS room | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.
73 | 1.9.4 The Employer/ Owner’s Responsibilities and Obligations, | (ii) Providing infrastructure like building, Air-conditioning, DG set etc. for installation of U-NMS | Space for Rack, UPS, incomer & outgoing ups panel & DBs will be provided by purchaser. | Bidder to comply TS.
74 | Part B (Sec-5), Vol 2, 5.17.1 Panels, Page 15 of 15 | Cooling air shall be drawn from the conditioned air within the room. Ducted or directed cooling air to the enclosures will not be supplied by Owner. | it is understand that the AHU, PAC required for other rooms & rack area respeectively will be provided by customer and the duscting for coolng distribution from AHU, PAC will be under bidders scope. Kindly clarify | Bidder to comply TS.
75 | General | General | Kindly mention the AHU/PAC rating available for the proposed system. | Bidder to comply TS. If needed, Details in addition to TS may be collected by the Bidder on their own.