CONDITIONS OF CONTRACT

Supply, Installation and Commissioning of Access Control System in 02 nos. CRP Room, 02 nos. GIS Halls and 01 no. Control Room at 400/220kV Jauljibi GIS SS

# Scope of Work

# The scope of work includes ‘Supply, Installation and Commissioning of Access Control System in 02 nos. CRP Room, 02 nos. GIS Halls and 01 no. Control Room at 400/220kV Jauljibi GIS SS’

# The work shall be executed, as per direction of Engineer-in-Charge, in accordance with the description in the Bill of Quantity and other tender documents including the detailed Technical Specifications enclosed at Annexure-III.

# All such items which are not specially mentioned but are necessary for successful completion of the work are to be deemed to be included in the scope of the work unless otherwise specifically excluded.

# The agency shall visit the site and acquaint with all the feature affecting tender.

# Any temporary measures made by agency for their machinery movement to work place shall be their own cost.

# The tender documents forming the contract are to be taken as mutually explanatory to one another & in case of any varying or conflicting provisions in any of the documents following order of preference shall be adopted-

- Item Description in Bill of Quantities

- Technical Specifications

- Conditions of Contract

- Engineer-in-Charge

# The Engineer-in-Charge for the package shall be:

Sandeep Kothari, DGM

Power Grid Corporation of India Ltd.

400/220 kV G. I. S.
Village – Bagrihat, PO – Askot

Jauljibi Pithoragarh (Uttarakhand) - 262543

Telephone: +91-9410738700
E-mail: kothari@powergrid.in

# The Engineer-in-Charge may authorise any of his officers as his representative for the execution of the subject work.

# The entire scope of work shall be carried out as per the instructions of the Engineer-in-Charge and/or his representative.

# Location of Work

# The address of site where the work is to be executed is as follows:

Power Grid Corporation of India Ltd.

400/220 kV G. I. S.
Village – Bagrihat, PO – Askot

Jauljibi Pithoragarh (Uttarakhand) - 262543

Telephone: +91-9410738700
E-mail: kothari@powergrid.in

# Completion Schedule / Period

# Time is the essence of contract. The entire scope of work shall be completed in all respect within “6  months” from the date of notification of award. The date of issue of notification of award shall be treated as zero date for all purposes. The notification of award may be issued in form of Brief Letter of Award or Letter of Award.

# Materials, Water and Power

(i)	Material:  No material shall be supplied by POWERGRID under this contract. Item rates for all the items shall include cost of all material and taxes.

(ii)	Water Supply: Water for construction shall be arranged by the contractor at his own cost.

(iii)	Power supply: In case available, it shall be provided on chargeable basis. The charges shall be at the prevailing tariff rate of State Electricity Board as prevalent for the nature of work at the work site at the time of award of work. POWERGRID will provide one point for electric connection. All electric fixtures and fittings shall be arranged by the Contractor.

# Contract Price/Taxes and Duties

# All prices shall be firm for the entire scope of works covered under the Technical Specifications.

# Bidders are required to quote the price for the commercial, contractual and technical obligations outlined in the Bidding Documents.

# Supply Portion

      - The prices for Supply portion shall be exclusive of GST.

      - Freight and Insurance upto destination, packing and other incidental charges shall be included in the prices indicated for the Supply Portion.

# Installation / Erection Portion

The price for shall Installation / Erection Portion include inter-alia all costs such as cost towards tools, equipment and machineries including cost of personnel that may be required for successful completion of the work as per the Technical specification/ scope of work, including cost of site arrangement, overheads etc., including all applicable taxes, duties and levies for all transactions between the Contractor and his Sub – Contractors. No claim on account of any taxes, duties or other levies or any interest therein shall be entertained by POWERGRID. The price shall however be excluding GST for all transactions between the Contractor and POWERGRID.

# Taxes and Duties:

- The rates indicated in the BOQ are exclusive of Goods and Service Tax (GST)

- GST, as applicable, shall be paid extra.

- In addition, the rates in the BoQ shall be inclusive of BOCW Welfare Cess. POWERGRID shall deduct BOCW Welfare Cess @ 1% (as per applicable BOCW rules) of the amount of bill(s) and deposit the same with BOCW Welfare Board constituted by the State. POWERGRID shall deduct the above cess @ 1% from each progressive bill.

- To facilitate the Contractor, Employer has indicated an HSN/SAC code and rate of GST against each item in the Price Schedule. It shall entirely be the responsibility of the Contractor to check the HSN/SAC code and rate of GST given against each item. The Contractor may either confirm the HSN and rate of GST or if the Contractor opts to classify the item in question under a different HSN/SAC code or opts to indicate a different rate of GST, Contractor may indicate the same in the columns provided. The Contractor shall solely be responsible for HSN/SAC classification and the rate of GST for each item. Employer’s liability for reimbursement of GST shall be lower of the GST applicable at the rate as ascertained by the Employer for the said HSN/SAC during evaluation or actual GST paid/payable by the Contractor for that item.

- For Transactions between Contractor & Employer, statutory increase/decrease in the rate of such taxes, duties & levies which have been explicitly indicated by the bidder as a price component of the total price quoted in his bid or if any new taxes, duties & levies become applicable after the bid opening shall be to Employer’s account.

# Price Adjustment

# The rates of individual items of the BoQ price shall be FIRM and shall not be subject to any price adjustment during the execution of the contract.

# Terms of Payment

# The payment to the Contractor under the Contract will be made by the owner as per the guidelines and conditions specified hereunder.

# All the payments shall be released by PPPFC Manesar.

# No Initial Advance shall be paid to the contractor.

# The payment shall be made as per the following:

# Supply Portion

# 80% (Eighty percent) of the Ex-Works price component of Main Equipment/Materials (including Mandatory Spares) shall be paid progressively on submission of documents submission of documents indicated hereinunder :

- Evidence of dispatch (R/R or receipted L/R)

- Contractor’s GST invoice, claim & packing list identifying contents of each shipment

- Insurance policy/certificate

- Manufacturer’s/Contractor’s guarantee certificate of Quality

- Evidence of receipt of material, Material Acceptance Certificate issued by the Employer’s representative.

- Factories/Manufacturer’s Test/Inspection Certificate of Supplier, if applicable.

- Submission of Contract Performance Guarantee and verification by POWERGRID

Balance 20% (Twenty percent) of the ex-Works price of Main Equipment/Materials shall be paid after successful completion of entire scope of work under the Contract.

B   Erection Portion:

100% Erection charges shall be paid after successful completion of services rendered and submission of invoice and certification of Engineer in Charge.

# Payment of Taxes and Duties

# GST shall be reimbursed along with progressive payment. All GST payment shall be against GST Invoices/Debit notes raised by the Contractor as specified under the GST Act and related Rules, Notifications, etc. as notified by the Government in this regard. In the event that the Contractor fails to provide the Invoice/Debit note in the form and manner prescribed under the GST Act and Rules, the POWERGRID shall not be liable to make any payment against such Invoice/Debit note. Payment towards taxes & duties shall be released by the POWERGRID directly to the Contractor.

# The TDS on GST, as applicable, shall be deducted from each payment against GST invoices. The TDS on GST, so deducted will be reflected against the GST number on the GST portal.

# Method of Payment

# The Employer shall make payments promptly within Thirty (30) days of submission of an invoice/claim by the Contractor, complete in all respects and supported by the requisite documents and fulfillment of stipulated conditions, if any.  All the payment shall be released to the Contractor directly.

# All payments to be made directly to the Contractor shall be made by the Employer though electronic payment mechanism (e-payment) for which necessary details shall be tied up during execution of the Contract. However, a request for payment to be released through cheque shall be considered on case to case basis and merit of the same.

# Bill Tracking System

Prior to submission of bills in physical form, the Contractor shall submit its bills using On-line Vendor Bill Tracking System (referred to as the BTS) of POWERGRID as per procedure detailed herein below. Further, the Contractor may track the status of its bills using the BTS. To use this system the Contractor is required to get itself registered once online at ERP Portal of POWERGRID with the link URL (https://etender.powergrid.in ). Once registered, the Contractor may track status of bills submitted, passed and paid by POWERGRID this Contract and other Contracts awarded on it by POWERGRID by following the method detailed herein below:

      - Once registered, the Contractor can login to POWERGRID’s Vendor Bill Tracking System (BTS) with Vendor login ID and Password.

      - After login as at (a) above, Contractor is required to make the entry on POWERGRID’s ERP portal under the tab “Submit new Invoice” and shall fill all details along with the MSE status. Upon submission, a 16-digit unique BTS number will be generated and the Contractor will receive an automated email forwarding the unique BTS number.

      - The option to attach the soft copies of the documents has been enabled in BTS at https://etender.powergrid.in The attachment can be done after creation of BTS ID

      - The SOP for this process can be viewed after login to the Bill Tracking System portal with the following path.

https://etender.powergrid.in/ àà INVOICE SUBMITTED TAB àà Invoice Attachments àà SOP for uploading Documents

      - After attachment of the soft copies of the bills, please send the original hard copy documents to the respective Engineer-in-charge.

Alternately, the hard copy of the bills along with all enclosures can also be submitted directly to the following address after submission of soft copies of the bills to site engineer after creation of BTS ID.

Power Grid Corporation of India Ltd.

POWERGRID Payment Processing and Facilitation Center (PPPFC), Manesar

Taavadu Road, Panchgaon, Manesar

Gurgaon Haryana 122413

BTS ID: ________________________

Enter correct BTS ID to ensure original bills are not misplaced. POWERGRID shall not be responsible if bills are misplaced due to incorrect BTS ID

Send all the original hard copy documents in an envelope marked with above address and BTS ID

      - On the day the payment is made, a mail stating the “Bill number, net payment amount and details of the bank from where the payment has been made” will be sent to the Supplier.

      - The status of Bill submitted by the Supplier can be checked through the BTS number under tab “Invoice submitted”.

# POWERGRID is registered on TReDS (Trade Receivables Discounting system) platforms namely i.e RXIL (Receivables Exchange of India Limited) , M1 Xchange (Mynd Solutions Private Limited ) and Invoicemart (A. TReDS Limited) and facility of the same may be availed by Micro, small and Medium Enterprises (MSMEs) for payment.

# Quantity Variation

# During the execution of the Contract, POWERGRID reserves the right to increase or decrease the quantity of item under the contract but without any change in unit price or other terms and conditions. Such variations shall not be subject to any limitation for the individual items, however, the total variation in all such items under the contract shall be limited to plus or minus 25 % (Twenty-Five Percent) of the contract price.

# Liquidated Damages for Delay by Contractor

# If the Contractor fails to maintain the required progress or to complete the work and clear the site on or before the Contract or extended date of completion, he shall, without prejudice to any other right or remedy of the Corporation on account of such breach pay compensation amount equivalent to 0.05% (zero point zero five percent) of the contract price for the whole of the facilities (or a part for which a separate time for completion is agreed) as liquidated damages for such default and not as penalty, without prejudice to the Employer other remedies under the contract for each day that the progress remains below that specified in the approved work schedule or that the work remains incomplete. The Total Liquidated damages for delay under the contract shall however be subject to a maximum of 05 (Five) percent of the Total Contract Price.

# Any delay due to Force Majeure or reasons not attributed to the Contractor shall be considered for condonation upon examination by POWERGRID on merit. The decision of POWERGRID in such case shall be final and binding on the Contractor.

# The parties agree that the sum specified above is not a penalty but a genuine pre-estimate of the loss/damage which will be suffered by POWERGRID for default on the part of the contractor and said amount will be payable without proof of actual loss or damage caused by such default.

# The Employer may, without prejudice to any other method of recovery, deduct the amount of such damages from any monies due or to become due to the Contractor. The payment or deduction of such damages shall not relieve the Contractor from his obligation to complete the works, or from any other of his obligations and liabilities under the Contract.

# Defect Liability Period

# The Contractor shall ensure that all material/equipment/services executed/rendered under the Contract shall conform to the POWERGRID’s requirements and specifications. The vendor guarantees the material/equipment/services under the order free from defects arising from design, materials or workmanship for a period of 01 (One) year from the date of date of completion of work in all respects.

# The Contractor agrees to replace any material which has proved defective or fails to conform to the desired specifications free of cost to POWERGRID. The guarantee period for such replaced part shall be same as for the material/equipment/services rendered and specified earlier.

# Contract Performance Guarantee:

# The Contractor shall, within twenty-eight (28) days of the notification of award, provide Contract Performance Guarantee (CPG) for the due performance of the Contract in the amount equivalent to Ten percent (10%) of the Contract Price. The contractor shall submit Contract Performance Guarantee (CPG) as per the following:

# Bank Guarantee towards performance security in the amount equivalent to Ten percent (10%) of the Contract Price, with a validity upto ninety (90) days beyond the Defect Liability Period. The same shall be extended by the Contractor time to time till ninety (90) days beyond the actual Defect Liability Period, as may be required under the Contract.

# The contract performance guarantee shall, at contractor’s option, can also be in the form of a crossed Bank Draft/Pay Order/Banker Certified Cheque in favour of Owner or in the form of unconditional Bank Guarantee/ Insurance Surety Bond in the format attached hereto in this Section. The Insurance Surety Bond shall be from an Insurer as per guidelines issued by Insurance Regulatory and Development Authority of India (IRDAI).

# If the Contractor delays submission of the performance security vis-à-vis the period specified in clause 14.1, then without prejudice to any other rights or remedies available with the Employer, following shall also be applicable:

- The Defect Liability Period pursuant to clause 13.0 for the Facilities or any relevant part thereof covered under the said performance security shall stand extended and the Contractor shall accordingly extend the validity of the Contract Performance Security to be furnished as per clause 14.2 by the period of delay as per clause 14.2.2 (c), over and above the period required as per the Contract.

- Alternatively, if the Contractor fails to extend the validity of the performance security pursuant to clause 14.2.2 (a), an amount @ prevailing SBI Card Rate applicable for Inland Bank Guarantee +2% per annum on the performance security amount corresponding to the Facilities or any relevant part thereof covered under the said performance security, for the period of delay as per clause 14.2.2 (c) shall be paid by the Contractor to the Employer. The Employer may, without prejudice to any other method of recovery, deduct the amount worked out as above from any monies due or to become due to the Contractor under the Contract.

- The period of delay for the above purpose shall be the time elapsed between the due date for submission of performance security as per the Contract and the date of performance security.

- In case the Contractor fails to submit the performance security, the Employer, without prejudice to any other rights or remedies it may possess under the Contract, may terminate the Contract forthwith pursuant to relevant GCC Clause.

- The above extension of Defect Liability Period or deduction shall not relieve the Contractor from any of his obligations and liabilities under the Contract.

- The Employer shall be sole judge in above regard.

# Issuing Banks

The Bank Guarantee for Performance Security are to be provided by the Contractor, which should be issued either:

- by a Public Sector Bank located in India, or

- a scheduled Indian Bank having paid up capital (net of any accumulated losses) of Rs. 1,000 Million or above (the latest annual report of the Bank should support compliance of capital adequacy ratio requirement), or

- by a foreign bank or a subsidiary of a foreign bank, acceptable to the Purchaser, with overall international corporate rating or rating of long-term debt not less than A- (A minus) or equivalent by a reputed rating agency. Further, the Bank Guarantee should be confirmed by either (i) its corresponding bank located in India; or (ii) a Public Sector Bank located in India; or (iii) a scheduled commercial private bank located in India as per para (b) above.

# Contract Performance Security for the subject package can also be submitted online using POWERGRID Online Payment Utility. The link is https://epay.powergrid.in/

As a Contractor, following selections to be made

| Payment Category | Performance Security |
| --- | --- |
| Sub-category | Performance Security Payment–NR-III |
| Name of Depositor | Name of the Contractor |
| Vendor Code, if applicable | POWERGRID vendor code of the Contractor |
| Payment Remarks | Performance Security for ………….. [enter the name of the contract and last four digits of the LOA number] |

Payment Transaction reference number shall be submitted to POWERGRID for verification

# Alternately, bidder may opt for submission of Contract Performance Guarantee in form of Security Deposit. Pro-rata deduction at the rate of ten percent (10%) from the Running Bill of the contractor shall be made towards Security Deposit (SD). This deduction (including the initial Security Deposit) shall be continued till the total amount towards Security Deposit reaches ten percent (10%) of the Contract Price.  If Bid Security has been submitted in the form of Bank Guarantee or Insurance Surety Bond then Bid Security shall be returned upon deduction of equivalent amount as Initial Security Deposit from the first RA bill of the Contractor.

# No interest shall be payable to the Contractor against SD/CPG.

# Forfeiture of Contract Performance Guarantee:

In case the contractor fails to carry out the work or perform or observe any of the conditions of the contract, the Contract Performance Guarantee shall be forfeited, without prejudice to any other right or remedy of POWERGRID to which it is entitled.

# Reduction in Contract Performance Guarantee pro rata to the Contract Price of any part of the Goods and related services is not admissible.

# Owner’s Lien on Equipment

# The Owner shall have lien on all equipment including those of the Contractor brought to the Site for the purpose of erection, testing and commissioning of the equipment to be supplied & erected under the Contract. The Owner shall continue to hold the lien on all such equipment throughout the period of Contract. No material brought to the Site shall be removed from the Site by the Contractor and/or his Sub-Contractors without the prior written approval of the Engineer.

# Inspection, Testing and Inspection Certificates

# The Engineer-in-Charge or his representative shall have powers at any time to inspect and examine any part of the works and the Contractor shall give such facilities as may be required for such inspection and examination

# If specified in the technical specifications/ scope of work, the Contractor shall at its own expense carry out at the place of manufacture and/or on the Site all such tests and/or inspections of the Plant and Equipment and any part of the Facilities.

# The Employer and the Project Manager or their designated representatives shall be entitled to attend the aforesaid test and/or inspection, provided that the Employer shall bear all costs and expenses incurred in connection with such attendance including, but not limited to, all traveling and board and lodging expenses.

# The Engineer shall have the right to re-inspect any equipment though previously inspected and approved by him at the Contractor’s works, before and after the same are erected at Site. If by the above inspection, the Engineer rejects any equipment, the Contractor shall make good for such rejections either by replacement or modifications/repairs as may be necessary to the satisfaction of the Engineer. Such replacement will also include the replacements or re-execution of such of those works of other Contactors and/or agencies, which might have got damaged or affected by the replacements or re-work done to the Contractor’s work.

# The Contractor at no extra cost to POWERGRID shall arrange all tests on materials and finished products, required as per technical specifications/ scope of work and/ or Field Quality Plans of POWERGRID, if applicable for the work.  The rates of items indicated in the BoQ are inclusive of all the tests and nothing shall be paid extra on account of this.

# Protection of Work

# The Contractor shall have total responsibility for protecting his works till it is finally taken over by the Engineer. No claim will be entertained by the Owner or by the Engineer for any damage or loss to the Contractor’s works and the Contractor shall be responsible for complete restoration of the damaged works to original conditions to comply with the specification and drawings, should any such damage to the Contractor’s works occur because of any other party not being under his supervision or control.

# The Contractor shall make his claim directly with the party concerned. If disagreement or conflict or dispute develops between the Contractor and the other party or parties concerned regarding the responsibility for damage to the Contractor’s works, the same shall be resolved by the Contractor and parties concerned. The Contractor shall not cause any delay in the repair of such damaged works because of any delay in the resolution of such dispute. The Contractor shall proceed to repair the Work immediately and no cause thereof will be assigned pending resolution of such disputes.

# Facilities to be Provided by the Contractor

  - Tools, tackles and scaffoldings

The Contractor shall provide all the construction equipment; tools, tackles and scaffoldings required for pre-assembly, erection, testing and commissioning of the equipment covered under the Contract. He shall submit a list of all such materials to the Engineer before the commencement of pre-assembly at Site. These tools and tackles shall not be removed from the Site without   the written permission of the Engineer.

  - First-aid

The Contractor shall provide necessary first-aid facilities for all his employees, representatives and workmen working at the Site. Enough number of Contractor`s personnels shall be trained in administering first-aid.

The Owner will provide the Contractor, in case of any emergency, the services of an ambulance for transportation to the nearest hospital.

- Fire Protection

  - The work procedures that are to be used during the erection shall be those, which minimize fire hazards to the extent practicable. Combustible materials, combustible waste and rubbish shall be collected and removed from the Site at least once each day. Fuels, oils and volatile or inflammable materials shall be stored away from the construction and equipment and materials storage areas in safe containers. Un-treated materials shall not at all be used at Site for any other purpose unless otherwise specified. If any such materials are received with the equipment at the Site, the same shall be removed and replaced with acceptable materials before moving into the construction or storage area.

  - Similarly, corrugated paper fabricated cartons etc. will not be permitted in the construction area either storage or for handling of materials. All such materials used shall be of waterproof and flame-resistant type. All other materials such as working drawings, plans etc., which are combustible but are essential for the works to be executed shall be protected against combustion resulting from welding sparks, cutting flames and other similar fire sources.

  - All the Contractor’s supervisory personnel and sufficient number of workers shall be trained for firefighting and shall be assigned specific fire protection duties. Enough of such trained personnel must be available at the Site during the entire period of the Contract.

  - The Contractor shall provide enough fire protection equipment of the types and numbers for the warehouses, office, temporary structures, labour colony area etc. Access to such fire protection equipment shall be easy and kept open at all times.

# Security

# The Contractor shall have total responsibility for all equipment and materials in his custody/stores, loose, semi-assembled and/or erected by him at Site. The Contractor shall make suitable security arrangements including employment of security personnel to ensure the protection of all materials, equipment and works from theft, fire, pilferage and any other damages and loss. All materials of the Contractor shall enter and leave the project site only with the written permission of the Engineer in the prescribed manner

# Pre-Commissioning Trials and Initial Operations

# The pre-commissioning trials and initial operations of the equipment furnished and erected by the Contractor shall be the responsibility of the Contractor, if mentioned in the Technical Specifications/ Scope of Work. The Contractor shall provide, in addition, test instruments, calibrating devices, etc and labour required for successful performance of these trials. If it is anticipated that the above test may prolong for a long time, the Contractor’s workmen required for the above test shall always be present at Site during such trials.

- Materials Handling and Storage

  - All the equipment furnished under the Contract and arriving at Site shall be promptly received, unloaded, transported and stored in the storage spaces by the Contractor.

  - Contractor shall be responsible for examining all the shipment and notify the Engineer immediately of any damages, storage, discrepancy etc, for the purpose of Engineer’s information only. The Contractor shall submit to the Engineer every week a report detailing all the receipts during the week. However, the Contractor shall be solely responsible for any shortages or damages in transit, handling and / or in storage and erection of the equipment at Site. Any demurrage, wharfage and other such charges claimed by the transporters, railways etc, shall be to the account of the Contractor.

  - The Contractor shall maintain an accurate and exhaustive record detailing out the list of all equipment received by him for the purpose of erection and keep such record open for the inspection of the Engineer in-charge.

  - All equipment shall be handled very carefully to prevent any damage or loss. No bare wire ropes, slings, etc. shall be used for unloading and/or handling of the equipment without the specific written permission of the Engineer. The equipment stored shall be properly protected to prevent damage either to the equipment or to the floor where they are stored. The equipment from the store shall be moved to the actual location at the appropriate time so as to avoid damage of such equipment at Site.

  - All electrical panels, control gears, motors and such other devices shall be properly dried by heating before they are installed and energized. Motor bearings, slip ring, commutators and other exposed parts shall be protected against moisture ingress and corrosion during storage and periodically inspected.

  - All the electrical equipment such as motors, generators, etc. shall be tested for insulation resistance atleast once in three months from the date of receipt till the date of commissioning and a record of such measured insulation values maintained by the Contractor. Such records shall be opened for inspection by the Engineer.

  - The Contractor shall ensure that all the packing materials and protection devices used for the various equipment during transit and storage are removed before the equipment are installed.

  - The consumable and other supplies likely to deteriorate due to storage must be thoroughly protected and stored in a suitable manner to prevent damage or deterioration in quality by storage.

  - All the materials stored in the open or dusty location must be covered with suitable weatherproof and flame proof covering material wherever applicable.

  - If the materials belonging to the Contractor are stored in areas other than those earmarked for him, the Engineer will have the right to get it moved to the area earmarked for the Contractor at the Contractor’s cost.

  - The Contractor shall be responsible for making suitable indoor storage facilities to store all equipment, which require indoor storage. Normally, all the electrical equipment such as motors, control gears, generators, exciters and consumables like electrodes, lubricants etc. shall be stored in the closed storage space. The Engineer, in addition, may direct the Contractor to move certain other materials, which in his opinion will require indoor storage, to indoor storage areas, which the Contractor shall strictly comply with.

- Contractor’s Materials Brought on to Site

  - The Contractor shall bring to Site all equipment, components, parts, materials, including construction equipment, tools and tackles for the purpose of the works under intimation to the Engineer. All such goods shall, from the time of their being brought vest in the Owner but may be used for the purpose of the works only and shall not on any account be removed or taken away by the Contractor without the written permission of the Engineer. The Contractor shall nevertheless be solely liable and responsible for any loss or destruction thereof and damage thereto.

  - The Owner shall have a lien on such goods for any sum or sums which may at any time be due or owing to him by the Contractor, under, in respect of or by reasons of the Contract.  After giving a fifteen (15) days notice in writing of his intention to do so, the Owner shall be at liberty to sell and dispose off any such goods, in such manner as he shall think fit including public auction or private treaty and to apply the proceeds in or towards the satisfaction of such sum or sums due as aforesaid.

  - After the completion of the Works, the Contractor shall remove from the Site under the direction of the Engineer the materials such as construction equipment, erection tools and tackles, scaffolding etc. with the written permission of the Engineer. If the Contractor fails to remove such materials, within fifteen (15) days of issue of a notice by the Engineer to do so then the Engineer shall have the liberty to dispose off such materials as detailed under Clause 23.1 above and credit the proceeds thereto to the account of the Contractor.

- Commissioning Spares

  - It will be the responsibility of the Contractor to provide all commissioning spares required for initial operations till the equipment is declared by the Owner as ready for commissioning. The Contractor shall furnish a list of all commissioning spares within 60 days from the date of Letter of Award and such list shall be reviewed by the Owner and mutually agreed to. However, such review and agreement will not absolve the Contractor of his responsibilities to supply all commissioning spares so that initial operation does not suffer for want of commissioning spares. All commissioning spares shall be deemed to be included in the scope of the Contract at no extra cost to the Owner.

# Insurance

# The Contractor shall at its expense take out and maintain in effect, or cause to be taken out and maintained in effect, during the performance of the Contract, the insurances set forth below in the sums and with the deductibles and other conditions specified. The identity of the insurers and the form of the policies shall be subject to the approval of the Employer, who should not unreasonably withhold such approval.

# If during the execution of Contract, the Employer requests the Contractor to take any other add-on cover(s)/ supplementary cover(s) in aforesaid insurance, in such a case, the Contractor shall promptly take such add-on cover(s)/ supplementary cover(s) and the charges towards such premium for such add-on cover(s)/ supplementary cover(s) shall be reimbursed to the Contractor on submission documentary evidence of payment to the Insurance company. Therefore, charges towards premium for such add-on cover(s)/ supplementary cover(s) are not included in the Contract Price.

# The Contractor shall take the policy in the joint names of Employer and the Contractor. The policy shall indicate the Employer as the beneficiary. However, if the Contractor is having an open policy for its line of business, it should obtain an endorsement of the open cover policy from the insurance company indicating that the dispatches against this Contract are duly covered under its open policy and include the name of the Employer as jointly Insured in the endorsements to the open policy.

# The Contractor shall provide the Employer with a copy of all insurance policies and documents taken under this in pursuance of the contract. Such copies of documents shall be submitted to the Employer immediately after such insurance coverage.

# Insurances to be taken out by the Contractor

# All the material despatched shall be adequately covered under Transit Insurance cover. Insurance shall be arranged by the Seller/Contractor. The Seller/Contractor shall arrange, secure and maintain insurance as may be necessary and for all such amount to protect his interest and the interest of the Employer against all risks such as loss or damage in transit, theft, pilferage, riot, civil commotion, weather condition, accidents of all kinds, fire, war risk etc. and the same shall be on ware-house to ware-house basis.

A)(i)	Marine Cargo policy for imported equipment

The Contractor shall take the Marine Cargo Policy for Goods to be supplied from abroad wherein export/import including inland transit is involved for the movement of the Goods. The policy shall cover movement of Goods from the manufacturer’s works to the project’s warehouse at final destination site. The policy shall cover all risk for loss or damage that may occur during transit of Goods from the Contractor’s/Sub-Contractor’s works or stores until arrival at project’s warehouse/ store at final destination. The perils required to be covered under the insurance shall include, but not be limited to, fire and allied risks, miscellaneous accidents, workman compensation risks, loss or damage in transit, theft, pilferage, riots and strikes and malicious damages, civil commotion, weather conditions, accidents of all kinds, war risks (as far as insurable) etc. Institute Cargo Clause (ICC) ‘A’ along with war & Strike Riots & Civil Commotion (SRCC) cover shall be taken.

A(ii)	Transit Insurance Policy for indigenous equipment

Similarly, Transit Insurance Policy shall be taken wherein only inland transit is involved for the movement of Goods supplied from within India.  The policy shall cover movement of Goods from the manufacturer’s works to the project’s warehouse at final destination site. The perils required to be covered under the insurance shall include, but not be limited to, fire and allied risks, miscellaneous accidents, workman compensation risks, loss or damage in transit, theft, pilferage, riots and strikes and malicious damages, civil commotion, weather conditions, accidents of all kinds, war risks (as far as insurable) etc. Inland Transit Clause (ITC) ‘A’ alongwith war & Strike Riots & Civil Commotion (SRCC) extension cover shall be taken.

The scope of such insurance shall be adequate to cover the replacement/reinstatement cost or 120% of CIF/Ex-Works cost whichever is higher, of the Goods for all risks upto and including delivery of Goods on final destination site basis and shall also cover customs duty on merit rate, inland transportation and other costs till the Goods are delivered at site. The insurance policies to be taken should be on replacement value basis and/or incorporating escalation clause. The Employer shall recover the payments made except advance and the balance amount shall be released to the Contractor. Notwithstanding the extent of the insurance cover and the amount of claim available from the underwriters, the Contractor shall be liable to make good the full replacement/rectification of all Goods/Materials and to ensure their availability as per project requirements. The Contractor shall be authorized to deal directly with the insurance company.

# Erection All Risk Policy/Contractor All Risk Policy

- The policy should cover all physical loss or damage to the facility at site during storage, erection and commissioning covering all the perils as provided in the policy as a basic cover and the add on covers as mentioned at Sl. No. (III) below:

| Amount | Deductible limits | Parties insured | From | To |
| --- | --- | --- | --- | --- |
| 100% of Contract Price | Minimum Deductible as per Tariff Advisory Committee guidelines* | Contractor & Employer | Date of Commencement of Work | Date of Completion of Work |

*	The deductibles as aforesaid shall not absolve the Contractor of his risks and liabilities under the contract provisions for insurance and in case of a claim under the policy, deductibles, if any, shall be to the Contractor’s account

- The Contractor shall take the policy in the joint name of Employer and the Contractor. All these policies shall indicate Employer as the co-insured and beneficiary. The policy shall be kept valid till the date of completion of entire work and taking over of the completed works by the Employer.

- The following add-on covers shall also be taken by the Contractor:

      - Earthquake

      - Terrorism

      - Escalation cost (approximately @10% of sum insured on annual basis)

      - Extended Maintenance cover for Defect Liability Period

      - Design Defect

      - Other add-on covers viz., 50-50 clause, 72 hours clause, loss minimization clause, waiver of subrogation clause (for projects of more than Rs.100 crores, cover for offsite storage/fabrication (over Rs.100 crores).

- Third Party Liability cover with cross Liability within Geographical limits of India as on add-on cover to the basic EAR cover

| Amount | Deductible limits | Parties insured | From | To |
| --- | --- | --- | --- | --- |
| 10% of the Contract Price for single occurrence/multiple occurrences in aggregate during the entire policy period. | Minimum Deductible as per Tariff Advisory Committee guidelines* | Contractor/ Sub contractor | Date of Commencement of Work | Date of Completion of Work |

*	The deductibles as aforesaid shall not absolve the Contractor of his risks and liabilities under the contract provisions for insurance and in case of a claim under the policy, deductibles, if any, shall be to the Contractor’s account

The Third-Party Liability add-on cover shall cover bodily injury or death suffered by third parties (including the Employer’s personnel) and loss of or damage to property (including the Employer’s property and any parts of the Facilities which have been accepted by the Employer) occurring in connection with execution of the works under the contract.

# Workmen Compensation Policy

- The policy may either be project specific covering all men of the Contractor and its Subcontractors. The policy shall be kept valid till the date of Operational Acceptance of the project.

Alternatively, if the Contractor has an existing ‘Workmen Compensation Policy’ for all its employees including that of the Subcontractor(s), the Contractor must include the interest of the Employer for this specific Project in its existing ‘Workmen Compensation Policy’.

- Without relieving the Contractor of its obligations and responsibilities under this Contract, before commencing work the Contractor shall insure against liability for death of or injury to persons employed by the Contractor including liability by statute and at common law. The insurance cover shall be maintained until all work including remedial work is completed including the Defect Liability Period. The insurance shall be extended to indemnify the Principal for the Principal’s statutory liability to persons employed by the Contractor.

The Contractor shall also ensure that each of its Subcontractors shall effect and maintain insurance on the same basis as the ‘Workmen Compensation Policy’ effected by the Contractor

# The Contractor shall ensure that all the vehicles deployed by the Contractor or its Subcontractors (whether or not owned by them) in connection with the supply and installation of the Facilities in the project are duly insured as per relevant provisions of the Motor Vehicle Act.

# Patent Rights

# Royalties and fees for patents covering material/equipment or processes used in executing the work shall be to the account of the Contractor.  The Contractor shall satisfy all demand that may be made at any time for such royalties and fees and exclusively shall be liable for damages, infringement and shall keep the Employer indemnified in that regard.  In the event of any equipment/material or part thereof provided by the Contractor is involved in any suit or other proceedings held to constitute infringement and its use is enjoined, the Contractor shall at his own expenses, either procure for the Employer the right to continue the use of such equipment/material or replace it with a non-infringing material/equipment or modify it so that it becomes non-infringing.

# Deployment of Staff & Equipment

# The Contractor shall provide and employ only technical personnel who are skilled and experienced in their respective callings. The supervisory staff should be competent to adequately supervise the work at hand.

# All necessary tools & tackles and plants & equipment shall be arranged and transported to sites, associated with the above scope of work, by the Contractor at his cost and expense.

# The contractor shall deploy additional Manpower, Machinery, Materials etc., as and when considered necessary by the Engineer-in-charge or his representative, without any additional liability on any reason whatsoever.

# Materials and components not specifically stated in the various documents forming part of the contract but which are necessary for completion of works shall be deemed to be included in the scope. All such materials and components shall be arranged and transported by the contractor at his cost and expense.

# All Contractor’s equipment brought by the Contractor onto the Site shall be deemed to be intended to be used exclusively for the execution of the Contract. The Contractor shall not remove the same from the Site without the consent of Engineer-in-Charge that such Contractor’s equipment is no longer required for the execution of the Contract.

# Compliance of Regulations

# The Contractor shall warrant that all Goods and or services covered under the scope of work shall have been produced, sold, dispatched, delivered, installed, tested and commissioned in strict compliance with all applicable rules, regulations and Law of the Land.

# The Contractor should execute and deliver such documents as may be needed by the Employer in evidence of compliance of all laws & rules and regulations required to be incorporated in this reference. Any liability, arising out of contravention of any of the laws in executing the works shall be the sole responsibility of the Contractor and the Employer shall not be responsible in any manner whatsoever.

# Compliance of Labour Regulations

# During continuance of the contract, the Contractor and his sub-contractors shall abide at all times by all applicable existing labour enactments and rules made thereunder, regulations notifications and byelaws of the State or Central Government or local authority and any other labour law (including rules), regulations bye laws that may be passed or notification that may be issued under any labour law in future either by the State or the Central Government or the local authority. The employees of the Contractor and the Sub-contractor in no case shall be treated as the employees of the Employer at any point of time.

# The Contractor shall keep the Employer indemnified in case any action is taken against the Employer by the competent authority on account of contravention of any of the provisions of any Act or rules made thereunder, regulations or notifications including amendments.

# If the Employer is caused to pay under any law as principal employer such amounts as may be necessary to cause or observe, or for non-observance of the provisions stipulated in the notifications/byelaws/Acts/Rules/regulations including amendments, if any, on the part of the Contractor, the Employer shall have the right to deduct any money due to the Contractor under this contract or any other contract with the employer including his amount of performance security for adjusting the aforesaid payment. The Employer shall also have right to recover from the Contractor any sum required or estimated to be required for making good the loss or damage suffered by the Employer.

# Notwithstanding the above, the Contractor shall furnish to the Employer the details/documents evidencing the Contractor’s compliance to the laws applicable to establishments engaged in building and other construction works, as may be sought by the Employer. In particular the Contractor shall submit quarterly certificate regarding compliance in respect of provisions of Employees‟ Provident Fund and Misc. Provisions Act 1952 to the Employer. For this purpose, the Contractor as well as its Sub- Contractor(s) should have Provident Fund Code Number and all the workers deployed by the Contractor or Sub-Contractor must be enrolled as members of Provident Fund having an Universal Account Number (UAN).

# Safety Provisions

# The Contractor shall be responsible for the safety during all activities at the Site.

# The Contractor shall:

- comply with all applicable safety regulations and Laws;

- comply with all applicable safety obligations specified in the Contract;

- ensure proper safety of all workmen, materials, plant and equipment belonging to him/subcontractor working at site or entitled to be on the site or other places, if any, where the works are being executed. The Sub-contractor’s workmen/ employees shall also be considered as the Contractor’s employees/ workmen. Contractor shall be responsible for safety of all employees/workmen belonging to him or his subcontractor.

# All equipment (machineries/ lifting T&Ps/ wire sling/ polypropylene ropes etc.) shall be strictly operated/used and maintained by the Contractor in accordance with manufacturer’s Operation Manual /safety instructions and as per guidelines/rules of Employer in this regard.

# The Contractor shall not make any connection/change in any electrical equipment belonging to the Employer or other Contractors without prior written permission of Engineer-in-charge.

# The equipment must be declared safe by the Engineer-in-Charge and a permit to work/permission shall be issued by the Engineer-in-Charge before any work. No work shall be carried out on any live equipment.

# The Contractor shall deploy fulltime Supervisor or Safety Supervisor/Steward (if deployed workmen are more than 10 at a site). He shall brief to each worker daily before start of work about safety requirement and precautions to be taken against the imminent dangers (Daily Safety pep-talk).

# In-case of manpower deployed at a site is less than 10 then Agency will nominate senior most experienced worker as gang leader/steward for above works.

# In case of any accident

# The Contractor shall promptly inform to the Engineer-in-Charge and also to all the authorities envisaged under the applicable laws.

# The Contractor shall ensure that the affected person(s) must be administered first-aid and all efforts made to immediately shift to nearby hospital or any other such place for medical treatment. Contractor shall bear all medical expenditure for treatment of accident victim.

# POWERGRID’s Engineer-in-charge or his deputed representative shall have the right at his sole discretion to stop the work, if in his opinion the work is being carried out in such a way that it may cause accidents and endanger the safety of the persons and/or property, and/or equipment.

# It is mandatory for the Contractor to observe the following during the execution of the works:

# Safety induction training (02-days training for skilled/semi-skilled & 01-day training for unskilled) shall be provided by the Contractor to the staff/ gang.

# Contractor shall procure (if required) sufficient quantity of Earthing equipment/ Earthing devices complying with requirements of relevant IEC standards and to the satisfaction of POWERGRID Engineer In-Charge.

# The Contractor shall provide standard personal protective equipment (helmet, electrical safety shoe, gloves, goggles, safety harness, fall arrestors, reflective jackets) and sufficient quantity of tools to all employees and workmen as per the need or as may be directed by the Engineer-in-Charge.

# Contractor shall provide communication facilities as per requirement i.e. Walky – Talkie/mega-phones/mobile phone, display of flags/whistles for easy communication among workers during the activity.

# The gang leader /supervisor staff present at ground should have constant vigil on the workers working at height to alert them. Workers working at height should not be allowed use of mobile phone.

# Labour camps shall be provided to the workers wherever necessary. Camps shall be adequately lighted, ventilated, maintained in a clean and sanitary condition with proper toilet facility.

# First-aid box should be available at site.

# The Contractor shall provide safe working conditions to all workmen and potable/ safe drinking water for workers at site /at camp with required hygiene and sanitation.

# The Contractor shall submit the following documents to the Engineer-in-charge before deployment of man power (or) before start of work:

- Safe work procedure for each activity to be prepared by the Contractor and to be submitted to Engineer in-Charge.

- Safety Policy/ Safety Document of the Contractor’s company.

- Contractor shall also submit list of identified emergency facilities available at nearby site.

- Health checkup of all workers from competent agencies/departments before deployment at site.

- Documentary evidences in regard to compliance to various Statutory Requirements i.e. License’s (Labour license, Electrical license, Explosive license etc.), certificates & registration’s (BOCW), Insurance (WC policy/ ESIC, public liability etc.).

# In case of accidents, the following methodology will be adopted:

# In case of first fatal accident at the site (or adjacent thereto) of bidder during financial year, bids submitted by such bidder shall be considered non-responsive for all regional /site packages across POWERGRID (including consultancy) whose date of bid opening, originally scheduled and/or actual, falls within the 06 months reckoned from the date of the first fatal accident.

# Subsequent to bidder’s involvement in two cumulative fatal accidents during any financial year, bids submitted by such bidder shall be considered non-responsive for all regional/site packages across POWERGRID (including consultancy) whose date of bid opening, originally scheduled and/or actual, falls within the 01-year reckoned from the date of the second fatal accident (or) 18 months from the date of first fatal accident, whichever is later.

# For every subsequent fatal accident in same financial year bids shall be considered non-responsive in the manner as above for additional 12-month period. This period shall however, in sequence to and shall commence after expiry of non-responsiveness period on account of earlier accidents.

# Non-responsiveness period shall be irrespective of financial years and shall be in sequence to expiry of earlier non-responsiveness period.

# Non-reporting of any accident to the Employer in any ongoing contract with the Employer or any suppression of facts/related information in regard to accident shall lead to determination of bid of such Contractors as non-responsive for all packages whose date of bid opening, originally scheduled and/or actual falls within a period of one year reckoned from the date on which the Employer determines Non-reporting of the accident/Suppression of facts/related information in regard to accident by the Contractor.

# Force Majeure

# Force Majeure is herein defined as any cause which is beyond the control of the Contractor or the Owner as the case may be, which they could not foresee or with a reasonable amount of diligence could not have foreseen and which substantially affects the performance of the contract, such as natural phenomena, including but not limited to floods, droughts, lightnings, earthquakes, epidemics, acts of any Govt.  including but not limited to war (declared or undeclared), priorities, quarantines, embargoes. Provided either party shall within 15 days from the occurrence of such a cause notify the other in writing of such causes along with proof thereof.

# The Contractor or the Employer shall not be liable for delays in performing his obligations resulting from any force majeure cause as referred to and or defined above.  The date of completion of delivery as provided in the purchase order shall be extended by a reasonable time unless the parties agree upon other courses of action.

# Sub-Letting & Assignment

# The Contractor shall not sublet, transfer or assign any part of the work without the prior written consent of the Employer. Such assignment or subletting or transfer shall not relieve the Contractor from any obligation, duty and responsibility under this Contract.  Any assignment, transfer or subletting without the prior written approval of the Employer shall be void.  The Employer shall have the right to cancel the contract and get the balance work done from other agency/agencies and the Contractor shall be liable to the Employer for any loss or damage which the Employer may sustain in consequence of such execution of work and the Contractor shall indemnify such loss or damage to the Employer.

# Employment of the piece rate workers on piece rate works shall not be deemed to be sub-contracting provided that complete responsibility under the Labour Regulation Act/Labour Laws in force shall solely rest on the Contractor/agency who employs sub-contractor and that too with prior approval of Engineer-in-Charge.

# Further, the Contractor shall not subcontract any work to a subcontractor/sub vendor from such countries which shares a land border with India unless such subcontractor/sub vendor fulfills all requirement in regard to ‘Bidder from a country which shares a land border with India’ as per ITB clause 1.2.1. This restriction on subcontracting shall not be applicable for procurement of raw materials, components, sub-assemblies etc. However, in case of finished goods procured directly/indirectly from the vendors from the countries sharing land border with India, such vendor will be required to be registered with the competent Authority.

# Cancellation

# In the event of any of the lapses mentioned below at (a) to (j), POWERGRID shall issue notice of default to the contractor with an advice to rectify/remedy the lapses within 7 days. If the contractor fails to rectify/remedy the lapses and adhere to the terms and conditions of the contract/Letter of Award, POWERGRID shall terminate the contract/cancel the Letter of Award and forfeit the Contract Performance Guarantee (Security Deposit/Bank Guarantee towards Contract Performance Guarantee). However, in such case, POWERGRID reserves the right to get execute the supplies from any other agencies, at the risk & cost of the contractor

    - Failure to proceed with the work with due diligence.

    - Failure of contractor to comply with any of the terms of the Letter of Award.

    - Failure to maintain the acceptable quality of work as per BoQ, Technical Specifications and other documents contained in the Letter of Award.

    - Failure to complete the works within the specified completion time.

    - Contractor becomes bankrupt.

    - Contractor goes into liquidation.

    - Contractor makes general assignment for the benefit of the creditor or any receiver is appointed for the property owned by the Contractor.

    - Contractor sublets, transfers or assigns whole or any part of the work without the prior written consent of the Employer.

    - if the Contractor, in the judgment of the Owner has violated the ‘Code of Integrity for Public Procurement’ attached as Appendix-I to the Conditions of Contract, in competing for or in executing the Contract.

In persuasions to its policy for ‘Code of Integrity for Public Procurement’, the Owner will take appropriate measures in line with the above policy if it determines that the firm has, directly or through an agent, violated this Code of Integrity in competing for or in executing, the contract in question.

    - Any other reason in which POWERGRID deems fit to cancel the letter of award.

# 33.2     In the event of cancellation of LOA due to contractor’s default, the contractor shall not be eligible for participating in the future tenders of POWERGRID for a period of 01 (one) year reckoned from the date of cancellation of LOA. Accordingly, contractor’s bid shall be considered as non-responsive/not eligible for the package(s) whose originally scheduled date of bid opening falls within the period of ineligibility mentioned herein.

# Risk Purchase

# The Employer reserves the right after due notice to Contractor, to get the work done from elsewhere at the risk and cost of the Contractor and recover extra costs, if any, incurred by the Employer in getting the work done by the above procedure.

# Waiver

# The waiver by the owner for any of his rights or breach of the terms and conditions of the Letter of Award/ Contract Agreement shall not constitute any waiver of any other right or subsequent breach or conditions.

# Limitation of Liability

# Except in cases of gross negligence or wilful misconduct,

# Contractor and POWERGRID shall not be liable to the other party for any indirect or consequential loss or damages, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Contractor to pay liquidated damages to POWERGRID and

# The aggregate liability of the Contractor to POWERGRID, under the contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the Contractor to indemnify POWERGRID with respect to patent infringement.

# Arbitration

# All disputes or differences in respect of which the decision, if any, of the Project Manager and/or the Head of the Implementing Authority has not become final or binding as aforesaid shall be settled by arbitration in the manner provided herein below.

# The arbitration shall be conducted by a sole arbitrator. The sole Arbitrator shall be chosen from a panel of empaneled Arbitrators maintained by POWERGRID. The same shall comprise of retired Judges and retired Senior executives of PSUs other than POWERGRID. Further, the choice of sole Arbitrator shall be governed by the amount of claim in the following manner:

| Sl No. | Claim amount | Work Experience/ Qualifications |
| --- | --- | --- |
| 1 | < Rs. 10 Crore | Sole Arbitrator - Retired Senior Executives of PSUs other than POWERGRID/ Retired Distt Court Judges/ Retired High Court Judges. |
| 2 | Rs. 10 Crore - Rs. 25 Crore | Sole Arbitrator - Retired High Court Judges/ Retired Supreme Court Judges |

- In case of invocation of arbitration by POWERGRID, POWERGRID shall, within 30 days, send a list of names of 3 arbitrators from its list/database of Arbitrators and the contractor shall within the period of further 30 days select any one person to act as “Sole Arbitrator”, which will be confirmed by POWERGRID and matter will be referred to such appointed Arbitrator for further arbitration proceedings.

- In case of invocation of arbitration by the Contractor, the Contractor shall request POWERGRID for its database of Arbitrators/ chose from the list of Arbitrators available on POWERGRID’s website, and the contractor shall, within 30 days, select any one Arbitrator from the above to act as “Sole Arbitrator”, which will be confirmed by POWERGRID within 30 days and matter will be referred to such appointed Arbitrator for further arbitration proceedings.

If the parties fail to appoint sole arbitrator within sixty (60) days after receipt of a notice from the other party invoking Arbitration, the appointment of sole arbitrator shall be done by Courts as per the provisions of Indian Arbitration and Conciliation Act, 1996 or any statutory modification thereof.

# Social Accountability

# Contractor shall confirm to stand committed to comply all requirements of Social Accountability Standards i.e., SA8000 (latest Standard available at www.sa-intl.org ) and maintain the necessary records.

# Reference Contract Price for Different Purposes

# The contract price, as originally awarded, shall be the reference price for determining the initial value of CPG. In case of any amendment to the contract, the contract price as amended shall be the reference price for determining the value of CPG and LD Amount.

# Pre-Defined Events

# POWERGRID has a Policy on Assessment of performance of bidders before recommending a bidder for award of Contract. For this purpose, performance of a bidder based on events (pre-defined events) encountered during execution of contract(s) (Own as well as Consultancy) awarded by POWERGRID (including SPVs under TBCB) shall also be considered. In case of triggering of these events, the bids from such bidders shall be considered non-responsive/not eligible for a period of one year reckoned from the date of issuance of letter to such effect. As per this Policy, pre-defined events are as below:

- Termination# of Contract due to Contractor’s default

- Encashment of CPG due to non-performance

- Repeated failure of major Equipment while in service

- Substantial portion of works (more than 50% of the Contract*) is sub-contracted, under an existing Contract

- More than 25% of the Contract price (awarded value), in aggregate, is paid to sub-contractors/suppliers as Direct payment, under an existing Contract, due to financial position of Contractor

- Firm has been referred to NCLT under Insolvency & Bankruptcy Code (IRP has been appointed or Liquidation proceedings have been initiated under IBC)

# Partial offloading under a Contract and/or Facilitation beyond 10% of the Contract Price shall also be treated as Termination.

*For the purpose of working out 50% of the Contract, following shall be taken into account:

- Scope of the contract which is permissible to be sub-contracted as per bidding documents, shall be excluded.

- Scope of the Contract which primarily relates to the Qualification Requirement (QR) of the bidder.

The Employer shall be the sole judge in this regard and the Employer’s interpretation on the aforesaid event(s) shall be final and binding.

In accordance with above policy of POWERGRID, in case of triggering of any of the above events under this Contract, the bid of the Contractor in future tenders shall be dealt in line with the above policy or its subsequent amendments, if any.

# POWERGRID Whistle Blower and Fraud Prevention Policy

The Contractor along with its associate/ collaborators/ sub-contractors/ sub-vendors/consultants/ service providers shall strictly adhere to the Whistle Blower and Fraud Prevention Policy of Employer displayed on its tender website https://apps.powergrid.in/pgciltenders/u/default.aspx  and https://www.powergrid.in/index.php/en/code-conductpolicies.

The Contractor along with their associate / collaborator / subcontractors / sub-vendors / consultants / service providers shall observe the highest standard of ethics and shall not indulge or allow anybody else working in their organization to indulge in fraudulent activities during execution of the contract. The contractor shall immediately apprise the Employer about any fraud or suspected fraud as soon as it comes to their notice.

Appendix-I to Conditions of Contract

1.0	Code of Integrity for Public Procurement

1.1	Employer as well as bidders, suppliers, contractors and consultants should observe the highest standard of ethics and should not indulge in the following prohibited practices, either directly or indirectly, at any stage during the procurement process or during execution of resultant contracts:

i) 	“Corrupt practice”: making offers, solicitation or acceptance of bribe, rewards or gifts or any material benefit, in exchange for an unfair advantage in the procurement process or to otherwise influence the procurement process or contract execution;

ii) 	“Fraudulent practice”: any omission or misrepresentation that may mislead or attempt to mislead so that financial or other benefits may be obtained or an obligation avoided. This includes making false declaration or providing false information for participation in a tender process or to secure a contract or in execution of the contract;

iii) 	“Anti-competitive practice”: any collusion, bid rigging or anti-competitive arrangement, or any other practice coming under the purview of The Competition Act, 2002, between two or more bidders, with or without the knowledge of the Employer, that may impair the transparency, fairness and the progress of the procurement process or to establish bid prices at artificial, non-competitive levels;

iv) 	“Coercive practice”: harming or threatening to harm, persons or their property to influence their participation in the procurement process or affect the execution of a contract;

v) 	“Conflict of interest”: any personal, financial, or business relationship between the bidder and any personnel of the procuring entity who are directly or indirectly related to the procurement or execution process of the contract, which can affect the decision of the procuring entity directly or indirectly.

vi)	“Undue Advantage”: improper use of information obtained by the bidder from the procuring entity with an intent to gain an unfair advantage in the procurement process or for personal gain. This also includes if the bidder (or his allied firm) provided services for the need assessment/ procurement planning of the tender process in which it is participating;

vii) 	“Obstructive practice”: materially impede the Employer’s investigation into allegations of one or more of the above mentioned prohibited practices either by deliberately destroying, falsifying, altering; or by concealing of evidence material to the investigation; or by making false statements to investigators and/or by threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or by impeding the Employer’s rights of audit or access to information.

1.2	Obligations for Proactive Disclosures

i) 	POWERGRID as well as bidders, suppliers, contractors and consultants, are obliged under Code of Integrity for Public Procurement to suo-moto proactively declare any conflicts of interest (coming under the definition mentioned above – pre-existing or as and as soon as these arise at any stage) in any procurement process or execution of contract. Failure to do so would amount to violation of this code of integrity; and

ii) 	Any bidder must declare, whether asked or not in a bid document, any previous transgressions of such a code of integrity with any entity in any country during the last three years or of being debarred by any other procuring entity. Failure to do so would amount to violation of this code of integrity.

iii) 	To encourage voluntary disclosures, such declarations would not mean automatic disqualification for the bidder making such declarations. The declared conflict of interest may be evaluated and mitigation steps, if possible, may be taken by POWERGRID. Similarly voluntary reporting of previous transgressions of Code of Integrity elsewhere may be evaluated and barring cases of various grades of debarment, an alert watch may be kept on the bidder’s actions in the tender and subsequent contract.

1.3	Punitive Provisions: Without prejudice to and in addition to the rights of POWERGRID to other penal provisions as per the Bidding Documents or Contract, if POWERGRID comes to a conclusion that a (prospective) bidder/supplier, directly or through an agent, has violated this code of integrity in competing for the contract or in executing a contract, POWERGRID may take appropriate measures including one or more of the following:

i) 	if the bid(s) is under consideration in any procurement

a) 	Forfeiture or encashment of Bid Security

b) 	calling off of any pre-contract negotiations, and;

c) 	rejection and exclusion of the bidder from the procurement process

ii) 	if a contract has already been awarded

a) 	Cancellation/termination of the contract in question;

b) 	Forfeiture or encashment of Contract Performance Guarantee (CPG) of the contract in question;

iii) 	Provisions in addition to above:

a) 	Removal from the list of registered suppliers and banning/debarment of the bidder/contractor from participation in future procurements in line with POWERGRID’s policy for “Black-Listing of Firms / Banning of Business”.

b) 	In case of anti-competitive practices, information for further processing may be filed with the Competition Commission of India;

c) 	Initiation of suitable disciplinary or criminal proceedings against any individual or staff found responsible.

1.4	In pursuance to this policy, the Employer will have the right to require that the provision be included in Bidding Documents and in contracts, requiring Bidders, suppliers, and contractors and their sub-contractors to permit the Employer to inspect their accounts and records and other documents relating to bid submission and contract performance under this project only and to have them audited by auditors appointed by the Employer.

-----End of Appendix-I to Conditions of Contract-----

# PERFORMANCE SECURITY FORM

(For the purpose of verification/confirmation of this Bank Guarantee by the Employer, the Bank shall indicate 2 official email ids of the authorized signatories from Issuing Branch and also of the designated higher office (Corporate Office, Zonal Office etc) in the covering letter of the Bank forwarding the Bank Guarantee.)

Bank Guarantee No. ……………………	Date...................

NOA/LOA No.....................................

…………..[Name of Contract]…………………….

To: [Name and address of the Purchaser]

Dear Ladies and/or Gentlemen,

We refer to the Contract ("the Contract")

vide Notification/Letter of award issued on ………. (insert date of notification of award)…….by you to ……………… * ……………….

(* FOR PROPRIETORY CONCERNS

Shri __________(Name of Contractor) ____________ Son of ______________________ resident of ____________________________ carrying on business under the name and style of ______________________ at ________________ (hereinafter called “the Contractor”) concerning …….................….. (Indicate brief scope of work) ..................... for the complete execution of the …… (insert name of Package alongwith name of the Project) ……...

* FOR PARTNERSHIP CONCERNS

M/s ____________(Name of Contractor) _____________a partnership firm with its office at _______________________; the names of their partners being: (i) Shri/Smt ____________________ S/o ___________________ (ii) Shri/Smt __________________ S/o _____________ etc. (“the Contractor”) concerning …….................….. (Indicate brief scope of work) ............................... for the complete execution of the …… (insert name of Package alongwith name of the Project) ……..

* FOR COMPANIES

M/s _________________(Name of Contractor) _______________ a company registered under the Companies Act, 1956 and having its Principal place of business at ………....(Address of Contractor) ............................... and Registered Office at ………....(Registered address of Contractor) ............................................................................ ("the Contractor") ……………… concerning …….................….. (Indicate brief scope of work) ............................... for the complete execution of the …… (insert name of Package alongwith name of the Project) ……..

By this letter we, the undersigned, ………(insert name & address of the issuing bank) ………, a Bank (which  expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the bank)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., ten percent (10%) of the Contract Price until ninety (90) days beyond the Defect Liability Period i.e., upto and inclusive of ……………. (dd/mm/yy).

We undertake to make payment under this Letter of Guarantee upon receipt by us of your first written demand signed by your duly authorized officer declaring the Supplier to be in default under the Contract and without cavil or argument any sum or sums within the above named limits, without your need to prove or show grounds or reasons for your demand and without the right of the Supplier to dispute or question such demand.

Our liability under this Letter of Guarantee shall be to pay to you whichever is the lesser of the sum so requested or the amount then guaranteed hereunder in respect of any demand duly made hereunder prior to expiry of the Letter of Guarantee, without being entitled to inquire whether or not this payment is lawfully demanded.

This letter of Guarantee shall remain in full force and shall be valid from the date of issue until ninety (90) days beyond the Defect Liability Period of the Goods i.e. upto and inclusive of ……………. (dd/mm/yy) and shall be extended from time to time for such period (not exceeding one year), as may be desired by M/s. ……………………… on whose behalf this Letter of Guarantee has been given.

Except for the documents herein specified, no other documents or other action shall be required, notwithstanding any applicable law or regulation.

Our liability under this Letter of Guarantee shall become null and void immediately upon its expiry, whether it is returned or not, and no claim may be made hereunder after such expiry or after the aggregate of the sums paid by us to you shall equal the sums guaranteed hereunder, whichever is the earlier.

All notices to be given under shall be given by registered (airmail) posts to the addressee at the address herein set out or as otherwise advised by and between the parties hereto.

We hereby agree that any part of the Contract may be amended, renewed, extended, modified, compromised, released or discharged by mutual agreement between you and the Supplier, and this security may be exchanged or surrendered without in any way impairing or affecting our liabilities hereunder without notices to us and without the necessity for any additional endorsement, consent or guarantee by us, provided, however, that the sum guaranteed shall not be increased or decreased.

No action, event or condition which by any applicable law should operate to discharge us from liability hereunder shall have any effect and we hereby waive any right we may have to apply such law so that in all respects our liability hereunder shall be irrevocable and, except as stated herein, unconditional in all respects.

Notwithstanding anything contained herein:

1. 	Our liability under this Bank Guarantee shall not exceed _________ (value in figures)____________ [_____________________ (value in words)____________].

2.  	This Bank Guarantee shall be valid upto ________(validity date)__________.

3. 	We are liable to pay the guaranteed amount or any part thereof under this Bank Guarantee only & only if we receive a written claim or demand on or before ________ (validity date) __________.

For and on behalf of the Bank

[Signature of the authorised signatory(ies)]

Signature_______________________

Name_______________________

Designation_______________________

POA Number_______________________

Contact Number(s): Tel.______________Mobile______________

Fax Number_______________________

email ____________________________

Common Seal of the Bank______________________

Witness:

Signature_______________________

Name_______________________

Address______________________________

Contact Number(s): Tel.______________Mobile______________

email ____________________________

Note:

1.	For the purpose of executing the Bank Guarantee, the non-judicial stamp papers of appropriate value shall be purchased in the name of Bank who issues the ‘Bank Guarantee’.

2.	The Bank Guarantee shall be signed on all the pages by the Bank Authorities indicating their POA nos. and should invariably be witnessed.

3. 	The Bank Guarantee should be in accordance with the proforma as provided. However, in case the issuing bank insists for additional paragraph regarding applicability of ICC publication No: 758, the following may be added at the end of the proforma of the Bank Guarantee [i.e., end paragraph of the Bank Guarantee preceding the signature(s) of the issuing authority(ies) of the Bank Guarantee]:

“This Guarantee is subject to Uniform Rules for Demand Guarantee, ICC publication No. 758 except that article 15(a) is hereby excluded.”

4. 	At the time of issuance of the Bank Guarantee (including its extensions) through SFMS facility, the issuing bank will input the IFSC code of Beneficiary Bank as mentioned at ITB clause 4.2 in BDS in their Trade Finance Portal.

Additional paragraph regarding issuance of the Bank Guarantee through SFMS Platform (if applicable), the following should be added at the end of the proforma of the Bank Guarantee [i.e., end paragraph of the Bank Guarantee preceding the signature(s) of the issuing authority(ies) of the Bank Guarantee]:

“This Guarantee has been issued using SFMS Platform and the requisite communication in this regard has been forwarded to the Beneficiary Bank.”

# PERFORMANCE SECURITY FORM ( For Insurance Surety Bond)

(To be stamped in accordance with Stamp Act of India)

Insurance Surety Bond No.: ........................…

Date: ...................……...

NOA/Contract No.....................................

…………..[Name of Contract]…………………….

To: [Name and address of the Owner]

Dear Ladies and/or Gentlemen,

We refer to the Contract ("the Contract")

vide Notification/Letter of award issued on ............ (insert date of the notification of award)….by you to M/s ................. (Name of Contractor) ..................,

having its Principal place of business at ………....(Address of Contractor) ............................... and Registered Office at ………....(Registered address of Contractor) ........................................................................................ ("the Contractor") concerning …….................….. (Indicate brief scope of work) ............................... for the complete execution of the …… (insert name of Package alongwith name of the Project)…….. [Applicable for Insurance Surety Bond issued by Contractor/Associate for those Contracts awarded to them]

Or

We refer to the Contract

vide Notification/Letter of award issued on …….(insert date of the notification of award)….. by you to M/s ................. (Name of Contractor) ..................

having its Principal place of business at ………....(Address of Contractor) ............................... and Registered Office at ………....(Registered address of Contractor) ........................................................................................ ("the Contractor") and the Contract ("the Contract") signed on ..............(insert date of the Contract)…..... between you and M/s ................. (Name of Associate) .................., having its Principal place of business at ………....(Address of Associate) ............................... and Registered Office at ………....(Registered address of Associate) ........................................................................................, the Associate of the Contractor for executing the Facilities concerning …….................….. (Indicate brief scope of work) ............................... for the complete execution of the …… (insert name of Package alongwith name of the Project)…….. [Applicable for Insurance Surety Bond to be issued by Contractor against those Contracts awarded to their Associate]

By this letter we, the undersigned, ………(insert name & address of the issuing Insurer) ………, a Insurer (which  expression shall include its successors, administrators, executors and assigns) organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the Insurer)……..... do hereby irrevocably guarantee payment to you up to ………………………….. i.e., Ten percent (10%) of the Contract Price until ninety (90) days beyond the Defect Liability Period i.e., upto and inclusive of ……………. (dd/mm/yy).

We undertake to make payment under this Insurance Surety Bond upon receipt by us of your first written demand signed by your duly authorized officer declaring the Contractor to be in default under the Contract and without cavil or argument any sum or sums within the above named limits, without your need to prove or show grounds or reasons for your demand and without the right of the Contractor to dispute or question such demand.

Our liability under this Insurance Surety Bond shall be to pay to you whichever is the lesser of the sum so requested or the amount then guaranteed hereunder in respect of any demand duly made hereunder prior to expiry of the Letter of Guarantee, without being entitled to inquire whether or not this payment is lawfully demanded.

This Insurance Surety Bond shall remain in full force and shall be valid from the date of issue until ninety (90) days beyond the Defect Liability Period of the Facilities i.e. upto and inclusive of ……………. (dd/mm/yy) and shall be extended from time to time for such period (not exceeding one year), as may be desired by M/s. ……………………… on whose behalf this Letter of Guarantee has been given.

Except for the documents herein specified, no other documents or other action shall be required, notwithstanding any applicable law or regulation.

Our liability under this Insurance Surety Bond shall become null and void immediately upon its expiry, whether it is returned or not, and no claim may be made hereunder after such expiry or after the aggregate of the sums paid by us to you shall equal the sums guaranteed hereunder, whichever is the earlier.

All notices to be given under shall be given by registered (airmail) posts to the addressee at the address herein set out or as otherwise advised by and between the parties hereto.

We hereby agree that any part of the Contract may be amended, renewed, extended, modified, compromised, released or discharged by mutual agreement between you and the Contractor, and this security may be exchanged or surrendered without in any way impairing or affecting our liabilities hereunder without notices to us and without the necessity for any additional endorsement, consent or guarantee by us, provided, however, that the sum guaranteed shall not be increased or decreased.

No action, event or condition which by any applicable law should operate to discharge us from liability hereunder shall have any effect and we hereby waive any right we may have to apply such law so that in all respects our liability hereunder shall be irrevocable and, except as stated herein, unconditional in all respects.

Notwithstanding anything contained herein:

1. 	Our liability under this Insurance Surety Bond shall not exceed _________ (value in figures)____________ [_____________________ (value in words)____________].

2.  	This Insurance Surety Bond shall be valid upto ________(validity date)__________.

3. 	We are liable to pay the guaranteed amount or any part thereof under this Insurance Surety Bond only & only if we receive a written claim or demand on or before ________ (validity date) __________.

For and on behalf of the Insurer

[Signature of the authorised signatory(ies)]

Signature_______________________

Name_______________________

Designation_______________________

Contact Number(s): Tel.______________Mobile______________

Fax Number_______________________

email ____________________________

Common Seal of the Insurer ______________________

Witness:

Signature_______________________

Name_______________________

Address______________________________

Contact Number(s): Tel.______________Mobile______________

email ____________________________

Note:

1.	The Insurance Surety Bond should be on Non-Judicial stamp paper/e-stamp paper of appropriate value as per Stamp Act prevailing in the state(s) where the Insurance Surety Bond is submitted or is to be acted upon or the rate prevailing in State where the Insurance Surety Bond is executed, whichever is higher. The Stamp Paper/e-stamp paper shall be purchased in the name of Bidder/Insurer issuing the Insurance Surety Bond.

2.	The Insurance Surety Bond shall be signed on all the pages by the Insurer Authorities and should invariably be witnessed.

3.	The Insurance Surety Bond shall be from an Insurer as per guidelines issued by Insurance Regulatory and Development Authority of India (IRDAI) as amended from time to time.

4.	The Employer shall be the Creditor, the Bidder shall be the Principal debtor and the Insurance company/Insurer shall be the Surety in respect of the Insurance Surety Bond to be issued by the Insurer.

- While getting the Insurance Surety Bond issued, Contractors/ Suppliers are required to ensure compliance to the points mentioned in Form of Insurance Surety Bond.

# FORM OF EXTENSION OF INSURANCE SURETY BOND

Ref. No................................   						Dated:.................

To: [Name and address of the Employer]

Dear Sirs,

Sub.:	Extension of Insurance Surety Bond No. …… …………… dated ………… for …………….., issued to you on behalf of M/s. ………(insert name of the Contractor) …………... in respect of Contract No. ……………. dated …………….. for …….. (insert name of the Package alongwith the Project name) ………. (hereinafter called original Insurance Surety Bond).

At the request of M/s.………… (insert name of the Contractor) ….............., We ………(insert name & address of the Insurer) ………, a Insurer organized under the laws of .................................... and having its Registered/Head Office at …..…….(insert address of registered office of the Insurer)…….........………… do hereby extend our liability under the above-mentioned Insurance Surety Bond No. ………………............. Dated ...………... for a further period of .............. Years/Months from ................ to expire on  .................. Except as  provided  above, all other terms and conditions  of  the original Insurance Surety Bond No. ....……………..... dated ........... shall remain unaltered and binding.

Please treat this as an integral part of the original Insurance Surety Bond to which it would be attached.

For and on behalf of the Insurer

[Signature of the authorised signatory(ies)]

Signature_______________________

Name_______________________

Designation_______________________

Contact Number(s): Tel.______________Mobile______________

Fax Number_______________________

email ____________________________

Common Seal ______________________

Witness:

Signature_______________________

Name_______________________

Address______________________________

Contact Number(s): Tel.______________Mobile______________

email ____________________________

Note :

1.	The Insurance Surety Bond should be on Non-Judicial stamp paper/e-stamp paper of appropriate value as per Stamp Act prevailing in the state(s) where the Insurance Surety Bond is submitted or is to be acted upon or the rate prevailing in State where the Insurance Surety Bond is executed, whichever is higher. The Stamp Paper/e-stamp paper shall be purchased in the name of Contractors/ Suppliers /Insurer issuing the Insurance Surety Bond.

2.	The Insurance Surety Bond shall be signed on all the pages by the Insurer Authorities and should invariably be witnessed.

3. 	The Insurance Surety Bond shall be from an Insurer as per guidelines issued by Insurance Regulatory and Development Authority of India (IRDAI) as amended from time to time.

4. 	The Employer shall be the Creditor, the Bidder shall be the Principal debtor and the Insurance company/Insurer shall be the Surety in respect of the Insurance Surety Bond to be issued by the Insurer.

5. 	While getting the Insurance Surety Bond issued, Contractors/ `s are required to ensure compliance to the points mentioned in corresponding Form of Insurance Surety Bond.