| Sl. No. | Clause/ Drg. Ref | Existing provision | Amended provision |
| --- | --- | --- | --- |
| 1 | IFB Cl. 3.1, Volume-I | 3.1 The scope of works covered under the package inter-alia includes the following: Design, engineering, manufacture, testing at manufacturer’s works, supply including transportation and insurance, unloading, storage, erection, testing and commissioning at site the following equipment/items, complete in all respects for: - Establishment of 400/220/132 kV AIS Umred (Dist. Nagpur), - 2 x 300MVA, 3-Ph, 400/132kV Transformer at Umred S/S, - Extension of 220 kV Addl. Buttibori, - Extension of 132 kV Kolar. The above scope of work is indicative, and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents. | 3.2 The scope of works covered under the package inter-alia includes the following: Design, engineering, manufacture, testing at manufacturer’s works, supply including transportation and insurance, unloading, storage, erection, testing and commissioning at site the following equipment/items, complete in all respects for: - Establishment of 400/220/132 kV AIS Umred (Dist. Nagpur), - 2 x 315MVA, 3-Ph, 400/132kV Transformer at Umred S/S, - Extension of 220 kV Addl. Buttibori, - Extension of 132 kV Kolar. The above scope of work is indicative, and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents. |
| 2 | Package Name | In view of the above Amendments, name of the package wherever appearing in the bidding documents shall stand revised as: “Pre-Bid Tie up for 400kV AIS New Substation Package SS130T (including Transformers) for (i) Establishment of 400/220/132 kV AIS Umred (Dist. Nagpur) (ii) 2 x 315MVA, 3-Ph, 400/132kV Transformer at Umred S/S (iii) Extension of 220 kV Addl. Buttibori (iv) Extension of 132 kV Kolar, associated with “Intra-State Transmission Project for Estab-lishment of 400/220/132 kV AIS Umred (Dist. Nagpur)” through Tariff Based Competitive Bidding (TBCB) route prior to RfP bid submission by POWERGRID to BPC. [Spec. No.: CC/T/W-AIS/DOM/A01/25/09452]” |  |