## BOQ Supply
BOQ for Part C- Switchyard Erection work for 400/220 kV Allahabad Substation Extension (SS-119) including 1X500MVA, 400/220KV ICT associated with "Augmentation of Transformation capacity at 400/220 kV Allahabad (PG) Substation by 400/220 kV, 1 x 500 MVA (4th) ICT"
(Supply Portion)
1 | 2 |  | 3 | 4 | 5
SAP Material No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
1000011320 | 1 | Erection Hardware for 420kV I-Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1
1000011255 | 2 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 1
1000011257 | 3 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (three Bay) as per technical specification | SET | 1
1000011264 | 4 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1
1000030433 | 5 | VMS | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1
1000004304 | 6 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
1000001145 | 7 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
1000007632 | 8 | LT SWITCHGEAR | Bay Marshalling kiosk-420/245KV | EA | 1
1000006284 | 9 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
1000012022 | 10 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
1000012018 | 11 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1
1000049665 | 12 | FIRE FIGHTING SYSTEM | 60 LITRE FOAM TYPE TROLLEY/WHEEL MOUNTED FIRE EXTINGUISHER | SET | 2
1000014548 | 13 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
1000001894 | 14 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
1000038325 | 15 | ILLUMINATION SYSTEM | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15
1000013795 | 16 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1
1000038387 | 17 | ILLUMINATION SYSTEM | Led Flood Light Luminariestype Fl-1 (150W) As Per Technicalspecification | No. | 5
1000032055 | 18 | EARTHMAT | 40 MM MS ROD FOR MAIN EARTHMAT | Km | 1.2
1000055986 | 19 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
1000032050 | 20 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3
Note: OWNER SUPPLIED MATERIAL
SAP Material No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
1000013986 | 2 | 400kV POWER TRANSFORMER | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1
1000032821 | 3 | 400kV POWER TRANSFORMER | DIGITAL RTCC RELAY | EA | 5
1000028349 | 4 | 400kV POWER TRANSFORMER | DIGITAL RTCC PANEL | SET | 2
1000030932 | 5 | SPARES FOR 400kV POWER TRANSFORMER | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000030923 | 6 | SPARES FOR 400kV POWER TRANSFORMER | 245KV, 2000A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000030937 | 7 | SPARES FOR 400kV POWER TRANSFORMER | 52KV, 3150A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000002071 | 8 | SPARES FOR 400kV POWER TRANSFORMER | 36kV, 2000A Bushing with metal parts andgaskets for Transformer | EA | 1
1000016676 | 9 | SPARES FOR 400kV POWER TRANSFORMER | Oil cooler pump with motor for 400kV Transformer | SET | 1
1000009731 | 10 | SPARES FOR 400kV POWER TRANSFORMER | Cooler fan with motor for 400kV Transformer | EA | 1
1000028774 | 11 | SPARES FOR 400kV POWER TRANSFORMER | Local winding temperature indicator (WTI) with contact | EA | 1
1000026245 | 12 | SPARES FOR 400kV POWER TRANSFORMER | OTI complete with contacts & sensing device | SET | 1
1000016694 | 13 | SPARES FOR 400kV POWER TRANSFORMER | Oil flow indicator for 400kV T/F with flow switch | SET | 1
1000007922 | 14 | SPARES FOR 400kV POWER TRANSFORMER | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1
1000028280 | 15 | SPARES FOR 400kV POWER TRANSFORMER | Magnetic Oil Level Gauge | EA | 1
1000032089 | 16 | SPARES FOR 400kV POWER TRANSFORMER | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5
1000009586 | 17 | SPARES FOR 400kV POWER TRANSFORMER | Starters, contactors, switches and relays for electrical controlpanels of 400kV T/F (one set of each type) | SET | 1
1000020419 | 18 | 420kV, 63kA AIS EQUIPMENT | 336kV Surge Arrester (1-phase) | EA | 3
1000004498 | 19 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2
1000004463 | 20 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
1000004501 | 21 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1
1000004401 | 22 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 3
1000001695 | 23 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 13
1000020417 | 24 | 245kV, 50kA AIS EQUIPMENT | 216kV Surge Arrester (1-phase) | EA | 3
1000032777 | 25 | 245kV, 50kA AIS EQUIPMENT | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2
1000001689 | 26 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1
1000001688 | 27 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1
1000001684 | 28 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
1000001683 | 29 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1
1000011320 | 30 | Erection Hardware for 420kV I-Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1
1000055986 | 31 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
1000011255 | 32 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 1
1000011257 | 33 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (three Bay) as per technical specification | SET | 1
1000011264 | 34 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1
1000055975 | 35 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6
1000055977 | 36 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3
1000055978 | 37 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
1000055980 | 38 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
1000055981 | 39 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
1000055983 | 40 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
1000004273 | 41 | CRP for 420kV Bays | 400kV Transformer Protection Panel (For both HV & MV side) | EA | 1
1000006843 | 42 | CRP for 420kV Bays | Augmentation of existing 400kV bus bar protection scheme | SET | 1
1000069714 | 43 | CRP for 420kV Bays | 400KV CIRCUIT BREAKER RELAY PANEL WITH BCU WITHOUT AUTO RECLOSE | EA | 1
1000029119 | 44 | CRP for 220kV Bays | 220kV Circuit Breaker Relay Panel with BCU without Auto Reclose | EA | 1
1000006842 | 45 | CRP for 220kV Bays | Augmentation of existing 220kV bus bar protection scheme | SET | 1
1000030433 | 46 | VMS | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1
1000004304 | 47 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
1000001145 | 48 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
1000007632 | 49 | LT SWITCHGEAR | Bay Marshalling kiosk-420/245KV | EA | 1
1000028468 | 50 | 220kV Cable & Associated Equipments | 220 KV OUTDOOR TERMINATION KIT SUITABLE FOR 220 KV XLPECABLE | SET | 8
1000032030 | 51 | 220kV Cable & Associated Equipments | 220KV HV POWER CABLE ALONG WITH ACCESSORIES | KM | 2.5
1000030544 | 52 | 220kV Cable & Associated Equipments | CABLE STRAIGHT THROUGH JOINT-2500SQMM | EA | 4
1000031951 | 53 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.25
1000031976 | 54 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 1
1000031985 | 55 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1
1000031964 | 56 | POWER & CONTROL CABLE | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 2.5
1000031987 | 57 | POWER & CONTROL CABLE | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 12.5
1000031887 | 58 | POWER & CONTROL CABLE | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 5
1000056264 | 59 | POWER & CONTROL CABLE | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 3.5
1000056265 | 60 | POWER & CONTROL CABLE | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 3.5
1000032050 | 61 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3
1000031953 | 62 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2
1000006284 | 63 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
1000012022 | 64 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
1000012018 | 65 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1
1000055456 | 66 | FIRE FIGHTING SYSTEM | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 400KV, 3-PHASEAUTOTRANSFORMER | SET | 1
1000049665 | 67 | FIRE FIGHTING SYSTEM | 60 LITRE FOAM TYPE TROLLEY/WHEEL MOUNTED FIRE EXTINGUISHER | SET | 2
1000014548 | 68 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
1000001894 | 69 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
1000038325 | 70 | ILLUMINATION SYSTEM | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15
1000013795 | 71 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1
1000019918 | 72 | Mandatory Spare LOT | Spares for 420kV Circuit Breaker | LS | 1
1000019919 | 73 | Mandatory Spare LOT | Spares for 420kV Double break Isolator | LS | 1
1000024186 | 74 | Mandatory Spare LOT | SPARES FOR 336KV SURGE ARRESTER | LS | 1
1000025940 | 75 | Mandatory Spare LOT | Spare-420kV BPI | SET | 1
1000025941 | 76 | Mandatory Spare LOT | Spare-420kV CT 1 | SET | 1
1000025935 | 77 | Mandatory Spare LOT | Spare-245kV Circuit Breaker | SET | 1
1000025936 | 78 | Mandatory Spare LOT | Spare-245kV Isolator | SET | 1
1000025933 | 79 | Mandatory Spare LOT | Spare-245kV CT | SET | 1
1000025932 | 80 | Mandatory Spare LOT | Spare-245kV BPI | SET | 1
1000032289 | 81 | Mandatory Spare LOT | SPARES FOFIRE PROTECTION SYSTEM | SET | 1
1000053851 | 82 | Mandatory Spare LOT | SPARES FOR CLAMPS & CONNECTORS | LOT | 1
1000025930 | 83 | Mandatory Spare LOT | Spare-216kV Surge Arrester | SET | 1
1000019912 | 84 | Mandatory Spare LOT | Relay & protection Panels (with automation) | LS | 1
1000015954 | 85 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 53
1000015952 | 86 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 17
1000011713 | 87 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 4
1000012373 | 88 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 7

## BOQ F&I
BOQ for Part C- Switchyard Erection work for 400/220 kV Allahabad Substation Extension (SS-119) including 1X500MVA, 400/220KV ICT associated with "Augmentation of Transformation capacity at 400/220 kV Allahabad (PG) Substation by 400/220 kV, 1 x 500 MVA (4th) ICT"
(F&I Portion)
1 | 2 |  | 3 | 4 | 5
SAP Material No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
1000011320 | 1 | Erection Hardware for 420kV I-Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1
1000011255 | 2 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 1
1000011257 | 3 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (three Bay) as per technical specification | SET | 1
1000011264 | 4 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1
1000030433 | 5 | VMS | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1
1000004304 | 6 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
1000001145 | 7 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
1000007632 | 8 | LT SWITCHGEAR | Bay Marshalling kiosk-420/245KV | EA | 1
1000006284 | 9 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
1000012022 | 10 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
1000012018 | 11 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1
1000049665 | 12 | FIRE FIGHTING SYSTEM | 60 LITRE FOAM TYPE TROLLEY/WHEEL MOUNTED FIRE EXTINGUISHER | SET | 2
1000014548 | 13 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
1000001894 | 14 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
1000038325 | 15 | ILLUMINATION SYSTEM | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15
1000013795 | 16 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1
1000038387 | 17 | ILLUMINATION SYSTEM | Led Flood Light Luminariestype Fl-1 (150W) As Per Technicalspecification | No. | 5
1000032055 | 18 | EARTHMAT | 40 MM MS ROD FOR MAIN EARTHMAT | Km | 1.2
1000055986 | 19 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
1000032050 | 20 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3
Note: OWNER SUPPLIED MATERIAL
SAP Material No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
1000013986 | 2 | 400kV POWER TRANSFORMER | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1
1000032821 | 3 | 400kV POWER TRANSFORMER | DIGITAL RTCC RELAY | EA | 5
1000028349 | 4 | 400kV POWER TRANSFORMER | DIGITAL RTCC PANEL | SET | 2
1000030932 | 5 | SPARES FOR 400kV POWER TRANSFORMER | 420KV, 1250A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000030923 | 6 | SPARES FOR 400kV POWER TRANSFORMER | 245KV, 2000A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000030937 | 7 | SPARES FOR 400kV POWER TRANSFORMER | 52KV, 3150A RIP BUSHING WITH METAL PARTS AND GASKETS | EA | 1
1000002071 | 8 | SPARES FOR 400kV POWER TRANSFORMER | 36kV, 2000A Bushing with metal parts andgaskets for Transformer | EA | 1
1000016676 | 9 | SPARES FOR 400kV POWER TRANSFORMER | Oil cooler pump with motor for 400kV Transformer | SET | 1
1000009731 | 10 | SPARES FOR 400kV POWER TRANSFORMER | Cooler fan with motor for 400kV Transformer | EA | 1
1000028774 | 11 | SPARES FOR 400kV POWER TRANSFORMER | Local winding temperature indicator (WTI) with contact | EA | 1
1000026245 | 12 | SPARES FOR 400kV POWER TRANSFORMER | OTI complete with contacts & sensing device | SET | 1
1000016694 | 13 | SPARES FOR 400kV POWER TRANSFORMER | Oil flow indicator for 400kV T/F with flow switch | SET | 1
1000007922 | 14 | SPARES FOR 400kV POWER TRANSFORMER | Buchholz Relay (Main Tank) complete with float and contacts forTransformer | SET | 1
1000028280 | 15 | SPARES FOR 400kV POWER TRANSFORMER | Magnetic Oil Level Gauge | EA | 1
1000032089 | 16 | SPARES FOR 400kV POWER TRANSFORMER | SPARES INSULATING OIL TO BE HANDED OVER TO OWNER AFTER COMMISSIONING | KL | 5
1000009586 | 17 | SPARES FOR 400kV POWER TRANSFORMER | Starters, contactors, switches and relays for electrical controlpanels of 400kV T/F (one set of each type) | SET | 1
1000020419 | 18 | 420kV, 63kA AIS EQUIPMENT | 336kV Surge Arrester (1-phase) | EA | 3
1000004498 | 19 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2
1000004463 | 20 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
1000004501 | 21 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1
1000004401 | 22 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 3
1000001695 | 23 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 13
1000020417 | 24 | 245kV, 50kA AIS EQUIPMENT | 216kV Surge Arrester (1-phase) | EA | 3
1000032777 | 25 | 245kV, 50kA AIS EQUIPMENT | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2
1000001689 | 26 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1
1000001688 | 27 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1
1000001684 | 28 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
1000001683 | 29 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1
1000011320 | 30 | Erection Hardware for 420kV I-Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existinghalf dia. as per technical specification | SET | 1
1000055986 | 31 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
1000011255 | 32 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 1
1000011257 | 33 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (three Bay) as per technical specification | SET | 1
1000011264 | 34 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1
1000055975 | 35 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6
1000055977 | 36 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3
1000055978 | 37 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
1000055980 | 38 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
1000055981 | 39 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
1000055983 | 40 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
1000004273 | 41 | CRP for 420kV Bays | 400kV Transformer Protection Panel (For both HV & MV side) | EA | 1
1000006843 | 42 | CRP for 420kV Bays | Augmentation of existing 400kV bus bar protection scheme | SET | 1
1000069714 | 43 | CRP for 420kV Bays | 400KV CIRCUIT BREAKER RELAY PANEL WITH BCU WITHOUT AUTO RECLOSE | EA | 1
1000029119 | 44 | CRP for 220kV Bays | 220kV Circuit Breaker Relay Panel with BCU without Auto Reclose | EA | 1
1000006842 | 45 | CRP for 220kV Bays | Augmentation of existing 220kV bus bar protection scheme | SET | 1
1000030433 | 46 | VMS | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1
1000004304 | 47 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
1000001145 | 48 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
1000007632 | 49 | LT SWITCHGEAR | Bay Marshalling kiosk-420/245KV | EA | 1
1000028468 | 50 | 220kV Cable & Associated Equipments | 220 KV OUTDOOR TERMINATION KIT SUITABLE FOR 220 KV XLPECABLE | SET | 8
1000032030 | 51 | 220kV Cable & Associated Equipments | 220KV HV POWER CABLE ALONG WITH ACCESSORIES | KM | 2.5
1000030544 | 52 | 220kV Cable & Associated Equipments | CABLE STRAIGHT THROUGH JOINT-2500SQMM | EA | 4
1000031951 | 53 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.25
1000031976 | 54 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 1
1000031985 | 55 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1
1000031964 | 56 | POWER & CONTROL CABLE | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 2.5
1000031987 | 57 | POWER & CONTROL CABLE | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 12.5
1000031887 | 58 | POWER & CONTROL CABLE | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 5
1000056264 | 59 | POWER & CONTROL CABLE | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 3.5
1000056265 | 60 | POWER & CONTROL CABLE | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 3.5
1000032050 | 61 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3
1000031953 | 62 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2
1000006284 | 63 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
1000012022 | 64 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
1000012018 | 65 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1
1000055456 | 66 | FIRE FIGHTING SYSTEM | HVW SPRAY SYSTEM, HYDRANT SYSTEM AND COMPLETE U/G & O/G PIPING ANDACCESSORIES ETC. OUT SIDE THE PUMP HOUSE FOR 400KV, 3-PHASEAUTOTRANSFORMER | SET | 1
1000049665 | 67 | FIRE FIGHTING SYSTEM | 60 LITRE FOAM TYPE TROLLEY/WHEEL MOUNTED FIRE EXTINGUISHER | SET | 2
1000014548 | 68 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
1000001894 | 69 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
1000038325 | 70 | ILLUMINATION SYSTEM | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 15
1000013795 | 71 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1
1000019918 | 72 | Mandatory Spare LOT | Spares for 420kV Circuit Breaker | LS | 1
1000019919 | 73 | Mandatory Spare LOT | Spares for 420kV Double break Isolator | LS | 1
1000024186 | 74 | Mandatory Spare LOT | SPARES FOR 336KV SURGE ARRESTER | LS | 1
1000025940 | 75 | Mandatory Spare LOT | Spare-420kV BPI | SET | 1
1000025941 | 76 | Mandatory Spare LOT | Spare-420kV CT 1 | SET | 1
1000025935 | 77 | Mandatory Spare LOT | Spare-245kV Circuit Breaker | SET | 1
1000025936 | 78 | Mandatory Spare LOT | Spare-245kV Isolator | SET | 1
1000025933 | 79 | Mandatory Spare LOT | Spare-245kV CT | SET | 1
1000025932 | 80 | Mandatory Spare LOT | Spare-245kV BPI | SET | 1
1000032289 | 81 | Mandatory Spare LOT | SPARES FOFIRE PROTECTION SYSTEM | SET | 1
1000053851 | 82 | Mandatory Spare LOT | SPARES FOR CLAMPS & CONNECTORS | LOT | 1
1000025930 | 83 | Mandatory Spare LOT | Spare-216kV Surge Arrester | SET | 1
1000019912 | 84 | Mandatory Spare LOT | Relay & protection Panels (with automation) | LS | 1
1000015954 | 85 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 53
1000015952 | 86 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 17
1000011713 | 87 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 4
1000012373 | 88 | Structure for Towers and Eqp supports | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 7

## BOQ Installation
BOQ for Part C- Switchyard Erection work for 400/220 kV Allahabad Substation Extension (SS-119) including 1X500MVA, 400/220KV ICT associated with "Augmentation of Transformation capacity at 400/220 kV Allahabad (PG) Substation by 400/220 kV, 1 x 500 MVA (4th) ICT"
(Installation Portion)
1 | 2 |  | 3 | 4 | 5
SAP Activity No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
Electrical Erection works
100002238 | 1 | 400kV POWER TRANSFORMER | Digital RTCC Panel consist of digital RTCC relays as per technical specification | SET | 2
100032665 | 2 | 400kV POWER TRANSFORMER | Service-DIGITAL RTCC RELAY | SET | 5
100000267 | 3 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | SET | 1
100000274 | 4 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
100000287 | 5 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2
100000328 | 6 | 420kV, 63kA AIS EQUIPMENT | 336kV Surge Arrester (1-phase) | EA | 3
100000340 | 7 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 3
100000498 | 8 | 245kV, 50kA AIS EQUIPMENT | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 13
100000484 | 9 | 245kV, 50kA AIS EQUIPMENT | 216kV Surge Arrester (1-phase) | EA | 3
100002016 | 10 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 2
100002013 | 11 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1
100002014 | 12 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1
100001989 | 13 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
100003634 | 14 | 245kV, 50kA AIS EQUIPMENT | 245 kV 1600A, 50KA Circuit Breakers (3-Phase) with support structure | EA | 1
100000339 | 15 | Erection Hardware for 420 kV I Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existing half dia. as per specification | SET | 1
100017133 | 16 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
100000489 | 17 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Bus work (one Bay) as per specification | SET | 1
100000491 | 18 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Bus work (three Bay) as per specification | SET | 1
100000486 | 19 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Transformer Bay as per specification | SET | 1
100017122 | 20 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 6
100017121 | 21 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 3
100017116 | 22 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 12
100017118 | 23 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 12
100017115 | 24 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 12
100017117 | 25 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 12
100002500 | 26 | VMS | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1
100000896 | 27 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
100000903 | 28 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
150000052 | 29 | LT SWITCHGEAR | Installation of Bay Marshalling Kiosk (including foundation, as per approved drawing, along with supply of all foundationmaterial) , testing & commissioning complete with cabling as per TS | EA | 1
100002965 | 30 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 0.25
100002986 | 31 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 1
100002992 | 32 | POWER & CONTROL CABLE | 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 1
100002968 | 33 | POWER & CONTROL CABLE | 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 2
100002977 | 34 | POWER & CONTROL CABLE | 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 2.5
100002994 | 35 | POWER & CONTROL CABLE | 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 12.5
100002920 | 36 | POWER & CONTROL CABLE | 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 5
100017187 | 37 | POWER & CONTROL CABLE | 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 3.5
100017188 | 38 | POWER & CONTROL CABLE | 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 3.5
100003034 | 39 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 0.3
100001882 | 40 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
100002062 | 41 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1
100000975 | 42 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
100008260 | 43 | FIRE FIGHTING SYSTEM | 60 litre foam type Trolley/Wheel mounted Fire extinguisher | EA | 2
100001022 | 44 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
100001885 | 45 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
100004931 | 46 | ILLUMINATION SYSTEM | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 15
100001116 | 47 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1
100004930 | 48 | ILLUMINATION SYSTEM | Led Flood Light Luminariestype Fl-1 (150W) As Per Technicalspecification | No. | 5
100003103 | 49 | EARTHMAT | 40 MM MS ROD FOR MAIN EARTHMAT | Km | 1.2
100001409 | 50 | Civil Works | Supplying and erecting dewatering pumps-5 HP | No. | 1
100007701 | 51 | Civil Works | Supplying and erecting dewatering pumps- 2 HP | EA | 1
100001210 | 52 | Structure for Towers and Eqp supports | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 53
100001241 | 53 | Structure for Towers and Eqp supports | Erection of Equipment Support (Pipe) Structures to be designed during detailed engineering. | MT | 17
100001680 | 54 | Structure for Towers and Eqp supports | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 4
Note: 400kV POWER TRANSFORMER (Installation & testing , commissioning in the Scope of OWNER SUPPLIED MATERIAL)
SAP Activity No | Sl. No. | Activity Description | Item Description | Unit | Quantity
SAP Activity No
100000015 | 1 | 400kV POWER TRANSFORMER | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil | EA | 1
100001910 | 2 | 400kV POWER TRANSFORMER | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1
100002238 | 3 | 400kV POWER TRANSFORMER | Digital RTCC Panel consist of digital RTCC relays as per technical specification | SET | 2
100032665 | 4 | 400kV POWER TRANSFORMER | Service-DIGITAL RTCC RELAY | SET | 5
100000267 | 5 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 1
100000274 | 6 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
100000287 | 7 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 2
100000328 | 8 | 420kV, 63kA AIS EQUIPMENT | 336kV Surge Arrester (1-phase) | EA | 3
100005443 | 9 | 420kV, 63kA AIS EQUIPMENT | 420KV, 1-PHASE BUS POST INSULATORS | EA | 3
100001907 | 10 | 245kV, 50kA AIS EQUIPMENT | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 13
100000484 | 11 | 245kV, 50kA AIS EQUIPMENT | 216kV Surge Arrester (1-phase) | EA | 3
100002016 | 12 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 2
100002013 | 13 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1
100002014 | 14 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1
100001989 | 15 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3
100003634 | 16 | 245kV, 50kA AIS EQUIPMENT | 245 kV 1600A, 50KA Circuit Breakers (3-Phase) with support | EA | 1
100000339 | 17 | Erection Hardware for 420 kV I Type S/Y | Erection Hardware for 400kV I type layout-Any feeder Extn. on existing half dia. as per specification | SET | 1
100017133 | 18 | 420kV Insulator and Hardware | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 3
100000489 | 19 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Bus work (one Bay) as per specification | SET | 1
100000491 | 20 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Bus work (three Bay) as per specification | SET | 1
100000486 | 21 | Erection Hardware for 220 kV DMT Type S | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Transformer Bay as per specification | SET | 1
100017122 | 22 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 6
100017121 | 23 | 220kV Insulator and Hardware | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | EA | 3
100017116 | 24 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
100017118 | 25 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
100017115 | 26 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 12
100017117 | 27 | 220kV Insulator and Hardware | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITH TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | EA | 12
100000793 | 28 | CRP for conventianal 420kV Bays | 400kV Transformer Protection Panel (For both HV & MV side) | EA | 1
100000789 | 29 | CRP for conventianal 420kV Bays | 400kV Circuit Breaker Relay Panel with Auto Reclose | EA | 1
100000796 | 30 | CRP for conventianal 420kV Bays | Augmentation of existing 400kV bus bar protection scheme | SET | 1
100016774 | 31 | CRP for 220kV Bays | 220kV Circuit Breaker Relay Panel | EA | 1
100038433 | 32 | CRP for 220kV Bays | Augmentation of existing 220kV bus bar protection scheme ( per Bay) -( with Automation): Centralized Own Make | EA | 1
100002500 | 33 | VMS | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1
100000896 | 34 | LT SWITCHGEAR | 415V ACDB (Extn.) | SET | 1
100000903 | 35 | LT SWITCHGEAR | 220V DCDB (Extn.) | SET | 1
150000052 | 36 | LT SWITCHGEAR | Installation of Bay Marshalling Kiosk (including foundation, as per approved drawing, along with supply of all foundationmaterial) , testing & commissioning complete with cabling as per TS | EA | 1
100002180 | 37 | POWER & CONTROL CABLE | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1
100002181 | 38 | POWER & CONTROL CABLE | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1
100001882 | 39 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1
100016783 | 40 | FIRE FIGHTING SYSTEM | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 400kV, 3-phaseAutotransformer | SET | 1
100002062 | 41 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1
100000975 | 42 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1
100008260 | 43 | FIRE FIGHTING SYSTEM | 60 litre foam type Trolley/Wheel mounted Fire extinguisher | EA | 2
100001022 | 44 | ILLUMINATION SYSTEM | Lighting Panel type ACP-3 as per technical specification | EA | 1
100001885 | 45 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1
100004926 | 46 | ILLUMINATION SYSTEM | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 15
100001116 | 47 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | SET | 1
100003359 | 48 | 220kV Cable & Associated Equipments | 220 KV Cable end termination(s) (AIS TYPE) at substation as per technical specification | EA | 8
100003013 | 49 | 220kV Cable & Associated Equipments | 220kV HV Power Cable along with accessories | KM | 2.5
100017033 | 50 | 220kV Cable & Associated Equipments | Cable joints suitable for 220kV, 1200 SQMM XLPE Cable for entire route. | EA | 4
100034534 | 51 | 220kV Cable & Associated Equipments | Buried Cable trench for 220kV cable as per technical specifications (All works for one No. 250 MW, 500 MWH BESS is considered as oneset) | M | 625
100004518 | 52 | Civil Works | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 2914
100011662 | 53 | Civil Works | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 324
100001327 | 54 | Civil Works | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 884
100001326 | 55 | Civil Works | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 42
100001325 | 56 | Civil Works | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 145
100001329 | 57 | Civil Works | Steel Reinforcement | MT | 62
100001331 | 58 | Civil Works | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 36
100001457 | 59 | Civil Works | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having four rails for auto transformer. | M2 | 344
100001330 | 60 | Civil Works | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 21
100001721 | 61 | Civil Works | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 239
100004748 | 62 | Civil Works | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) including a layer of cement slurry of mix1:6 (1 cement : 6 fine sand) shall be laid uniformly over cement concrete layer. The cement consumption for cement slurry shall notbe less than 150 kg per 100 sq.m. | M3 | 488
100001714 | 63 | Civil Works | Stone spreading in switchyard excluding PCC | M2 | 6300
100001712 | 64 | Civil Works | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 200
100001713 | 65 | Civil Works | Antiweed treatment | M2 | 6500
100020960 | 66 | Civil Works | RCC culvert crossings including supplying and laying hume pipe 250mm dia of grade (NP-3) excluding concrete as per specification. | M | 20
100020961 | 67 | Civil Works | RCC culvert crossings including supplying and laying hume pipe 300mm dia of grade (NP-3) excluding concrete as per specification. | M | 20
100020962 | 68 | Civil Works | RCC culvert crossings including supplying and laying hume pipe 450mm dia of grade (NP-3) excluding concrete as per specification. | M | 20
100003437 | 69 | Civil Works | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30
100001478 | 70 | Civil Works | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 500
100001479 | 71 | Civil Works | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 100
100001480 | 72 | Civil Works | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 100
100004507 | 73 | Civil Works | 3.75m wide Cement Concrete road with PCC shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS.However, reinforcement steel and all type concrete shall be paid separately under relevant items | M2 | 250
100015791 | 74 | Civil Works | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 125
100015792 | 75 | Civil Works | All civil works for Drains construction of Section B-B including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 125
100015793 | 76 | Civil Works | All civil works for Drains construction of Section C-C including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 125
100001409 | 77 | Civil Works | Supplying and erecting dewatering pumps-5 HP | EA | 1
100007701 | 78 | Civil Works | Supplying and erecting dewatering pumps- 2 HP | EA | 1
100007097 | 79 | Civil Works | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 210
100001391 | 80 | Civil Works | New chain Link Fencing excluding concrete | M | 120
100003121 | 81 | Civil Works | Dismantling of Chain Link fencing and disposal of unserviceable material and stackinmg of serviceable material with in S/S Boundaryas per direction of site-In-charge. | M | 100
100002911 | 82 | Civil Works | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 1750
100002583 | 83 | Civil Works | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 175
100002914 | 84 | Civil Works | Earthwork in excavation in Hard rocks in open areas/nallas/ channels, to the required slopes, shapes, levels, elevations andprofile, including trimming of bottom and slopes of excavation and stacking and disposal of rock for a lead up to 2.0 KM beyondleveling boundary and all lifts , with all labour, material, tools, tackles and equipment, safeguards and incidentals,Royalty,taxesetc. as per directions of the Engineer-in-Charge. Serviceable material if available shall be stacked at site as identified byEngineer-in-Charge.(50% void deduction from stack measurement) | M3 | 100
100015794 | 85 | Civil Works | All civil works for Drains construction of Section D-D including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 125
100001210 | 86 | Structure for Towers and Eqp supports | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 53
100001241 | 87 | Structure for Towers and Eqp supports | Erection of Equipment Support (Pipe) Structures to be designed during detailed engineering. | MT | 17
100001680 | 88 | Structure for Towers and Eqp supports | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 4
100001681 | 89 | Structure for Towers and Eqp supports | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 7