Amendment-I to the bidding document for the Shifting/modification of 400 kV,765 kV HVAC & 800 kV HVDC transmission lines within ROW of "Bundelkhand Expressway" constructed by UPEIDA; Spec Number: 5002001211/OTHERS/DOM/K00 - NR3 RHQ -1

| Para No | Ref No | Existing | Amended As |
| --- | --- | --- | --- |
| 1 | S.No 37 of Supply BPS | COMPOSITE INSULATOR- 765KV, 160KN (L2975)- EA 442 | COMPOSITE INSULATOR- 765KV, 160KN (L2975)- EA----- 372 |
| 2 | - | - | COMPOSITE INSULATOR- 765KV, 120KN – EA-------- 70 |
| 2 | Revised BPS for SUPPLY (for reference only) has been enclosed herewith. |  |  |  |