Clarification-1 to bidding documents for pre-bid queries on Substation Extension Package SS130(AIS): (a) Augmentation of Transformation Capacity at 400/220kV Kankroli (PG) S/s in Rajasthan by 400/220kV, 1x500MVA ICT (4th). (b) Replacement of 400/220kV, 315MVA ICT-3 with 400/220kV, 500 MVA ICT at 400/220/66kV Bawana (DTL) S/s. (c) Augmentation of Transformation Capacity at 400/220kV Boisar (PG) S/s, Maharashtra by 400/220kV, 1x500 MVA (5th) ICT. SPECIFICATION NO.:  CC/NT/W-AIS/DOM/A02/24/09626

| Sr. No | Clause No. | Text as per Bid | Bidder's Queries | Clarification |
| --- | --- | --- | --- | --- |
| Volume- II Section Project |  |  |  |  |
|  | 2.5.1 | Extension of 400/220 kV Kankroli (PG) Substation: |  |  |
| 1. | 2.5.1.2 (b) - viii | Existing Control & Relay Panels of Bus Reactor shall also be shifted from existing SPR for Bay 406 to designated SPR of Bay 416 and commissioned along with the reactor. | Kindly Confirm the Existing CRP Panel Make & Model to take the Offer from the OEM for Recommissioning of the CRP. | The make of Existing CRP Panels of 50 MVAR Bus Reactor is M/s Siemens. Bidders may also visit site to acquaint themselves with site conditions. |
| 2. | 2.5.1.2 (b) - xii | The contractor shall also arrange the services of OEM representative for supervision of Dismantling, Shifting and re-erection of the Bus Reactor. The supervision charges of OEM engineer/representative for the above work shall be included by the bidder. | Kindly Confirm the Existing 50MVAR Reactor Make & Model to take the Offer from the OEM for Supervision of Dismantling & Recommissioning of the Reactor. | The make of Existing 50 MVAr reactor is M/s CGL. Bidders may also visit site to acquaint themselves with site conditions. |
|  | 2.5.2 | Extension of 400/220 kV Bawana (DTL) Substation: |  |  |
| 3. | 2.5.2.2 (a) | The replaced old 315MVA, 400/220kV transformer shall be shifted and stored at a suitable location within Bawana site as directed by the Site In-charge. | Deputation for Supervision of Dismantling, Shifting works for 315MVA, 400/220kV Transformer not in Bidder Scope. Kindly Confirm. | The bidding documents are ample clear. Bidders to quote as per provisions of the bidding documents. Bidders may also visit site to acquaint themselves with site conditions. |