| Sl. No. | Clause No. | Existing Clause in the Bidding Documents | Amended as |
| --- | --- | --- | --- |
| 1. | Clause no 15.2 (vii) of Technical Specification, Section: Switchgear- CB (Rev 11) | Low temperature test (applicable only for minimum ambient temperatures of less than (-) 10 deg.C application purpose) and High temperature test. Contractor can also submit the field performance report in line with IEC stipulations. | For Low & High temperature type test, Field performance report of CB’s as per IEC 62271-100 revision 2008 (covering amendment-2 in 2017) is also acceptable as valid Type test report. |