Brief Scope of work, Not necessarily limited to the following:

Composite Insulated Cross arm covered under the scope of the package shall consist of composite long rod insulator as brace and composite post insulator(s) as horizontal cross arm member connected using hardware fittings in a Horizontal V Configuration. This crossarm shall have pivot like arrangement for attachment to tower.

- The materials to be supplied on final destination at site basis, shall be designed, manufactured and tested as per the requirements.

Final Destination shall mean the stores of the Purchaser in different regions, details of which shall be intimated to the supplier during execution stage by POWERGRID’s regional office.

- The materials, shall be supplied complete in all respects, including all components, fittings and accessories which are necessary or are usual for their efficient performance and satisfactory maintenance under the various operating and atmospheric conditions. Such parts shall be deemed to be within the scope of the Contract, whether specifically included or not in the Specification or in the Contract Schedules. The Supplier shall not be eligible for any extra charges for such fittings, etc.