TECHNICAL SPECIFICATION FOR

ARCHITECTURE AND ASSOCIATED DESIGN WORKS

GENERAL

The intent of the specification for empanelment of consultant for rate contact of architecture and associated design covers rendering professional services for design, analysis, and preparation of required documents for Master plan, Landscaping, bulk services, Residential and non-Residential Buildings, Miscellaneous services including colour perspectives, models, and interior design. The services extend throughout the concept stage, pre-tender stage and post-tender stages. The details including deliverables, qualifying requirements, financial status, registration and schedule of items and rates are given in the relevant sections.

  - SCOPE OF CONSULTANCY SERVICES

The consultants shall render professional services in the following areas for the architectural & civil works associated with the switchyard and township and other civil works/facilities of POWERGRID.

    - MASTER PLAN, LANDSCAPING AND BULK SERVICES

Master Plan:

Design and preparation of master plan including preparation of conceptual layout, marking of road layout, fixing locations of various types of housing, common facilities, boundary/fencing wall, entry gate, green areas, open spaces, play areas etc. in the colony.

    - Landscaping:

Concept design and detailed working drawings for:

Land profiles and treatment, type and kind of ground coverage, turfs, shrubs, trees, creepers for parks, play area, pathways, lights, water bodies, furniture etc.

This shall also include designs for:

- Parking and paving lots.

- Boundary wall or fencing wherever required.

- Lighting fixtures.

- Details of horticulture works.

    - Bulk Services:

Design parameters analysis, design, schematic diagram, and detailed construction drawings for all external services:

- Water supply system including the design of distribution network and its sizing.  Location of service reservoirs and their capacity.

- Sewerage system and other waste collection conveyance and disposal system including manholes, ventilation and other required facilities, etc.

- External electrification (underground/overhead) and lighting system, distribution network, cables, boards, feeder pillars, poles, fittings, fixtures etc.

1.2.0	RESIDENTIAL HOUSING UNITS, NON-RESIDENTIAL BUILDINGS

1.2.1		ARCHITECTURE:

a)	All floor plans, with typical plan showing furniture layout, services, access plan, pavements and parking.

b)	Sections, typical or otherwise through staircase, kitchen, bath toilets, desired structural surfaces and/or otherwise.

- Elevations for all external surfaces from all sides showing details of glazing pattern, mass & void projections,  niches etc.

d)	Details of the typical and relevant areas like staircase, toilets, entrance, kitchen, bathing area, false ceilings, railings, pathways, parapets, Chajjas, lintels sills, copings, expansion joints, water proofing etc.

- Finishing schedules and colour schemes for floors, terraces walls, external and internal lobbies, kitchen, bath, toilets, and staircases.

- Schedules and details for door, boundary, ventilators, cupboards, wardrobes, rolling 	shutters etc. including fixing details.

1.2.2	Civil Work:

Design, analysis, design/single line diagram/schedules, tender drawings and detailed construction drawings for

- Structural – 		footings, columns, beams, lintels,

Projections, cantilevers, chajjas,

Walls and overhangs etc.

b)          Services -               	All associated services, such as water    supply, plumbing details, house manhole details etc.

Internal electrification including lighting plan & BOQ, location of window/split ACs, centralized AC including ducting plan if required, false ceiling, partitioning work, house connection from cable box, internal fittings and fixtures etc. as per requirement.

1.2.3	DETAILS OF INFORMATION TO BE INDICATED ON DRAWINGS

------------------------------------------------------------------------------------

Design stage		Scale		Details to be furnished

------------------------------------------------------------------------------------

- (2)					(3)

------------------------------------------------------------------------------------

1.	Concept stage 	Line Sketch		1)	Plans

to Scale		2)	Elevations

1:100			3)	Sections

2.	Architectural		Detailed to		1)	Plans

Scale 1:100		2)	Elevations

Showing doors,	3)	Sections

Windows etc.

3.	Tender Stage		to Scale 1:100		1)	Plans

2)	Elevations

3)	Sections

4) 	Any other relevant 										architectural details inclu-

ding door/window

schedule.

5)	Finish schedule

6)	Structural concepts 									without reinforcement 								details.

7)	Internal electrification 								layouts.

8) 	Ducting layout

for centralized AC

9)  	False ceiling/ partition detail

4.	Working		to Scale 1:100		1)	Plans

Drawing		to suitable scale

Subject to 		2)	Elevations

Maximum 1:50

3)	Sections

4)	Details of the items 									mentioned in tender 								drawings.

5)	Finish/colour Scheme

Both internal and 										external

6)	Structural details 										including reinforcement 									details, excavation 										drawings.

7)	Water Supply, Plumbing,									roofing details and 										sewerage system, both 									internal and external upto

Building premises/ boundary

8)	Electrification details both

Internal & external within								building premises/

Boundary.

9)       Ducting layout

for centralized AC

10)     False ceiling/partition wall

and associated details

1.3.0		MISCELLANEOUS SERVICES

1.3.1	These jobs will include design, analysis, tender documents (which include specification, BOQ and Tender drawings) and detailed construction drawings of overhead water tanks or underground water tanks for water storage, aerated lagoon, oxidation pond, activated sludge system and septic tanks for sewage treatment as per the requirement.

The sizes of these system shall not exceed the following capacities.

- Overhead water tank-upto capacity of 150 m3.

- Underground water tank-upto capacity of 150 m3.

- Aerated Lagoon/oxidation Pond/Activated Sludge system upto 500 users.

- Septic tank with soak pits upto 150 users.

1.4.0	BOUNDARY WALL, GATE AND FENCING

Consultant shall obtain all necessary information like type, height, etc. before preparation of design and drawing of boundary wall, gate and fencing. Boundary wall can be of brick, column and beam, stone or any other material considered suitable for the site.

1.5.0	COLOUR PERSPECTIVE

1.5.1	Preparation of sketches of the proposed perspective from different angles, approval from POWERGRID and final preparation of perspective view by colour printers not less than 750mm x 500mm including mounting.

1.5.2	Supplying colour photographs of the perspective view mounted on 12mm commercial board, complete with finished photograph with gloss finished transparent lamination protective layer along with supply of negative.

1.6.0	MODELS

1.6.1	Fabrication and supply of architectural models with the help of plan/section/elevations and other details supplied by POWERGRID to a prescribed scale, using suitable material such as (Silver-Oak wood, Teak wood, partial balsa wood etc.) Acrylic sheet, Aluminum rod, etc. or any suitable material to give the model a realistic look and including supply of cover made out of suitable thickness (min. 3mm) plastic sheet and wooden box with handles, locks, etc.

1.7.0	INTERIOR DESIGN

The scope of work under this package includes following:

- Preparation and finalization of the layout of the entire floor, wall & ceiling along with various inter-connected services.

- Preparation and finalization of detailed specification including Bill of Quantities (BOQ) 	for the above mentioned respective packages of interior works.

- Preparation and finalization of drawings for tendering purposes, QR & tender documents, and provide consultancy to POWERGRID for tendering, evaluation & finalization of agencies for the packages of interior works.

- Preparation and finalization of detailed working drawings of the above-mentioned respective packages of interior works.

Any other work not covered above but required for the completion of interior works as per the good engineering practice, aesthetic finish, or to meet any statutory requirement is also included in your scope of work unless specifically excluded.

1.8.0	All the above activities shall be carried out in close interaction and approval of POWERGRID.

2.0.0		STAGES

The entire services under the scope as mentioned at para 1.0.0 shall be rendered in the following stages:

2.1.0		CONCEPT STAGE

The extent of services required under this stage are

a)	Interact with POWERGRID to obtain data requirements & to familiarize with same.

b)	Prepare design concept and develop sequentially until approved

c)	Prepare design Intent memorandum covering all

areas as mentioned in para 1.0.0.

- Furnish tentative cost estimate for Budgetary provision,

2.2.0		PRE-TENDER STAGE

The services under this stage shall commence after conceptual approval and will include:

a)	Presentation drawings, three-dimensional view (perspective views)

b)	Project Design Memorandum

c)	Realistic cost estimate

During this stage following documents shall be submitted:

a)	Submission of tender documents which include BOQ, specification and Tender drawings, layout, basic scheme plan,, elevations, sections, floor and foundation details, internal electrification, layout, sewerage and water supply plan.

b)	Cost estimate including price schedule and analysis schedules – For schedule items, estimates shall be prepared on the basis of latest Delhi Schedule of Rates/State PWD Schedule of Rate updated to current price level and these for non-schedule items shall be worked out on prevailing market rates, detailed analysis of which shall be submitted along with BOQ.

2.3.0		POST TENDER STAGE

2.3.1	The consultants shall render the following services during this stage. Prepare design parameters, design analysis, detailed designs and construction drawings concerning all aspects of construction which shall be required to go in for the ultimate realization of work.

2.3.2	The consultants shall visit the POWERGRID office at Gurgaon as and when requested by POWERGRID.

For visits to outstation sites/offices of the POWERGRID, the lodging and transportation shall be provided by POWERGRID along with single economy class to and fro air ticket up to the nearest airport wherever applicable.  Consultants from Delhi/NCR shall visit POWERGRID CC office on their own. Consultants from outside Delhi/NCR shall be provided lodging and a single economy class to & fro air ticket up to Delhi Airport, if required to visit POWERGRID Corporate Centre Office.

2.3.3	All drawings shall be prepared Auto-CAD format and plotted in standard sizes of A0, A1, A2, A3 and A4 as per IS: 696 or as required by POWERGRID. All submission shall be made in soft and hard formats.

2.3.4	The drawings shall be in ink on tracing paper of good quality comparable with Gateway 85-90 grams per square metre.

2.3.5	The title block shall be according to POWERGRID standard design.

2.3.6	The lettering the general get-up of the drawings shall be subject to approval of POWERGIRD. Writing on drawing shall be done in Auto-CAD format, unless permitted otherwise, by the Engineer-in-charge.

2.3.7	The Rate Contract Holder shall collect the data regarding the basic requirements and design parameters etc. from POWERGRID.

2.3.8	Construction drawings shall be made Auto-CAD format separately. Architectural drawings prepared at the concept stage may be used as tender drawings after incorporation of details as required and as desired by Engineer-in-charge and after submitting reproducible of concept drawings for POWERGRID’s record.

The construction stage drawings shall be prepared in the following manner:

Structural details indicating sizes & dimensions of structural members shall be shown in the general arrangement drawing. The reinforcement details should not be shown in this drawing as per BOQ. The quantities for various items of work shall be estimated as per detail drawings and value of work arrived at in a similar manner by multiplying with the respective rates (rates adopted shall be the same as considered in calculating the value of work as per BOQ) and adding up the results. The two values thus arrived will be compared to ascertain whether the variation between the two is within 10% of value as per BOQ. The Engineer-in-charge at his discretion, may restrict the above exercise to items in 2.3.9 (a) to (g) below and if the variation in values thus arrived, is observed to be beyond the limit of 10% it will be considered as variation of quantity beyond the permissible limit for the corresponding work order. Frequent occurrence (more than three times under any one or more work orders) of such variation beyond the limit of 10% other than due to POWERGRID’s revised requirements is likely to risk cancellation of enlistment for the further works.

2.3.9	The details drawings prepared at the detailed engineering stage shall furnish the following quantities:

a) 	Excavation

b)	Back filling

c)	Concrete (both RCC and PCC)

d)	Reinforcement (mild steel and high strength steel)

diameter wise.

e)	Shuttering (plywood and ordinary)

f)	Brickwork (separately for below ground level and above

ground level)

g)	Structural Steel

For all items mentioned above the quantities shown in the detail drawings shall have an accuracy of 1% except for item (d). For item (d) the accuracy shall be 5%. Bar bending schedule is not required to be made.

3.0.0	DELIVERABLES

3.1.0	For the works involving design and engineering, the following documents/ drawings shall be submitted after final approval:

i)	Four sets of design calculations along with one reproducible.

ii)	Four sets of specifications and bill of quantities along with one reproducible.

iii)	Four sets of tender drawings along with one reproducible each.

iv)	Six sets of “Released for construction” drawings.

v)	Any other require/relevant documents in four sets along with one reproducible.

vi)	All the documents are to be submitted in hard as well as soft copy in AutoCAD format.

3.1.1	For colour perspective and models deliverables are as per the schedule of item.

3.2.0	For Interior designing the following documents shall be	 submitted:

i)	Concept scheme and drawings for approval in 4 sets,

ii)	Draft BOQ with estimate and tender documents & drawings in 4 sets.

iii)	Final tender documents & drawings in 4 sets with one reproducible of good quality of each drawing.

iv)	Draft drawings released for construction in 4 sets.

v)	Final drawings released for construction in 6 sets.

- Any other required relevant document in 4 sets along with reproducible.

3.3.0	All documents/inputs given to the consultant, along with the drawings prepared on the basis of it, shall be maintained in the strict confidence by the consultant and it shall remain sole property of POWERGRID and cannot be reproduced/disclosed to others to be used elsewhere.

----- End of Section-III, TECHNICAL SPECIFICATION (TS) ----