Name of work:   Proposal for “RCC revetment wall for protection of Transmission line towers under TLM Meerut” as per approved BOQ and drawings.

Scope and description of work:

- Works as per the BOQ i.e. RCC revetment wall for protection of Transmission line towers under TLM Meerut” as per approved BOQ and drawings.

- Description of work: Excavation, supplying of soil, Filling of Soil, Surface excavation, RCC 1:1.5:3, PCC 1:4:8, Steel reinforcement work, P&L filter media, providing weep holes and other allied works in different Transmission line tower locations under POWERGRID Meerut Substation. Work shall be carried out as per BOQ, Drawings, POWERGRID SFQP Norms & CPWD specifications. If not specified as per direction of Engineer in charge.

- Agencies are advised to visit site before bidding.

Terms and condition of Contract

- The contractor shall provide material, T&P and Machinery etc. to meet the requirement for completion of the Scope of work within stipulated period & maintain the quality as per POWERGRID standards.

- The Contractor at his cost shall arrange, secure and maintain all insurance as may be pertinent to the works and obligatory in terms of law against all perils and the responsibility to maintain adequate insurance coverage at all time during the period of contract shall be of the contractor alone. The contractor’s failure in this regard shall not relieve him of any of his contractual responsibilities and obligations.

- Contractor shall comply all statutory law’s requirement i.e. work man compensation policy, labor laws applicable for completing the contract without any extra cost on POWERGRID.

- Contractor shall ensure the minimum wage payments to the engaged labor as applicable time to time as per min. wages payments of central government. No extra payments whatsoever shall be paid by Powergrid towards the same.

- Water & Electricity as per requirement of work shall be arranged by the contractor at his own Cost.

- For Civil Construction material, third party lab testing shall be required as per POWERGRID SFQP Norms/ CPWD specification.

- The schedule date of works to be completed within Six (6) Months from the issue of the LOA.

- Items are based on DSR 2023 and non-schedule items. Any discrepancy in items, description shall be corrected accordingly or as per direction of Engineer in charge.

- All material shall be procured from Approved source/Approved brand to the satisfaction of the Engineer in Charge.

- OPC- 43 Cement and TMT bar 500D or more will be use as per approved brand in compendium of vendor in all activities.

- If POWERGRID sustains any loss due to any action or incident caused by the agency or their staff, the agency shall wholly compensate POWERGRID for the same. In case the agency fails to do so then POWERGRID reserves the right to recover such amounts from either the running bills or from the security deposit or any other payment due to the agency from POWERGRID. The decision of POWERGRID shall be final and binding in this regard.

- The agency shall comply with all labor laws applicable to workmen engaged by them for carrying out work and POWERGRID shall bear no liability whatsoever towards any violations by the agency in this regard.

- All the major items. viz.- cement, Reinforcement steel, Structural Steel, synthetic enamel paint, Primer shall be procured by the contractor either directly from company or from authorized distributor/dealer of reputed company only after approval of source, brand & color from POWERGRID. Further the copy of challan for all the major items procured shall be submitted by the contractor to POWERGRID for record purpose.

- The Contractor shall take the approval of brand and manufacturer/source & shall submit the detail for finalization & approval by the Engineer-in-charge.

- Quantity variation will be +/- 25 %

- Work Completion Schedule will be Six (6) months from date of LOA

- Defect Liability period for the work will be 12 months from the work completion date.