| Sr. No. | Reference Clause | Details of item | Query raised by Bidders | POWERGRID Response |
| --- | --- | --- | --- | --- |
| 1. | Section-III: Conditions of Contracts Clause 2.2: Selection of Consultants Point 2.2.0 (Pg. No. 6/28) | ‘The Bidders / Consultants shall not be engaged with any other Bidders/Competitors for preparation of Bid response for 500 MW / 1000 MWh BESS project(s) floated under Global Competitive Bidding by SECI as a Consultant directly; or indirectly through their Subsidiaries, Group Companies, Partnership, Ownership, Individual firm’. | Bidder is a network of firms with more than 250,000 professionals across 158 countries and 721 locations which makes it hard to ensure this condition. There can be a possibility that the other bidders/ consultants may be associated with bidder on different assignments across varied line of services in capacity of Subsidiaries, Group Companies, Partnership, Ownership or Individual firm. We would like to request to modify this clause by imposing this exclusivity condition only on the team members participating in this project. | Provision of the Bidding Document in this regard shall remain unchanged. |
| 2. | Section-II: Terms of Reference Clause 1.0 Point iv (Pg. No.3/4) | ‘Provide any other technical support within the overall scope of work as highlighted above including conducting internal deliberations within POWERGRID and making presentations to the concerned officials’. | The term ‘Other technical support’ creates ambiguity in terms of varied scope of services that can be categorized under ‘Technical Support’. Can this be further elaborated or removed considering the details of the same have already been covered in point i? | Provisions of the Bidding documents are amply clear in this regard. Also, provision of the Bidding Document in this regard shall remain unchanged. |
| 3. | Section-II: Terms of Reference Clause: 3.0 Payment terms (Pg. No.4/4) | 30% of the contract price will be released on closure of the bidding process by SECI. | The final payment terms are related to conclusion of the bid process. From our past experience on similar assignments, this arrangement could cause considerable delay in the payment processing as it is linked to bid conclusion and can lead to delay due to uncontrollable factors. Can this be re-worded to auction (date) floated by SECI? | Provision of the Bidding Document in this regard shall remain unchanged. |
| 4 | Section III- Condition of contract Clause 2.2.0 | The Bidders / Consultants shall not be engaged with any other Bidders/Competitors for preparation of Bid response for 500 MW / 1000 MWh BESS project(s) floated under Global Competitive Bidding by SECI as a Consultant directly; or indirectly through their Subsidiaries, Group Companies, Partnership, Ownership, Individual firm. | This clause restricts the consulting firms from engaging with other potential bidders who are interested in bidding for the tender issued by SECI. There have been instances of public procurement by various government institutions which have allowed consulting firms to engage with other potential bidders subject to protection of confidential information. We request you to kindly waive this condition or allow consulting firms to engage with other potential bidders subject to safeguarding of confidential information of Powergrid. Suitable provisions may be built into the clause in this regard. There are very few consultants who have the requisite skills to support bidders on the SECI BESS tender and bidder being one of them. We have been approached by multiple interested bidders to support them through this process and undertaking the simulation exercise. If such a restriction is put in this tender, the cost of servicing POWERGRID could be over- indexed to the extent of opportunity cost. | Provision of the Bidding Document in this regard shall remain unchanged. |
| 5 | Section-II - Terms of Reference | Technology identification, Techno Economic feasibility, Sizing & configuration of the project(s) including interconnection with the grid | Please confirm if the consultant has to suggest 3-4 potential technologies along-with their pros / cons and overall outlook or if it has to suggest a particular storage technology to POWERGRID. Bidder wouldn’t like to recommend on any particular technology to POWERGRID. We would be comfortable in assessing technologies and suggest pros and cons for each technology. We understand that no interconnection studies need to be carried out and the consultant is only required to highlight interconnection requirements with the grid. Sizing and configuration of the BESS is a technical exercise, being undertaken by the systems integrator or supplier of storage technology basis the use cases. The degradation of BESS, basis the use cases POWERGRID chooses will be an outcome of a lab result, which the BESS supplier will undertake. The sizing will be a result of that. POWERGRID should ideally procure BESS based on fixed SLAs and sizing assessment should be ideally be undertaken by SI/ supplier. Accordingly, please exclude this scope. Any kind of technical diligence for the project should be outside the Consultant’s scope of work. A separate consultant for technical diligence should be appointed, if required. | Technical due diligence is within the scope of the consultant. Hence, provision of the Bidding Document in this regard shall remain unchanged. |
| 6 | Section-II - Terms of Reference | Road map for the operational period. | It would be helpful if you can explain this in detail | The scope of work for Bid response, which also factor in the strategies/ assumptions/costing during operation phase. The road map is to include all such details & approaches to be adopted in the operation phase. As, such, provisions of the bidding documents are amply clear. |
| 7 | Section-II - Terms of Reference – Time schedule | Duration in weeks from the effective date of Contract: 6 weeks (or) upto completion of bidding process by SECI, whichever is later. | The bidding process may tend to get delayed or even get postponed due to SECI requiring time for offtake arrangements. A clarity on maximum duration of the project would be helpful. We would also request PowerGrid to consider a specific time-period within which the complete report on the scope of work would need to be submitted. | Provision of the Bidding Document in this regard shall remain unchanged. |
| 8 | Section-II - Terms of Reference – Payment terms | - 15 days from Award of Consultancy by POWERGRID: 10% of the contract price on submission of draft Report and submission of first cut of model. - 20 days from Award of Consultancy by POWERGRID and after submission of draft Report and first cut of Financial Model: 20% of the contract price on making a Presentation on the draft Report and model to POWERGRID. - 30 days from Award of Consultancy by POWERGRID: 40% of the contract price on submission of Final Report and submission and model to POWERGRID after incorporating the clarifications / inputs of POWERGRID and acceptance of the Report and Model by POWERGRID. - Final Payment: 30% of the contract price on closure of the bidding process by SECI | Please clarify the second milestone as to whether it is 20 days from award of consultancy or 20 days from submission of draft report and first cut of model. We understand that it would be 20 days from award of consultancy. Please confirm The assignment entails detailed technical and commercial due-diligence along with undertaking technical simulation and financial modelling. With regards to the same, we are of the opinion that 15 days of time for submission of first cut of the model is slightly aggressive. Moreover, 30% of the contract price is held up on closure of bidding process, even though the consultant would have submitted the final report and model. Hence, we would request PowerGrid to consider following payment terms: - 20 days from Award of Consultancy by POWERGRID: 15% of the contract price on submission of draft Report - 30 days from Award of Consultancy by POWERGRID: 35% of the contract price on making a Presentation on the draft Report and model to POWERGRID - 40 days from Award of Consultancy by POWERGRID: 35% of the contract price on submission of Final Report and submission and model to POWERGRID after incorporating the clarifications / inputs of POWERGRID and acceptance of the Report and Model by POWERGRID. - Final Payment: 15% of the contract price on closure of the bidding process by SECI | Provision of the Bidding Document in this regard shall remain unchanged. |