## Name of Bidder
Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
Specification No: Ref: SR-I/C&M/WC-4158/2025/RFx-5002004432(SR1/NT/W-CIVIL/DOM/B00/25/05814)
Enter the details of the bidder below:
Specify type of Bidder |  | Sole Bidder
Name of the Bidder |  |  | TRUE
Address of Registered Office |  |  | TRUE
TRUE
TRUE
email id |  |  | TRUE
Mobile no. | +91 |  | TRUE
Printed Name |  |  | TRUE
Designation |  |  | TRUE
Date |  |  | TRUE
Place |  |  | TRUE | False
ENTER DETAILS
Note on C20: Insert date in dd-MMM-yyyy format

## Attach 10 (hidden)
#REF! |  |  | ATTACHMENT-10
#REF!
Integrity Pact
#REF! |  |  | #REF!
Name : | #REF! |  | #REF!
Address : | #REF! |  | #REF!
| #REF! |  | #REF!
| #REF! |  | #REF!
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Next Attachment

## Attach 10 IP (hidden)
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (n).
0
0
0
0
INTEGRITY PACT
Between | [5 empty] | 0 |  | #REF!
Power Grid Corporation of India Limited | [5 empty] | 0 |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as | [5 empty] | #REF! |  | #REF!
"POWERGRID", | [5 empty] | #REF! |  | #REF!
and
0 | [5 empty] | #REF! | having its Registered Office at |  | ,
#REF!
#REF!
#REF!
hereinafter referred to as
"The Bidder/Contractor"
Preamble
#REF!
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
#REF!
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity and fairness. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personnel interest in the Companies/Agencies participating in the Bidding/Tendering process.
(2) | If Chairman and Managing Director obtains information on the conduct of any employee of POWERGRID which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, he will inform its Chief Vigilance Officer and in addition can initiate disciplinary actions under its Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
during his participation in the tender process and during the contract execution :
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to POWERGRID, or to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange an advantage during the tender process or the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor will not commit any criminal offence under the relevant Anti-corruption Laws of India; further, the Bidder/Contractor will not use for illegitimate purposes or for purposes of restrictive competition or personal gain, or pass on to others, any information provided by POWERGRID as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments he has made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/informations in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a serious transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a serious transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may after following due procedures also exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The exclusion will be imposed for a minimum of 12 months and maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the exclusion prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID may forfeit the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III, POWERGRID may forfeit the Contract Performance Guarantee of this contract besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall declare in his Bid that no previous transgressions occurred in the last 3 years with any other Public Sector Undertaking or Government Department that could justify his exclusion from the tender process.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or his subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India, out of which one of the IEMs has been indicated in the NIT/IFB.
(2) | The IEM is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. He has right of access to all project documentation. The IEM may examine any complaint received by him and submit a report to Chairman-cum-Managing Director, POWERGRID, at the earliest. He may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act. However, for ensuring the desired transparency and objectivity in dealing with the complaints arising out of any tendering process, the matter shall be referred to the full panel of IEMs, who would examine the records, conduct the investigations and submit report to Chairman-cum-Managing Director, POWERGRID, giving joint findings.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEM information as sought by him which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract.
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral or judicial proceedings (arising out of the arbitral proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(6) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## N-W (Cr.) (hidden)
USD
155885 |  |  | 4960 |  |  | 10352 |  |  | 691647 |  |  |  | EURO
RMB
INR
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only |  |  | EURO Four Thousand Nine Hundred Sixty Only |  |  | RMB Ten Thousand Three Hundred Fifty Two Only |  |  | INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only |  |  |  | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
85 | Eighty Five |  | 60 | Sixty |  | 52 | Fifty Two |  | 47 | Forty Seven
8 | Eight | Hundred | 9 | Nine | Hundred | 3 | Three | Hundred | 6 | Six | Hundred
55 | Fifty Five | Thousand | 4 | Four | Thousand | 10 | Ten | Thousand | 91 | Ninety One | Thousand | 0 | 0 | 0 | 0 | 0 |  | plus
1 | One | Lac | 0 |  |  | 0 |  |  | 6 | Six | Lac | 0 | 0 | 0 | 0 | 1
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 0
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 1
[12 empty] | 0 | 0 | 1 | 0 | 0
1 | One |  | 1 | One |  | 1 | One |  | 1 | One |  | 0 | 0 | 1 | 0 | 1
2 | Two |  | 2 | Two |  | 2 | Two |  | 2 | Two |  | 0 | 0 | 1 | 1 | 0
3 | Three |  | 3 | Three |  | 3 | Three |  | 3 | Three |  | 0 | 0 | 1 | 1 | 1
4 | Four |  | 4 | Four |  | 4 | Four |  | 4 | Four |  | 0 | 1 | 0 | 0 | 0
5 | Five |  | 5 | Five |  | 5 | Five |  | 5 | Five |  | 0 | 1 | 0 | 0 | 1
6 | Six |  | 6 | Six |  | 6 | Six |  | 6 | Six |  | 0 | 1 | 0 | 1 | 0
7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 0 | 1 | 0 | 1 | 1
8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 0 | 1 | 1 | 0 | 0
9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 0 | 1 | 1 | 0 | 1
10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 0 | 1 | 1 | 1 | 0
11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 1 | 1 | 1 | 1 | 1 | USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
12 | Twelve |  | 12 | Twelve |  | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 0 | 0 | 0 | 0 | 0 |  | +
17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 0 | 0 | 0 | 0 | 1 |  | /- +
18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 0 | 0 | 0 | 1 | 0 |  | /-
19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 0 | 0 | 0 | 1 | 1
20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 0 | 0 | 1 | 0 | 0
21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 0 | 0 | 1 | 0 | 1
22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 0 | 0 | 1 | 1 | 0
23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 0 | 0 | 1 | 1 | 1
24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 0 | 1 | 0 | 0 | 0
25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 0 | 1 | 0 | 0 | 1
26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 0 | 1 | 0 | 1 | 0
27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 0 | 1 | 0 | 1 | 1
28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 0 | 1 | 1 | 0 | 0
29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 0 | 1 | 1 | 0 | 1
30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 0 | 1 | 1 | 1 | 0
31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 1 | 1 | 1 | 1 | 1 | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty |  | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One |  | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty |  | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty |  | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy |  | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty |  | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety |  | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred

## Schedule-I
Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
Schedule-I : DSR Scheduled Items
To:
Bidder’s Name and Address (Sole Bidder) : |  | 0 | [7 empty] | Contract Services
Address : |  | 0 | [7 empty] | Power Grid Corporation of India Ltd.,
|  | 0 | [7 empty] | Southern Region Transmission system -I
|  | 0 | [7 empty] | Kavadiguda Main Raod, Secunderabad - 500080
All prices are in INR
Sl. No. | DSR 2023 Ref No: | Service Number | SAC (Service Accounting Codes) | Whether SAC in column ‘4’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (DSR'23 Items- Civil Works) | Unit | Quantity | Unit Erection Charges including GST as per DSR 2023 | GST % included in DSR 2023 | Unit Erection Charges excluding GST | Amount excluding GST | GST
1 | 2 | 3 | 4 | 5 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=8/(1+Sl.No.9) | 11=10*7 | 12=18% of 11
SCHEDULE ITEMS - CIVIL
1 | 1.1.1 |  |  |  | 18% |  | By Mechnaical transport including Loading,unloading and stacking -Lime, moorum, building rubbish-1km | cum | 36 | 174.04 | 0.18 | 147.49 | 5309.64 | 955.7352
2 | 2.27 |  |  |  | 18% |  | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | cum | 9 | 2123.75 | 0.18 | 1799.79 | 16198.11 | 2915.6598
3 | 2.8.1 |  |  |  | 18% |  | Earth work in excavation by mechanical means (hydraulic excavator)/ manual meaans in foundation trenches or drains (not exceeding 1.5m in width or 10sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m. 2.8.1 All kinds of soil | cum | 57 | 260.3 | 0.18 | 220.59 | 12573.63 | 2263.2534
4 | 2.34.1 |  |  |  | 18% |  | Supplying chemical emulsion in sealed containers including delivery as specified. 2.34.1 Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | Litre | 82 | 234.75 | 0.18 | 198.94 | 16313.08 | 2936.3544
5 | 2.35.4 |  |  |  | 18% |  | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of existing masonry using chemical emulsion @ one litre per hole at 300 mm interval including drilling holes at 45 degree and plugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to the full depth of the hole : 2.35.4.1 With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | Metre | 480 | 43 | 0.18 | 36.44 | 17491.2 | 3148.416
6 | 4.1.3 |  |  |  | 18% |  | 1:2:4 (1 cement : 2 coarse sand (zone-III)derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources) | cum | 6 | 7878.5 | 0.18 | 6676.69 | 40060.14 | 7210.8252
7 | 4.1.5 |  |  |  | 18% |  | 1:3:6 (1 cement : 3 coarse sand (zone-III)derived from natural sources : 6 graded stone aggregate 20mm nominal size derived from natural sources) | cum | 16 | 7294.7 | 0.18 | 6181.95 | 98911.2 | 17804.016
8 | 4.17 |  |  |  | 18% |  | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth | sqm | 150 | 749.3 | 0.18 | 635 | 95250 | 17145
9 | 6.34.1 |  |  |  | 18% |  | Brick work with non modular fly ash bricks conforming to IS:12894,class designation 10 average compressive strength in super structure above plinth level up to floor V level in : 6.34.1 Cement mortar 1:4 (1 cement : 4 coarse sand) | cum | 19 | 8962.35 | 0.18 | 7595.21 | 144308.99 | 25975.6182
10 | 8.2.2.2 |  |  |  | 18% |  | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm. | sqm | 38 | 5136.3 | 0.18 | 4352.8 | 165406.4 | 29773.152
11 | 8.31 |  |  |  | 18% |  | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | sqm | 473 | 1267.95 | 0.18 | 1074.53 | 508252.69 | 91485.4842
12 | 9.1.1 |  |  |  | 18% |  | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). 9.1.1 Second class teak wood | cum | 3 | 142949.7 | 0.18 | 121143.81 | 363431.43 | 65417.6574
13 | 9.7.7.2 |  |  |  | 18% |  | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : 9.7.7 Float glass panes 9.7.7.2 5.0 mm thick glass panes (weight not less than 12.50 kg/sqm). | sqm | 95 | 2600.45 | 0.18 | 2203.77 | 209358.15 | 37684.467
14 | 9.46.3 |  |  |  | 18% |  | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 9.46.3 25mm dia | metre | 276 | 525.55 | 0.18 | 445.38 | 122924.88 | 22126.4784
15 | 9.48.1 |  |  |  | 18% |  | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. 9.48.1 Fixed to steel windows by welding | kg | 1531 | 219.1 | 0.18 | 185.68 | 284276.08 | 51169.6944
16 | 9.71.2 |  |  |  | 18% |  | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete :100x60x2.50 mm | each | 688 | 106.35 | 0.18 | 90.13 | 62009.44 | 11161.6992
17 | 9.71.3 |  |  |  | 18% |  | Providing and fixing IS : 12817 marked stainless steel butt hinges (heavy weight) with stainless steel screws etc. complete :75x50x2.50 mm | each | 256 | 89.3 | 0.18 | 75.68 | 19374.08 | 3487.3344
18 | 9.88 |  |  |  | 18% |  | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | each | 16 | 998.35 | 0.18 | 846.06 | 13536.96 | 2436.6528
19 | 9.96.1 |  |  |  | 18% |  | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | each | 80 | 303.25 | 0.18 | 256.99 | 20559.2 | 3700.656
20 | 9.97.2 |  |  |  | 18% |  | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250*10mm | each | 188 | 115.15 | 0.18 | 97.58 | 18345.04 | 3302.1072
21 | 9.97.4 |  |  |  | 18% |  | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150*10mm | each | 240 | 82.55 | 0.18 | 69.96 | 16790.4 | 3022.272
22 | 9.100.1 |  |  |  | 18% |  | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125mm | each | 440 | 66.25 | 0.18 | 56.14 | 24701.6 | 4446.288
23 | 9.101.2 |  |  |  | 18% |  | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | each | 164 | 72.35 | 0.18 | 61.31 | 10054.84 | 1809.8712
24 | 9.114.1 |  |  |  | 18% |  | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete, Triple strip vertical type | Each | 352 | 52.5 | 0.18 | 44.49 | 15660.48 | 2818.8864
25 | 9.147.C2.2 |  |  |  | 18% |  | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14,plastic packers, plastic caps and necessary stainless steel screws etc.Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sectionsof uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 — Part 3 (ii) Sites with structure height more than 20m for all wind speeds Fixed window / ventilator with mullion / transom. 9.147.C2.3 Using R2 series with frame ( 39mm & above) x (39mm & above) & mullion (39mm & above) x (60mm & above). (Height upto 1.2 metre) | sqm | 17 | 8765.4 | 0.18 | 7428.31 | 126281.27 | 22730.6286
26 | 9.147.D1.3 |  |  |  | 18% |  | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14,plastic packers, plastic caps and necessary stainless steel screws etc.Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sectionsof uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 — Part 3 (ii) Sites with structure height more than 20m for all wind speeds Ventilator Casement window single panel with or without fixed panel with S.S> 304 friction hinges as per size and weight of sash, single point locking zinc alloy (zamak) powder coated handles. 9.147.D1.3 Using R3 Series with frame (55 mm &above) x (45 mm & above). (Height above 1.2 metre) | sqm | 17 | 11919.85 | 0.18 | 10101.57 | 171726.69 | 30910.8042
27 | 9.170.1 |  |  |  | 18% |  | Providing and fixing stainless steel fancy handle of approved make fixed with SS screws etc. complete as per direction of Engineer-in-charge. 9.170.1 200 mm | each | 300 | 186.65 | 0.18 | 158.18 | 47454 | 8541.72
28 | 9.171 |  |  |  | 18% |  | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge | each | 496 | 272 | 0.18 | 230.51 | 114332.96 | 20579.9328
29 | 11.41A.3.1 |  |  |  | 18% |  | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. 11.41A.3 Glazed Vitrified tiles Matt/Antiskid finish of size 11.41a.3.1 Size of Tile 600 x 600 mm | sqm | 126 | 1464.85 | 0.18 | 1241.4 | 156416.4 | 28154.952
30 | 13.8.2 |  |  |  | 18% |  | 15 mm cement plaster on the rough side of single or half brick wall of mix : : 1:4 (1 cement: 4 fine sand) | sqm | 1621 | 477.9 | 0.18 | 405 | 656505 | 118170.9
31 | 13.21 |  |  |  | 18% |  | Extra for providing and mixing water proofing material in cement plaster per bag work in proportion recommended by the manufacturers. | of 50kg cement used in the mix | 146 | 22.1 | 0.18 | 18.73 | 2734.58 | 492.2244
32 | 13.8 |  |  |  | 18% |  | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | sqm | 2252 | 156.05 | 0.18 | 132.25 | 297827 | 53608.86
33 | 13.83.2 |  |  |  | 18% |  | Wall painting with premium acylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 gram/litre, of approved brand and manufacturer including applying additional coats wherver required to achieve even shade and colout 13.83.2 Two Coats | sqm | 4203.732 | 142.8 | 0.18 | 121.02 | 508735.65 | 91572.417
34 | 13.85.3 |  |  |  | 18% |  | Applying priming coats with primer of approved brand and manufacture, having low VOC content 13.85.3 With water thinnable cement primer on wall surface having VOC content less than 50 grams/lite | sqm | 1771 | 73.95 | 0.18 | 62.67 | 110988.57 | 19977.9426
35 | 13.91 |  |  |  | 18% |  | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping,sand papering and preparing the surface smooth including necessary repairs to scratches etc complete | sqm | 7192 | 25.15 | 0.18 | 21.31 | 153261.52 | 27587.0736
36 | 13.112.1 |  |  |  | 18% |  | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade 13.112.1 Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | sqm | 4759.1392 | 131.3 | 0.18 | 111.27 | 529549.42 | 95318.8956
37 | 13.62.1 |  |  |  | 18% |  | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: 13.62.1 Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | sqm | 2073.5846 | 226.25 | 0.18 | 191.74 | 397589.11 | 71566.0398
38 | 14.1.1 |  |  |  | 18% |  | Repairs to plaster of thickness 12 mm to 20 mm in patches of area2.5 sq.meters and under, including cutting the patch in proper shape,raking out joints and preparing and plastering the surface of the walls cluding disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge : With cement mortar 1:4 (1 cement : 4 fine sand) | sqm | 149.76 | 547.4 | 0.18 | 463.9 | 69473.66 | 12505.2588
39 | 14.6.2 |  |  |  | 18% |  | Renewing glass panes, with wooden fillets wherever necessary:Float glass panes of nominal thickness 5 mm (weight not less than 12.5kg/sqm) | sqm | 36 | 1906.4 | 0.18 | 1615.59 | 58161.24 | 10469.0232
40 | 14.77 |  |  |  | 18% |  | Cleaning of chocked sewer line by diesel running vehicle mounting hydraulic operated high pressure suction cum jetting sewer cleaning machine fitted with pump having 4000 litres suction capacity and 6000 litres water jetting tank capacity including skilled operator, supervising engineer etc. for cleaning and partial desilting of manholes and dechocking of sewer lines. Dechocking and flushing of sewer line from one manhole to another by high pressure jetting system of 2200 PSI for sewer line from 150mm dia upto 300mm | metre | 300 | 340.75 | 0.18 | 288.77 | 86631 | 15593.58
41 | 14.84 |  |  |  | 18% |  | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin-Charge.(a) Internal Work- Exposed on wall | Meter | 187 | 3.25 | 0.18 | 2.75 | 514.25 | 92.565
42 | 15.2.2 |  |  |  | 18% |  | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge: Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | cum | 63 | 1503.6 | 0.18 | 1274.24 | 80277.12 | 14449.8816
43 | 15.12.1 |  |  |  | 18% |  | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of Area 3sq meters and below | each | 108 | 367.2 | 0.18 | 311.19 | 33608.52 | 6049.5336
44 | 15.18 |  |  |  | 18% |  | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | kg | 60 | 5.65 | 0.18 | 4.79 | 287.4 | 51.732
45 | 15.23.1 |  |  |  | 18% |  | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. 15.23.1 For thickness of tiles 10mm to 25mm | sqm | 592 | 73.4 | 0.18 | 62.2 | 36822.4 | 6628.032
46 | 15.52 |  |  |  | 18% |  | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | each | 36 | 112.05 | 0.18 | 94.96 | 3418.56 | 615.3408
47 | 15.56 |  |  |  | 18% |  | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | sqm | 1235 | 54.65 | 0.18 | 46.31 | 57192.85 | 10294.713
48 | 16.91.2 |  |  |  | 18% |  | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge 16.91.2 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | sqm | 60 | 1091.5 | 0.18 | 925 | 55500 | 9990
49 | 17.1.1 |  |  |  | 18% |  | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | each | 16 | 6767.4 | 0.18 | 5735.08 | 91761.28 | 16517.0304
50 | 17.2.1 |  |  |  | 18% |  | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : 17.2.1 W.C. pan with ISI marked white solid plastic seat and lid | each | 20 | 6515.55 | 0.18 | 5521.65 | 110433 | 19877.94
51 | 17.7A |  |  |  | 18% |  | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:-(a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | each | 36 | 3960.55 | 0.18 | 3356.4 | 120830.4 | 21749.472
52 | 17.22A |  |  |  | 18% |  | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | each | 36 | 1034.8 | 0.18 | 876.95 | 31570.2 | 5682.636
53 | 17.22B |  |  |  | 18% |  | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge | each | 36 | 6940.75 | 0.18 | 5881.99 | 211751.64 | 38115.2952
54 | 17.28.1.1 |  |  |  | 18% |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. 17.28.1 Semi Rigid pipe 17.28.1.1 32mm dia | each | 36 | 103.9 | 0.18 | 88.05 | 3169.8 | 570.564
55 | 17.31 |  |  |  | 18% |  | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | each | 36 | 1607.95 | 0.18 | 1362.67 | 49056.12 | 8830.1016
56 | 17.33 |  |  |  | 18% |  | Providing and fixing 600x120x5 mm glass shelf with edges round off, supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40 mm long screws, rawl plugs etc., complete. | each | 36 | 1083.5 | 0.18 | 918.22 | 33055.92 | 5950.0656
57 | 17.71 |  |  |  | 18% |  | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | each | 36 | 168.35 | 0.18 | 142.67 | 5136.12 | 924.5016
58 | 17.73.2 |  |  |  | 18% |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 17.73.2 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms | Each | 36 | 708.95 | 0.18 | 600.81 | 21629.16 | 3893.2488
59 | 18.8.2 |  |  |  | 18% |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Concealed work, including cuting chases and making good the walls 18.8.2 20mm nominal dia pipes | Metre | 187 | 537.6 | 0.18 | 455.59 | 85195.33 | 15335.1594
60 | 18.9.3 |  |  |  | 18% |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.25 mm nominal dia Pipes | Metre | 344 | 355.4 | 0.18 | 301.19 | 103609.36 | 18649.6848
61 | 18.9.4 |  |  |  | 18% |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.32 mm nominal dia Pipes | Metre | 350 | 438.6 | 0.18 | 371.69 | 130091.5 | 23416.47
62 | 18.13.1 |  |  |  | 18% |  | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading thepipe etc. complete : 25 to 40 mm nominal bore | each | 48 | 911.9 | 0.18 | 772.8 | 37094.4 | 6676.992
63 | 18.18.3 |  |  |  | 18% |  | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 18.18.3 25mm nominal bore | each | 16 | 464.05 | 0.18 | 393.26 | 6292.16 | 1132.5888
64 | 18.21.2.1 |  |  |  | 18% |  | Providing and fixing uplasticised PVC connection pipe with brass unions : 18.21.2 45 cm length 18.21.2.1 15mm nominal bore | each | 72 | 97.75 | 0.18 | 82.84 | 5964.48 | 1073.6064
65 | 18.22.2 |  |  |  | 18% |  | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet :150 mm diameter | each | 36 | 222.35 | 0.18 | 188.43 | 6783.48 | 1221.0264
66 | 18.51 |  |  |  | 18% |  | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 18.51.1 15mm nominal bore | each | 48 | 798.95 | 0.18 | 677.08 | 32499.84 | 5849.9712
67 | 18.53.1 |  |  |  | 18% |  | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 18.53.1 15mm nominal bore | each | 144 | 574.3 | 0.18 | 486.69 | 70083.36 | 12615.0048
68 | 18.53A |  |  |  | 18% |  | Providing and fixing C.P. brass extenstion nipple(size 15mmx 50mm) of approved make and quality as per direction of engineer- in charge | each | 144 | 74.8 | 0.18 | 63.39 | 9128.16 | 1643.0688
69 | 21.1.1.2 |  |  |  | 18% |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :Powder coated aluminium (minimum thickness of powder coating 50 micron) | kg | 985 | 530.9 | 0.18 | 449.92 | 443171.2 | 79770.816
70 | 22.22A |  |  |  | 18% |  | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | sqm | 1434 | 563.1 | 0.18 | 477.2 | 684304.8 | 123174.864
71 | 22.23A |  |  |  | 18% |  | Providing & Applying polymer modified, flexible cementatious negative side waterproofing coating with elastic waterproofing polymers on interior wall plaster surface in three coats @14.35 kg /10 sqm. one coat of self priming of cementatious waterproofing polymer(dilution with water in the ratio of 1:1) and two coats of cementatious waterproofing polymer (dilution with water in the ratio of 3:1 ) after scrapping and properly cleaning the surface to remove pre-existing paint film & loose particles till plaster is visible, complete in all respect as per the direction of Engineer-in-Charge. | sqm | 599 | 447.35 | 0.18 | 379.11 | 227086.89 | 40875.6402
72 | 26.28.3 |  |  |  | 18% |  | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge 26.28.3 25mm average thickness | sqm | 407 | 126.75 | 0.18 | 107.42 | 43719.94 | 7869.5892
73 | 26.86.2 |  |  |  | 18% |  | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Ceosetory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made Frame Size 45*85mm | metre | 218 | 926.35 | 0.18 | 785.04 | 171138.72 | 30804.9696
74 | 26.87.1 |  |  |  | 18% |  | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30mm thick | sqm | 58 | 4346.7 | 0.18 | 3683.64 | 213651.12 | 38457.2016
75 | 26.88.1 |  |  |  | 18% |  | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/ cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 26.88.1 30 mm thick | sqm | 176 | 4764.2 | 0.18 | 4037.46 | 710592.96 | 127906.7328
76 | 26.89.2 |  |  |  | 18% |  | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesive for cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In-Charge. (Note: stainless steel piano hinges/soft close clip on concealed hinges and necessary S.S screws shall be paid separately) 26.89.2 25mm thick | sqm | 143 | 3889.15 | 0.18 | 3295.89 | 471312.27 | 84836.2086
Total of Schedule (CIVIL and E& M) Items as per DSR excluding Rebate | [12 empty] | 10186500.44 | 1833570.0792
Percentage (%) above/below +/- on DSR 2021 Rates excluding GST mentioned above (to be quoted by Bidder) | [13 empty] | 0
Add Amount above/below +/- on the amount for DSR Items as per quoted percentage
Total of Schedule I excluding GST considering offered % Rebate
Total GST
As the %variation w.r.t total DSR Amount cell left Blank the bid is considered as Non-responsive
0
70652568.57

## Schedule-II
Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
Schedule-II : Non-Scheduled Items
Bidder’s Name |  |  | 0 | [5 empty] | To:
Address : |  |  | 0 | [5 empty] | Contract Services
|  |  | 0 | [5 empty] | Power Grid Corporation of India Ltd.,
|  |  | 0 | [5 empty] | Southern Region Transmission system -I
Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Rate without GST | Total Amount | GST | Remarks |  |  | 13
1 | 2 | 2 | 3 | 3 | 4 | 5 | 6 | 7 | 8 | 9= 8 x 7 | 11 = Appl GST% of 9 |  |  |  | 13
A | [5 empty] | NON-SCHEDULE ITEMS: CIVIL
1 | NS 1 |  |  | 18% |  | Providing, fixing, laying, jointing, cutting of required size of Kurnool/Kadappa Stone slab thickness 40-50mm for partition of shelves in cupboards laid with cement with cement mortar and required glue for vertical joints including making necessary arrangement in wall for rigis fixing, grouting of joints all complete as per direction of engineer-in-charge. | sqm | 335 |  | 0 | 0 |  | TRUE | FALSE
2 | NS 2 |  |  | 18% |  | Open and widen the cracks to form "V" shaped groove by uing cutter and clean the crack throughly to free it from dust and loose particles. Apply approved crack seal to wall cracks including primer in the opened cracks, apply crack seal atleast 3 cm on eitherside of the crack for better adhesion and apply additional coat of crack seal in case of severe dampness and apply putty for even surface of wall including all materials and labour charges and as per the directions of Engineer-In-Charge. | Metre | 1600 |  | 0 | 0
3 | SWR pipe 110 mm |  |  | 18% |  | Providing, fixing , laying, testing & commissioning (Concealed/surface mounted or underground) uPVC SWR Rigid pipes confirming to IS 13592 Type B of PRICE/SUPREME/FINOLEX or equivalent make for drainage line including necessary fittings such as couplers, bends, tees, cross tees, cowls, 2way/3way junction of any degree,clamps, rubber packing ring, acess door etc. wherever required confirming to IS-14735, joining with adhessive solvent cement including cost of jointing materials and all other necessary fixtures, fitting, air and water tight testing of the line etc. complete at all levels. (Centre line length of completed pipe line shall be measured for payment purpose) (B) 110mm outer dia. | M | 208 |  | 0 | 0
4 | SWR pipe 75 mm |  |  | 18% |  | Providing, fixing , laying, testing & commissioning (Concealed/surface mounted or underground) uPVC SWR Rigid pipes confirming to IS 13592 Type B of PRICE/SUPREME/FINOLEX or equivalent make for drainage line including necessary fittings such as couplers, bends, tees, cross tees, cowls, 2way/3way junction of any degree,clamps, rubber packing ring, acess door etc. wherever required confirming to IS-14735, joining with adhessive solvent cement including cost of jointing materials and all other necessary fixtures, fitting, air and water tight testing of the line etc. complete at all levels. (Centre line length of completed pipe line shall be measured for payment purpose) (B) 75mm outer dia. | M | 192 |  | 0 | 0
5 | Nahani/floor Trap |  |  | 18% |  | Providing, fixing, testing and commissioning uPVC SWR self cleaning Nahani trap, plain floor trap/ Multi floor trap etc. confirming to IS-14735 of 110 mm dia inlet and 75 mm outlet nominal dia. including fixing PVC reducer of 110mm dia. to 75 mm dia. and jointing with adhessive solvent cement including cost of cutting and making good the walls and floors at all levels etc. complete. | EA | 105 |  | 0 | 0
6 | Two way bib cock with health fucet |  |  | 18% |  | Providing and fixing CP Brass 2 way Bib cock with wall flange and Health faucet, flexible hose pipe and wall hook complete. Jaguar FLR-CHR-5041N for Bib cock & ALD-CHR-563 for health facet or equivalent model of approved brands. | EA | 36 |  | 0 | 0
7 | SS jali for nahani with cockrage trap |  |  | 18% |  | Providing and fixing 125 mm dia stainless (SS304) matt finsh steel jali (grating) with or without hole consisting four piece system with Cockroach Trap, and frame thickness 1mm & grating thickness 1.5 mm for waste pipe of floor or Nahani trap complete in all respect as per manufacturers specification and direction of Engineer-in-charge. Make : Nirali/Lipka/ Viking/Roca/Jaquar/Kohler or equivalent. | EA | 108 |  | 0 | 0
8 | Exaust Fan Heavy duty 250V |  |  | 18% |  | Supply, installation, connection, testing and commissioning of Exhaust fan of light duty250 V A.C. 50 cycles 225mm. 1400 RPM rust proof body & blades, wiremesh, duly erected in an approved manner and marking .( Similar to Havells Ventil Air DX 250mm) | EA | 52 |  | 0 | 0
9 | CPVC Ball Valve 25 mm dia |  |  | 18% |  | Providing and fixing CPVC Ball Valve 25 mm dia with lever arm conforming to SDR 11 pressure class as per ASTM D – 2846 of PRICE/SUPREME/FINOLEX or equivalent make joining with adhessive solvent cement including cost of jointing materials and all other necessary fixtures, fitting, air and water tight testing etc. complete at all levels. | EA | 48 |  | 0 | 0
10 | CPVC Ball Valve 32 mm dia |  |  | 18% |  | Providing and fixing CPVC Ball Valve 32 mm dia with lever arm conforming to SDR 11 pressure class as per ASTM D – 2846 of PRICE/SUPREME/FINOLEX or equivalent make joining with adhessive solvent cement including cost of jointing materials and all other necessary fixtures, fitting, air and water tight testing etc. complete at all levels. | EA | 4 |  | 0 | 0
11 | Chicken wire mesh for plaster |  |  | 18% |  | Providing & fixing chicken wire mesh 24 gauge at junctions of RCC and masonry walls including fixing in position, scaffolding etc. complete as directed by Engineer-in-charge. | M2 | 137 |  | 0 | 0
12 | Groove work in plaster |  |  | 18% |  | Forming groove of uniform size from 12x12mm and up to 25x15mm in plastered surface as per approved pattern using wooden battens, nailed to the under layer including removal of wooden battens, repairs to the edges of plaster panel and finishing the groove complete as per specifications/drawings and direction of Engineer-in-Charge. | M | 289 |  | 0 | 0
13 | Window SS jali for sliding |  |  | 18% |  | Providing and fixing stainless steel 304 grade mesh of average width of aperture 1.4 mm and nominal dia of wire 0.50 mm to uPVC/aluminium windows with suitable beading/clips a as per drawings and as directed by engineer in charge. The uPVC/aluminium section of windows shall be measured under relevant items. Actual area of mesh provided shall be measured for payment. | sqm | 970 |  | 0 | 0
[6 empty] | Total of Non-Schedule Items- Civil and E&M (Schedule - II) | [6 empty] | False
As all the line items are Left Blank the bid is considered as Non-responsive
Sheet OK

## Schedule-III-Summary
Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  | To:
Name : | 0 | Contract Services
Address : | 0 | Power Grid Corporation of India Ltd.,
| 0 | Southern Region Transmission system -I
| 0 | Kavadiguda Main Raod,
Secunderabad - 500080
Sl. No. | Description |  | Total Price (INR)
1.1 | TOTAL SCHEDULE NO. I
Supply & Installation Charges- Schedule Civil & Electrical Items for Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
1.2 | TOTAL SCHEDULE NO. II
Supply & Installation Charges- Non-Schedule Civil & Electrical Items for Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
I | Total of Service/Installation Charge (ITEMS TAB: Item 01 INSTALLATION FOR DCB (INR) : SRM ATB for BID PRICE SUMMARY Statement ) |  | Non-responsive Bid
II | GST
GST on Schedule-I
GST on Schedule-II
| Total GST for BID PRICE SUMMARY Statement ) |  | Non-responsive Bid
III | GRAND TOTAL |  | Non-responsive Bid
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Bid Form
Specification No: Ref: SR-I/C&M/WC-4158/2025/RFx-5002004432(SR1/NT/W-CIVIL/DOM/B00/25/05814) |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date :
To:
Contract Services
Power Grid Corporation of India Ltd.,
Southern Region Transmission System-I
Name of Contract : |  | Renovation of 04 no B1 type quarters, 04 nos B2 type quarters, 04nos B3 type quarters and 04 nos Ctype quarters at 400kV Warangal Substaion
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. Non-responsive Bid /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | Non-responsive Bid
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | Schedules Items as per DSR 2021 excluding GST
| Sch-2 | Non-Scheduled Items
| Sch-3 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 4.6, ITB, Vol.-IA of the Bidding Documents, the prices of all the Services to be supplied under this contract shall be FIRM and doesnot subject to any price adjustment as per relevant clauses in bidding document.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Installation Services specified in Schedule No. I & II of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *