| SN | Clause No. | Provision in the Bidding Documents | Bidder’s Query/Comments | POWERGRID’S Reply/Clarification |
| --- | --- | --- | --- | --- |
| 1. | General | - | ………….. We also take reference of Order No 25-11/6/2018-PG dated 02/07/2020 through which guidelines are laid down by Ministry of Power to protect the security, integrity and reliability of the strategically important and critical Power supply system & network in the country. Please clarify whether the provisions of this order are applicable for the subject tender or not. In case these provisions are applicable to subject tender, we wish to seek further clarification regarding the following points: - All equipment, components and parts imported for use in the power supply system and network shall be tested in the country to check for any kind of embedded malware/trojans/cyber threat and for adherence to Indian standards. We understand that this requirement is only applicable on equipments those are susceptible to embedded malware / trojans/cyber threat. Further please inform which Indian standard shall be applicable for above said testing. - All such testings shall be done in certified laboratories that will be designated by the Ministry of Power (MoP). Please provide list of such certified laboratories that will be designated by the Ministry of Power and also please clarify if Indian Manufacturer’s works having testing facility shall also be included in this list. - Any import of equipment/components/parts from “prior reference list” countries as specified or by persons owned by, controlled by, or subject to the jurisdiction or the directions of these “prior reference” countries will require prior permission of the Government of India. Please provide the details of countries covered under “Prior reference list” as notified in above order. With regards to the provision of the above clause, we understand that this requirement is applicable only for equipments which are susceptible to embedded malware / trojans/cyber threat. Please clarify. - Where the equipment/components/parts are imported from “prior reference” countries, with special permission, the protocol for testing in certified and designated laboratories shall be approved by the Ministry of Power (MoP). With reference to the provisions of the above clause, we understand that the testing protocols shall be designed for testing requirements with respect to embedded malware / trojans/cyber security robustness of the equipments / systems. We understand that if above referred testing is being performed on integrated system / sub-system, it will automatically cover the testing of its components. With this, above referred testing shall be deemed to have been carried out. Please confirm. | Please refer Amendment No. 6 to the Bidding Documents attached herewith. |
| 2. | ITB 2.1, Section-III: BDS, Vol.-I of the Bidding Documents [Amendment No. 5] | Replace Clause ITB 2.1 with the following: …………. …………. Any Bidder from a country which shares a land border with India will be eligible to bid only if the Bidder is registered with the Competent Authority as per order no. F.No.6/18/2019-PPD (Order Public Procurement no.1) dated 23/07/2020 and F.No.6/18/2019-PPD (Order Public Procurement no.2) dated 23/07/2020, issued by Public Procurement Division, Department of Expenditure, Ministry of Finance, Government of India (DoE Order). ……………. ……………. | ……………….. We are in receipt of Amendment 5 for above mentioned STATCOM packages and specifications and noted the content their in. With reference to amendment to ITB 2.1 Section III: BDS, Vol-I of the Biding Documents for the bidder, registration is mandatory with DPIIT against order no. F.No.6/18/2019-PPD (Order Public Procurement no.1) dated 23/07/2020 and F.No.6/18/2019-PPD (Order Public Procurement no.2) dated 23/07/2020, issued by Public Procurement Division, Department of Expenditure, Ministry of Finance, Government of India. As this order is issued recently on 23rd July 2020 and we are unable to get link of such registration at DPIIT website. We have also tried to contact concerned officials on DPIIT. However, from all possible sources, the procedure for registration is still not clear. Hence, we hereby request to your office to kindly provide link to register as per above mentioned order or please give us necessary advice for this registration. We hope PGCIL will provide us link at the earliest enable us to get register with DPIIT to get eligible to bid in these tenders. ………………… | Provisions of the Bidding Documents are amply clear. Further, in case of requirement of registration of the bidder in line with DoE Order (refer ITB Cl. 2.1), such bidder is responsible for said registration, for which he has to take up with the concern Authority. |