| Sl. No. | Clause /Drawing No. Reference & Description | Existing Clause | Amended Clause. |
| --- | --- | --- | --- |
|  | Section-Project, CL. 9.0 (Pg 24 of 89) | New Clauses added | # SPECIFIC REQUIREMENT … - All equipment/materials/items, as per Annexure-XX, as applicable under present scope of works, shall be procured and supplied from domestic manufacturers only. - Any imported equipment/material/item/parts/component to be supplied under the contract shall be tested in the certified laboratories to check for any kind of embedded malware/ Trojans/cyber threats and for adherence to Indian Standards as per the directions issued by Ministry of Power/Govt. of India from time to time. In case of such import from specified “prior reference” countries, the requirement of prior permission from the Govt. of India including protocol for testing in certified and designated laboratories by Ministry of Power/Govt. of India shall also be complied with by the contractor. - The equipment offered by the contractor shall at least conform to the requirements specified under relevant IS standard. In case of discrepancy between IS and other international standard, provisions of IS shall prevail. The Contractor shall also note that the list of standards presented in this specification is not complete. Whenever necessary, the list of standards shall be considered in conjunction with specific IS. If the IS standard is not available for an equipment/material, then other applicable International standard (IEC/Equivalent), as per the specification, shall be accepted.” - The bidder/contractor shall list out the products and components producing Toxic e-waste under the contract and shall furnish to the Employer the procedure of safe disposal at the time of closing of the contract. - Mandatory Spares, wherever mentioned, are envisaged for the equipment/items being supplied under the main equipment heads under present scope meeting the requirements of Technical Specifications. The component/sub-component of an equipment/item specified in BPS under Mandatory Spare, which is not applicable as per the offered design of respective main equipment, shall not be referred to. … |