Qualifying Requirement (QR)

Substation Package: SS-03 - Augmentation of transformation capacity at 765/400/220kV Bikaner-III by 1x500 MVA, 400/220kV ICT (6th) along with associated bays: (i) 500 MVA, 400/220 kV ICT- 1 No. (ii) 400 kV ICT bay (including associated tie bay)- 1 no. (iii) 220 kV ICT bay- 1 no..

QUALIFICATION CRITERIA:

Qualification of bidders will be based on meeting the minimum pass/fail criteria specified below regarding the Bidder’s technical experience and financial position as demonstrated by Bidder’s responses in the corresponding Bid Schedules. Technical experience and financial resources of any proposed subcontractor shall not be taken into account in determining the Bidder’s compliance with the qualifying criteria. The bid can be submitted by an individual firm or a Joint Venture of two or more firms. Specific requirements for Joint Ventures are given under Para 1.3 below The Employer may assess the capacity and capability of the bidder, to successfully execute the scope of work covered under the package within stipulated completion period. This assessment shall inter-alia include (i) document verification; (ii) bidders work/manufacturing facilities visit; (iii) manufacturing capacity, details of works executed , works in hand, anticipated in future & the balance capacity available for present scope of works; (iv) details of plant and machinery, manufacturing and testing facilities, manpower and financial resources; (v) details of quality systems in place; (vi) past experience and performance; (vii) customer feedback; (viii) banker’s feedback etc.

- TECHNICAL EXPERIENCE 1.1 Bidder must have erected, tested and commissioned as a prime contractor under a single contract, at least two (2) nos. AIS^ Circuit Breaker equipped bays of 220kV or above voltage level in one (1) substation or switchyard during last seven (7) years and these bays must be in satisfactory operation# as on the Originally scheduled last date of bid submission (soft copy) i.e. 09.08.2025. Note-1 : In case the bidder has executed the work under a contract that had been awarded on a Joint Venture wherein the bidder was one of the partners, the experience of the bidder shall be considered limited to the scope executed by the bidder as a partner under the said contract. Note-2 (#): Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark. Note-3 (^) : AIS means Air Insulated Substation Note-4: In case bidder is a holding company, the technical experience referred to in clause 1.1 shall be of that holding company only (i.e. excluding its subsidiary/group companies). In case bidder is a subsidiary of a holding company, the technical experience referred to in clause 1.1 shall be of that subsidiary company only (i.e. excluding its holding company).

  - FINANCIAL POSITION

Bidder must meet the following minimum criteria:

- Net Worth of the Bidder for last 3 financial years should be positive.

- Minimum Average Annual Turnover* (MAAT) of the bidder for best three years i.e. 36 months out of last five financial years as annualised should be ₹  110.250 Millions or equivalent for Package SS-03

* Note- “Annual gross revenue from operations/gross operating income as incorporated in the profit & loss account excluding other operative income/other income”.

- Bidder shall have Liquid Assets (LA) and/or evidence of access to or availability of  credit facilities of not less than ₹  18.375 Millions or equivalent for Package SS-03.

Note 1:- In case bidder is a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of holding company only (i.e. excluding its subsidiary / group companies). In case bidder is a subsidiary of a holding company, the Financial Position criteria referred to in clause 1.2 above shall be that of subsidiary company only (i.e. excluding its holding company).

Note 2:- Relaxation for Start-Ups^^/ MSEs

Start-Ups^^/ MSEs, meeting the specified requirements at Para 1.2 (a) above in Financial Position shall also be considered qualified if they meet Eighty (80) % of the requirement specified at Para 1.2 (b) & 1.2 (c) above in Financial Position.

^^Start-Ups as defined by DPIIT, applicable as on the Originally scheduled last date of bid submission (soft copy)

1.3 JOINT VENTURE BIDS

1.3.1

In case a bid is submitted by a Joint Venture (JV) of two or more firms as

partners, joint venture must comply the following minimum criteria:

i) All the partners of the JV shall meet individually the Financial Position criteria given at 1.2 (a) above.

ii) The lead partner shall meet, not less than 40% of the Financial Position criteria given at para 1.2 (b) & (c) above and 100% of the Technical Experience criteria given at 1.1 above.

iii) Each of the other partner (s) individually

a) shall meet not less than 25% of the Financial Position criteria given at 1.2 (b) & (c) above.

b) must have erected, tested and commissioned as a prime contractor under a single contract, at least one (1) no. AIS^ Circuit Breaker equipped bay of 220kV or above voltage level in one substation or switchyard during last seven(7) years and this bay must be in satisfactory operation# as on the originally

scheduled last date of bid submission mentioned above.

iv) The joint Venture must satisfy collectively the Criteria of clause 1.2(b) & (c) above for which purpose the relevant figure of average annual turnover and liquid assets / credit facilities for each of the partners of the JV shall be added together to arrive at Joint Venture total capacity.

Note (*): In case of works executed under a contract that had been awarded on a Joint  Venture, the experience of individual Joint Venture partner shall be considered limited to the scope of that partner under the said contract.

#Satisfactory operation means certificate issued by the Employer certifying the operation without any adverse remark.

1.4 The bidder shall furnish documentary evidence in support of the qualifying requirement stipulated as above.