1.0 GENERAL:

POWERGRID intends to carry out the construction works of Truss less GIS store at Namsai Substation as per Technical Specification & Bill of Quantity.

2.0 SCOPE OF THE WORK:

The present scope of the work broadly consists of the following:

2.2 Civil Works: The scope of the works includes construction of RCC building with Self Supported Truss less Roof as per BOQ & specifications.

2.3 Electrical Installation: The electrical installation includes various internal & external electrification as per BOQ.

The scope of the work under this work includes all such items that are not specifically mentioned but required for successful completion of the work & as per good engineering practice.

3.0 GENERAL INSTRUCTION/GUIDELINES:

Bidder is advised to visit the work site to assess site conditions, nature of the work, local availability of quality materials, skilled manpower & other necessary requirements to perform the intend work to the satisfaction of Engineer In charge.

Bidder shall quote the price for BOQ items including test charges if required, considering necessary tests/checks to be carried out on work executed/material procured as per prescribed Technical Specification, SFQP, relevant IS codes and are found necessary by Engineer-in-charge to ensure compliance with quality requirements of the work/materials.

During execution of the work, all safety precaution should be taken as per contract/LOA terms & condition and instruction of Engineer-in-charge.

The defect Liability period for the work is minimum 12 (Twelve) months from the date of completion of the work as certified by Engineer-in-charge. Any defect noticed during the execution or within the defect liability period, same shall be rectified by the contractor immediately without any financial implication.

6.0 ENGINEER-IN-CHARGE:

Chief Manager, I/c, Namsai

Power Grid Corporation of India Limited.

132kV Substation.

Manmow, Namsai, Arunachal Pradesh.

7.0 WORK COMPLETION SCHEDULE:

Considering the volume of the work the work completion period may be considered 6 Months from NOA/LOA whichever is earlier. However, bidder can opt for early completion of the work.

8.0 QUANTITY VARIATION:

Considering the nature of the actual executed amount may be deviate @(+/-) 25% of the awarded value.

8.0 INSURANCE REQUIREMENT:

The following insurance policies shall be obtained by the contractor, to be kept valid during entire course of the contract:

(i) Erection all risk Policy:

(ii)Third Party Liability Insurance.

(iii)Work Men Compensation Policy.

iv) Auto Mobile Liability insurance policy.

v) Contractor Plant & machinery Insurances.