## Basic
Bid Proposal Sheet-Price Part(BPS-Vol-IC)
:: COVER PAGE ::
Name of Package | Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
NIT Ref.No.: | NESH/CSM/4600-13
Document Code.: | NESH/CSM/4600-13/BPS (VOL-IC)
Address of Purchaser/ Owner | Sr. General Manager (C&M)
Power Grid Corporation of India Limited.
Dongtieh, Lower Nongrah, Lapalang.
Shillong - 793006.
Phone /Fax -0364- 2536406
E-mail: eersujit@powergrid.in

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or Association from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the Association other than the Lead Partner from drop down menu.
| ● | Fill up names and address of the Sole Bidder and /or Association.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
Schedules :
| ● | You are required to fill only the percentage of your quoted bid price above or below the estimated cost of the subject tender in the specified cell of Schedule-1 which includes only DSR Items and rate for the Non Scheduled Items.
| ● | Total amount shall get calculated automatically.
| ● | The total amount shall be exclusive of all taxes and duties.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Bidders Information
Package Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV |  |  | Sole Bidder | 1
Document Code: NESH/CSM/4600-13/BPS (VOL-IC) |  |  | Association | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | 0
1
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner | …….. …….. …….. …….. …….. ……..
Address of other Partner | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
Date |  | 31
Place
Click for Sch-1

## BPS-VOL-IC
पावर ग्रिड कार्पोरेशन ऑफ़ इंडिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
उत्तर पूर्वी क्षेत्र,/North Eastern Region,
ड़ोंगतिह, लोअर नोंग्रह/Dongtieh, Lower Nongrah,
लापालांग, शिलांग,मेघालय/Lapalang, Shillong ,Meghalaya
BID PROPOSAL SHEETS FOR PRICE PART (BPS: VOL-IC)
NIT Ref. No. NESH/CSM/4600-13
Package Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
(PRICE BID)
BID FORM FOR PRICE BID
Bidder's Name and Address:
Bid Proposal Reference: |  |  |  | Dated:
Person to be contacted:
Designation:
Telephone No.: |  |  | Fax:
To
Contract Services,
Power Grid Corporation of India Limited
Dongtieh, Lower Nongrah
Lapalang, Shillong-793 006 (Meghalaya)
Subject: | Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
Document No. NESH/CSM/4600-13/BPS (VOL-IC)
Dear Ladies and/or Gentlemen,
1 | In continuation of Techno-commercial Bid,we hereby submit the Second Envelope of the Bid,both of which shall be read together and in conjunction with each other,and shall be construed as an integral part of our Bid. Accordingly,we the undersigned,submit our offer for Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV under the above-named package in full conformity with the said Bidding Documents for the sum of (Specify the currency and the amount in figures and words) …………. or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents.
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules :
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
Schedule-I: | Bill of Quantities
Annexure-I to Schedule I | Summary Price Proposal.
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be perdomed under each item and we shall be deemed to have read the Technical Specification and other sections of the Bidding Documents and Drawings to ascertain the full scope of work included in each iitem while filling-in the rates and prices. We agree that the rate entered rates and prices shall be deemed to include for the full scope as aforesaid including overheads and profit.
2.3 | We declare that as specified in Clause 8.0 of SCC of the bIdding Documents, the contract price shall be FIRM and shall not be subjected to any price variation or price adjustment under any circumstances, whatsoever, during the execution and completion of the works.
2.4 | We understand that in price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between the amounts state in figure and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancies in the total bid price and that of the summation of Schedule price(Price indicated in a schedule indicating the total bid price shall be corrected to reflect the actual summation of the Schedule price.
2.5 | We declare that items left blank in the schedules will be deemed to have been included in other items. The Total for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the facilities and sections thereof in complete accordance with the contract, whether or not each individual item has been priced.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second envelope is exclusive of GST but include other taxes, duties, levies and chrges as may be assessed on us/our Associate(applicable for Foreign Bidder), our sub-contractor/Sub-Vendor or their employees by all Municipal, state or National Govermanet authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are apayable by the employer under the contract, shall be reimburhsed by the employer on production of satisfactory documentary evidence by the contractot in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, inacse of award on us, you shall also bear and pay/reimburse to us, GST applicable on work contract by us to you, imposed on the work contract specified in Schedule No.1 of the Price Scheduel in this seccond envelope , by the India Laws.
3.3 | We confirm that we have also, registered/ we shall also gets registered in the GST Network with a GSTIN in all states where the project is located and the states from which we shall make our supply of Goods.
4 | #(For Joint Ventures) We, the partners of Joint Ventures submitting, this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the contract in accordance with the contract terms and conditions.
5 | We, hereby, declare that only the persons or firms insterested in this proposal as principles are named here and that no other persons of firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made wihtout any connection with any other person, firm or party likewise submitting a proposal is in all respect for and in good faith, without collusion of fraud.
Thanking you, we remain,
Yours faithfully,
Date:
Place: |  | (Signature)
|  | (Printed Name) |  | 0
Business Address: |  | (Designation)
(Common Seal)
Country of Incorporation:
(State or Province to be indicated)
Name of the Principal Officer:
Address of the Principal Officer:

## Schedule-I-DSR
Document Code No.:NESH/CSM/4600-13/BPS (VOL-IC) | [10 empty] | Annexure-I to Schedule - 1 of BPS, Vol-IC
Name of Work: Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
(SUMMARY OF PRICE PROPOSAL)
Bidder’s Name and Address
To:
Name : |  | 0 | [6 empty] | C&M Deptt.
Address : |  | 0 | [6 empty] | Power Grid Corporation of India Ltd.,
|  | 0 | [6 empty] | NERTS, Lower Nongrah, Lapalang
|  | 0 | [6 empty] | Shillong - 793006
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated the Percentage and Amount to the Total Estimated Cost as indicated in the “Bill of Quantity (BOQ) & Prices” covering the entire scope of works enclosed herewith as Schedule-1. Incase of discrepancy, the quoted percentage as per this Schedule shall prevail.
Sl. No. | DSR Item No | Description | Unit | Quantity | Rate (Rs.) | Quoted Unit Rate (Rs.) | Amount (Rs.) | SAC (Service Accounting Codes) | Whether SAC in column 8 is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column 10 is confirmed. If not indicate applicable rate of GST #
1 | 2 | 3 | 4 | 5 | 6 | 8 | 9 | 10 | 11 | 12 | 13
Part-A: Boundary Wall
Earthwork
1 | 2.8 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
| 2.8.1 | All kinds of soil | Cum | 196.1225 | 343.2 | 343.2 | 67309.24 | 995433 |  | 18% |  | 196.12
2 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | Cum | 165.03 | 303.83 | 303.83 | 50141.06 | 995433 |  | 18% |  | 165.03
Concrete Work
3 | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level
| 4.1.8 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 23.4 | 7568.67 | 7568.67 | 177106.88 | 995454 |  | 18% |  | 23.4
Reinforced Cement Concrete
4 | 5.1 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
| 5.1.2 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | Cum | 50.56 | 10007.17 | 10007.17 | 505962.52 | 995454 |  | 18% |  | 50.56
5 | 5.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
| 5.2.2 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | Cum | 13.65 | 12185.69 | 12185.69 | 166334.67 | 995454 |  | 18% |  | 13.65
6 | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cum | 11.53 | 12824.88 | 12824.88 | 147870.87 | 995454 |  | 18% |  | 11.53
Form Work
7 | 4.3 | Centering and shuttering including strutting, propping etc. and removal of form work for :
| 4.3.1 | Foundations, footings, bases for columns | SqM | 8.4 | 368.44 | 368.44 | 3094.9 | 995457 |  | 18% |  | 8.4
8 | 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for
| 5.9.1 | Foundations, footings, bases of columns, etc. for mass concrete | SqM | 15.9 | 368.44 | 368.44 | 5858.2 | 995457 |  | 18% |  | 15.9
| 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | SqM | 107.1 | 727.85 | 727.85 | 77952.74 | 995457 |  | 18% |  | 107.1
| 5.9.6 | Columns, Pillars, Piers, Abutments, Posts and Struts | SqM | 171.95 | 962.23 | 962.23 | 165455.45 | 995457 |  | 18%
| 5.9.19 | Weather shade, Chajjas, corbels etc., including edges | SqM | 64 | 975.03 | 975.03 | 62401.92 | 995457 |  | 18%
Brick Work
9 | 6.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
| 6.1.2 | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 32.9 | 7966.13 | 7966.13 | 262085.68 | 995456 |  | 18%
10 | 6.4 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
| 6.4.2 | Cement mortar 1:6 (1 cement :4 coarse sand) | SqM | 77.53 | 9916.3 | 9916.3 | 768810.74 | 995456 |  | 18%
Finishing Work
11 | 13.1 | 12 mm cement plaster of mix :
| 13.1.1 | 1:4 (1 cement: 4 fine sand) | SqM | 387.5 | 352.77 | 352.77 | 136698.38 | 995472 |  | 18%
12 | 13.16 | 6 mm cement plaster of mix :
| 13.16.1 | 1:3 (1 cement : 3 fine sand) | SqM | 24 | 302.76 | 302.76 | 7266.24 | 995472 |  | 18%
13 | 13.2 | 15 mm cement plaster on the rough side of single or half brick wall of mix :
| 13.2.1 | 1:4 (1 cement: 4 fine sand) | SqM | 387.5 | 406.43 | 406.43 | 157491.63 | 995472 |  | 18%
14 | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix
| 13.7.2 | 1:4 (1 cement: 4 fine sand) | SqM | 35.1 | 432.27 | 432.27 | 15172.68 | 995472 |  | 18%
15 | 13.43 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :
| 13.43.1 | Water thinnable cement primer | SqM | 428 | 77.11 | 77.11 | 33003.08 | 995473 |  | 18%
16 | 13.44 | Finishing walls with water proofing cement paint of required shade
| 13.44.1 | New work (Two or more coats applied @ 3.84 kg/10 sqm) | SqM | 428 | 116.77 | 116.77 | 49977.56 | 995473 |  | 18%
17 | 13.41 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade
| 13.41.1 | New work (two or more coats) over and including water thinnable priming coat with cement primer | SqM | 363 | 194.48 | 194.48 | 70596.24 | 995473 |  | 18%
18 | 13.61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
| 13.61.1 | Two or more coats on new work | SqM | 22 | 157.27 | 157.27 | 3459.94 | 995473 |  | 18%
19 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | SqM | 34.44 | 815.54 | 815.54 | 28087.2 | 995454 |  | 18%
Steel Works
20 | 10.6 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters.
| 10.6.1 | 80x1.25 mm M.S. laths with 1.25 mm thick top cover | SqM | 22 | 3599.81 | 3599.81 | 79195.82 | 995476 |  | 18%
21 | 10.7 | Providing and fixing ball bearing for rolling shutters. | Each | 6 | 507.53 | 507.53 | 3045.18 | 995476 |  | 18%
22 | 5.22 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
| 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more | Kg | 1985.67 | 107.26 | 107.26 | 212982.96 | 995454 |  | 18%
23 | 5.22A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level..
| 5.22A6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | Kg | 2717.38 | 107.26 | 107.26 | 291466.18 | 995454 |  | 18%
1 | 2.3 | Supplying and fixing following way prewired SP&N MCB distribution board of steel sheet for 240 volts on surface/ recess complete with loose wire box, copper bus bar, neutral link, earth bar, din bar, detachable gland plate,interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator)
(a) | 2.3.2 | 8 Way, Double Door | Each | 1 | 1969.28 | 1969.28 | 1969.28 | 998736 |  | 18%
2 | 2.1 | S/F 'C'series ,SP &TP MCB:Supplying and fixing 5 amps to 32 amps rating, 240/415 volts,"C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.10.1 | Single pole | Each | 6 | 222.66 | 222.66 | 1335.96 | 998736 |  | 18%
3 | 2.14 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
(a) | 2.14.3 | 63 amps | Each | 1 | 2953.91 | 2953.91 | 2953.91 | 998736 |  | 18%
4 | 1.14 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit/casing capping as required
|  | 1.14.2 2x 2.5 sqmm+1x 2.5 sq mm earth wire | Meter | 105 | 186.86 | 186.86 | 19620.3 | 995461 |  | 18%
5 | 1.10 description modified | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit/casing capping, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required
|  | 1.10.3 Group-C | Point | 17 | 1107.71 | 1107.71 | 18831.07 | 995461 |  | 18%
6 | 1.31 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | Nos. | 3 | 448.68 | 448.68 | 1346.04 | 995461 |  | 18%
7 | 1.32 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required | Each | 3 | 553.86 | 553.86 | 1661.58 | 995461 |  | 18%
8 | 5.2 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | Each | 1 | 5939.16 | 5939.16 | 5939.16 | 998739 |  | 18%
|  | Quoted Percentage (in Figure) |  |  |  |  | 0%
|  | Total Read Out Price (Rs.): Part-A |  |  |  |  | 3602485.26
NOTE:The above cost is exclusive of GST. GST will be paid extra as applicable corresponding to the HSN/SAC code.

## Schedule-II-Non DSR
Document Code No.:NESH/CSM/4600-13/BPS (VOL-IC) | [9 empty] | Annexure-I to Schedule - 1 of BPS, Vol-IC
Name of Work: Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
NON-SCHEDULED Items
Bidder’s Name and Address (Sole Bidder) :
To:
Sr.GM
Name : | 0 | [6 empty] | C&M Deptt.
Address : | 0 | [6 empty] | Power Grid Corporation of India Ltd.,
| 0 | [6 empty] | NERTS, Lower Nongrah, Lapalang
| 0 | [6 empty] | Shillong - 793006
S N | Item Ref. No. | Description | Unit | Quantity | Rate (in figures) | Amount in Rs. (In Figure) | SAC (Service Accounting Codes) | Whether SAC in column ‘….’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘---’ is confirmed. If not indicate applicable rate of GST #
STEEL WORKS
1 | NS | Supplying and filling of moorum in subgrade embankment formation in layers not exceeding 20cm in depth , breaking the clods,watering, rooling each deposited with power road rooler of min 8 tonne in embankment for roads ,floods banks,marginal banks and compaction under optimum moistute content to give atleast 95% of the maximum dry density.The operation shall include all leads and lifts.
|  | Note: The test specified for compaction as per FQP shall deemed to be included in this items. | Cum | 50.64 |  | 0 | 995414 |  | 18%
2 | NS | Providing and fixing self supported roof of proflex or equivalent of color coated Galvanized sheet of minimum base material thickness ( BMT) of 0.85 mm including all fixers & arrangement. | SqM | 164.8 |  | 0 | 995413 |  | 18%
3 | NS | Construction of brick masonry open surface drain with bricks of class designation 50kg-cm2 in cement mortar 1:4 ( Cement:4 fine sand) including earth excavation 10cm thick bed concrete 1:5:10(1 cement:5 fine sand:10 40mm coarse aggregate) and 25mm thick cement concrete 1:2:4 ( 1 cement:2 coarse sand:4 graded stone aggregate of 12.5mm nominal size) for filling haunches including 12mm cement plaster 1:4 (1cement:4 coarse sand) with a floating coat of neat cement inside the drain its top and exposed side including disposal of surplus earth complete as per standard design
|  | 25 cm drain 30cm average depth | Rm | 57.5 |  | 0 | 995411 |  | 18%
4 | NS | Providing and fixing 24inch diametre Aluminium turbo ventilator with 42 vanes of Aluminium of 0.50mm thick top and bottom SS304 double Z bearings permanently greased with all type of fixtures. | EA | 2 |  | 0 | 995478 |  | 18%
5 | NS | Supply of hanger/clamp for fixing lamp and fans as per requirement | EA | 3 |  | 0 | 995478 |  | 18%
ELECTRICAL WORKS
7 |  | LED Flood light luminaries type Fl1 (150W) as per TS | Each | 8 |  | 0 | 998731 |  | 18%
8 |  | LED Flood light luminaries type Fl1 (150W) as per TS | Each | 8 |  | 0 | 995461 |  | 18%
9 |  | 1.1kV Grade 4CX16 SQMM(PVC) Power Cable | KM | 0.5 |  | 0 | 998736 |  | 18%
10 |  | 1.1kV Grade 4CX16 SQMM(PVC) Power Cable | KM | 0.5 |  | 0 | 995424 |  | 18%
11 |  | Ceiling Fan, 1400 mm Sweep, Havells or any such reputed make | Each | 7 |  | 0 | 998731 |  | 18%
| Total Quoted Price in figure for Non-Scheduled Items (Part-B) |  |  | 0
#NOTE: The quoted price must be exclusive of GST. GST will be paid extra as applicable corresponding to the SAC Code.

## Summary
Document Code No.:NESH/CSM/4600-13/BPS (VOL-IC) |  |  |  | Annexure-I to Schedule - 1 of BPS, Vol-IC |  | Direct Total | #REF! | Sole Bidder | `
[6 empty] | BO Total | #VALUE! | 0
Name of Work: Construction of Trussless GIS store at 132kV Namsai SS under NERSS-XV
(SUMMARY OF PRICE PROPOSAL)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
C&M Deptt.
Name : | 0 |  | Power Grid Corporation of India Ltd., |  |  |  |  | &
Address : | 0 |  | NERTS, Lower Nongrah, Lapalang
| 0 |  | Shillong - 793006
0
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated the percentage and amount to the Total Estimated Cost as indicated in the “Bill of Quantity (BOQ) & Prices” covering the entire scope of works enclosed herewith as Schedule-1 AND Schedule-II. In case of discrepancy, the quoted percentage in words as per this Schedule shall prevail. | [6 empty] | Direct
SI. No. | Item Description |  |  | Amount
Amount (in Rs)
I | TOTAL QUOTED PRICE AS CALCUALTED BY THE SYSTEM (IN FIGURE) Part A (Scheduled Items) |  |  | 3602485.26
II | TOTAL QUOTED PRICE AS CALCUALTED BY THE SYSTEM (IN FIGURE) Part B (Non-Scheduled Items) |  |  | 0
III | TOTAL QUOTED PRICE EXCLUSIVE OF GST (III=I+II) (IN FIGURE) |  |  | 3602485.26
Note : * | While quoting their Percentage component the bidder shall exclude applicable GST. GST shall however be indicated in Schedule-1 (Part-A and Part-B). GST shall be paid extra as applicbale correspnding to the SAC Codes indicated in Schedule-1.
Date: |  | Printed Name :
Place: |  | Designation :