## BASIC (hidden)
Name of Package : | Construction of Roads, Drains, Culverts, Water Supply & Sewerage System for Residential Colony at Rewa Substation of POWERGRID WR-II
Package No :
Specification No. :
Completion Period | 08 Months

## Sch-3A PART-A (Sch-Civil)
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
BILL OF QUANTITIES FOR CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA
Name of Package: CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA
(SCHEDULE OF RATES AND PRICES)
Installation Charges- Sch-3A : Schedule Items for CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA
Sl. No. | Activity Header / Substation Name | Service Code | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) |  | Description (DSR'18 Items- Civil Works) |  | Unit | Quantity | Unit Erection Charges | Deduction of GST factor considered in DSR | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST @ 18% | Total Erection Charges incl. GST
|  |  | (Service Accounting Codes) | [13 empty] | B2 Type |  | D Type | Transit Camp | Community Centre | Roads and Drains | parking shed | parking shed
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 1 block | 3 block |  |  |  |  | (24 veh.) | (8 veh.)
PART -A : Schedule Items as per DSR 2018 (Civil works)
1 | [6 empty] | 1.1 | Carriage of materials by mechanical transport including loading, unloading and stacking | [8 empty] | 150 | 450 | 172 | 20 | 640 | 4067.79 | 141.45 | 47.15
A | 400 kV Rewa S/s | 120000008 | 995428 |  | 18% |  | 1.1.2 | EARTH upto 1.00 km. | CuM | 347.55 | 131.17 | 0 | 131.17 | 45588.1335 | 8205.864 | 53793.9975
[12 empty] | 0 | 0% | 0 | 0
B | 400 kV Rewa S/s | 120000024 | 995433 |  | 18% |  | 1.1.4 | Excavated Rock upto 1.00 km. | CuM | 134.1 | 209.88 | 0 | 209.88 | 28144.908 | 5066.0834 | 33210.9914 | 45 | 135 | 30 | 50 | 65 | 500 | 0 | 0
2 | 400 kV Rewa S/s | 120000345 | 995433 |  | 18% |  | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. | CuM | 295.71 | 181.85 | 0.1405 | 159.4476 | 47150.253 | 8487.0455 | 55637.2985 | 436 | 1308 | 57 | 110 | 600 | 3027.1 | 0 | 0
|  | 120000345 | 995433 |  |  |  | 2.6.1 | All kinds of soil
[5 empty] | 0% | [6 empty] | 0 | 0% | 0 | 0 | 0
3 | 400 kV Rewa S/s | 120000349 | 995433 |  | 18% |  | 2.8 | Earth work in excavtion by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 mtr. In width or 10 sqm on plan) including dressing of sides and ramming of bottoms lift up to 1.5 mtr. Including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 mtr. | CuM | 51.84 | 252.3 | 0.1405 | 221.2188 | 11467.9807 | 2064.2365 | 13532.2172 | 282 | 846 | 485 | 610 | 1600 | 1878.4 | 306.69 | 102.23
[7 empty] | 2.8.1 | All kind of soil
[5 empty] | 0% | [7 empty] | 0% | 0 | 0
4 | [6 empty] | 2.10 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cms in depth including consolidating each deposited layer by ramming, watering etc and disposing of the suplus excavated soil as directed, within a lead of 50m:
A | 400 kV Rewa S/s | 120000354 | 995433 |  | 18% |  | 2.10.1 | All kinds of soil. | Mtrs | 250 | 364.2 | 0.1405 | 319.3336 | 79833.4064 | 14370.0132 | 94203.4196 | 0 | 0 | 0 | 0 | 0 | 870 | 0 | 0
[7 empty] | 2.10.1.2 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia
8 | [6 empty] | 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering : All works upto plinth level.
A | 400 kV Rewa S/s | 120000437 | 995454 |  | 18% |  | 4.1.3 | 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | CuM | 15.73 | 6788.6 | 0.1405 | 5952.3016 | 93629.7045 | 16853.3468 | 110483.0513 | 0 | 0 | 0 | 0 | 0 | 48.01 | 0 | 0
B | 400 kV Rewa S/s | 120000442 | 995454 |  | 18% |  | 4.1.8 | 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | CuM | 269.44 | 5789.6 | 0.1405 | 5076.37 | 1367777.1363 | 246199.8845 | 1613977.0209 | 20 | 60 | 22 | 9.5 | 124 | 493.78 | 37.92 | 12.64
[5 empty] | 0% | [6 empty] | 0 | 0% | 0% | 0% | 0%
10 | 400 kV Rewa S/s | 120000456 | 995457 |  | 18% |  | 4.3 | Centering and shuttering including strutting, propping etc. and removalof form work for : | SqM | 131.43 | 284.85 | 0.1405 | 249.7589 | 32825.8093 | 5908.6457 | 38734.455 | 21 | 63 | 35 | 30 | 125 | 370.79 | 26.49 | 8.83
[7 empty] | 4.3.1 | Foundations, footings, bases for columns | Sqm
0%
12 | 400 kV Rewa S/s | 120000472 | 995454 |  | 18% |  | 4.12 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | per 50 kg cement | 36 | 56.55 | 0.1405 | 49.5835 | 1785.0066 | 321.3012 | 2106.3078 | 9 | 27 | 7.5 | 8 | 0 | 3.54 | 0 | 0
15 | 400 kV Rewa S/s | 120000488 | 995454 |  | 18% |  | 5.1 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | CuM | 118.47 | 7718.25 | 0.1405 | 6767.4266 | 801737.0254 | 144312.6646 | 946049.69 | 2 | 6 | 2 | 1 | 1 | 10 | 3 | 1
[7 empty] | 5.1.2 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size).
17 | 400 kV Rewa S/s | 120000493 | 995454 |  | 18% |  | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | CuM | 5.99 | 9763.8 | 0.1405 | 8560.982 | 51280.2823 | 9230.4508 | 60510.7332 | 1.5 | 4.5 | 1 | 1 | 2 | 0 | 0 | 0
18 |  |  |  |  | 0% |  | 5.9 | Centring and shuttering including strutting propping etc. and removal of form for :
A | 400 kV Rewa S/s | 120000499 | 995457 |  | 18% |  | 5.9.1 | Foundations, footings, bases of columns etc. for mass concrete. | SqM | 56.78 | 284.85 | 0.1405 | 249.7589 | 14181.3091 | 2552.6356 | 16733.9447 | 80 | 240 | 41 | 46 | 350 | 163.58 | 22.2 | 7.4
B | 400 kV Rewa S/s | 120000500 | 995457 |  | 18% |  | 5.9.2 | Walls (any thickness) including attached pilasters, buttresses, plinth & string courses etc. | SqM | 78.24 | 609.3 | 0.1405 | 534.2394 | 41798.8882 | 7523.7999 | 49322.6881 | 158 | 474 | 20 | 51 | 110 | 488.08 | 0 | 0
C | 400 kV Rewa S/s | 120000501 | 995457 |  | 18% |  | 5.9.3 | Suspended floors, roofs, landings, balconies and access platform | SqM | 35 | 693.05 | 0.1405 | 607.6721 | 21268.5226 | 3828.3341 | 25096.8566 | 354 | 1062 | 196 | 366.5 | 360 | 106 | 287.37 | 95.79
20 | 400 kV Rewa S/s | 120000543 | 995454 |  | 18% |  | 5.22 | Steel Reinforcement for R.C.C. work including straightening, cutting, bending, placing in postion and binding all complete up to plinth level. | Kg. | 4651.3 | 83.5 | 0.1405 | 73.2135 | 340537.9658 | 61296.8338 | 401834.7996 | 10225 | 30675 | 5965 | 8600 | 20700 | 16943.89 | 3605.91 | 1201.97
[7 empty] | 5.22.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more.
0%
27 | 400 kV Rewa S/s | 120000657 | 995456 |  | 18% |  | 7.1 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : | CuM | 60.5 | 6120.8 | 0.1405 | 5366.769 | 324689.5221 | 58444.114 | 383133.6361 | 353 | 1059 | 139 | 165 | 690 | 35 | 0 | 0
[7 empty] | 7.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand)
59 | 400 kV Rewa S/s | 120001116 | 995476 |  | 18% |  | 10.2 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | Kg | 200 | 101.75 | 0.1405 | 89.2153 | 17843.0513 | 3211.7492 | 21054.8005 | 0 | 0 | 0 | 0 | 500 | 50 | 0 | 0
91 | [6 empty] | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
A | 400 kV Rewa S/s | 120001412 | 995472 |  | 18% |  | 13.7.2 | 1:4 (1 cement: 4 fine sand) | SqM | 432.04 | 328.25 | 0.1405 | 287.8124 | 124346.4533 | 22382.3616 | 146728.8149 | 0 | 0 | 0 | 0 | 170 | 2448 | 0 | 0
94 | 400 kV Rewa S/s | 120001451 | 995472 |  | 18% |  | 13.33 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : | SqM | 50 | 285.40 | 0.1405 | 250.2411 | 12512.0561 | 2252.1701 | 14764.2262 | 353 | 1059 | 270 | 385 | 350 | 0 | 431.4 | 143.8
[7 empty] | 13.33.1 | Flush/ Ruled pointing
97 | 400 kV Rewa S/s | 120001456 | 995473 |  | 18% |  | 13.37 | White washing with lime to give an even shade: | SqM | 61.25 | 28.55 | 0.1405 | 25.0329 | 1533.2639 | 275.9875 | 1809.2514 | 169 | 507 | 10 | 0 | 0 | 0 | 0 | 0
[7 empty] | 13.37.1 | New work (three or more coats)
98 | 400 kV Rewa S/s | 120001463 | 995473 |  | 18% |  | 13.44 | Finishing walls with water proofing cement paint of required shade : | SqM | 61.25 | 91.25 | 0.1405 | 80.0088 | 4900.537 | 882.0967 | 5782.6337 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 0
[7 empty] | 13.44.1 | New work (Two or more coats applied @ 3.84 kg/10 sqm)
100 | 400 kV Rewa S/s | 120001466 | 995473 |  | 18% |  | 13.46 | Finishing walss with Acrylic Smooth Exterior Paint of required shade: | SqM | 42.24 | 164.70 | 0.1405 | 144.4103 | 6099.893 | 1097.9807 | 7197.8738 | 0 | 0 | 0 | 0 | 0 | 0 | 750.21 | 250.07
[7 empty] | 13.46.1 | New Work (Two or more coat applied @ 1.67 ltr/ 10 sqm over and including priming coat of exterior primier applied @ 2.20 kg/10 sqm)
103 | 400 kV Rewa S/s | 120001490 | 995473 |  | 18% |  | 13.61 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | SqM | 5 | 121.55 | 0.1405 | 106.5761 | 532.8803 | 95.9185 | 628.7988 | 51 | 153 | 33 | 5 | 200 | 525 | 0 | 0
[7 empty] | 13.61.1 | Two or more coats on new work
104 | 400 kV Rewa S/s | 120001650 | 995473 |  | 18% |  | 15.7 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | CuM | 2.07 | 1469.90 | 0.1405 | 1288.8207 | 2667.8588 | 480.2146 | 3148.0734 | 58 | 174 | 11.1 | 6 | 8.19 | 0 | 0 | 0
[7 empty] | 15.7.4 | In cement mortar
106 | 400 kV Rewa S/s | 120001691 | 995473 |  | 18% |  | 15.34 | Dismantling and stacking within 50 metres lead, fencing posts or struts including all earth work and dismantling of concrete etc. in base of: | Each | 6 | 182.60 | 0.1405 | 160.1052 | 960.6313 | 172.9136 | 1133.5449 | 1341 | 4023 | 780 | 1305 | 2390 | 0 | 0 | 0
[7 empty] | 15.34.2 | R.C.C.
108 | 400 kV Rewa S/s | 120001732 | 995428 |  | 18% |  | 16.1 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | SqM | 1102.5 | 156.75 | 0.1405 | 137.4397 | 151527.2907 | 27274.9123 | 178802.203 | 0 | 0 | 0 | 0 | 0 | 3302 | 0 | 0
110 | 400 kV Rewa S/s |  | 995428 |  | 18% |  | 16.46 | Providing and laying in position bitumen hot sealing compound for expansion joints etc. | per cm depth per cm width per metre length | 257.5 | 3.30 | 0.1405 | 2.8935 | 745.068 | 134.1122 | 879.1802 | 0 | 0 | 0 | 0 | 0 | 923.25 | 0 | 0
[7 empty] | 16.46.1 | Using grade ‘A’ sealing compound.
111 | 400 kV Rewa S/s | 120001839 | 995421 |  | 18% |  | 16.69 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | CuM | 38.59 | 8376.15 | 0.1405 | 7344.2788 | 283415.7199 | 51014.8296 | 334430.5494 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0
113 | 400 kV Rewa S/s | 120001854 | 995428 |  | 18% |  | 16.79 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | CuM | 320.25 | 2641.40 | 0.1405 | 2316.0018 | 741699.5616 | 133505.9211 | 875205.4827 | 0 | 0 | 0 | 0 | 0 | 990.6 | 0 | 0
113 | 400 kV Rewa S/s | 120001865 | 995428 |  | 18% |  | 16.90 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | SqM | 441.6 | 1933.75 | 0.1405 | 1695.5283 | 748745.2872 | 134774.1517 | 883519.4388 | 0 | 0 | 0 | 0 | 0 | 990.6 | 0 | 0
114 | 400 kV Rewa S/s |  | 995428 |  | 18% |  | 16.91 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator , filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per anufacturer's specifications & direction of Engineerin-Charge. | SqM | 832.5 | 884.75 | 0.1405 | 775.7562 | 645817.0758 | 116247.0737 | 762064.1495 | 19 | 57 | 63.75 | 76 | 0 | 975 | 0 | 0
[7 empty] | 16.91.1 | 60mm thick Cement concrete paver block of M-35 grade with approved colour, design & pattern.
137 | [6 empty] | 18.12 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
A | 400 kV Rewa S/s | 120002132 | 995424 |  | 18% |  | 18.12.3 | 25 mm dia nominal bore | Meter | 100 | 364.55 | 0.1405 | 319.6405 | 31964.0509 | 5753.5292 | 37717.58 | 10 | 30 | 10 | 10 | 0 | 90 | 0 | 0
C | 400 kV Rewa S/s | 120002134 | 995424 |  | 18% |  | 18.12.5 | 40 mm dia nominal bore | Meter | 20 | 483.15 | 0.1405 | 423.63 | 8472.5997 | 1525.068 | 9997.6677 | 15 | 45 | 15 | 15 | 0 | 0 | 0 | 0
D | 400 kV Rewa S/s | 120002135 | 995424 |  | 18% |  | 18.12.6 | 50 mm dia nominal bore | Meter | 50 | 565.25 | 0.1405 | 495.616 | 24780.7979 | 4460.5436 | 29241.3415 | 15 | 45 | 15 | 15 | 0 | 200 | 0 | 0
E | 400 kV Rewa S/s | 120002136 | 995424 |  | 18% |  | 18.12.7 | 65 mm dia nominal bore | Meter | 50 | 716 | 0.1405 | 627.7948 | 31389.7413 | 5650.1534 | 37039.8948 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0
138 | [6 empty] | 18.13 | Making connection of G.I distribution branch with G.I main of following sizes by providing and fixing tee, including cutting and threading the pipe etc complete
A | 400 kV Rewa S/s | 120002138 | 995424 |  | 18% |  | 18.13.1 | 25 to 40 mm nominal bore | Each. | 5 | 673.45 | 0.1405 | 590.4866 | 2952.4331 | 531.438 | 3483.8711 | 0 | 0 | 0 | 0 | 2 | 5 | 0 | 0
139 | [6 empty] | 18.17 | Providing and fixing gun metal gate valve with CI wheel of approved quality (screwed end)
A | 400 kV Rewa S/s | 120002145 | 995424 |  | 18% |  | 18.17.1 | 25 mm nominal bore | Each | 5 | 497.15 | 0.1405 | 435.9053 | 2179.5265 | 392.3148 | 2571.8413 | 2 | 6 | 2 | 2 | 6 | 5 | 0 | 0
C | 400 kV Rewa S/s | 120002147 | 995424 |  | 18% |  | 18.17.3 | 40 mm nominal bore | Each | 5 | 678.40 | 0.1405 | 594.8268 | 2974.1342 | 535.3441 | 3509.4783 | 2 | 6 | 2 | 2 | 0 | 0 | 0 | 0
D | 400 kV Rewa S/s | 120002148 | 995424 |  | 18% |  | 18.17.4 | 50 mm nominal bore | Each | 5 | 869.20 | 0.1405 | 762.1219 | 3810.6094 | 685.9097 | 4496.5191 | 2 | 6 | 2 | 2 | 0 | 2 | 0 | 0
E | 400 kV Rewa S/s | 120002149 | 995424 |  | 18% |  | 18.17.5 | 65 mm nominal bore | Each | 5 | 1488.10 | 0.1405 | 1304.7786 | 6523.893 | 1174.3007 | 7698.1938 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
147 | [6 empty] | 18.46 | Providing & fixing GI union in GI Pipe including cutting and threading the pipe and making long screws etc. complete ( New work )
A | 400 kV Rewa S/s | 120002272 | 995424 |  | 18% |  | 18.46.3 | 25mm nominal bore | Each | 5 | 340.1 | 0.1405 | 298.2025 | 1491.0127 | 268.3823 | 1759.395 | 8 | 24 | 4 | 4 | 0 | 10 | 0 | 0
C | 400 kV Rewa S/s | 120002274 | 995424 |  | 18% |  | 18.46.5 | 40 mm nominal bore | Each | 5 | 452.5 | 0.1405 | 396.7558 | 1983.779 | 357.0802 | 2340.8593 | 4 | 12 | 2 | 2 | 0 | 0 | 0 | 0
D | 400 kV Rewa S/s | 120002275 | 995424 |  | 18% |  | 18.46.6 | 50 mm nominal bore | Each | 5 | 598.1 | 0.1405 | 524.4191 | 2622.0956 | 471.9772 | 3094.0728 | 4 | 12 | 2 | 2 | 0 | 10 | 0 | 0
E | 400 kV Rewa S/s | 120002276 | 995424 |  | 18% |  | 18.46.7 | 65 mm nominal bore | Each | 5 | 939.3 | 0.1405 | 823.5861 | 4117.9307 | 741.2275 | 4859.1583 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0
0%
156 | [6 empty] | 19.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
B | 400 kV Rewa S/s | 120002626 | 995424 |  | 18% |  | 19.1.3 | 200 mm diameter | Metre | 250 | 794.25 | 0.1405 | 696.4051 | 174101.2714 | 31338.2288 | 205439.5002 | 50 | 150 | 50 | 50 | 50 | 500 | 0 | 0
157 | [6 empty] | 19.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size)all around SW pipes including bed concrete as per standard design.
B | 400 kV Rewa S/s | 120002631 | 995424 |  | 18% |  | 19.2.3 | 200 mm diameter S W Pipe | Meter | 250 | 1164.80 | 0.1405 | 1021.3064 | 255326.6111 | 45958.79 | 301285.4011 | 50 | 150 | 50 | 50 | 50 | 500 | 0 | 0
159 | 400 kV Rewa S/s | 120002652 | 995424 |  | 18% |  | 19.6 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | Metre | 22.5 | 415.75 | 0.1405 | 364.5331 | 8201.9947 | 1476.3591 | 9678.3538 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0
[7 empty] | 19.6.1 | 100 mm dia. R.C.C. pipe
[7 empty] | 19.7 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | [8 empty] | 9 | 27 | 11 | 11 | 16 | 20 | 0 | 0
A | 400 kV Rewa S/s | 120002665 | 995424 |  | 18% |  | 19.7.1 | Inside size 90 x 80 cm and 45 cm deep including CI cover with frame (light duty) 455 x 610 mm internal dimensions total wt. of cover and frame to be not less than 38 kg. (wt. of the cover 23 kg and wt. of the frame 15 kg.) | Each | 6 | 10905.05 | 0.1405 | 9561.6396 | 57369.8378 | 10326.5708 | 67696.4086
[7 empty] | 19.7.1.1 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5
B | 400 kV Rewa S/s | 120002667 | 995424 |  | 18% |  | 19.7.2 | Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : | Each | 4 | 22939.65 | 0.1405 | 20113.6782 | 80454.7128 | 14481.8483 | 94936.5612
[7 empty] | 19.7.2.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5
[7 empty] | 19.8 | Extra for depth for manholes | [8 empty] | 4.5 | 13.5 | 5.5 | 5.5 | 8 | 9 | 0 | 0
A | 400 kV Rewa S/s | 120002671 | 995424 |  | 18% |  | 19.8.1 | Size 90 x 80 cm | Meter | 0.5 | 7503.00 | 0.1405 | 6578.6936 | 3289.3468 | 592.0824 | 3881.4292
[7 empty] | 19.8.1.1 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5
0%
B | 400 kV Rewa S/s | 120002673 | 995424 |  | 18% |  | 19.8.2 | Size 120x90 cm | Metre | 1 | 8994.60 | 0.1405 | 7886.541 | 7886.541 | 1419.5774 | 9306.1184 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0
[7 empty] | 19.8.2.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5
167 | [6 empty] | 19.35 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete
A | 400 kV Rewa S/s | 120002735 | 995424 |  | 18% |  | 19.35.1 | 450 mm dia RCC pipes. | Metre | 10 | 2323.90 | 0.1405 | 2037.6151 | 20376.1508 | 3667.7071 | 24043.858 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0
B | 400 kV Rewa S/s | 120002737 | 995424 |  | 18% |  | 19.35.3 | 900 mm dia RCC pipes. | Metre | 20 | 4695.35 | 0.1405 | 4116.9224 | 82338.448 | 14820.9206 | 97159.3687 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0
[13 empty] | Total of Schedule Items as per DSR'18 | 6861650.0007 | 1235097.0001 | 8096747.0009
[13 empty] | Add percentage (%) above/below +/- on DSR 2016 Rates (to be quoted by contractor) |  | 0%
[13 empty] | Add Amount above/below +/- on the amount for DSR Items as per quoted percentage | 0 | 0
[13 empty] | Total of Schedule Items Part IIIA | 6861650.0007
[13 empty] | Total Tax |  | 1235097.0001
Date: | #REF! | [9 empty] | Name: | #REF!
Place: | #REF! | [9 empty] | Designation: | #REF!

## Sch-3B PART-A (NS-Civil)
Name of Package: Construction of CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA
(SCHEDULE OF RATES AND PRICES)
Installation Charges- Sch 3B: Non-Schedule Items for CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA
Sl. No. | Activity Header / Substation Name | Activity Description | SAC | Rate of GST applicable ( in %) | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total Tax GST | B2 Type |  | D Type | Transit Camp | Community Centre | Roads and Drains | parking shed
|  |  | (Service Accounting Codes) | [7 empty] | 1 block | 3 block |  |  |  |  | (24 veh.) | (8 veh.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11
Part B: Non - Schedule Items (Civil works)
1 | 400 kV Rewa S/s | Non-Schedule Item | 995428 | 18% | NS-01 ; Excavation work in Hard Rock without blasting by mechanical means (Poclain Rock Breaker)/Use of Non explosive chemicals/Any other suitable methods including getting out and disposal of excavated rock lift upto 1.5 m, as directed by Engineer-incharge | CuM | 134.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1950 | 0 | 0
2 | 400 kV Rewa S/s | Non-Schedule Item | 995433 | 18% | NS-02: Brick work with common clay fly ash F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | CuM | 58.19 |  | 0 | 0 | 114 | 342 | 100 | 84 | 320 | 0 | 0 | 0
3 | 400 kV Rewa S/s | Non-Schedule Item | 995472 | 18% | NS-03 : Proving and fixing polythene sheet of 125 mocron for RCC Slab and directed by Engineer-in-charge | SqM | 962.5 |  | 0 | 0 | 0 | 0 | 190 | 640 | 732.92 | 0 | 0 | 0
4 | 400 kV Rewa S/s | Non-Schedule Item | 995478 | 18% | NS-04 : Supply Open Well Submerssible Pump, TEXMO Make, 3PH, 7.5 HP, Head-35 Mtr, Discharge- 8LPS | Each | 2 |  | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 0 | 0 | 0
5 | 400 kV Rewa S/s | Non-Schedule Item | 995478 | 18% | NS-05 : Supply Control Pannel, L&T/Aquatex Make | Each | 2 |  | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0
6 | 400 kV Rewa S/s | Non-Schedule Item | 995478 | 18% | NS-06 : Supply Cable, Aquatex Make | Metre | 30 |  | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 0 | 0 | 0
7 | 400 kV Rewa S/s | Non-Schedule Item | 995476 | 18% | NS-07 : Fitting material(Accessories) and Fitting Charge(Installation) | Each | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 223.4 | 0 | 0 | 0
8 | 400 kV Rewa S/s | Non-Schedule Item | 995476 | 18% | NS-08 : Design, Supply, Installation and Commmissioning of Sewage treatment plant as per the following details. (1) 15 Kilolitre per Day(KLD), Treated Sewage characteristics after tertiary treatment as (a) PH-6.5 to 8.5, (b) BOD less than 10 mg/lit,( c)COD less than 50 mg/lit, This items includes the complete design of process, submission of general arrangement drawings and design for approval of engineer in charge, Supplying, installation, testing and commissioning of all plant and equipments as per approved design, execution of all civil works with material in connection with this work, All electrical works, panels, Motors( Make Lubi/Cri/CG & Siemens/L&T/ABB), cable, Swithgears, fixture, all mechanical work including tanks, pipelines, flanges, filters, screen etc.complete required for commissioning of STP including the sludge drying beds if any, or any other items required to create the facility to dispose the sludge.The Out flow of treated water shall be provoded at one point, from where the treated water can be diverted for arboriculture. The approved makes for the STP are Envisol, Indian Ion exchange & Chem Ltd or as approved by engineer-in-charge. | Set | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0
[8 empty] | Total for Non-Schedule Items (Schedule II) | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | #REF! | [5 empty] | Printed Name : | #REF!
Place : | #REF! | [5 empty] | Designation : | #REF!

## Sch5 Taxes
Schedule-5
(SUMMARY OF TAXES & DUTIES)
Sl. No. | Item Nos. | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply & Installation Services (indentified in Schedule-3A) which are not included in the Installationas per the provision of the Bidding Documents, as applicable | 1235097.0001
b. | Total GST on Supply & Installation Services (indentified in Schedule-3B) which are not included in the Installationas per the provision of the Bidding Documents, as applicable | 0
2 | GRAND TOTAL [a+b] | 1235097.0001

## Sch6 Summary
Schedule-6
Grand Summary
To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
* * Instruction Bidders need to fill up respective line items in Items Tab of SRM portal in accordance with filled up price schedule.The Prices highlighted in yellow in Grand Summary sheet shall be filled against respective ITEMS Tab as per below. This is neccessary for generating Bid Price Summary and shall be viewable by all the participating bidders after opening of Second Envelope bids.
Sl. No. | Description |  | Total Price (INR)
1 | Service/Installation Charges
a. | TOTAL Sch-3A PART-A (Sch-Civil)
| Supply & Installation Charges- Schedule Civil Items for CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA |  | 6861650.0007
b. | Sch-3B PART-A (NS-Civil)
| Installation Charges- Non-Schedule Civil Items for CONSTRUCTION OF TOWNSHIP ROADS, DRAINS, CULVERTS, WATER SUPPLY & SEWERAGE SYSTEM FOR STAFF AT 400/220 KV POOLING SUBSTATION, REWA |  | 0
| Total of Service/Installation Charge (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 6861650.0007
2 | Total GST against Service/Installation Charge (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 1235097.0001
| Grand Total |  | 8096747.0009