| Sl. No. | Clause/ Drg. No. | Existing provision | Amended provision |
| --- | --- | --- | --- |
|  | BPS Schedule I & II NIT Bahadurgarh SS Ext. | S. No; Activity Description; Material No; Description; Unit; Qty.. A; NIT Bahadurgarh SS Ext.. 24; CRP for 420kV Bays with SAS; 1000002146; 400KV BUS BAR PROTECTION AUGMENT-SAS; SET; 01. | S. No; Activity Description; Material No.; Description; Unit; Qty. A; NIT Bahadurgarh SS Ext.. 24; CRP for 420kV Bays with SAS; 1000002146; 400KV BUS BAR PROTECTION AUGMENT-SAS; SET; 00. |
|  | BPS Schedule I & II NIT Bahadurgarh SS Ext. | S. No; Activity Description; Material No; Description; Unit; Qty.. A; NIT Bahadurgarh SS Ext.. 420kV Insulator and Hardware; 1000055987; 400KV SUSPEN. INS. H/W WITH DC FOR TWIN; EA; 00. | S. No; Activity Description; Material No; Description; Unit; Qty. A; NIT Bahadurgarh SS Ext.. 420kV Insulator and Hardware; 1000055987; 400KV SUSPEN. INS. H/W WITH DC FOR TWIN; EA; 03. |
|  | BPS Schedule I & II NIT Kotputli SS Ext. | S. No; Activity Description; Material No; Description; Unit; Qty.. E; NIT Kotputli SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 1000011264; ERECTION H/W-220KV DMT T/F BAY; SET; 00. | S. No; Activity Description; Material No.; Description; Unit; Qty. E; NIT Kotputli SS Ext.. Erection Hardware for 220 kV DMT Type S/Y; 1000011264; ERECTION H/W-220KV DMT T/F BAY; SET; 01. |
|  | BPS Schedule I & II NIT Bikaner-II SS Ext. | S. No; Activity Description; Material No; Description; Unit; Qty.. F; NIT Bikaner-II SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 1000011264; ERECTION H/W-220KV DMT T/F BAY; SET; 00. | S. No; Activity Description; Material No.; Description; Unit; Qty. F; NIT Bikaner-II SS Ext.. Erection Hardware for 220 kV DMT Type S/Y; 1000011264; ERECTION H/W-220KV DMT T/F BAY; SET; 05. |
|  | BPS Schedule III NIT Bahadurgarh SS Ext. | S. No; Activity Description; Service Code; Description; Unit; Qty.. A; NIT Bahadurgarh SS Ext.. 420kV Insulator and Hardware; 100017131; 400KV SUSPEN. INS. H/W WITH DC FOR TWIN; EA; 00. | S. No; Activity Description; Service Code; Description; Unit; Qty. A; NIT Bahadurgarh SS Ext.. 420kV Insulator and Hardware; 100017131; 400KV SUSPEN. INS. H/W WITH DC FOR TWIN; EA; 03. |
|  | BPS Schedule III NIT Kotputli SS Ext. | S. No; Activity Description; Service Code; Description; Unit; Qty.. E; NIT Kotputli SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 100000486; ERECTION H/W-220KV DMT T/F BAY; SET; 00. | S. No; Activity Description; Service Code; Description; Unit; Qty. E; NIT Kotputli SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 100000486; ERECTION H/W-220KV DMT T/F BAY; SET; 01. |
|  | BPS Schedule III NIT Bikaner-II SS Ext. | S. No; Activity Description; Service Code; Description; Unit; Qty.. F; NIT Bikaner-II SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 100000486; ERECTION H/W-220KV DMT T/F BAY; SET; 00. | S. No; Activity Description; Service Code; Description; Unit; Qty. F; NIT Bikaner-II SS Ext.. Erection Hardware for 220kV DMT Type S/Y; 100000486; ERECTION H/W-220KV DMT T/F BAY; SET; 05. |
|  | BPS Schedule III NIT Bahadurgarh SS Ext. | S. No; Activity Description; Service Code; Description; Unit; Qty.. A; NIT Bahadurgarh SS Ext.. 238; Civil Works; 10000-4831; Routine Pullout Test of piles in accordance with IS 2911(Part-IV) inlcuding T&P, labour , hydraulic jack etc. complete; EA; 3. 239; Civil Works; 10000-4831; Routine Pullout Test of piles in accordance with IS 2911(Part-IV) inlcuding T&P, labour , hydraulic jack etc. complete; EA; 608. | S. No; Activity Description; Service Code; Description; Unit; Qty. A; NIT Bahadurgarh SS Ext.. 238; Civil Works; 10000-4831; Routine Pullout Test of piles in accordance with IS 2911(Part-IV) inlcuding T&P, labour , hydraulic jack etc. complete; EA; 3. 239; Civil Works; 12000-2789; "20.9 Integrity testing of Pile using Low Strain/ Sonic Integrity Test/ Sonic Echo Test method in accordance with IS 14893 including surface preparation of pile top by removing soil, mud, dust & chipping lean concrete lumps etc. and use of computerised equipment and high skill trained personal for conducting the test & submission of results, all complete as per direction of Engineer-in-charge. Note: DSR unit is 'per test'"; EA; 608. |

Corresponding to the above change existing “Price_schedule” stands replaced with “Price_schedule_Rev1” and is attached herewith.

Note- Bidders are requested to consider the revised excel ‘Price_schedule_Rev1’ for bid preparation/submission. It may be noted that while submitting the bid, Bidders are required to change the excel file name from ‘Price_schedule_Rev1’ to ‘Price_schedule’. As per the provisions of the portal, it is mandatory to upload excel file with titled ‘Price_schedule’ (Bidders may refer user manuals at the portal https://etender.powergrid.in regarding submission of bid).