## Basic (hidden)
Package Name | WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
Package Code | SR-I/C&M/WC-4402
Specification No. | SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)
ORIGINAL
Contract & Materials Dept.,
Power Grid Corporation of India Ltd.,
SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.

## Cover
Price Schedules | WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station |  | SR-I/C&M/WC-4402
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3, Sch-4, Sch-7 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions (hidden)
General Instruction to the Bidders for filling up this workbook of Price Schedules
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Select either Direct or Bought-out from the drop down menu. Do not leave the cell blank the same shall be deemed to be Bought-out if the cell is left blank.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-4b (Maintenance Charges during and after Defect Liability Period) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  |  | Sole Bidder | 1 |  | Sole Bidder | 1
[5 empty] | Joint Venture | 2 or More |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | Sole Bidder | 1 | 0 | Sole Bidder | 1 | 0
2 or More
0
Name of Sole Bidder
Address of Sole Bidder
Name of other Partner - 1
Address of other Partner - 1
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 31
Place
Click for Sch-1

## Sch-1
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [12 empty] | Schedule - 1 | Schedule - 1 |  |  | Direct Total | 0 | Sole Bidder | `
[17 empty] | BO Total | #REF! | 0
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To:
Contract & Materials Dept.,
Name : | [11 empty] | Power Grid Corporation of India Ltd., | [6 empty] | , & …….. …….. …….. …….. …….. ……..
Address : | [11 empty] | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
PLANT AND EQUIPMENT (INCLUDING MANDATORY SPARES PARTS) TO BE SUPPLIED, INCLUDING TYPE TEST CHARGES FOR TESTS TO BE CONDUCTED | [17 empty] | Direct
[10 empty] | All Prices are in Indian Rupees. | [7 empty] | Bought-Out
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | HSN Code | Whether HSN in column ‘ 6 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable (in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST Tax as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14= 12 x 13 | 15
Augmentation of transformation capacity at 765/400/220KV Kurnool-III PS
1 |  |  |  | 1000004401 | 85462040 |  | 18 |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 6 |  | Included | 0 | 0 | 0
2 |  |  |  | 1000001695 | 85354010 |  | 18 |  | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 6 |  | Included | 0 | 0 | 0
3 |  |  |  | 1000011318 | 85359090 |  | 18 |  | Erection Hardware for 400kV I type layout-Bus Work (For one diameter)as per technical specification | SET | 10 |  | Included | 0 | 0 | 0
4 |  |  |  | 1000011326 | 85359090 |  | 18 |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 2 |  | Included | 0 | 0 | 0
5 |  |  |  | 1000055986 | 85352912 |  | 18 |  | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | Included | 0 | 0 | 0
6 |  |  |  | 1000055991 | 85353090 |  | 18 |  | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included | 0 | 0 | 0
7 |  |  |  | 1000055984 | 85353090 |  | 18 |  | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included | 0 | 0 | 0
8 |  |  |  | 1000011255 | 85352913 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 3 |  | Included | 0 | 0 | 0
9 |  |  |  | 1000055983 | 85359090 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included | 0 | 0 | 0
10 |  |  |  | 1000055982 | 85353090 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR SINGLE CONDUCTOR | SET | 5 |  | Included | 0 | 0 | 0
11 |  |  |  | 1000055981 | 85354010 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included | 0 | 0 | 0
12 |  |  |  | 1000055980 | 85462040 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included | 0 | 0 | 0
13 |  |  |  | 1000055978 | 72169990 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included | 0 | 0 | 0
14 |  |  |  | 1000055977 | 72169990 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 30 |  | Included | 0 | 0 | 0
15 |  |  |  | 1000055975 | 72169990 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 25 |  | Included | 0 | 0 | 0
16 |  |  |  | 1000055973 | 72169990 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | SET | 10 |  | Included | 0 | 0 | 0
17 |  |  |  | 1000055446 | 72159090 |  | 18 |  | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included | 0 | 0 | 0
18 |  |  |  | 1000003410 | 85389000 |  | 18 |  | Complete Substation automation System for 400kV Tie bay as perTechnical Specification | EA | 1 |  | Included | 0 | 0 | 0
19 |  |  |  | 1000006285 | 85371000 |  | 18 |  | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | Included | 0 | 0 | 0
20 |  |  |  | 1000012019 | 85371000 |  | 18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 9 mlength | SET | 1 |  | Included | 0 | 0 | 0
21 |  |  |  | 1000015243 | 85371000 |  | 18 |  | Supply of 250NB, 5mm thick MS Pipe(AG) for Hydrant system outside the pump house as per standard POWERGRID TS of Fire fighting system | Mtr | 300 |  | Included | 0 | 0 | 0
22 |  |  |  | 1000013796 | 85371000 |  | 18 |  | Illumination System for switchyard panel room of 9 m length | EA | 1 |  | Included | 0 | 0 | 0
23 |  |  |  | 1000038397 | 85371000 |  | 18 |  | TYPE L1 STREET LIGHTING POLE OF 6 METER AS PER TECHNICALSPECIFICATION. | EA | 35 |  | Included | 0 | 0 | 0
24 |  |  |  | 1000038389 | 85371000 |  | 18 |  | LED STREET LIGHT LUMINAIRE TYPE SL-L1 (= 45W)AS PER TECHNICALSPECIFICATION | EA | 35 |  | Included | 0 | 0 | 0
25 |  |  |  | 1000038385 | 85287390 |  | 18 |  | FIRE WALL MOUNTED LED LUMINARIE TYPE FL-2 (250W) | EA | 75 |  | Included | 0 | 0 | 0
26 |  |  |  | 1000038325 | 85371000 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 75 |  | Included | 0 | 0 | 0
27 |  |  |  | 1000038387 | 85371000 |  | 18 |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 75 |  | Included | 0 | 0 | 0
28 |  |  |  | 1000014548 | 85446020 |  | 18 |  | Lighting Panel type ACP-3 as per technical specification | EA | 2 |  | Included | 0 | 0 | 0
29 |  |  |  | 1000014547 | 85446020 |  | 18 |  | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | Included | 0 | 0 | 0
30 |  |  |  | 1000017567 | 85446020 |  | 18 |  | Standard Pipe Structure for 400kV BPI (excluding wave trap) | EA | 6 |  | Included | 0 | 0 | 0
31 |  |  |  | 1000020192 | 85446020 |  | 18 |  | Fabrication, galvanising and supply ofStandard Pipe Structure - 400 kV,1-Phase, CT including nuts, bolts, alltype of washers, packplates, step boltsand gusset plates excluding foundationbolts | EA | 3 |  | Included | 0 | 0 | 0
32 |  |  |  | 1000020194 | 85446020 |  | 18 |  | Fabrication, galvanising and supply ofStandard Pipe Structure - 400 kV,3-Phase, ISOLATOR including nuts,bolts, all type of washers, packplates,step bolts and gusset plates excluding foundation bolts | EA | 4 |  | Included | 0 | 0 | 0
33 |  |  |  | 1000015954 | 85446020 |  | 18 |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 157 |  | Included | 0 | 0 | 0
34 |  |  |  | 1000011713 | 85446020 |  | 18 |  | Fabrication, galvanising and supply of fasteners (nuts, bolts andwashers) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 15 |  | Included | 0 | 0 | 0
35 |  |  |  | 1000012373 | 85446020 |  | 18 |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designed during detailed engineering | MT | 15 |  | Included | 0 | 0 | 0
36 |  |  |  | 1000015953 | 85446020 |  | 18 |  | Fabrication, galvanising and supply of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 92 |  | Included | 0 | 0 | 0
37 |  |  |  | 1000017562 | 85446090 |  | 18 |  | Standard Pipe Structure for 220kV BPI (excluding wave trap) | EA | 6 |  | Included | 0 | 0 | 0
38 |  |  |  | 1000012366 | 85446020 |  | 18 |  | Foundation Bolts of 28mm Size | NOS | 156 |  | Included | 0 | 0 | 0
39 |  |  |  | 1000029277 | 84151090 |  | 18 |  | NEW ITEM-Jack Bus for Future Scope | SET | 2 |  | Included | 0 | 0 | 0
[7 empty] | Total Ex-works Price | [5 empty] | 0 | 0
[7 empty] | Total Type Test charges as per Schedule-7 | [5 empty] | 0
[7 empty] | Total Ex-works Price including Type Test charges | [5 empty] | 0
[7 empty] | Total GST Tax as confirmed by Bidder | [5 empty] | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date: | -- | [7 empty] | Printed Name :
Place: | [8 empty] | Designation :
Click for Sch-2

## Sch-1 dis (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Sole Bidder | `
[10 empty] | BO Total | #REF! | 0
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., | [7 empty] | , & …….. …….. …….. …….. …….. ……..
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-2
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [8 empty] | Schedule - 2
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [7 empty] | To:
Contract & Materials Dept.,
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
LOCAL TRANSPORTATION, IN-TRANSIT INSURANCE, LOADING AND UNLOADING
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Description | Material Code | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 4 | 5 | 6 | 7 | 8= 6 x 7
Augmentation of transformation capacity at 765/400/220KV Kurnool-III PS
1 |  |  |  | 1000004401 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 6 |  | Included
2 |  |  |  | 1000001695 | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 6 |  | Included
3 |  |  |  | 1000011318 | Erection Hardware for 400kV I type layout-Bus Work (For one diameter)as per technical specification | SET | 10 |  | Included
4 |  |  |  | 1000011326 | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 2 |  | Included
5 |  |  |  | 1000055986 | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | Included
6 |  |  |  | 1000055991 | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included
7 |  |  |  | 1000055984 | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included
8 |  |  |  | 1000011255 | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 3 |  | Included
9 |  |  |  | 1000055983 | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included
10 |  |  |  | 1000055982 | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR SINGLE CONDUCTOR | SET | 5 |  | Included
11 |  |  |  | 1000055981 | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included
12 |  |  |  | 1000055980 | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included
13 |  |  |  | 1000055978 | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included
14 |  |  |  | 1000055977 | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 30 |  | Included
15 |  |  |  | 1000055975 | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 25 |  | Included
16 |  |  |  | 1000055973 | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | SET | 10 |  | Included
17 |  |  |  | 1000055446 | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | Included
18 |  |  |  | 1000003410 | Complete Substation automation System for 400kV Tie bay as perTechnical Specification | EA | 1 |  | Included
19 |  |  |  | 1000006285 | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | Included
20 |  |  |  | 1000012019 | Fire Detection and Alarm System for Switchyard Panel Room of 9 mlength | SET | 1 |  | Included
21 |  |  |  | 1000015243 | Supply of 250NB, 5mm thick MS Pipe(AG) for Hydrant system outside the pump house as per standard POWERGRID TS of Fire fighting system | Mtr | 300 |  | Included
22 |  |  |  | 1000013796 | Illumination System for switchyard panel room of 9 m length | EA | 1 |  | Included
23 |  |  |  | 1000038397 | TYPE L1 STREET LIGHTING POLE OF 6 METER AS PER TECHNICALSPECIFICATION. | EA | 35 |  | Included
24 |  |  |  | 1000038389 | LED STREET LIGHT LUMINAIRE TYPE SL-L1 (= 45W)AS PER TECHNICALSPECIFICATION | EA | 35 |  | Included
25 |  |  |  | 1000038385 | FIRE WALL MOUNTED LED LUMINARIE TYPE FL-2 (250W) | EA | 75 |  | Included
26 |  |  |  | 1000038325 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 75 |  | Included
27 |  |  |  | 1000038387 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 75 |  | Included
28 |  |  |  | 1000014548 | Lighting Panel type ACP-3 as per technical specification | EA | 2 |  | Included
29 |  |  |  | 1000014547 | Lighting Panel type ACP-2 as per technical specification | EA | 2 |  | Included
30 |  |  |  | 1000017567 | Standard Pipe Structure for 400kV BPI (excluding wave trap) | EA | 6 |  | Included
31 |  |  |  | 1000020192 | Fabrication, galvanising and supply of Standard Pipe Structure - 400 kV,1-Phase, CT including nuts, bolts, alltype of washers, packplates, step boltsand gusset plates excluding foundationbolts | EA | 3 |  | Included
32 |  |  |  | 1000020194 | Fabrication, galvanising and supply of Standard Pipe Structure - 400 kV,3-Phase, ISOLATOR including nuts,bolts, all type of washers, packplates,step bolts and gusset plates excluding foundation bolts | EA | 4 |  | Included
33 |  |  |  | 1000015954 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 157 |  | Included
34 |  |  |  | 1000011713 | Fabrication, galvanising and supply of fasteners (nuts, bolts andwashers) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 15 |  | Included
35 |  |  |  | 1000012373 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designed during detailed engineering | MT | 15 |  | Included
36 |  |  |  | 1000015953 | Fabrication, galvanising and supply of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 92 |  | Included
37 |  |  |  | 1000017562 | Standard Pipe Structure for 220kV BPI (excluding wave trap) | EA | 6 |  | Included
38 |  |  |  | 1000012366 | Foundation Bolts of 28mm Size | NOS | 156 |  | Included
39 |  |  |  | 1000029277 | NEW ITEM-Jack Bus for Future Scope | SET | 2 |  | Included
[5 empty] | Total F&I Price |  |  |  | 0
#
Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date: | -- | [5 empty] | Printed Name :
Place: | [6 empty] | Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  |  | Schedule - 2 Dis
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | Contract & Materials Dept., |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-I, Kavadiguda Main Road,
|  |  |  | Secunderabad -500080. |  | Multipackage Discount |  | 0%
0
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | --
Place : |  |  | Printed Name :
|  |  | Designation : | 0
Click for Sch-3

## Sch-3
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [14 empty] | Schedule - 3
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [18 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [18 empty] | AS per Percent |  | #REF!
[19 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [11 empty] | To: | [6 empty] | As per Percent on Sch-3 |  | #REF!
[12 empty] | Contract & Materials Dept., | [6 empty] | Total Discount |  | #REF!
Name : | [11 empty] | Power Grid Corporation of India Ltd.,
Address : | [11 empty] | SRTS-I, Kavadiguda Main Road,
[12 empty] | Secunderabad -500080. | [6 empty] | Multipackage lum-sum |  | 0%
INSTALLATION CHARGES | [19 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
|  |  | Augmentation of transformation capacity at 400/220KV Nagarjunasgar substation |  | Augmentation of transformation capacity at 765/400/220KV Kurnool-III PS
1 | [5 empty] | 100000340 | 998736 |  | 18 |  | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 18 |  | Included | 0 | 0 | 0
2 | [5 empty] | 100000328 | 998736 |  | 18 |  | 336kV Surge Arrester (1-phase) | EA | 6 |  | Included | 0 | 0 | 0
3 | [5 empty] | 100000287 | 998736 |  | 18 |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 12 |  | Included | 0 | 0 | 0
4 | [5 empty] | 100000274 | 998736 |  | 18 |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 12 |  | Included | 0 | 0 | 0
5 | [5 empty] | 100000267 | 998734 |  | 18 |  | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 2 |  | Included | 0 | 0 | 0
6 | [5 empty] | 100000266 | 995429 |  | 18 |  | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 2 |  | Included | 0 | 0 | 0
7 | [5 empty] | 100000884 | 998736 |  | 18 |  | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 30 |  | Included | 0 | 0 | 0
8 | [5 empty] | 100000498 | 998736 |  | 18 |  | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 90 |  | Included | 0 | 0 | 0
9 | [5 empty] | 100000484 | 998736 |  | 18 |  | 216kV Surge Arrester (1-phase) | EA | 21 |  | Included | 0 | 0 | 0
10 | [5 empty] | 100002016 | 998736 |  | 18 |  | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 15 |  | Included | 0 | 0 | 0
11 | [5 empty] | 100002013 | 998736 |  | 18 |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 8 |  | Included | 0 | 0 | 0
12 | [5 empty] | 100002014 | 998736 |  | 18 |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 8 |  | Included | 0 | 0 | 0
13 | [5 empty] | 100000448 | 998736 |  | 18 |  | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 21 |  | Included | 0 | 0 | 0
14 | [5 empty] | 100001989 | 998731 |  | 18 |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 24 |  | Included | 0 | 0 | 0
15 | [5 empty] | 100003634 | 998731 |  | 18 |  | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 8 |  | Included | 0 | 0 | 0
16 | [5 empty] | 100011980 | 998731 |  | 18 |  | 245kV, 3150A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 3 |  | Included | 0 | 0 | 0
17 | [5 empty] | 100012000 | 998731 |  | 18 |  | 245KV, 3150A, 50KA, 3-PHASE DOUBLE BREAK ISOLATOR WITH ONE E/S | EA | 4 |  | Included | 0 | 0 | 0
18 | [5 empty] | 100011982 | 998731 |  | 18 |  | 245KV, 3150A, 50KA, 3-PHASE DOUBLE BREAK ISOLATOR WITH TWO E/S | EA | 2 |  | Included | 0 | 0 | 0
19 | [5 empty] | 100001994 | 998736 |  | 18 |  | 245 kV, 2500A, 50KA, 1-Phase CurrentTransformer with 150% extended currentrating | EA | 9 |  | Included | 0 | 0 | 0
20 | [5 empty] | 100000338 | 998736 |  | 18 |  | Erection Hardware for 400kV I type layout-Bus Work (For one diameter)as per technical specification | SET | 10 |  | Included | 0 | 0 | 0
21 | [5 empty] | 100000330 | 998736 |  | 18 |  | Erection Hardware for 400kV I type layout-Transformer bay as pertechnical specification | SET | 2 |  | Included | 0 | 0 | 0
22 | [5 empty] | 100000335 | 998736 |  | 18 |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 2 |  | Included | 0 | 0 | 0
23 | [5 empty] | 100017133 | 995429 |  | 18 |  | 400KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | EA | 12 |  | Included | 0 | 0 | 0
24 | [5 empty] | 100017126 | 998736 |  | 18 |  | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included | 0 | 0 | 0
25 | [5 empty] | 100017127 | 998736 |  | 18 |  | 400KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | EA | 42 |  | Included | 0 | 0 | 0
26 | [5 empty] | 100000489 | 998736 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus work (one Bay) as per technical specification | SET | 12 |  | Included | 0 | 0 | 0
27 | [5 empty] | 100000485 | 998731 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Line Bay as per technical specification | SET | 5 |  | Included | 0 | 0 | 0
28 | [5 empty] | 100000486 | 998736 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 2 |  | Included | 0 | 0 | 0
29 | [5 empty] | 100000488 | 998736 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Bus section Bay as per technical specification | SET | 2 |  | Included | 0 | 0 | 0
30 | [5 empty] | 100017117 | 998736 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included | 0 | 0 | 0
31 | [5 empty] | 100017119 | 998736 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR SINGLE CONDUCTOR | SET | 5 |  | Included | 0 | 0 | 0
32 | [5 empty] | 100017115 | 998736 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGS WITHTURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included | 0 | 0 | 0
33 | [5 empty] | 100017118 | 995463 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR TWIN CONDUCTOR | SET | 60 |  | Included | 0 | 0 | 0
34 | [5 empty] | 100017116 | 998736 |  | 18 |  | 220KV TENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITHOUT TURN BUCKLE SUITABLE FOR QUAD CONDUCTOR | SET | 20 |  | Included | 0 | 0 | 0
35 | [5 empty] | 100017121 | 995429 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH THROUGH CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 30 |  | Included | 0 | 0 | 0
36 | [5 empty] | 100017122 | 995461 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR TWIN CONDUCTOR | SET | 25 |  | Included | 0 | 0 | 0
37 | [5 empty] | 100017123 | 998731 |  | 18 |  | 220KV SUSPENSION INSULATOR STRING AND ASSOCIATED HARDWARE FITTINGSWITH DROP CLAMP SUITABLE FOR QUAD CONDUCTOR | SET | 10 |  | Included | 0 | 0 | 0
38 | [5 empty] | 100003103 | 998739 |  | 18 |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 130 |  | Included | 0 | 0 | 0
39 | [5 empty] | 100000731 | 998731 |  | 18 |  | 400kV Transformer Protection Panel (For both HV & MV side)-(withAutomation) | EA | 2 |  | Included | 0 | 0 | 0
40 | [5 empty] | 100016779 | 998731 |  | 18 |  | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 4 |  | Included | 0 | 0 | 0
41 | [5 empty] | 100016778 | 998731 |  | 18 |  | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 11 |  | Included | 0 | 0 | 0
42 | [5 empty] | 100000738 | 998739 |  | 18 |  | 220kV Line Protection Panel (with Automation) | EA | 5 |  | Included | 0 | 0 | 0
43 | [5 empty] | 100000741 | 998875 |  | 18 |  | 220kV Bus Bar Protection Panel (Single)-(with Automation) | EA | 1 |  | Included | 0 | 0 | 0
44 | [5 empty] | 100000771 | 995455 |  | 18 |  | Complete Substation automation System for 400kV Main bay as perTechnical Specification | EA | 2 |  | Included | 0 | 0 | 0
45 | [5 empty] | 100000777 | 995455 |  | 18 |  | Complete Substation automation System for 400kV Tie bay as perTechnical Specification | EA | 2 |  | Included | 0 | 0 | 0
46 | [5 empty] | 100000772 | 995455 |  | 18 |  | Complete Substation automation System for 220kV bay as per TechnicalSpecification | EA | 11 |  | Included | 0 | 0 | 0
47 | [5 empty] | 100002048 | 995455 |  | 18 |  | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 10 |  | Included | 0 | 0 | 0
48 | [5 empty] | 100002182 | 995455 |  | 18 |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  |  |  | 0 | 0
49 | [5 empty] | 100002181 | 995433 |  | 18 |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  |  |  | 0 | 0
50 | [5 empty] | 100002180 | 995433 |  | 18 |  | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  |  |  | 0 | 0
51 | [5 empty] | 100001881 | 995454 |  | 18 |  | Air conditioning system for Switchyard Panel Room of 9m length | SET | 1 |  | Included | 0 | 0 | 0
52 | [5 empty] | 100001882 | 995454 |  | 18 |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 3 |  | Included | 0 | 0 | 0
53 | [5 empty] | 100002062 | 995454 |  | 18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 3 |  | Included | 0 | 0 | 0
54 | [5 empty] | 100001871 | 995454 |  | 18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 9 mlength | SET | 1 |  | Included | 0 | 0 | 0
55 | [5 empty] | 100000983 | 995428 |  | 18 |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 500MVA , 400KV/220/33kV, 3-phase Autotransformer | EA | 2 |  | Included | 0 | 0 | 0
56 | [5 empty] | 100000969 | 995455 |  | 18 |  | Laying of 250NB, 5mm thick MS Pipe(AG) for Hydrant system outside the pump house as per standard POWERGRID TS of Fire fighting system including road crossings | Mtr | 300 |  | Included | 0 | 0 | 0
57 | [5 empty] | 100001115 | 995428 |  | 18 |  | Illumination System for switchyard panel room of 9 m length | EA | 1 |  | Included | 0 | 0 | 0
58 | [5 empty] | 100001116 | 995424 |  | 18 |  | Illumination System for switchyard panel room of 6 m length | EA | 3 |  | Included | 0 | 0 | 0
59 | [5 empty] | 100004934 | 995428 |  | 18 |  | TYPE L1 STREET LIGHTING POLE OF 6 METER AS PER TECHNICALSPECIFICATION. | EA | 35 |  | Included | 0 | 0 | 0
60 | [5 empty] | 100004932 | 995423 |  | 18 |  | LED STREET LIGHT LUMINAIRE TYPE SL-L1 (= 45W)AS PER TECHNICALSPECIFICATION | EA | 35 |  | Included | 0 | 0 | 0
61 | [5 empty] | 100004937 | 995421 |  | 18 |  | FIRE WALL MOUNTED LED LUMINARIE TYPE FL-2 (250W) | EA | 75 |  | Included | 0 | 0 | 0
62 | [5 empty] | 100004931 | 995421 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 75 |  | Included | 0 | 0 | 0
63 | [5 empty] | 100004930 | 995421 |  | 18 |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 75 |  | Included | 0 | 0 | 0
64 | [5 empty] | 100001885 | 995477 |  | 18 |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 2 |  | Included | 0 | 0 | 0
65 | [5 empty] | 100001052 | 995428 |  | 18 |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) asper technical specifications | EA | 3 |  | Included | 0 | 0 | 0
66 | [5 empty] | 100001024 | 995428 |  | 18 |  | Lighting panel SLP for Street Lighting | EA | 3 |  | Included | 0 | 0 | 0
67 | [5 empty] | 100001022 | 995462 |  | 18 |  | Lighting Panel type ACP-3 as per technical specification | EA | 4 |  | Included | 0 | 0 | 0
68 | [5 empty] | 100001021 | 995454 |  | 18 |  | Lighting Panel type ACP-2 as per technical specification | EA | 4 |  | Included | 0 | 0 | 0
69 | [5 empty] | 100001217 | 995454 |  | 18 |  | Standard Pipe Structure for 400kV BPI (excluding wave trap) | EA | 18 |  | Included | 0 | 0 | 0
70 | [5 empty] | 100001212 | 995454 |  | 18 |  | Erection of Standard Pipe Structure - 400 kV,1-Phase, CT including nuts, bolts, alltype of washers, packplates, step boltsand gusset plates excluding foundationbolts | EA | 12 |  | Included | 0 | 0 | 0
71 | [5 empty] | 100001214 | 995454 |  | 18 |  | Erection of Standard Pipe Structure - 400 kV,3-Phase, ISOLATOR including nuts,bolts, all type of washers, packplates,step bolts and gusset plates excludingfoundation bolts | EA | 12 |  | Included | 0 | 0 | 0
72 | [5 empty] | 100004780 | 995432 |  | 18 |  | Erection of Standard Pipe Structure - 400 kV,1-Phase, SA including nuts, bolts,all type of washers, packplates, stepbolts and gusset plates excludingfoundation bolts | EA | 6 |  | Included | 0 | 0 | 0
73 | [5 empty] | 100001210 | 995432 |  | 18 |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 247 |  | Included | 0 | 0 | 0
74 | [5 empty] | 100001209 | 995432 |  | 18 |  | "Erection of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment support structure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts." | MT | 130 |  | Included | 0 | 0 | 0
75 | [5 empty] | 100001680 | 995454 |  | 18 |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed during detailed engineering | MT | 24 |  | Included | 0 | 0 | 0
76 | [5 empty] | 100001681 | 995451 |  | 18 |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailed engineering | MT | 19 |  | Included | 0 | 0 | 0
77 | [5 empty] | 100003521 | 995454 |  | 18 |  | Standard Pipe Structure for 220kV BPI for WT (1- phase) | EA | 30 |  | Included | 0 | 0 | 0
78 | [5 empty] | 100001224 | 995454 |  | 18 |  | Erection of Standard Pipe Structure - 220kV SA including nuts, bolts, all type of washers, packplates, stepbolts and gusset plates excluding foundation bolts | EA | 21 |  | Included | 0 | 0 | 0
79 | [5 empty] | 100001222 | 995454 |  | 18 |  | Erection of Standard Pipe Structure - 220kV ISOLATOR including nuts, bolts, all type of washers, packplates,step bolts and gusset plates excluding foundation bolts | EA | 37 |  | Included | 0 | 0 | 0
80 | [5 empty] | 100001221 | 995428 |  | 18 |  | Erection of Standard Pipe Structure - 220kV CVT including nuts, bolts, all type of washers, packplates, stepbolts and gusset plates excluding foundation bolts | EA | 21 |  | Included | 0 | 0 | 0
81 | [5 empty] | 100001220 | 995429 |  | 18 |  | Erection of Standard Pipe Structure - 220kV CT including nuts, bolts, all type of washers, packplates, stepbolts and gusset plates excluding foundation bolts | EA | 33 |  | Included | 0 | 0 | 0
82 | [5 empty] | 100002523 | 995414 |  | 18 |  | Standard Pipe Structure for 220kV BPI (excluding wave trap) | EA | 63 |  | Included | 0 | 0 | 0
83 | [5 empty] | 100001226 | 995456 |  | 18 |  | Erection of Std Pipe Structure - 220 kV highBPI including nuts, bolts, all type of washers, packplates, step boltsand gusset plates excluding foundation bolts | EA | 27 |  | Included | 0 | 0 | 0
84 | [5 empty] | 100001674 | 995456 |  | 18 |  | Erection of 28mm dia foundation bolts including nuts, checknuts, washers and packplates. | EA | 156 |  | Included | 0 | 0 | 0
85 | [5 empty] | 100002324 | 995454 |  | 18 |  | Erection-Jack Bus for Future Scope | SET | 2 |  | Included | 0 | 0 | 0
86 | [5 empty] | 100002992 |  |  | 18 |  | Laying of 1.1KV GRADE 4CX6 SQMM (PVC) POWER CABLE | KM | 6 |  | Included | 0 | 0 | 0
87 | [5 empty] | 100002958 |  |  | 18 |  | Laying of 1.1KV GRADE 2CX6 SQMM (PVC) POWER CABLE | KM | 3 |  | Included | 0 | 0 | 0
88 | [5 empty] | 100002977 |  |  | 18 |  | Laying of 1.1KV GRADE 3CX2.5 SQMM CONTROL CABLE | KM | 17 |  | Included | 0 | 0 | 0
89 | [5 empty] | 100002994 |  |  | 18 |  | Laying of 1.1KV GRADE 5CX2.5 SQMM CONTROL CABLE | KM | 31 |  | Included | 0 | 0 | 0
90 | [5 empty] | 100002920 |  |  | 18 |  | Laying of 1.1KV GRADE 10CX2.5 SQMM CONTROL CABLE | KM | 7 |  | Included | 0 | 0 | 0
91 | [5 empty] | 100017187 |  |  | 18 |  | Laying of 1.1KV GRADE 19CX1.5 SQMM CONTROL CABLE | KM | 7 |  | Included | 0 | 0 | 0
92 | [5 empty] | 100017188 |  |  | 18 |  | Laying of 1.1KV GRADE 27CX1.5 SQMM CONTROL CABLE | KM | 2 |  | Included | 0 | 0 | 0
93 | [5 empty] | 100003034 |  |  | 18 |  | Laying of 4PAIR, 0.5SQMM SCREENED CABLE | KM | 2 |  | Included | 0 | 0 | 0
94 | [5 empty] | 100002965 |  |  | 18 |  | Laying of 1.1KV GRADE 3.5CX300 SQMM (XLPE) POWER CABLE | KM | 1 |  | Included | 0 | 0 | 0
95 | [5 empty] | 100002971 |  |  | 18 |  | Laying of 1.1KV GRADE 3.5CX70 SQMM (PVC) POWER CABLE | KM | 16 |  | Included | 0 | 0 | 0
96 | [5 empty] | 100002968 |  |  | 18 |  | Laying of 1.1KV GRADE 3.5CX35 SQMM (PVC) POWER CABLE | KM | 1 |  | Included | 0 | 0 | 0
97 | [5 empty] | 100002986 |  |  | 18 |  | Laying of 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 6 |  | Included | 0 | 0 | 0
98 | [5 empty] | 100004518 | 995474 |  | 18 |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 5597.4488 |  | Included | 0 | 0 | 0
99 | [5 empty] | 100011662 | 995432 |  | 18 |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 22389.7952 |  | Included | 0 | 0 | 0
100 | [5 empty] | 100001325 | 998736 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 799.1435 |  | Included | 0 | 0 | 0
101 | [5 empty] | 100001326 | 998736 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 43.2101 |  | Included | 0 | 0 | 0
102 | [5 empty] | 100001328 | 998736 |  | 18 |  | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | M3 | 1845.8175 |  | Included | 0 | 0 | 0
103 | [5 empty] | 100001327 | 998736 |  | 18 |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 4720.2825 |  | Included | 0 | 0 | 0
104 | [5 empty] | 100001329 | 998736 |  | 18 |  | Steel Reinforcement | MT | 404.0553 |  | Included | 0 | 0 | 0
105 | [5 empty] | 100001331 | 998731 |  | 18 |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 150.345 |  | Included | 0 | 0 | 0
106 | [5 empty] | 100001714 | 998731 |  | 18 |  | Stone spreading in switchyard excluding PCC | M2 | 28954 |  | Included | 0 | 0 | 0
107 | [5 empty] | 100001713 | 998736 |  | 18 |  | Antiweed treatment | M2 | 28954 |  | Included | 0 | 0 | 0
108 | [5 empty] | 100003692 | 995429 |  | 18 |  | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 25 |  | Included | 0 | 0 | 0
109 | [5 empty] | 100002580 | 995429 |  | 18 |  | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having four rails | M2 | 100.8 |  | Included | 0 | 0 | 0
110 | [5 empty] | 100003114 | 998736 |  | 18 |  | External finishing / painting of fire wall (water proofing cement paint) (DSR 13.44.1) | M2 | 197.472 |  | Included | 0 | 0 | 0
111 | [5 empty] | 130000761 | 995429 |  | 18 |  | 14.4.2 Providing, laying and fixing following dia RCC pipe NP2 class (light duty) in ground complete with RCC collars, jointingwith cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required. : 150 mm dia | M | 10 |  | Included | 0 | 0 | 0
112 | [5 empty] | 130000762 | 998736 |  | 18 |  | 14.4.3 Providing, laying and fixing following dia RCC pipe NP2 class (light duty) in ground complete with RCC collars, jointingwith cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required. : 250 mm dia | M | 10 |  | Included | 0 | 0 | 0
113 | [5 empty] | 100001735 | 998736 |  | 18 |  | RCC culverts and cable trench crossings including supplying and laying hume pipe 250mm dia of grade (NP-3) excluding concrete as perspecification. | M | 95 |  | Included | 0 | 0 | 0
114 | [5 empty] | 100001737 | 995433 |  | 18 |  | RCC culverts and cable trench crossings including supplying and laying hume pipe 450mm dia of grade (NP-3) excluding concrete as perspecification. | M | 115 |  | Included | 0 | 0 | 0
115 | [5 empty] | 100001409 | 995433 |  | 18 |  | Supplying and erecting dewatering pumps-5 HP | EA | 2 |  | Included | 0 | 0 | 0
116 | [5 empty] | 100007701 | 995454 |  | 18 |  | Supplying and erecting dewatering pumps- 2 HP | EA | 2 |  | Included | 0 | 0 | 0
117 | [5 empty] | 100003437 | 995454 |  | 18 |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 111.672 |  | Included | 0 | 0 | 0
118 | [5 empty] | 100038480 | 995454 |  | 18 |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting , finishing etc. all complete, for all leads & lifts, with all labour, material, tools,tackles, equipments, safeguards & incidentals as necessary as per drawings, specification and direction of the Engineer- in- Charge. | M3 | 15000 |  | Included | 0 | 0 | 0
[11 empty] | Total Installation Charges |  |  |  | 0 |  |  | 0
[11 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  | -- | [8 empty] | Printed Name:
Place : | [11 empty] | Designation :
Click for Sch-4

## Sch-3 Dis (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  |  | Schedule - 3
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  |  | As per Percent on Sch-3 |  | #REF!
|  |  |  | Contract & Materials Dept., |  |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-I, Kavadiguda Main Road,
|  |  |  | Secunderabad -500080. |  |  |  | Multipackage lum-sum |  | 0%
0
[5 empty] | All Prices are in Indian Rupees. |  |  |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  |  |  |  | (a) | Detailed Soil Investigation
| #REF! | #REF! | #REF! | #REF! | #REF! | (b) | All kinds of soil except fissured rock & hard rock
| #REF! | #REF! | #REF! | #REF! | #REF! | (e) | River Crossing Location
| #REF! | #REF! | #REF! | #REF! | #REF! | (f)
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| Total Erection Price (A+B) |  |  |  | #REF!
Date : | --
Place : |  |  | Printed Name :
|  |  | Designation : | 0
Click for Sch-4

## Sch-4
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [15 empty] | Schedule - 4
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contract & Materials Dept.,
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Training Charges for Training to be imparted
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Training Charges excluding GST | Total Training Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
[17 empty] | Revaluation of J column | Tax Calculation
NOT APPLICABLE | [16 empty] | Revaluation of J column | Tax Calculation
[15 empty] | Included | 0 | 0 | 0
[9 empty] | Total Training Charges | [5 empty] | 0 |  |  | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
Date : | -- |  |  |  | Date: | -- | [7 empty] | Printed Name :
Place : |  |  |  |  | Place: | [8 empty] | Designation :
Click for Sch-5

## Sch-4b (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [15 empty] | Schedule - 4b
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contract & Materials Dept.,
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Maintenance Charges during & after Defect Laibility Period
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Total Maintenance Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
| 0 | [15 empty] | Revaluation of P column | Tax Calculation
A. | #REF! | [15 empty] | Revaluation of P column | Tax Calculation
1 | [14 empty] | Included | 0 | 0 | 0
2 | [14 empty] | Included | 0 | 0 | 0
3 | [14 empty] | Included | 0 | 0 | 0
4 | [14 empty] | Included | 0 | 0 | 0
B. | #REF! | [15 empty] | Revaluation of P column | Tax Calculation
1 | [14 empty] | Included | 0 | 0 | 0
2 | [14 empty] | Included | 0 | 0 | 0
3 | [14 empty] | Included | 0 | 0 | 0
4 | [14 empty] | Included | 0 | 0 | 0
[9 empty] | Total Maintenance Charges during and after Defect Liabilty Period | [5 empty] | 0 |  |  | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
Date : | -- | [12 empty] | Printed Name :
Place : | [13 empty] | Designation :
Click for Sch-5

## Sch-5
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  | Schedule - 5
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contract & Materials Dept.,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON SERVICES |  |  |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4) |  | 0 |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL [1+2] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date: | -- | Printed Name :
Place: |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  | Schedule - 5
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contract & Materials Dept.,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | 0
Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b)
| GRAND TOTAL [1+2] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  | Schedule - 6
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contract & Materials Dept.,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Laibility Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 After Discount
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  | Schedule - 6 After Discount
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contract & Materials Dept.,
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
0
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Laibility Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) | [11 empty] | Schedule 7
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To: | [5 empty] | As per Percent on Sch-7 |  | #REF!
[10 empty] | Contract & Materials Dept., | [5 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | SRTS-I, Kavadiguda Main Road,
[10 empty] | Secunderabad -500080. | [5 empty] | Multipackage Discount |  | 0%
0
Type tests on Earthwire, Hardwar Fittings & accessories of conductor & earthwire:
SL. NO. | PR No | Line Item No | Code | HSN Code | Whether HSN in column ‘2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) | Total GST as confirmed by Bidder | Revaluation of M column | Tax Calculation |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 = 10 x 11 | 14
I
1 | [11 empty] | Included | 0 | 0 | 0
2 | [11 empty] | Included | 0 | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
Date : | -- |  |  | -- |  |  |  |  | Printed Name :
Place : | [8 empty] | Designation :
Note : |  |  |  | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
Bidder’s Name and Address (Sole Bidder) :
[8 empty] | 0 | 0
Name : | [8 empty] | 0
Address : | [8 empty] | 0
0
0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | Contract & Materials Dept., |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SRTS-I, Kavadiguda Main Road,
|  |  |  | Secunderabad -500080. |  |  | Multipackage Discount |  | 0%
0
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | #REF!
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | -- | Printed Name :
Place : |  | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Discount
AAABBAAAABBf
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract & Materials Dept.,
Power Grid Corporation of India Ltd.,
SRTS-I, Kavadiguda Main Road,
Secunderabad -500080.
Subject : |  | WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4a, Sch-4b & Sch-7] In Rs. |  |  |  | 0 | 0%
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4a, Sch-4b & Sch-7] In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : Ex-Works Price | 0%
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | 0%
|  | Schedule-3 : Erection Charges |  | In Rs. |  | 0 | 0% | Schedule-3 : Erection Charges | 0%
|  | Schedule-4a : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4a : Training Charges | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Rs. |  | 0 | 0% | Schedule-4b : Maintenance Charges | 0%
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-7 : Type Test Charges | 0%
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4a : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | -- | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796) |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | -- | [8 empty] | 6 | th | #VALUE! | 6 | June
[10 empty] | 7 | th | #VALUE! | 7 | July
To: | [9 empty] | 8 | th | #VALUE! | 8 | August
Contract & Materials Dept., | [9 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
SRTS-I, Kavadiguda Main Road, | [9 empty] | 11 | th |  | 11 | November
Secunderabad -500080. | [9 empty] | 12 | th |  | 12 | December
0 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : | WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [7 empty] | 21 | st
| Schedule 2 | Local Transportation, In-transit Insurance, loading and unloading | [7 empty] | 22 | th
| Schedule 3 | Installation Charges. | [7 empty] | 23 | th
| Schedule 4 | Training charges for training to be imparted. | [7 empty] | 24 | th
| Schedule 4b | Maintenance Charges during & after Defect Laibility Period.
| Schedule 5 | Taxes and Duties not included in Schedule 1 | [7 empty] | 25 | th
| Schedule 6 | Grand Summary [Schedule 1to 5] | [7 empty] | 26 | th
| Schedule 7 | Break-up of Type Test Charges for Type Tests to be conducted | [7 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3, Charges for Training to be imparted specified in Schedule No. 4a and Maintenance Charges during & after Defect Laibility Period specified in Schedule No. 4b of the Price Schedule in this Second Envelope by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  | 1
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | -- |  | Printed Name :
Place : |  |  | Designation :
Common Seal :
In case of bid from a Joint Venture, name & designation of representative of JV partner is to be provided and Bid Form is also to be signed by him.
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | 0 |  | 0
| B) CENTRAL SALES TAX | 0 |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | 0
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| Excise Duty % as |  |  |  | Excise Duty
| CST % as |  |  |  | CST
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | SR-I/C&M/WC-4402/2025(SR1/NT/W-AIS/DOM/B00/25/13182), (RFx: 5002004796)

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0 | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | 0 |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
WC-4402 : 400KV AIS Substation Extension Package of Kurnool-3 PS due to Re-Arrangement in Electrical Layout at Kurnool-III Pooling Station |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred