| Query No | Clause Number /Subject | Description of Query by the Bidder | Clarification |
| --- | --- | --- | --- |
| 1. | Drawing & BOQ | We observed that the drawings enclosed by PGCIL in this tender are from various manufacture. Every manufacture produces materials as per their own drawings and having type test Reports. Through the usage of each components manufactured by different different manufactures are same, but some dimensions can miss-match. Plus style of connectivity of the components can differ. Please confirm if Tender Drawings are indicative only or restrictive for all bidder? If no then can the awarded bidder supply as per their own drawing? | All materials are required as per dimension mentioned in drawings. The make mentioned in drawing is not necessary. |
| 2. | BOQ | It is compulsory to submit price for all the tendered items? If any bidder don’t want to quote for all the items and leaves unit prices blank for few items, in that case how the evaluation will be done | Yes, It is compulsory to submit price for all the tendered items. In case a bidder leaves blank against any of the BOQ items, the same shall be treated in line with Cl. 27.2 of ITB. |