## Basic (hidden)
Package Name | Retrofitting the 220 kV Switchyard equipments and control & protection system with Substation Automation System and SPR based Control & Protection System at Mandola Substation
Package Code
Specification No. | Specification No.: NR1/NT/W-AIS/DOM/I00/24/15479 (Rfx-5002004051)
ORIGINAL

## Cover
Price Schedules | Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. |  | NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3, Sch-4, Sch-7 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules, Sch-1 to Sch-7

## Instructions (hidden)
General Instruction to the Bidders for filling up this workbook of Price Schedules
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Select either Direct or Bought-out from the drop down menu. Do not leave the cell blank the same shall be deemed to be Bought-out if the cell is left blank.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-4b (Maintenance Charges during and after Defect Liability Period) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Goods) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | Sole Bidder | 1 |  | Sole Bidder | 1
[5 empty] | Joint Venture | 2 or More |  | JV (Joint Venture) | 2 or More
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Sole Bidder |  | Sole Bidder | 1 | 0 | Sole Bidder | 1 | 0
2 or More
0
Name of Sole Bidder | …….. …….. …….. …….. …….. ……..
Address of Sole Bidder | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 1
Address of other Partner - 1
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 31
Place
Click for Sch-1

## Sch-1
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [9 empty] | Schedule - 1 | Schedule - 1 |  |  | Direct Total | 0 | Sole Bidder | `
[14 empty] | BO Total | #REF! | 0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contracts Services, 3rd Floor
Name : | [8 empty] | Power Grid Corporation of India Ltd., | [6 empty] | …….. …….. …….. …….. …….. …….. , & …….. …….. …….. …….. …….. ……..
Address : | [8 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
PLANT AND EQUIPMENT (INCLUDING MANDATORY SPARES PARTS) TO BE SUPPLIED, INCLUDING TYPE TEST CHARGES FOR TESTS TO BE CONDUCTED | [14 empty] | Direct
[8 empty] | All Prices are in Indian Rupees. | [6 empty] | Bought-Out
SI. No. | Activity Description | HSN Code | Whether HSN in column ‘ 3 ’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable (in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST Tax as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 = 9 X 10 | 12
I | [11 empty] | Revaluation of J column | Tax Calculation
Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays
1 | Erection Hardware for 420kV I Type S/Y | 72169990 |  | 18 |  | Erection Hardware for 400kV I type layout-Transformer bay as pertechnical specification | SET | 1 |  | Included | 0 | 0 | 0
2 | Erection Hardware for 420kV I Type S/Y | 72169990 |  | 18 |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 1 |  | Included | 0 | 0 | 0
3 | Erection Hardware for 220kV DMT Type S/Y | 72169990 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1 |  | Included | 0 | 0 | 0
4 | Earthmat | 72159090 |  | 18 |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 2 |  | Included | 0 | 0 | 0
5 | VMS | 85287390 |  | 18 |  | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included | 0 | 0 | 0
6 | POWER & CONTROL CABLE | 85446020 |  | 18 |  | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 1 |  | Included | 0 | 0 | 0
7 | POWER & CONTROL CABLE | 85446020 |  | 18 |  | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0
8 | POWER & CONTROL CABLE | 85446020 |  | 18 |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0
9 | POWER & CONTROL CABLE | 85446020 |  | 18 |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0
10 | AIR CONDITIONING & VENTILATION SYSTEM | 84151090 |  | 18 |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included | 0 | 0 | 0
11 | FIRE FIGHTING SYSTEM | 84248990 |  | 18 |  | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 500MVA , 400KV/220/33kV, 3-phase Autotransformer | SET | 1 |  | Included | 0 | 0 | 0
12 | FIRE FIGHTING SYSTEM | 85311020 |  | 18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included | 0 | 0 | 0
13 | FIRE FIGHTING SYSTEM | 84241000 |  | 18 |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included | 0 | 0 | 0
14 | ILLUMINATION SYSTEM | 94059900 |  | 18 |  | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included | 0 | 0 | 0
15 | ILLUMINATION SYSTEM | 94059900 |  | 18 |  | FIRE WALL MOUNTED LED LUMINARIE TYPE FL-2 (250W) | EA | 2 |  | Included | 0 | 0 | 0
16 | ILLUMINATION SYSTEM | 94059900 |  | 18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 10 |  | Included | 0 | 0 | 0
17 | ILLUMINATION SYSTEM | 94051090 |  | 18 |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | Included | 0 | 0 | 0
18 | ILLUMINATION SYSTEM | 94059900 |  | 18 |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | 0
19 | ILLUMINATION SYSTEM | 94059900 |  | 18 |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) asper technical specifications | EA | 2 |  | Included | 0 | 0 | 0
20 | ILLUMINATION SYSTEM | 85371000 |  | 18 |  | Lighting Panel type ACP-2 as per technical specification | EA | 1 |  | Included | 0 | 0 | 0
21 | Mandatory Spare LOT | 84819090 |  | 18 |  | SPARES FOR FIRE PROTECTION SYSTEM | SET | 1 |  | Included | 0 | 0 | 0
22 | Mandatory Spare BREAK-UP | 84819090 |  | 18 |  | DELUGE VALVE | SET | 1 |  | Included | 0 | 0 | 0
23 | Mandatory Spare BREAK-UP | 84819090 |  | 18 |  | PRESSURE GAUGE (0-17.5KG)-HVW SYSTEM | EA | 1 |  | Included | 0 | 0 | 0
24 | Mandatory Spare BREAK-UP | 84819090 |  | 18 |  | PRESSURE SWITCH & ISO. VALVE - HVWS SYS | EA | 1 |  | Included | 0 | 0 | 0
25 | Mandatory Spare BREAK-UP | 84819090 |  | 18 |  | IONISATION TYPE SMOKE DETECTOR | EA | 4 |  | Included | 0 | 0 | 0
26 | Tower and Equipment Support Structure | 84819090 |  | 18 |  | FOUNDATION BOLTS - NON STD STRUCTURES | MT | 7 |  | Included | 0 | 0 | 0
|  |  |  | Total Ex-works Price | [5 empty] | 0 | 0
|  |  |  | Total Type Test charges as per Schedule-7 | [5 empty] | 0
|  |  |  | Total Ex-works Price including Type Test charges | [5 empty] | 0
|  |  |  | Total GST Tax as confirmed by Bidder | [5 empty] | 0
Note :
*
Date :
Place : | [7 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-1 dis (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Sole Bidder | `
[10 empty] | BO Total | #REF! | 0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Contract Services
Name : | …….. …….. …….. …….. …….. …….. |  |  | Power Grid Corporation of India Ltd., | [7 empty] | …….. …….. …….. …….. …….. …….. , & …….. …….. …….. …….. …….. ……..
Address : | …….. …….. …….. …….. …….. …….. |  |  | "Saudamini", Plot No.-2
| …….. …….. …….. …….. …….. …….. |  |  | Sector-29,
| …….. …….. …….. …….. …….. …….. |  |  | Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
0 | 0
#REF! | #REF!
0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-2
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [5 empty] | Schedule - 2
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Sole Bidder) : |  |  |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
LOCAL TRANSPORTATION, IN-TRANSIT INSURANCE, LOADING AND UNLOADING
All Prices are in Indian Rupees.
SI. No. | Activity Description | Description | Unit | Quantity | Unit Freight, In-transit Insurance, loading & unloading Charges | Total Freight, In-transit Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 = 5 X 6
Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays
1 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA Circuit Breaker (3-Phase) with closing resistor with support structure | EA | 1 |  | Included
2 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1 |  | Included
3 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | Included
4 | 420kV, 63kA AIS EQUIPMENT | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 6 |  | Included
5 | 420kV, 63kA AIS EQUIPMENT | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included
6 | 420kV, 63kA AIS EQUIPMENT | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 8 |  | Included
7 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1 |  | Included
8 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included
9 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | Included
10 | 245kV, 50kA AIS EQUIPMENT | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | Included
11 | 245kV, 50kA AIS EQUIPMENT | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2 |  | Included
12 | 245kV, 50kA AIS EQUIPMENT | 216kV Surge Arrester (1-phase) | EA | 3 |  | Included
13 | 245kV, 50kA AIS EQUIPMENT | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 13 |  | Included
14 | Erection Hardware for 420kV I Type S/Y | Erection Hardware for 400kV I type layout-Transformer bay as pertechnical specification | SET | 1 |  | Included
15 | Erection Hardware for 420kV I Type S/Y | Erection Hardware for 400kV I type layout-Spare bay of half dia as pertechnical specification | SET | 1 |  | Included
16 | Erection Hardware for 220kV DMT Type S/Y | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Transformer Bay as per technical specification | SET | 1 |  | Included
17 | Earthmat | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 2 |  | Included
18 | VMS | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | Included
19 | POWER & CONTROL CABLE | 4PAIR, 0.5SQMM SCREENED CABLE | KM | 1 |  | Included
20 | POWER & CONTROL CABLE | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
21 | POWER & CONTROL CABLE | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
22 | POWER & CONTROL CABLE | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included
23 | AIR CONDITIONING & VENTILATION SYSTEM | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included
24 | FIRE FIGHTING SYSTEM | HVW spray system, Hydrant system and complete U/G & O/G piping andaccessories etc. out side the pump house for 500MVA , 400KV/220/33kV, 3-phase Autotransformer | SET | 1 |  | Included
25 | FIRE FIGHTING SYSTEM | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | Included
26 | FIRE FIGHTING SYSTEM | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included
27 | ILLUMINATION SYSTEM | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | Included
28 | ILLUMINATION SYSTEM | FIRE WALL MOUNTED LED LUMINARIE TYPE FL-2 (250W) | EA | 2 |  | Included
29 | ILLUMINATION SYSTEM | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 10 |  | Included
30 | ILLUMINATION SYSTEM | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 20 |  | Included
31 | ILLUMINATION SYSTEM | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included
32 | ILLUMINATION SYSTEM | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) asper technical specifications | EA | 2 |  | Included
33 | ILLUMINATION SYSTEM | Lighting Panel type ACP-2 as per technical specification | EA | 1 |  | Included
34 | Mandatory Spare BREAK-UP | 420KV, 3150A, 50KA SF6 CB POLE | EA | 1 |  | Included
35 | Mandatory Spare BREAK-UP | GASKET, O RING, SEAL FOR SF6-420KV CB | SET | 1 |  | Included
36 | Mandatory Spare BREAK-UP | TRIP COIL ASSY-420KV SF6 CB | SET | 2 |  | Included
37 | Mandatory Spare BREAK-UP | CLOSING COIL ASSY-420KV SF6 CB | EA | 1 |  | Included
38 | Mandatory Spare BREAK-UP | TERMINAL PAD-420KV SF6 CB | EA | 1 |  | Included
39 | Mandatory Spare BREAK-UP | MOLECULAR FILTER-420KV CIRCUIT BREAKER | EA | 1 |  | Included
40 | Mandatory Spare BREAK-UP | CORONA RING-420KV CB | SET | 1 |  | Included
41 | Mandatory Spare BREAK-UP | RELAY,CONTACTOR,SWITCH,PB,MCB-420KV CB | SET | 1 |  | Included
42 | Mandatory Spare BREAK-UP | PRESSURE SWITCHES-420KV SF6 CB | SET | 1 |  | Included
43 | Mandatory Spare BREAK-UP | AUX SWITCH/CONTACT ASSY-420KV SF6 CB | SET | 1 |  | Included
44 | Mandatory Spare BREAK-UP | OPERATION COUNTER-CB | EA | 1 |  | Included
45 | Mandatory Spare BREAK-UP | OPERATING MECHANISM-420KV SF6 CB (SO) | EA | 1 |  | Included
46 | Mandatory Spare BREAK-UP | SF6 GAS (40% ORDERED QUANTITY) | LS | 1 |  | Included
47 | Mandatory Spare BREAK-UP | 1 POLE-420KV, 3150A, 63KA DB ISOLATOR+1E | EA | 1 |  | Included
48 | Mandatory Spare BREAK-UP | COPPER CONTACT FINGERS-420KV DB ISOLATOR | SET | 1 |  | Included
49 | Mandatory Spare BREAK-UP | CONTACTOR, TIMER, SWITCH-420KV ISOLATOR | SET | 1 |  | Included
50 | Mandatory Spare BREAK-UP | LIMIT SWITCH-420KV ISOLATOR | SET | 1 |  | Included
51 | Mandatory Spare BREAK-UP | TERM PAD+CONNECTOR-420KV ISOLATOR | EA | 1 |  | Included
52 | Mandatory Spare BREAK-UP | CORONA SHIELD RING-420KV DB ISOLATOR -1P | SET | 1 |  | Included
53 | Mandatory Spare BREAK-UP | 420KV, 3000A, 63KA,1-PH,CT-120% RATING | EA | 1 |  | Included
54 | Mandatory Spare BREAK-UP | SURGE ARRESTER,1-PH,336KV | EA | 1 |  | Included
55 | Mandatory Spare BREAK-UP | SURGE MONITOR,1-PH | EA | 2 |  | Included
56 | Mandatory Spare BREAK-UP | 245KV, 1600A, 50KA SF6 CB POLE | EA | 1 |  | Included
57 | Mandatory Spare BREAK-UP | GASKET, O RING, SEAL FOR SF6-245KV CB | SET | 1 |  | Included
58 | Mandatory Spare BREAK-UP | TRIP COIL ASSY FOR 245KV SF6 CB | EA | 2 |  | Included
59 | Mandatory Spare BREAK-UP | CLOSING COIL ASSY FOR 245KV SF6 CB | EA | 1 |  | Included
60 | Mandatory Spare BREAK-UP | TERMINAL PAD-245KV SF6 CB | EA | 1 |  | Included
61 | Mandatory Spare BREAK-UP | MOLECULAR FILTER-245KV CIRCUIT BREAKER | EA | 1 |  | Included
62 | Mandatory Spare BREAK-UP | RELAY,CONTACTOR,SWITCH,PUSH BUT-245KV CB | SET | 1 |  | Included
63 | Mandatory Spare BREAK-UP | CORONA RING-245KV CB | EA | 1 |  | Included
64 | Mandatory Spare BREAK-UP | SF6 PRESSURE/DENSITY MON/SWITCH | SET | 1 |  | Included
65 | Mandatory Spare BREAK-UP | AUX SWITCH/CONTACT ASSY-245KV SF6 CB | SET | 1 |  | Included
66 | Mandatory Spare BREAK-UP | OPERATION COUNTER-245KV SF6 CB | EA | 1 |  | Included
67 | Mandatory Spare BREAK-UP | OPERATING MECHANISM-245KV SF6 CB (SO) | EA | 1 |  | Included
68 | Mandatory Spare BREAK-UP | SF6 GAS (40% ORDERED QUANTITY) | LS | 1 |  | Included
69 | Mandatory Spare BREAK-UP | 245KV,1600A ISOLATOR POLE | EA | 1 |  | Included
70 | Mandatory Spare BREAK-UP | COPPER CONTACT FINGER-245KV DB ISOLATOR | SET | 1 |  | Included
71 | Mandatory Spare BREAK-UP | CONTACTOR, TIMER, SWITCH-245KV ISOLATOR | SET | 1 |  | Included
72 | Mandatory Spare BREAK-UP | LIMIT SWITCH-245KV ISOLATOR | SET | 1 |  | Included
73 | Mandatory Spare BREAK-UP | TERM PAD+CONNECTOR-245KV 1600A DB ISOL | EA | 1 |  | Included
74 | Mandatory Spare BREAK-UP | CORONA RING-245KV DB ISOLATOR | EA | 1 |  | Included
75 | Mandatory Spare BREAK-UP | 245KV, 1600A, 50KA CT-120% RATING | EA | 1 |  | Included
76 | Mandatory Spare BREAK-UP | SURGE ARRESTER,1-PH,216KV | EA | 1 |  | Included
77 | Mandatory Spare BREAK-UP | SURGE MONITOR,1-PH | EA | 2 |  | Included
78 | Mandatory Spare BREAK-UP | DELUGE VALVE | SET | 1 |  | Included
79 | Mandatory Spare BREAK-UP | TRIP CIRCUIT SUPERVISION RELAY | EA | 2 |  | Included
80 | Mandatory Spare BREAK-UP | HAND RESET TRIP RELAY | SET | 2 |  | Included
81 | Mandatory Spare BREAK-UP | DC SUPERVISION RELAY | SET | 2 |  | Included
82 | Mandatory Spare BREAK-UP | AUXILIARY RELAY | SET | 2 |  | Included
83 | Mandatory Spare BREAK-UP | SELF RESET TRIP RELAY | SET | 2 |  | Included
84 | Mandatory Spare BREAK-UP | IONISATION TYPE SMOKE DETECTOR | EA | 4 |  | Included
85 | Mandatory Spare BREAK-UP | PRESSURE GAUGE (0-17.5KG)-HVW SYSTEM | EA | 1 |  | Included
86 | Mandatory Spare BREAK-UP | PRESSURE SWITCH & ISO. VALVE - HVWS SYS | EA | 1 |  | Included
87 | Mandatory Spare BREAK-UP | 420KV, 1PH BUS POST INSULATOR (BPI) | EA | 1 |  | Included
88 | Mandatory Spare BREAK-UP | 245KV, 1PH BUST POST INSULATOR (BPI) | EA | 1 |  | Included
89 | Mandatory Spare BREAK-UP | FLAG RELAY | SET | 2 |  | Included
90 | 400KV ICT (WITH OLTC) | 500MVA,400/220/33KV, 3PH AUTOTRANSFORMER | EA | 1 |  | Included
91 | 400KV ICT (WITH OLTC) | INSULATING OIL-500MVA, 400KV, 3PH T/F | SET | 1 |  | Included
92 | 400KV ICT (WITH OLTC) | DIGITAL RTCC PANEL | SET | 1 |  | Included
93 | Mandatory Spare BREAK-UP | 420KV, 1250A RIP BUSHING (STD) | EA | 1 |  | Included
94 | Mandatory Spare BREAK-UP | 245KV, 2000A RIP BUSHING (STD) | EA | 1 |  | Included
95 | Mandatory Spare BREAK-UP | 52KV, 3150A BUSHING (STD) | EA | 1 |  | Included
96 | Mandatory Spare BREAK-UP | BUCHHOLZ RELAY-TRANSFORMER | SET | 1 |  | Included
97 | Mandatory Spare BREAK-UP | STARTERS/CONTACTORS-TRANSFORMER | SET | 1 |  | Included
98 | Mandatory Spare BREAK-UP | LOCAL OTI & WTI WITH SENSING DEVICE(400K | SET | 1 |  | Included
99 | Mandatory Spare BREAK-UP | COOLER FAN WITH MOTOR (400KV T/F) | EA | 1 |  | Included
100 | Mandatory Spare BREAK-UP | OIL COOLER PUMP WITH MOTOR (400KV T/F) | SET | 1 |  | Included
101 | Mandatory Spare BREAK-UP | PRD-TRANSFORMER | EA | 1 |  | Included
102 | Mandatory Spare BREAK-UP | SPARE INSULATING OIL(KL) | KL | 5 |  | Included
103 | Mandatory Spare BREAK-UP | MAGNETIC OIL LEVEL GAUGE | EA | 1 |  | Included
104 | Mandatory Spare BREAK-UP | 36KV, 2000A BUSHING (STD) | EA | 1 |  | Included
105 | Mandatory Spare BREAK-UP | OIL FLOW INDICATOR-400KV T/F | SET | 1 |  | Included
106 | Tower and Equipment Support Structure | FDN BOLTS (NON STD STRS) - ERECTION | MT | 7 |  | Included
|  | Total F&I Price |  |  |  | 0
Date:
Place: |  |  |  | Printed Name :
Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | Schedule - 2 Dis
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  | Total Discount |  | #REF!
Name : | #REF! |  |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
| #REF! |  |  | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan |  | Multipackage Discount |  | 0%
| #REF! |  |  | 0
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | #REF!
Place : | #REF! |  | Printed Name :
Designation :
Click for Sch-3

## Sch-3
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [9 empty] | Schedule - 3
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [13 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [13 empty] | AS per Percent |  | #REF!
[14 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [6 empty] | To: | [6 empty] | As per Percent on Sch-3 |  | #REF!
[7 empty] | Contracts Services, 3rd Floor | [6 empty] | Total Discount |  | #REF!
Name : | [6 empty] | Power Grid Corporation of India Ltd.,
Address : | [6 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
[7 empty] | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan | [6 empty] | Multipackage lum-sum |  | 0%
|  | INSTALLATION CHARGES | [12 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | Activity Description | SAC (Service Accounting Codes) | Whether SAC in column '3’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | Total GST as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 = 9 X 10 | 12 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
I | INSTALLATION | [10 empty] | Revaluation of J column | Tax Calculation
Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays
1 | 420kV, 63kA AIS EQUIPMENT | 998736 |  | 18 |  | 420kV, 3150A, 63KA Circuit Breaker(3-Phase) with closing resistor(withsupport structure) | EA | 1 |  | Included | 0 | 0 | 0
2 | 420kV, 63kA AIS EQUIPMENT | 998736 |  | 18 |  | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 1 |  | Included | 0 | 0 | 0
3 | 420kV, 63kA AIS EQUIPMENT | 998736 |  | 18 |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 6 |  | Included | 0 | 0 | 0
4 | 420kV, 63kA AIS EQUIPMENT | 998736 |  | 18 |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 6 |  | Included | 0 | 0 | 0
5 | 420kV, 63kA AIS EQUIPMENT | 998736 |  | 18 |  | 336kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 | 0 | 0
6 | 420kV, 63kA AIS EQUIPMENT | 998734 |  | 18 |  | 420KV, 1-PHASE BUS POST INSULATORS | EA | 8 |  | Included | 0 | 0 | 0
7 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245 kV 1600A, 50KA Circuit Breakers (3-Phase) with support | EA | 1 |  | Included | 0 | 0 | 0
8 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | Included | 0 | 0 | 0
9 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | Included | 0 | 0 | 0
10 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | Included | 0 | 0 | 0
11 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 2 |  | Included | 0 | 0 | 0
12 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 216kV Surge Arrester (1-phase) | EA | 3 |  | Included | 0 | 0 | 0
13 | 245kV, 50kA AIS EQUIPMENT | 998736 |  | 18 |  | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 13 |  | Included | 0 | 0 | 0
14 | Erection Hardware for 420kV I Type S/Y | 998731 |  | 18 |  | Erection Hardware for 400kV I type layout-Transformer bay as per specification | SET | 1 |  | Included | 0 | 0 | 0
15 | Erection Hardware for 420kV I Type S/Y | 998731 |  | 18 |  | Erection Hardware for 400kV I type layout-Spare bay of half dia as per specification | SET | 1 |  | Included | 0 | 0 | 0
16 | Erection Hardware for 220kV DMT Type S/Y | 998731 |  | 18 |  | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Transformer Bay as per specification | SET | 1 |  | Included | 0 | 0 | 0
17 | Earthmat | 998731 |  | 18 |  | 40 mm MS rod for Main Earthmat | KM | 2 |  | Included | 0 | 0 | 0
18 | VMS | 998731 |  | 18 |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | Included | 0 | 0 | 0
19 | POWER & CONTROL CABLE | 998736 |  | 18 |  | 1.1kV grade Power Cables (XLPEinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0 | 0 | 0
20 | POWER & CONTROL CABLE | 998736 |  | 18 |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0 | 0 | 0
21 | POWER & CONTROL CABLE | 998736 |  | 18 |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | Included | 0 | 0 | 0
22 | POWER & CONTROL CABLE(Break-up) | 998736 |  | 18 |  | 4PAIR, 0.5 SQ.MM SCREENED CABLE | KM | 1 |  | Included | 0 | 0 | 0
23 | AIR CONDITIONING & VENTILATION SYSTEM | 995463 |  | 18 |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | Included | 0 | 0 | 0
24 | FIRE FIGHTING SYSTEM | 998736 |  | 18 |  | HVW spray system, Hydrant system and complete U/G & O/G piping and accessories etc. out side the pump house for 500MVA ,400KV/220/33 kV, 3-phase Autotransformer | SET | 1 |  | Included | 0 | 0 | 0
25 | FIRE FIGHTING SYSTEM | 995461 |  | 18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | Included | 0 | 0 | 0
26 | FIRE FIGHTING SYSTEM | 995461 |  | 18 |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 1 |  | Included | 0 | 0 | 0
27 | ILLUMINATION SYSTEM | 998739 |  | 18 |  | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | Included | 0 | 0 | 0
28 | ILLUMINATION SYSTEM | 998731 |  | 18 |  | Fire Wall Mounted LED Luminarie Type FL-2 (250W) | EA | 2 |  | Included | 0 | 0 | 0
29 | ILLUMINATION SYSTEM | 998731 |  | 18 |  | Lighting Fixture LED Luminaires type FL2 as per tech. specifications | EA | 10 |  | Included | 0 | 0 | 0
30 | ILLUMINATION SYSTEM | 998731 |  | 18 |  | Lighting Fixture LED Luminaires type FL-1 as per tech. specifications | EA | 20 |  | Included | 0 | 0 | 0
31 | ILLUMINATION SYSTEM | 998739 |  | 18 |  | Outdoor Power Receptacle for oilfiltration unit (250A) | EA | 1 |  | Included | 0 | 0 | 0
32 | ILLUMINATION SYSTEM | 998731 |  | 18 |  | 63A, 415V : Interlocked switch socket outdoor Receptacle (type RP) as per technical specifications | EA | 2 |  | Included | 0 | 0 | 0
33 | ILLUMINATION SYSTEM | 995461 |  | 18 |  | Lighting Panel type ACP-2 as per technical specification | EA | 1 |  | Included | 0 | 0 | 0
34 | 400KV ICT (WITH OLTC) | 998736 |  | 18 |  | 500MVA, 400KV/220/33 KV, 3-phase Autotransformer excluding insulating oil | EA | 1 |  | Included | 0 | 0 | 0
35 | 400KV ICT (WITH OLTC) | 998736 |  | 18 |  | Insulating Oil for 500MVA, 400KV/220/33 KV, 3-phase Autotransformer | SET | 1 |  | Included | 0 | 0 | 0
36 | 400KV ICT (WITH OLTC) | 998736 |  | 18 |  | Digital RTCC Panel consist of digital RTCC relays as per technical specification | SET | 1 |  | Included | 0 | 0 | 0
37 | STRUCTURE ERECTION | 995455 |  | 18 |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 95 |  | Included | 0 | 0 | 0
38 | STRUCTURE ERECTION | 995455 |  | 18 |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 6 |  | Included | 0 | 0 | 0
39 | STRUCTURE ERECTION | 995455 |  | 18 |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 7 |  | Included | 0 | 0 | 0
40 | CIVIL WORKS | 995433 |  | 18 |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 3707 |  | Included | 0 | 0 | 0
41 | CIVIL WORKS | 995433 |  | 18 |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 412 |  | Included | 0 | 0 | 0
42 | CIVIL WORKS | 995454 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 20 |  | Included | 0 | 0 | 0
43 | CIVIL WORKS | 995454 |  | 18 |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 144 |  | Included | 0 | 0 | 0
44 | CIVIL WORKS | 995454 |  | 18 |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 1187 |  | Included | 0 | 0 | 0
45 | CIVIL WORKS | 995454 |  | 18 |  | Steel Reinforcement | MT | 83 |  | Included | 0 | 0 | 0
46 | CIVIL WORKS | 995455 |  | 18 |  | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 36 |  | Included | 0 | 0 | 0
47 | CIVIL WORKS | 995421 |  | 18 |  | Construction of rail cum road as per drawing including all item such as excavation,compactions, rolling watering, WBM etc. butexcluding concrete reinforcement and structural steel-Section having four rails for auto transformer. | M2 | 123 |  | Included | 0 | 0 | 0
48 | CIVIL WORKS | 995428 |  | 18 |  | Stone filling (40 mm size) for transformer/Reactor foundation | M3 | 35 |  | Included | 0 | 0 | 0
49 | CIVIL WORKS | 995454 |  | 18 |  | External finishing/ painting of fire wall with cement wash | M2 | 240 |  | Included | 0 | 0 | 0
50 | CIVIL WORKS | 995428 |  | 18 |  | Stone spreading in switchyard excluding PCC | M2 | 10000 |  | Included | 0 | 0 | 0
51 | CIVIL WORKS | 995424 |  | 18 |  | Antiweed treatment | M2 | 12000 |  | Included | 0 | 0 | 0
52 | CIVIL WORKS | 995423 |  | 18 |  | Providing & laying non-woven Geo-synthetics fabric of minimum 200 GSM in separration layer between sub garde and stone spreading inswitchyard as per Technical Specification and direction of Engineer-in-Charge. | M2 | 12000 |  | Included | 0 | 0 | 0
53 | CIVIL WORKS | 995428 |  | 18 |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 2000 |  | Included | 0 | 0 | 0
54 | CIVIL WORKS | 995454 |  | 18 |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30 |  | Included | 0 | 0 | 0
55 | CIVIL WORKS | 995451 |  | 18 |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrete and reinforcement steel Section2A-2A | M | 30 |  | Included | 0 | 0 | 0
56 | CIVIL WORKS | 995454 |  | 18 |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 75 |  | Included | 0 | 0 | 0
57 | CIVIL WORKS | 995454 |  | 18 |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 95 |  | Included | 0 | 0 | 0
58 | CIVIL WORKS | 995454 |  | 18 |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 30 |  | Included | 0 | 0 | 0
59 | CIVIL WORKS | 995421 |  | 18 |  | 3.75m wide Bitumen road with earthen shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS (as perDSR item no 16.35 and 16.30.1) and including 225 mm thick WBM in three equal layers of 75 mm each as per CPWD specification. | M2 | 188 |  | Included | 0 | 0 | 0
60 | CIVIL WORKS | 995454 |  | 18 |  | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | Included | 0 | 0 | 0
61 | CIVIL WORKS | 995454 |  | 18 |  | All civil works for Drains construction of Section B-B including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | Included | 0 | 0 | 0
62 | CIVIL WORKS | 995454 |  | 18 |  | All civil works for Drains construction of Section C-C including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | Included | 0 | 0 | 0
63 | CIVIL WORKS | 995454 |  | 18 |  | All civil works for Drains construction of Section D-D including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | Included | 0 | 0 | 0
64 | CIVIL WORKS | 995462 |  | 18 |  | Supplying and erecting dewatering pumps- 2 HP | EA | 1 |  | Included | 0 | 0 | 0
65 | CIVIL WORKS | 995429 |  | 18 |  | Dismantling & Re-erection of existing fence including providing, adding and welding additional length of pipe or angle as perexisting fence including repainting with red oxide/synthetic enamel paint and brick work etc complete matching with existing fence.Nothing extra shall be paid in this account. All type of concrete shall be measured and paid under relavent item. | M | 100 |  | Included | 0 | 0 | 0
66 | CIVIL WORKS | 995477 |  | 18 |  | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M | 250 |  | Included | 0 | 0 | 0
67 | CIVIL WORKS | 995454 |  | 18 |  | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 500 |  | Included | 0 | 0 | 0
68 | CIVIL WORKS | 995432 |  | 18 |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 5175 |  | Included | 0 | 0 | 0
69 | CIVIL WORKS | 995432 |  | 18 |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 5750 |  | Included | 0 | 0 | 0
70 | CIVIL WORKS | 995432 |  | 18 |  | Earthwork in excavation in Hard rocks in open areas/nallas/ channels, to the required slopes, shapes, levels, elevations andprofile, including trimming of bottom and slopes of excavation and stacking and disposal of rock for a lead up to 2.0 KM beyondleveling boundary and all lifts , with all labour, material, tools, tackles and equipment, safeguards and incidentals,Royalty,taxesetc. as per directions of the Engineer-in-Charge. Serviceable material if available shall be stacked at site as identified byEngineer-in-Charge.(50% void deduction from stack measurement) | M3 | 517.5 |  | Included | 0 | 0 | 0
71 | CIVIL WORKS | 995428 |  | 18 |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 235 |  | Included | 0 | 0 | 0
[6 empty] | Total Installation Charges |  |  |  | 0 | 0 |  | 0
[6 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
*
Date :
Place : | [6 empty] | Printed Name :
Designation :
Click for Sch-4

## Sch-3 Dis (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | Schedule - 3
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  |  | As per Percent on Sch-3 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  |  |  | Total Discount |  | #REF!
Name : | #REF! |  |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
| #REF! |  |  | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan |  |  |  | Multipackage lum-sum |  | 0%
| #REF! |  |  | 0
[5 empty] | All Prices are in Indian Rupees. |  |  |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! |  |  |  |  | (a) | Detailed Soil Investigation
| #REF! | #REF! | #REF! | #REF! | #REF! | (b) | All kinds of soil except fissured rock & hard rock
| #REF! | #REF! | #REF! | #REF! | #REF! | (e) | River Crossing Location
| #REF! | #REF! | #REF! | #REF! | #REF! | (f)
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
| Total Erection Price (A+B) |  |  |  | #REF!
Date : | #REF!
Place : | #REF! |  | Printed Name :
Designation :
Click for Sch-4

## Sch-4
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [15 empty] | Schedule - 4
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | [14 empty] | Power Grid Corporation of India Ltd.,
Address : | [14 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Training Charges for Training to be imparted
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Training Charges excluding GST | Total Training Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
[17 empty] | Revaluation of J column | Tax Calculation
NOT APPLICABLE | [16 empty] | Revaluation of J column | Tax Calculation
[15 empty] | Included | 0 | 0 | 0
[9 empty] | Total Training Charges | [5 empty] | 0 |  |  | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
Date : | [13 empty] | Printed Name :
Place : | [13 empty] | Designation :
Click for Sch-5

## Sch-4b (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [15 empty] | Schedule - 4b
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Sole Bidder) : | [14 empty] | To:
Contracts Services, 3rd Floor
Name : | #REF! | [13 empty] | Power Grid Corporation of India Ltd.,
Address : | #REF! | [13 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
| #REF! | [13 empty] | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
| #REF! | [13 empty] | 0
Maintenance Charges during & after Defect Laibility Period
SI. No. | PR No | PR Line Item No | Activity Header | PR Activity No | Activity Description | Service Code | SAC (Service Accounting Codes) | Whether SAC in column '8’ is confirmed. If not indicate applicable the SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Maintenance Charges excluding GST | Total Maintenance Charges excluding GST | Total GST as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 = 14 x 15 | 17
| 0 | [15 empty] | Revaluation of P column | Tax Calculation
A. | #REF! | [15 empty] | Revaluation of P column | Tax Calculation
1 | [14 empty] | Included | 0 | 0 | 0
2 | [14 empty] | Included | 0 | 0 | 0
3 | [14 empty] | Included | 0 | 0 | 0
4 | [14 empty] | Included | 0 | 0 | 0
B. | #REF! | [15 empty] | Revaluation of P column | Tax Calculation
1 | [14 empty] | Included | 0 | 0 | 0
2 | [14 empty] | Included | 0 | 0 | 0
3 | [14 empty] | Included | 0 | 0 | 0
4 | [14 empty] | Included | 0 | 0 | 0
[9 empty] | Total Maintenance Charges during and after Defect Liabilty Period | [5 empty] | 0 |  |  | 0
[9 empty] | Total GST as confirmed by Bidder | [6 empty] | 0
Date : | #REF! | [12 empty] | Printed Name :
Place : | #REF! | [12 empty] | Designation :
Click for Sch-5

## Sch-5
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Schedule - 5
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON GOODS |  |  |  | Excise Duty | #REF! | Excise Duty | #REF!
| Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable. |  | 0
2 | TOTAL GST ON SERVICES |  |  |  | Sales Tax | 0 | Sales Tax | 0
| Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4) |  | 0 |  | #REF! | 0 | #REF! | 0
| GRAND TOTAL [1+2] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Schedule - 5
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : | #REF! |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  | Rajasthan Projects Office, 4th Floor, REIL House,
| #REF! |  | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
| #REF! |  | 0
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | 0
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | 0
Total GST on Installation Services (Schedule-3), Training to be imparted in India (Schedule-4a) and Maintenance Charges during and after Defect Liabilty Period (Schedule-4b)
| GRAND TOTAL [1+2] |  | 0
Date : | #REF! | Printed Name :
Place : | #REF! | Designation :
Click for Sch-6

## Sch-6
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Schedule - 6
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Laibility Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-6 After Discount
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Schedule - 6 After Discount
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  |  | To:
Contracts Services, 3rd Floor
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment including Type Test Charges
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, In-transit Insurance, loading & unloading
3 | TOTAL SCHEDULE NO. 3 |  | 0
Installation Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4b | TOTAL SCHEDULE NO. 4b |  | 0
Maintenance Charges during & after Defect Laibility Period
5 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2+3+4+5] |  | 0
Date : |  | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [11 empty] | Schedule 7
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [15 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [15 empty] | AS per Percent |  | #REF!
[16 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : | [9 empty] | To: | [5 empty] | As per Percent on Sch-7 |  | #REF!
[10 empty] | Contracts Services, 3rd Floor | [5 empty] | Total Discount |  | #REF!
Name : | [9 empty] | Power Grid Corporation of India Ltd.,
Address : | [9 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
[10 empty] | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan | [5 empty] | Multipackage Discount |  | 0%
Type tests on Earthwire, Hardwar Fittings & accessories of conductor & earthwire:
SL. NO. | PR No | Line Item No | Code | HSN Code | Whether HSN in column ‘2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) | Total GST as confirmed by Bidder | Revaluation of M column | Tax Calculation |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 = 10 x 11 | 14
I
1 | [11 empty] | Included | 0 | 0 | 0
2 | [11 empty] | Included | 0 | 0 | 0
NOT APPLICABLE
[8 empty] | TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Total GST as confirmed by Bidder |  |  |  |  | 0
Date : | [8 empty] | Printed Name :
Place : | [8 empty] | Designation :
Note : |  |  |  | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [7 empty] | 0 | 0
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | 0 | 0
Bidder’s Name and Address (Sole Bidder) :
[8 empty] | 0 | 0
Name : | [7 empty] | 0 | 0
Address : | [7 empty] | 0 | 0
[8 empty] | 0 | 0
[8 empty] | 0 | 0
SL. NO. | [7 empty] | Description of Test | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
#REF! | [7 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
[8 empty] | #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | Contracts Services, 3rd Floor |  |  | Total Discount |  | #REF!
Name : | #REF! |  |  | Power Grid Corporation of India Ltd.,
Address : | #REF! |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
| #REF! |  |  | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan |  |  | Multipackage Discount |  | 0%
| #REF! |  |  | 0
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | #REF!
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | #REF! | Printed Name :
Place : | #REF! | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : | #REF! | 0 |  |  |  | 0
Address : | #REF! | 0 |  |  |  | 0
| #REF! | 0 |  |  |  | 0
| #REF! | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Discount
AAABBAAAABBf
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Subject : |  | Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3, Sch-4a, Sch-4b & Sch-7] In Rs. |  |  |  | 0 | 0%
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3, Sch-4a, Sch-4b & Sch-7] In Percent (%) |  |  |  | 0 | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : Ex-Works Price | 0%
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | 0%
|  | Schedule-3 : Erection Charges |  | In Rs. |  | 0 | 0% | Schedule-3 : Erection Charges | 0%
|  | Schedule-4a : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4a : Training Charges | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Rs. |  | 0 | 0% | Schedule-4b : Maintenance Charges | 0%
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-7 : Type Test Charges | 0%
| 4 | Discount on percent basis on the Schedules as given below : [The discount shall be applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-3 : Erection Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4a : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-4b : Maintenance Charges during and after DLP |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 to 4 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Bid Form 2nd Envelope |  | Sole Bidder |  |  |  | 1 | st |  | 1 | January
[6 empty] | 0 |  |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | [9 empty] | 6 | th | 0 | 6 | June
[10 empty] | 7 | th | 1 | 7 | July
To: | [9 empty] | 8 | th | January | 8 | August
Contracts Services, 3rd Floor | [9 empty] | 9 | th | 1900 | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
Rajasthan Projects Office, 4th Floor, REIL House, | [9 empty] | 11 | th |  | 11 | November
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan | [9 empty] | 12 | th |  | 12 | December
0 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : | Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [8 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. 0 (Rs. Zero Only ) or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | 0 | (Rs. Zero Only ) | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 | Plant and Equipment (Including Mandatory Spare Parts) to be supplied, including Type Test Charges. | [7 empty] | 21 | st
| Schedule 2 | Local Transportation, In-transit Insurance, loading and unloading | [7 empty] | 22 | th
| Schedule 3 | Installation Charges. | [7 empty] | 23 | th
| Schedule 4 | Training charges for training to be imparted. | [7 empty] | 24 | th
| Schedule 4b | Maintenance Charges during & after Defect Laibility Period.
| Schedule 5 | Taxes and Duties not included in Schedule 1 | [7 empty] | 25 | th
| Schedule 6 | Grand Summary [Schedule 1to 5] | [7 empty] | 26 | th
| Schedule 7 | Break-up of Type Test Charges for Type Tests to be conducted | [7 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.5 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3, Charges for Training to be imparted specified in Schedule No. 4a and Maintenance Charges during & after Defect Laibility Period specified in Schedule No. 4b of the Price Schedule in this Second Envelope by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  | 1
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
Signature :
Date : |  |  | Printed Name :
Place : |  |  | Designation :
Common Seal :
In case of bid from a Joint Venture, name & designation of representative of JV partner is to be provided and Bid Form is also to be signed by him.
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | 0 |  | 0
| B) CENTRAL SALES TAX | 0 |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | 0
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| Excise Duty % as |  |  |  | Excise Duty
| CST % as |  |  |  | CST
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
Retrofitting the 220 kV Switchyard equipments and control & protection system with Substation Automation System and SPR based Control & Protection System at Mandola Substation |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | Specification No.: NR1/NT/W-AIS/DOM/I00/24/15479 (Rfx-5002004051)

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | #REF!
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0 | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | 0 |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred