## Basic
Name of Package : | Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Package No : | NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Specification No. : | NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Completion Period | 10 Months
ORIGINAL

## Cover
: Attachments : | General guidelines for filling up the Attachments |  | NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Specification No.: NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
| 1 | Fill up only green shaded cells in the relevent attachments.
| 2 | Attachments 3(JV), 4, 4(A), 4(B), 5, 5(A), 6, 7, 9, 10, 11, 12, 13, 14, 15, 16, 17,18, 19 and Bid Form for 1st Envelope are included here.
| 3 | Attachment 1 Bid Security : To be submitted as perproforma provided in the bidding document.
| 4 | Attachment 2 Power of Attorney : No specific format is provided by POWERGRID. Bidder may use their own format.
| 5 | Attachment 8 Manufacturer’s Authorisation Form : To be furnished as per proforma provided in the bidding document, on the letter head of the each Manufactures proposed to supply main items. Not included here.
| 6 | Attachment 14 Integrity Pact : To be submitted as per ITB Clause No. 9.3(n) and as per remarks in the Attach 14-IP.
| 7 | Attachment 18 Safety Pact : To be submitted as per ITB Clause No. 9.3(r) and as per remarks in the Attach 18 SP.
| 8 | Attachment-3(QR), Attachment 20, Attachment-21, Attachment-22, Attachment-23, Attachment-24, Attachment-25, Attachment-26, Attachment-27 & Attachment-28: To be submitted as per the provisions of the Bidding Documents ( Formats Attached seperately in Volume-III of Bidding Documents)
| Note : | Enable the Active X Control & Macros. Also ensure to keep option of "Trust acess to VBA project object Model" cheched [√]. Ensure that you work on MS Excel 2007 or higher version.
Click to Proceed

## Names of Bidder
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Specification No.: NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [6 empty] | Sole Bidder | 1
[6 empty] | Yes | JV (Joint Venture) | 2
Enter following details of the bidder | [5 empty] | No
Specify type of Bidder [Select from drop down menu] |  | 0 | 2 |  |  |  | 0
Whether the bidder is an MSE (Micro & Small Enterprise) |  | Joint Venture | 2 | 2 | 0
Enter the Name of Registration Authority
Name of Lead Partner
Address of Lead Partner
|  | MSE | 0
Name of other Partner - 1
Address of other Partner - 1
Route-1 of Annexure-A(BDS)
Route-2 of Annexure-A(BDS)
Name of other Partner - 2 (more, if any) |  | Joint venture Route
Address of other Partner - 2 (more, if any)
Printed Name
Designation
Date | 31
Place
Click for Attach 3(JV)

## Attach 3(JV)
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-3(JV) |  | 0
0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Joint Venture Agreement and Power of Attorney for Joint Venture*)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
The Joint Venture Agreement (as per the proforma attached at no. 15 in Section-VI, Sample Forms and Procedures, Conditions of Contract, Vol.-I of the Bidding Documents) and Power of Attorney for Joint Venture (as per the proforma attached at no. 14 in Section-VI, Sample Forms and Procedures, Conditions of Contract, Vol.-I of the Bidding Documents) are enclosed herewith |  |  |  | 0
Date : | -- | Printed Name : |  |  |  | 0
Place : |  | Designation : |  |  |  | 10 Months
Click for Next Attachment

## Attach 3(QR)
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-3(QR)
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Qualifying Requirement Data)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
For our Qualifying Requirements Data, please refer Attachment-3(QR) of this volume.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 4
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-4
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Form of Certificate of Origin and Eligibility)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We hereby certify that equipment and materials to be supplied are produced in [Name of Countries], eligible source country. |  |  | Equipments & Materials produced in [Name of countries] | Company incorporated & registered in [Name of countries]
We hereby certify that our company is incorporated and registered in [Name of Countries], eligible source country. |  |  | [Name of Countries] | [Name of Countries] | [Name of Countries], | [Name of Countries],
Date : | -- | Printed Name :
Place : |  | Designation :
|  |  | country. | country. | [Name of Countries], | [Name of Countries],
Click for Next Attachment

## Attach 4 (A)
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-4(A)
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(List of Special Maintenance Tools & Tackles)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We are furnishing below the list of special maintenance tools & tackles for various equipment under the subject package. The prices for these tools & tackles are included in our lumpsum bid price. We further confirm that the list of special maintenance tools & tackles includes all the items specifically identified in your bidding documents as brought out below:
S.No. | For Equipment | Item Description | Unit | Quantity
1
2
3
4
5
Notwithstanding what is stated above, we further confirm that any additional special maintenance tools and tackles, required for the equipment under this package shall be furnished by us at no extra cost to the employer.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 4 (B)
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-4(B)
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(List of Special Maintenance Tools & Tackles)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We are furnishing below the list of special maintenance tools & tackles for various equipment under the subject package. The prices for these tools & tackles which are to be taken back after the completion of the work by us are not included in our lumpsum bid price. We further confirm that the list of special maintenance tools & tackles includes all the items specifically identified in your bidding documents as brought out below:
(a)
(b)
(c)
(d)
(e)
(f)
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 5
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-5
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Bought-out & Sub-contracted Items)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We hereby furnish the details of the items/ sub-assemblies, we propose to buy for the purpose of furnishing and installation of the subject Package:
Sl. No. | Item Description | Quantity proposed to be bought/sub-contracted | Details of the proposed sub-contractor/sub-vendor
|  |  | Name | Nationality
1
2
3
4 |  |  |  |  | FALSE
5
We hereby declare that, we would not subcontract the erection portion of the contract without the prior approval of Employer.
We hereby furnish the details of the items/ sub-assemblies propose to supply from our own works (i.e. as direct transactions) in additiona to the supplies the same from other vendors (i.e. as Bought-out transactions) as detailed in the table given above.
Sl. No. | Item Description | Quantity proposed to be supplied | Details of the plant from where supplies are proposed.
|  |  | Name of Plant | Address
1
2
3
Date : | -- |  | Printed Name :
Place : |  |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Annexure I to Attachment-5
(Bought-out & Sub-contracted Items)
Sl. No. | Item Description | Quantity proposed to be bought/sub-contracted | Details of the proposed sub-contractor/sub-vendor
|  |  | Name | Nationality
Date : | -- | Printed Name :
Place : |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Annexure I to Attachment-5
(Bought-out & Sub-contracted Items)
Sl. No. | Item Description | Details of the proposed sub-contractor/sub-vendor | Details of the proposed sub-contractor/sub-vendor
|  |  | Name | Nationality
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment
Tick if you want to add extra sheet

## Attach 5A
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-5A
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Items, Components, Raw Material, Services proposed to be sourced from Micro and Small Enterprises)
To:
Bidder's Name and Address: |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
1 | We hereby furnish the details of the items, components, raw material, services which we propose to buy/avail from Micro and Small Enterprises (MSEs) for the purpose of completion of works under the subject package:
Sl. No. | Item Description | Quantity proposed to be bought/sub-contracted | Name of Micro and Small Enterprises (MSEs)
|  |  | Name | Category (Micro or Small)
1
2
3
4 |  |  |  |  | FALSE
5
2 | The above is a list of items we propose to procure from MSEs. However, based on the situations during the execution of the contract, the above list may undergo changes. We hereby confirm that the details regarding actual procurement from MSEs carried out by us, as per the format provided at Section VI, Forms and Procedures, Volume-I of bidding documents, shall be submitted along with the bills for payment against supplies made/works done during execution of contract.
We hereby furnish the details of the items/ sub-assemblies propose to supply from our own works (i.e. as direct transactions) in additiona to the supplies the same from other vendors (i.e. as Bought-out transactions) as detailed in the table given above.
Sl. No. | Item Description | Quantity proposed to be supplied | Details of the plant from where supplies are proposed.
|  |  | Name of Plant | Address
1
2
3
Date : | -- | Printed Name :
Place : |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-5A
(Bought-out & Sub-contracted Items)
Sl. No. | Item Description | Quantity proposed to be bought/sub-contracted | Name of Micro and Small Enterprises (MSEs)
|  |  | Name | Category (Micro or Small)
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment
Tick if you want to add extra sheet

## Attach 6
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-6
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Alternative, Deviations and Exceptions to the Provisions)
Bidder’s Name and Address (Lead Partner) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
The bidder shall itemize any deviation from the Specifications included in his bid. Each item shall be listed (separate sheets may be used and enclosed with this Attachment) with the following information:
Sl. No. | Reference clause in the Specifications | Deviation |  | Cost of withdrawal of the deviation
FALSE
The above deviations and variations are exhaustive. We confirm that we shall withdraw the deviations proposed by us at the cost of withdrawal indicated in this attachment, failing which our bid may be rejected and Bid Security forfeited.
Except for the above deviations and variations, the entire work shall be performed as per your specifications and documents. Further, we agree that any deviations, conditionality or reservation introduced in this Attachment-6 and/or in the Bid form, Price schedules & Technical Data Sheets and covering letter, or in any other part of the bid will be reviewed to conduct a determination of the substantial responsiveness of the bid.
Date : | -- |  | Printed Name :
Place : |  |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Annexure I toAttachment-6
(Alternative, Deviations and Exceptions to the Provisions)
Extra Sheet
Sl. No. | Reference clause in the Specifications | Deviation |  | Cost of withdrawal of the deviation
Date : | -- |  | Printed Name :
Place : |  |  | Designation :
Click for Next Attachment
Tick if you want to add extra sheet

## Attach 7
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-7
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Details of Alternative Bid)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
No Alternative Bid
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 9
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-9
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Work Completion Schedule)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We hereby declare that the following Work Completion Schedule shall be followed by us in furnishing and installation of the subject Package i.e., Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. for the period commencing from the effective date of Contract to us :
Sl. No. | Description of Work | Period in months from the effective date of contract
1 | Detailed Engineering and drawing submission
a) commencement
b) completion
2 | Procurement of equipment/ components & assembly
a) commencement
b) completion
3 | Type Tests
a) commencement
b) completion
4 | Manufacturing
a) commencement
b) completion
5 | Shipments & Delivery
a) commencement
b) completion
6 | Establishment of site office
7 | Installation at Site
a) commencement
b) completion
8 | Testing & Pre-commissioning
a) commencement
b) completion
9 | Trial Operation
a) commencement
b) completion
#REF!
Date : | -- | Printed Name :
Place : |  | Designation :
Note : | Bidders to enclose a detailed network covering all the activities to be undertaken for completion of the project indicating key dates for various milestones for each phase constituent-wise.
Click for Next Attachment

## Attach 10
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-10
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Guarantee Declaration)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
We confirm that the equipments offered shall have minimum performance specified in Technical Specifications. We further guarantee the performance/efficiency of the equipments in response to the Technical Specifications.
Date | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 11
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  | Attachment-11
0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Information regarding Ex-employees of POWERGRID in our Organisation)
Bidder’s Name and Address (Lead Partner) : |  | To:
Contract Services
Name : |  | Power Grid Corporation of India Ltd.,
Address : |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We declare that we are aware of and have gone through the “Code of Business Conduct and Ethics for Senior Management Personnel”1 and “Code of Business Conduct and Ethics for Board Members”1 of POWERGRID (hereinafter referred to as the “Code of Conduct”). We further understand that as per the “Code of Conduct”, Senior Management Personnel including Board Members, who have retired/resigned from POWERGRID, shall not accept any appointment or post, as detailed in the referred “Code of Conduct”, within 1 year from the date of cessation of service/directorship unless approved by the Competent Authority. Accordingly, we hereby furnish the details of ex-employees of POWERGRID who had retired/ resigned at the level of General Manager and above from POWERGRID and subsequently have been employed by us:
Sl. No. | Name of the person with designation in POWERGRID | Date of Retirement/ resignation from POWERGRID | Date of joining and designation in our organisation*
1
2
3
4
5
6
*In case the date of joining in the bidder’s organization of such ex-employee is within 1 year from the date of retirement/resignation from POWERGRID, No Objection Certificate/ approval from the Competent Authority must be furnished along with the bid or subsequent through clarification pursuant to ITB Clause 21.
In case of non-submission of No Objection Certificate/approval of the Competent Authority, as required, We understand that POWERGRID shall deal with such cases as per its Policy and procedures in vogue, which may also result in rejection of our bid. We also confirm that POWERGRID shall be the sole judge in this regard. We further declare that any misrepresentation or submission of false/forged documents/information in this regard shall be dealt with as per the provisions of the Integrity Pact and/or the Bidding Documents and/or POWERGRID’s policy and procedures.
Date : | -- | Printed Name :
Place : |  | Designation :
Note: 1. “Code of Business Conduct and Ethics for Senior Management Personnel” and “Code of Business Conduct and Ethics for Board Members” are available on POWERGRID’s website https://www.powergrid.in. 2. The information in similar format should be furnished for each partner of joint venture in case of joint venture bid. 3. In case bidder has furnished no details on ex-employees of POWERGRID or has left blank or has indicated ‘-‘ against the same, it shall be deemed that they have not employed any such person in their organization.
Click for Next Attachment

## Attach 12
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | ATTACHMENT-12
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Price Adjustment Data)
Bidder’s Name and Address (Lead Partner) : |  |  |  | To:
0 |  |  |  | Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We hereby furnish the relevant details pertaining to the price adjustment provisions for equipment as specified in your specifications and documents for the Substation Package SS86. The necessary documentary evidence is enclosed.
Sl. No. | Name of Materials/Labour |  | Value of co-efficient | Name of the published index | Value of index
1 | 2 |  | 3 | 4 | 5
In accordance with Clause 2, Appendix-2, Form of Contract Agreement, Section-VI; Forms. Volume-I
A) For Equipment Ex-Works Price Component
I | Reactor (excluding Insulating Oil) (ratings above 10MVAR or voltage above 33kV up to 400kV)
i) | Copper a= |  |  | Price Indices for copper wire rod, as published by IEEMA.
ii) | Electrical Lamination Steel b= |  |  | Price of CRGO Electrical Steel Lamination as published by IEEMA.
iii) | Construction Steel c= |  |  | Average price of Steel Plates (10mm thick), as published by IEEMA
iv) | Insulating Material d= |  |  | Price of Insulating Materials , as published by IEEMA.
v) | Labour l= |  |  | Indian field labour index – namely All-India Average Consumer Price Index Numbers for Industrial Workers (monthly) (Base 2016=100), as published by Labour Bureau, Shimla, Government of India (http://labourbureaunew.gov.in)
ERROR -Sum of all the coefficients including labour is not equal to 0.85
The sum of all the coefficients including labour shall be a+b+c+d+l=0.85
II | Insulating oil for Reactors (ratings above 10MVAR or voltage above 33kV up to 400kV):
a) | Insulating Oil e= |  | 0.85 | Transformer Oil (TO): Transformer oil conforming to IS:335-1993, supplied in drum(Ex-Refinery, Mumbai) as published by IEEMA.
I | Circuit Breaker
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour | l= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
II | Isolators
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour I= | l= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2001= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
II | Capacitive VoltageTransformer
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour | l= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
III | Current Transformer
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour | l= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
IV | Isolators
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour | l= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
V | Surge Arrester
a) | Raw Material
i) |  | a= |  | IEEMA
ii) |  | b= |  | IEEMA
iii) |  | c= |  | IEEMA
iv) |  | d= |  | IEEMA
b) | Labour | I= |  | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The sum of the value of coefficients for raw materials: a+b+c+d=0.55 to 0.65 and sum of all the coefficients including labour shall be a+b+c+d+l=0.85.
VI | PVC/XLPE Insulated Power and Control Cable
a) | a=PVC Compound |  | 0.15
b) | Published Price of Metal |  |  | IEEMA
| i) Aluminium per MT |  |  | IEEMA
| ii) Copper per MT |  |  | IEEMA
c) | Weight in MT of Metal per kM (Size wise)
i)
ii)
iii)
iv)
v)
II | Substation Structures
i) | Lattice Steel Structures & Pipe Structures (including bolts & nuts, washers & foundation bolts)
a) | Raw Materials
i) | a=Structural steel |  | 0.58 | JPC Market Price (Retail) for average Price of Steel Angles of size 50 x 50 x 6 mm of all cities in Rs./MT as published by Joint Plant Committee(JPC).
ii) | b=Electrolytic Zinc |  | 0.16 | IEEMA
b) | Labour |  | 0.11 | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
VIII. | Series Reactor [ 420 kV, 12 ohm, 2500A, 1-ph air core dry type Series Reactor]
a) | Raw Material |  |  |  |  | Copper(a)
i) | Aluminium(a) |  |  |  |  | Aluminium(a)
b) | Labour I= |  | 0.85 | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2001= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
The value of coefficient for raw materials: a=0.65 to 0.73 and value of coefficient for labour shall be between 0.12 and 0.20, so that sum of all the coefficients including labour shall be a+l=0.85
B. | For Installation Price Component
I | Installation price component (including Civil works but excluding ‘supply & placement of reinforcement steel’ and ‘concreting’)
i) | Labour I= |  | 0.8 | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
II | Supply & Placement of Reinforcement Steel
i) | HSD |  | 0.1 | Wholesale Price Index Number for `HSD’(Individual Commodity) (monthly) (Base: 2011-12=100), as published by Office of Economic Advisor, Ministry of Commerce & Industry(www.eaindustry.nic.in).
ii) | Labour I= |  | 0.05 | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
iii) | Manufacture of Basic Metals |  | 0.65 | Wholesale Price Index Number for `Manufacture of Basic Metals’(Group Item) (monthly) (Base: 2011-12=100), as published by Office of Economic Advisor, Ministry of Commerce & Industry(www.eaindustry.nic.in).
III | For Concereting
i) | HSD |  | 0.2 | Wholesale Price Index Number for `HSD’(Individual Commodity) (monthly) (Base: 2011-12=100), as published by Office of Economic Advisor, Ministry of Commerce & Industry(www.eaindustry.nic.in).
ii) | Labour I= |  | 0.1 | Indian field labour index – namely All India average consumer price index for Industrial Workers (monthly) (Base: 2016= 100), as published by Labour Bureau, Shimla, Government of India (www.labourbureau.nic.in).
iii) | Manufacture of cement, lime and plaster |  | 0.3 | Wholesale Price Index Number for `Manufacture of cement, lime and plaster’(Group Item) (monthly) (Base: 2011-12=100), as published by Office of Economic Advisor, Ministry of Commerce & Industry (www.eaindustry.nic.in)
iv) | Cutting, shaping and finishing of stone |  | 0.2 | Wholesale Price Index Number for `Cutting, shaping and finishing of stone’(Group Item) (monthly) (Base: 2011-12=100), as published by Office of Economic Advisor, Ministry of Commerce & Industry(www.eaindustry.nic.in).
The Bidders are required to estimate and indicate the values of different coefficients for each of the items in the price variation formulae within the specified range such that their summation is as specified in the Bidding Documents. Where no value or ‘-’ or ‘shall be furnished later’ is specified against the coefficient, the same will be deemed to be zero and the fixed component would be suitably adjusted. If the values of all coefficients in price variation formulae indicated by the Bidder are within the specified range but their sum exceeds the summation specified in the Bidding Documents, the values of the coefficients shall be pro-rata adjusted such that the summation remains as per the provisions of the Bidding Documents. If the values of all coefficients indicated by the Bidder are within the specified range but their summation is less than the value specified in the Bidding Documents, the values of the coefficients as indicated by the Bidder shall be considered as such and the fixed component in the price variation formulae would be suitably adjusted. Further, if any of values of the coefficients indicated by the Bidder is out of the range specified in the Bidding Documents, the lower of the values, as indicated by the Bidder vis-à-vis lower value of the range for that coefficient specified in the Bidding Documents, shall be considered and the fixed component would be suitably adjusted.
Date : | -- |  |  | Printed Name :
Place : |  |  |  | Designation :
Click for Next Attachment
Click for Next Attachment

## Attach 13
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-13
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Declaration regarding Social Accountability)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We conform that we stand committed to comply to all requirements of Social Accountability Standards i.e., SA8000 (latest Standard available at www.sa-intl.org) and maintain the necessary records.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 14
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-14
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Integrity Pact
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 14-IP
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (o).
INTEGRITY PACT
Between
Power Grid Corporation of India Limited
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai,New Delhi – 110016 hereinafter referred to as
"POWERGRID",
and
0
having its Registered Office at
and
having its Registered Office at FALSE
hereinafter referred to as
"The Bidder/Contractor"
Preamble
POWERGRID intends to award, under laid-down organisational procedures, contract(s) for Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. Package and Specification Number NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 POWERGRID values full compliance with all relevant laws of the land, rules, regulations, economic use of resources, and of fairness / transparency in its relations with its Bidders/ Contractors.
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as unde r:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity, fairness and reason. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personal interest in the Companies/Agencies participating in the Bidding/Tendering process and all known prejudiced persons.
(2) | If POWERGRID obtains information on the conduct of any of its employee which is a criminal offence under the IPC / PC Act , or if there be a substantive suspicion in this regard, POWERGRID will inform its Chief Vigilance Officer and in addition disciplinary actions can be initiated under POWERGRID’s Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits itself to take all measures necessary to prevent corruption. The Bidder/Contractor commits itself to observe the following principles during its participation in the tender process and during the contract execution:
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which it is not legally entitled to, in order to obtain in exchange an advantage of any kind whatsoever during the tender process or during the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal or undisclosed agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor shall not pass any information provided by POWERGRID as part of business relationship to others and shall not commit any offence under PC / IPC Act.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/information in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
| g) | The Bidder/Contractor shall ensure adoption of Integrity Pact by its Sub-contractors and shall be responsible for the same.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may, after following due procedures, ban /blacklist the Bidder/Contractor in line with POWERGRID’s policy for “Black-Listing of Firms / Banning of Business”. The imposition and duration of the ban will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The ban will be imposed for a maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the ban prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID is entitled for forfeiture of the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III or if POWERGRID is entitled to terminate the contract under Section III, POWERGRID shall be entitled to forfeit the Contract Performance Guarantee of this contract, in full or part thereof as may be decided, besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall disclose in its Bid any transgressions occurred in the last 10 years with any other Public Sector Undertaking or Government Department or any other Company, in any country, that may impinge on the Anti-corruption principle.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, it can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason and further action can be taken in line with POWERGRID’s policies.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or its subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India. The names of the IEMs have been indicated in the Bidding Documents.
(2) | The panel of IEMs shall review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. The panel of IEMs has right of access to all project documentation. The panel of IEMs may examine any complaint received by them and submit a report to Chairman-cum-Managing Director, POWERGRID, giving joint findings, at the earliest. The panel of IEMs may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He / She reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his / her request and demonstration of a valid interest, unrestricted and unconditional access to their documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEMs information as sought by him / her which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract. The IEMs shall also sign declaration on ’Non-Disclosure of Confidential Information’ and of ‘Absence of Conflict of Interest’. In case of any conflict of interest arising at a later date, the IEM shall inform Chairman-cum-Managing Director, POWERGRID and recuse himself/herself from that case
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he / she will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under PC / IPC Act, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | While representing any matter in relation to the Integrity pact inter-alia including its transgression to the panel of IEMs, POWERGRID and Bidder/Contractor shall not approach the court of law and await the decision of the IEM in the matter.
(10) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration/Conciliation clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing. Side agreements have not been made.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Issues like Warranty/Guarantees etc. shall be outside the purview of IEMs.
(6) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral/conciliation or judicial proceedings (arising out of the arbitral/conciliation proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(7) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## Attach 15
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-15
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Option for Interest Bearing Advance(s) (Initial Advance and/or Engineering Advance) and Information for E – payment, PF details and declaration for Micro/Small and Medium Enterprise
To:
Bidder’s Name and Address (Lead Partner) : |  |  | Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
I | We have read the provisions in the Bidding Documents regarding furnishing the option for advance payment. Accordingly, as per ITB Clause 9.3 as provided in Section BDS, Section III, Vol.-I of the Bidding Documents, we hereby confirm to opt the following:
Interest Bearing Initial Advance
Supply Portion:
Services Portion:
Interest Bearing Engineering Advance:
II | We are furnishing the following details of Statutory Registration Numbers and details of Bank for electronic payment.
1. | Name of the Supplier/ Contractor in whose favour payment is to be made
2. | Address with PIN Code and State
Registered Office:
Branch Office:
Correspondence Address:
Yes
No
3 (a). | Status – Company/others
[Declaration of Micro/ Small/ Medium Enterprise under Micro/ Small & Medium Enterprises Development Act 2006, if applicable]
3 (b). | Are you a MSE owned by SC/ST* entrepreneurs in line with Public Procurement Policy for Micro and Small Enterprises (MSEs) order 2012 including subsequent amendment /notification/order (Indicate Yes/No) Note: Documentary evidence is to be attached. Please refer remarks at the end of the Attachment.
3 (c). | If 3(b) is 'Yes', please mentiom whether you are (Proprietary MSE/ Partnership MSE/Private Limited Company) owned by SC/ST Entrepreneurs.
3 (d). | Are you a MSE owned by a women in line with Public Procurment Policy for Micro and Small Enterprises (MSEs) order 2012, Public Procurment Policy for Micro & Small Enterprises (MSEs) Amendment Order 2018 including subsequent amendment / notification/order . (Indicate Yes/No)
4. | Permanent Account (PAN) No.
5. | GSTIN Numbers
I. | GSTIN in the Sates/UT from where the supply of goods take place
| Name of the States/UT |  | GSTIN number
(i)
(ii)
(iii)
II. | GSTIN in the States/UT where the supply for services take place (states where sites under the subject package is situated)
| Name of the States/UT |  | GSTIN number
(i)
(ii)
(iii)
(iv)
(v)
(vi)
6. | PF Registration No. of the Company
7. | PF Regional Office covered (with Address)
8. | Name of Contact Person
Designation
9. | Contact Details
Landline(s):
Mobile(s):
Email ID :
10. | Bank Details for Electronic Payment
Name of the Bank:
Address of Branch:
2
Account No.:
Type of Account:
| Type of Account: |  | Current Account
11. | 9 digit MICR code printed at bottom in middle, next to cheque no.
12. | IFSC (for RTGS)/NEFT Code (to be obtained from the Bank) Sample Cancelled Cheque to be enclosed
We hereby declare that the above information are true and correct and we agree that the payment on account of this Contract, in the event of award, be made in the above account maintained in the above mentioned Bank.
Remarks:
*The definition of MSEs owned by SC/ST is as given under:
a. In case of proprietary MSE, proprietor(s) shall be SC /ST.
b. In case of partnership MSE, the SC/ST partners shall be holding at least 51% shares in the unit.
c. In case of Private Limited companies, at least 51% share shall be held by SC/ST promoters.
Documentary evidence: Please provide scanned copy(ies) of the SC/ST certificate(s) issued by District Authority as applicable for SC/ST MSE category as per (a), (b) or (c) above.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment
Saving Account
Current Account

## Attach 16
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 | [6 empty] | Attachment-16
0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Additional Information)
Bidder’s Name and Address (Lead Partner) : | [5 empty] | To:
Contract Services
Name : | [5 empty] | Power Grid Corporation of India Ltd.,
Address : | [5 empty] | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
In support of the additional information required as per ITB Sub-Clause 9.3 (p) of the Bidding Documents, we furnish herewith our data/details/documents etc., alongwith other information, as follows (the stipulations have been reproduced in italics for ready reference):
1 | The Bidder shall furnish
A certificate from their Banker(s) (as per prescribed formats in Form 16, Section-VI: Sample Forms and Procedures) indicating various fund based/non fund based limits sanctioned to the Bidder and the extent of utilization as on date. Such certificate should have been issued not earlier than three months prior to the date of bid opening. Wherever necessary the Employer may make queries with the Bidders’ Bankers. [Reference ITB clause 9.3(p)(i)]
1.1 | In accordance with 1.0, certificate(s) from banker as per requisite format, indicating various fund based/non fund based limits sanctioned to the bidder or each member of the joint venture and the extent of utilization as on date is/are enclosed, as per the following details:
Name of Bidder (Lead Partner)
Name of the Banker by whom certificate issued
Date of certificate (should not be earlier than 3 months prior to date of bid opening)
Whether fund based/non fund based limits are indicated in the certificate
Whether extent of utilization is indicated in the certificate
1.2 | The Bidder should accordingly also provide the following information/documents
(i) | Details of Banker:
Name of Banker
Address of Banker
Telephone No.
Contact Name and Title
Fax No.
E-mail ID
(ii) | As per para 1.0, Authorization Letter(s) from the bidder (in case of JV bidder, from all the partners) addressed to the Banker(s), authorizing POWERGRID to seek queries about the bidder with the Banker(s) and advising the Banker(s) to reply the same promptly, is/are enclosed as per following details:
| Sl. No. | Letter Ref. |  |  |  | Date |  | Addressed to (name of the Bank)
2 | Litigation History
The bidder should provide detailed information on any litigation or arbitration arising out of contracts completed or under execution by it over the last five years. A consistent history of awards involving litigation against the Bidder or any partner of JV may result in rejection of Bid. [Reference ITB clause 9.3(p)(ii)]
2.1 | Details of litigation history resulting from Contracts completed or under execution by the bidder over the last five years
| Year | Name of client, cause of litigation/arbitration and matter in dispute |  |  |  | Details of Contract and date |  | Award for or against the bidder |  | Disputed amount
1
2
3
4
5
3 | Details regarding previous transgressions of Integrity Pact
The bidder should provide detailed information on any transgression of Integrity Pact that occurred in the last 10 years with any other Public Sector Undertaking or Government Department or any other Company, in any country.
3.1 | Details regarding previous transgressions of Integrity Pact that occurred in the last 10 years
| Year |  |  | Name of client |  |  |  | Details of Transgression of Integrity Pact by the bidder
4 | OTHER INFORMATION
4.1 | Current Contract Commitments of works in progress
Bidders (individual firms or each partners of JV) should provide information on their current commitments on all contracts that have been awarded, or for which a letter of intent or acceptance has been received, or for contracts approaching completion, but for which an unqualified, full completion certificate has yet to be issued.
| Details of Contract |  |  | Value of outstanding work (Rs.) |  |  |  | Estimated completion date
4.2 | Financial Data:
Figures Rs in
| Details | Actual (Previous five years) |  |  |  |  | Projection for next five years
|  | 2023-2024 | 2022-2023 | 2021- 2022 | 2020- 2021 | 2019- 2020 | 2024-2025 | 2025-2026 | 2026-2027 | 2027-2028 | 2028-2029
Total Assets
Current Assets
Total Liability
Current Liability
Profit before taxes
Profit after taxes
5 | Details of Provident Fund Code Number of the Bidder [ref. ITB9.3(q)]
Date : | -- |  |  |  |  | Printed Name :
Place : | [5 empty] | Designation :
Click for Next Attachment

## Attach 17
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-17
0
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Declaration for tax exemptions, reductions, allowances or benefits)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
1 | We confirm that we are solely responsible for obtaining following tax exemptions, reductions, allowances or benefits in respect of supplies under the subject package, in case of award. We further confirm that we have considered the same in our bid thereby passing on the benefit to POWERGRID while quoting our prices. In case of our failure to receive such benefits, partly or fully, for any reason whatsoever, the Employer will not compensate us.
2 | We are furnishing the following information required by the Employer for issue of requisite certificate if and as permitted in terms of the applicable Govt. of India policies/procedures (in case of award):
Applicable Act, Notification No. and Clause Ref. No. | Sl. No. | Description of item on which applicable | Country of origin | Remarks, if any
(The requirements listed above are as per current Notification of Govt. of India indicated above. These may be modified, if necessary, in terms of the Notifications.)
Date : | -- | Printed Name :
Place : |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-17
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Information regarding Ex-employees of POWERGRID in our Organisation)
Name(s) and Addresse(s) of other partner(s) |  |  | To:
Contract Services
Name : | …… ……. …….. …… ……. …….. |  | Power Grid Corporation of India Ltd.,
Address : | …… ……. …….. …… ……. …….. |  | Rajasthan Projects Office, 4th Floor, REIL House,
| …… ……. …….. …… ……. …….. |  | Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
…… ……. …….. …… ……. ……..
Dear Sir,
We hereby furnish the details of ex-employees of POWERGRID who had retired/ resigned at the level of General Manager and above from POWERGRID and subsequently have been employed by us:
Sl. No. | Name of the person with designation in POWERGRID |  | Date of Retirement/ resignation from POWERGRID | Date of joining and designation in our organisation
1
2
3
4
5
6
Date : | -- | Printed Name :
Place : |  | Designation :
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  | Attachment-17
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Information regarding Ex-employees of POWERGRID in our Organisation)
Name(s) and Addresse(s) of other partner(s) |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We hereby furnish the details of ex-employees of POWERGRID who had retired/ resigned at the level of General Manager and above from POWERGRID and subsequently have been employed by us:
Sl. No. | Name of the person with designation in POWERGRID |  | Date of Retirement/ resignation from POWERGRID | Date of joining and designation in our organisation
1
2
3
4
5
6
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Bid Form

## Attach 18
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-18
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
Safety Pact
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
Safety Pact is attached herewith this Volume
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Next Attachment

## Attach 18 SP
Instruction for printing & submitting Safety Pact
1. | The requisite format of Safety Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other six pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Safety Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (s).
0
0
0
0
SAFETY PACT
Between |  |  |  |  | #REF! |  | #REF!
Power Grid Corporation of India Limited |  |  |  |  | #REF! |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as |  |  |  |  | #REF! |  | #REF!
"POWERGRID", |  |  |  |  | #REF! |  | #REF!
and
0 |  |  |  |  | 1 | having its Registered Office at |  | ,
having its Registered Office at ,, |  |  |  |  | 1 | AND
and
having its Registered Office at FALSE
hereinafter referred to as
"The Bidder/Contractor"
Preamble
POWERGRID intends to award, under laid-down organisational procedures, contract(s) for Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. Specification Number:NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600
(Signature) |  | (Signature)
(For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
Safety Pact |  |  |  | Page 1 of 6
POWERGRID values full compliance with all relevant laws and regulations and the principles of Safety, Health& Environment in its relations with its Bidders/ Contractors.
In order to achieve these goals, POWERGRID and the above named Bidder / Contractor enter into this agreement called “Safety Pact” which will form part of the Bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
POWERGRID commits itself to take all measures necessary to prevent accidents duringConstruction and Operation of the Transmission Assets and to observe the following:
1. | POWERGRID recognizes and accepts its statutory responsibilities for ensuring construction, operation and maintenance of equipments and for the provision of safe methods of work and safe working conditions.
2. | POWERGRID recognizes and accepts its statutory responsibilities for ensuring safety of not only its employees but also that of the Contracting Agencies as Principal Employer.
3. | POWERGRID shall review the accidents in a structured manner and take necessary actions to ensure that the safety criteria are strengthened for safe construction as well as Operation & Maintenance of the Transmission Assets.
4. | POWERGRID shall conduct necessary awareness and training programmes to its Employees to augment the various safety requirements to be followed during Construction and Operation & Maintenance of the Transmission Assets from time to time.
5. | POWERGRID shall, from time to time, issue necessary guidelines,instructions and deterrents to its employees as well as to the Contracting Agencies, to update them to take necessary preventive measures to avoid repetition of similar accident attributes.
6. | POWERGRID shall review and provide necessary guidanceto the Contracting Agencies, as and when, any abnormality / special situations are brought to its notice by the Contracting Agencies during execution of the Transmission Projects being executed by them.
7. | POWERGRID shall conduct periodical surveillance site inspections / audits to identify the unsafe conditions and unsafe actions, and bring them to the knowledge of the Contracting Agencies for taking timely corrective actions.
8. | POWERGRIDshall investigate all accidents, fatal as well as non-fatal, to identify the lapses, the reason for the accident / incident and suggest measures for prevention of recurrence of such accidents, and fix responsibility for the lapses leading to the accident.
9. | POWERGRID shall augment the training to the workers and supervising personnel of the Contracting Agencies, as per schedules, upon nomination by the Contracting Agencies in reasonable time frame.
(Signature) |  | (Signature)
(For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
Safety Pact |  |  |  | Page 2 of 6
10. | POWERGRID shall exercise the right to claim and recover compensation from the Contracting Agencies in case of any violation of the safety requirements / provisions during execution of the Transmission Projects, as built in the applicable Laws and contractual specifications / guidelines in vogue / issued by POWERGRID from time to time.
Section II – Commitments of the Bidder / Contractor:
The Bidder / Contractor commits himself to take all measures necessary to prevent / minimise accidents at their construction / erection sites and to observe the following:
1. | The Bidder / Contractor recognizes and acceptsthe statutory and comprehensive responsibility for ensuring safe construction and Testing & Commissioning in the Transmission Projects being executed by them by providing safe methods of work, working conditions and Tools & Plants for human safety.
2. | The Bidder / Contractor recognizes and accepts the responsibilities for ensuring safety of not only their employees but also that of the Sub-contractors, Principal Employer and the general public during execution of the Transmission Projects / works.
3. | The Bidder / Contractor shall review the accidents in a structured manner and take necessary actions to ensure that the safety criteria are strengthened for safe construction of the Transmission Assets.
4. | The Bidder / Contractor shall endeavour continuous development of safe methods of work to ensure that the effect of risks and perils are minimised to the extent possible and implement the same at their worksites.
5. | The Bidder / Contractor shall conduct periodical Training to their Employees as well as to that of their Sub-contractors for safety awareness during construction works being executed by them.
6. | The Bidder / Contractor shall provide all requisite Tools & Plants required for the work and ensure their healthiness by periodical inspections / testing as required. Unhealthy and sub-standard Tools & Plants will be immediately removed from site as and when they are identified.
7. | The Bidder / Contractor shall,at their cost, provide all necessary Personal Protective Equipments such as Double Lanyard Safety Belts, Appropriate Fall Arrest Systems, Safety Helmets, Foot Wear, Hand Gloves, etc., as required for various activities pertaining to execution of the Projects / works, confirming to relevant Indian Standards.
8. | The Bidder / Contractor shall ensure that dedicated qualified Safety Officers are posted in the construction projects being executed by them and ensure that the Safety Officer visits each and every gang periodically and conducts audits / inspections to identify the unsafe conditions and unsafe actions, to be rectified by the site supervising personnel promptly.
(Signature) |  | (Signature)
(For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
Safety Pact |  |  |  | Page 3 of 6
9. | The Bidder / Contractor shall conduct appropriate medical checks-up for the workers before deploying them at their construction sites to ensure that only those who are medically fit are deployed in the Projects / works to be executed by them. The copy of the Medical Reports shall be provided by the Bidder / Contractor to POWERGRID, whenever requested by POWERGRID.
10. | The Bidder / Contractor shall screen the workers before deploying them at their construction sites to ensure that only those with the skills, experience and competence to work at height and also medically fit for work at height are deployed for work at height in the Projects executed by them.
11. | The Bidder / Contractor shall ensure daily before starting the work that their site Supervising Personnel / Safety Officer briefs the workers about the work for the day and the safety measures / precautions required to be taken by them.
12. | The Bidder / Contractor shall investigate all the accidents at their working sites to ascertain the lapses leading to the incident and the precautionary / corrective measures required to be taken to avoid recurrence of such accidents. These accidents will be reviewed at the Board Management level of the Agencies and the findings / recommendations will be put up to POWERGRID Apex Safety Board within the stipulated period.
13. | The Bidder / Contractor shall ensure that all accidents, whether fatal or non-fatal in nature, will be informed to POWERGRID, in writing, immediately on the occurrence of the same,and in any case, within not more than 24 hours of occurrence of the same.
14. | The Bidder / Contractor shall ensure that in case of any accident, all necessary medical help / support shall be provided to the victims / injured till they are completely fit to return to work.
15. | The Bidder / Contractor shall ensure that in case of fatal accidents, all statutory Authorities, including Police, concerned Labour Dept. Officials, concerned Workmen Compensation Commissioner, etc., will be intimated in writing as required by the statutory Law, and followed up for compliance of all statutory obligations. The Bidder / Contractor shall own full responsibility of timely accident reporting to various authorities, including POWERGRID.
16. | The Bidder / Contractor shall ensure that in case of fatality or serious injury leading to permanent disablement of the victims, the compensation amount will be deposited with the concerned authorities, as required by the Laws, and followed up for early disbursement to the beneficiaries of the victims.
17. | The Bidder / Contractor assures that they shall co-operate to the fullest extent for carrying out any investigation of the accidents at their work sites by POWERGRID to identify the lapses, the reason for the accident / incident and suggest measures for prevention of recurrence of such accidents. All factual details of the occurrence of the accident will be provided to POWERGRID, as and when required.
(Signature) |  | (Signature)
(For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
Safety Pact |  |  |  | Page 4 of 6
18. | The Bidder / Contractor assures that they take full responsibility of meeting the statutory obligations in case of accidents, and in case of any reference by any Statutory Body at a later date also, they shall provide all information to POWERGRID and meet all the statutory obligations, including payment of additional compensation, if any.
19. | The Bidder / Contractor assures that in case of any inspection of their work site or Notice by any Statutory Authority, they shall comply promptly and inform POWERGRID Site Officials of the same, and also provide all necessary information and assistance for smooth compliance of the observations / instructions of such Authorities.
20. | The Bidder / Contractor accepts the provisions regarding safety, including payment of any sums to POWERGRID, in case of any violation of the safety requirements / provisions during execution of the Transmission Projects, as built in the Contractual Conditions, Safety Planand the Safety Pact, and confirm to abide by the same.
Section III – Equal treatment to all Bidders / Contractors:
1. | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
2. | POWERGRID will disqualify, from the tender process, any bidder/ take punitive actions on the bidder, who does not sign this Pact or violate its provisions.
Section IV – Pact Duration:
This Pact begins when both parties have legally signed it. It expires for the successful Bidder / Contractor after closure of the contract and, for all other Bidders, after the contract has been awarded.
Section V – Other Provisions:
1. | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration/Conciliation clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under the Safety Pact.
2. | Changes and supplements need to be made in writing, which shall come into force only upon mutual agreement / acceptance.
3. | If the Contractor is a partnership firm or consortium of Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venue partners, as applicable as per the Tender Specifications.
4. | Nothing in this agreement shall affect the rights of the parties available under General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
5. | Should one or several provisions of this agreement turn out to be invalid, the reminder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
(Signature) |  | (Signature)
(For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
Safety Pact |  |  |  | Page 5 of 6
| Signature |  | Signature
| (For & On behalf of POWERGRID) |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  | (Office Seal)
| Name : |  | Name :
| Designation : |  | Designation :
| Witness 1 : |  | Witness 1 :
| Name : |  | Name :
| Designation : |  | Designation :
| Witness 2 : |  | Witness 2 :
| Name : |  | Name :
| Designation : |  | Designation :
Safety Pact |  |  |  | Page 6 of 6
Click for Next Attachment

## Attach 19
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  | Attachment-19
Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set.
(Declaration)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Contract Services
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | Rajasthan Projects Office, 4th Floor, REIL House,
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan
Dear Sir,
We confirm that Bid Form and Price Schedules in the Second Envelope have been filled up by us as per the provisions of the Instruction to Bidders. Further, we have noted that the same shall be evaluated as per the provisions of the Bidding Documents.
Further, we hereby confirm that except as mentioned in the Attachment – 6 (Alternative, Deviations and Exceptions to the Provisions) hereof forming part of our First Envelope :
(i) there are no discrepancies/inconsistencies and deviations/omissions/ reservations to the Bidding Documents, in the Second Envelope bid; (ii) the description of items and the unit thereof in the price schedules in the Second Envelope bid are in conformity with those indicated in the price schedule of the Bidding Documents without any deviation to the specified scope of work. We also confirm that in case any discrepancies/ inconsistencies and deviations/ omissions/ reservations, as referred to in para (i) and (ii) above, is observed in the Second Envelope, the same shall be deemed as withdrawn/rectified without any financial implication, whatsoever to POWERGRID. However, in case of any arithmetical errors, the same shall be governed as per the provision of ITB Sub-Clause 27.2 read in conjunction with BDS.
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Bid Form

## Bid Form 1st Envelope
Specification No. :NR1/T/W-AIS/DOM/I00/25/08922 – SRM RFX – 5002004600 |  |  |  |  | Bid Form 1st Envelope | [6 empty] | 1 | one | 1 | st |  | 1 | January
[12 empty] | 2 | two | 2 | nd |  | 2 | February
BID FORM (First Envelope) | [11 empty] | 3 | three | 3 | rd |  | 3 | March
[12 empty] | 4 | four | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [11 empty] | 5 | five | 5 | th |  | 5 | May
Date : | -- | [10 empty] | 6 | six | 6 | th | #VALUE! | 6 | June
[12 empty] | 7 | seven | 7 | th | #VALUE! | 7 | July
To: | [11 empty] | 8 | eight | 8 | th | #VALUE! | 8 | August
Contract Services | [11 empty] | 9 | nine | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [11 empty] | 10 | ten | 10 | th |  | 10 | October
Rajasthan Projects Office, 4th Floor, REIL House, | [11 empty] | 11 | eleven | 11 | th |  | 11 | November
Shipra Path, Mansarovar, Jaipur-302020 Rajasthan | [11 empty] | 12 | twelve | 12 | th |  | 12 | December
[12 empty] | 13 | thirteen | 13 | th
[12 empty] | 14 | fourteen | 14 | th
Name of Contract : | Substation Package: SS-04 - Augmentation of transformation capacity at 400/220kV Bikaner-II by 1x500 MVA, 400/220kV ICT (10th) along with associated bays: (i) 500 MVA, 400/220 kV ICT1 no. (ii) 400 kV ICT bay (including associated tie bay) - 1 no. (iii) 220 kV ICT bay- 1 no. (iv) 400kV Bus extension works (for 2 no. diameters) – 1 set. | [10 empty] | 15 | fifteen | 15 | th
Dear Ladies and/or Gentlemen, | [5 empty] | Enter details here. | [5 empty] | 16 | sixteen | 16 | th
1 | Having examined the Bidding Documents, including Amendment Nos. ...[Enter the Amendment]… dated …[Enter the Date in dd-mm-yyyy]… the receipt of which is hereby acknowledged, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial operation, Performance & Guarantee Test as per the provision of Technical Specification) the Facilities under the above-named package in full conformity with the said Bidding Documents. In accordance with ITB Clause 9.1 of the Bidding Documents, as per which the bid shall be submitted by the bidder under “Single Stage - Two Envelope” procedure of bidding. Accordingly, we hereby submit our Bid, in two envelopes i.e. First Envelope – Techno – Commercial Part & Second Envelope - Price Part (to be opened subsequently). |  |  |  |  | ...[Enter the Amendment]… | …[Enter the Date in dd-mm-yyyy]… |  | the receipt of which is hereby acknowledged, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial operation, Performance & Guarantee Test as per the provision of Technical Specification) the Facilities under the above-named package in full conformity with the said Bidding Documents. In accordance with ITB Clause 9.1 of the Bidding Documents, as per which the bid shall be submitted by the bidder under “Single Stage - Two Envelope” procedure of bidding. Accordingly, we hereby submit our Bid, in two envelopes i.e. First Envelope – Techno – Commercial Part & Second Envelope - Price Part (to be opened subsequently). |  |  | 17 | seventeen | 17 | th
1.1 | We meet the eligibility requirements and have no conflict of interest in accordance with ITB Clause 2.
2 | Attachments to the Bid Form (First Envelope) | [8 empty] | Bank Draft |  | 18 | eighteen | 18 | th
| In line with the requirement of the Bidding Documents, we enclose herewith the following Attachments: |  |  |  |  | Enter details here. |  |  |  | Pay Order |  | 19 | nineteen | 19 | th
| (a) Attachment 1 : |  | Bid Security : To be submitted as perproforma provided in the bidding document. |  |  | Bank Guarantee | INR |  |  | Banks certified Cheque | Zero | 20 | twenty | 20 | th
| (b) Attachment 2: |  | A power of attorney duly authorized by a Notary Public indicating that the person(s) signing the bid have the authority to sign the bid and thus that the bid is binding upon us during the full period of its validity in accordance with the ITB Clause 14. | [6 empty] | Bank Guarantee | (0) |  |  | 21 | st
| (c) Attachment 3 : |  | The documentary evidence that we are eligible to bid in accordance with ITB Clause 2. Further, in terms of ITB Clause 9.3 (c) & (e), the qualification data has been furnished as per your format enclosed with the bidding documents Attachment-3(QR). | [10 empty] | 22 | th
|  |  | Further, the required Joint Venture Agreement signed by us and our Partners has also been furnished as per your format Attachment-3(JV). |  |  |  | #REF! |  |  | Applicable |  |  |  | 23 | th
|  |  | Further the required deed of Joint Undertaking signed by us and Tower Manufacturer has also been furnished as per your format. |  |  | 0 | #REF! |  |  | Not Applicable |  |  |  | 24 | th
| (d) Attachment 4 : |  | The documentary evidence establishing in accordance with ITB Clause 3, Vol.-I of the Bidding Documents that the facilities offered by us are eligible facilities and conform to the Bidding Documents has been furnished as Attachment 4. A list of Special Tools & Tackles to be used by us for erection, testing & Commissioning and to be handed over to Employer, the cost of which is included is our Bid Price, is also enclosed as per your format as Attachment 4A. A list of Special Tools & Tackles to be brought by the contractor for erection, testing & Commissioning and to be taken back after completion of work, whose cost in not included in our bid price, is enclosed as per your format as Attachment 4B. | [10 empty] | 25 | th
| (e) Attachment 5 : |  | The details of all major items of services or supply which we propose subletting in case of award, giving details of the name and nationality of the proposed subcontractor/sub-vendor for each item. | [10 empty] | 26 | th
| (f) Attachment 5A : |  | Items, Components, Raw Material, Services proposed to be sourced from Micro and Small Enterprises
| (g) Attachment 6 : |  | The variation and deviations from the requirements of the Conditions of Contract, Technical Specification and Drawings (excluding critical provisions as mentioned at clause 6.0 below) in your format enclosed with the Bidding Documents, including, inter alia, the cost of withdrawal of the variations and deviations indicated therein. | [10 empty] | 27 | th
| (h) Attachment 7 : |  | The details of Alternative Bids made by us indicating the complete Technical Specifications and the deviation to contractual and commercial conditions. (Not Applicable) | [10 empty] | 28 | th
| (i) Attachment 8 : |  | Manufacturer’s Authorisation Forms. | [10 empty] | 29 | th
| (j) Attachment 9 : |  | Work Completion Schedule. | [10 empty] | 30 | th
| (k) Attachment 10 : |  | Guarantee Declaration. | [10 empty] | 31 | st
| (l) Attachment 11 : |  | Information regarding ex-employees of Employer in our firm.
| (m) Attachment 12 : |  | Filled up information regarding Price Adjustment Data as per the format enclosed in the bidding documents.
| (n) Attachment 13 : |  | Declaration regarding Social Accountability.
| (o) Attachment 14 : |  | Integrity Pact, in a separate envelope, duly signed on each page by the person signing the bid.
| (p) Attachment 15 : |  | Option for Interest Bearing Advance(s) (Initial Advance and/or Engineering Advance) and Information for E – payment, PF details and declaration for Micro/Small and Medium Enterprise
| (q) Attachment 16 : |  | Additional Information.
| (r) Attachment 17 : |  | Declaration for tax exemptions, reductions, allowances or benefits
| (s) Attachment 18 : |  | Safety Pact
| (t) Attachment 19 : |  | Declaration.
| (u) Attachment 20 : |  | Declaration of Key Managerial Person jointly with Power of Attorney holder
| (v) Attachment 21: |  | Affidavit of Self certification regarding Minimum Local Content in line with PPP-MII Order and MoP Order, if applicable
| (w) Attachment 22: |  | Certificate from statutory auditor or cost auditor of the company (in the case of companies) or from a practicing cost accountant or practicing chartered accountant (in respect of suppliers other than companies) giving the percentage of Local Content, in line with PPP-MII Order and MoP Order, if applicable
| (x) Attachment 23: |  | Compliance to the process related to the e-RA Terms & Conditions and the Business Rules governing the e-RA.
| (y) Attachment 24: |  | Declaration by the Bidder regarding events encountered pursuant to ITB Clause 2.1
| (z) Attachment 25: |  | Undertaking by the bidder regarding Compliance of DMI&SP policy
| (aa) Attachment 26: |  | Certification by the Bidder as per DoE Order in line with ITB Clause 2.1
| (bb) Attachment 27: |  | NOT APPLICABLE
| (cc) Attachment 28: |  | Undertaking regarding submission of original/Hard copy part of the bid
3 | We are aware that, in line with Clause No. 27.1 (ITB), our Second Envelope (Price Part) is liable to be rejected in case the same contains any deviation/omission from the contractual and commercial conditions and technical Specifications other than those identified in this First Envelope.
3.1 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices in Second Envelope.
3.2 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules in Second Envelope shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement.
4 | We confirm that except as otherwise specifically provided our Bid Prices in Second Envelope include all taxes, duties, levies and charges as may be assessed on us, our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
4.1 | 100% of applicable Taxes and Duties i.e. GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
4.2 | We further understand that notwithstanding 4.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST in respect of supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in Second Envelope; by the Indian Laws.
4.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
5 | Construction of the Contract
5.1 | We declare that we have studied Clause GCC 2.1 relating to mode of contracting for Domestic Bidders and we are making this proposal with a stipulation that you shall award us two separate Contracts viz ‘First Contract’ for ex-works supply of all equipment and materials including mandatory spares and ‘Second Contract’ for providing all the services i.e. inland transportation for delivery at site, In-transit insurance, unloading, handling at site, installation, testing and commissioning including Trial operation in respect of all the equipment supplied under the ‘First Contract’ and other services specified in the Contract Documents. We declare that the award of two contracts, will not, in any way, dilute our responsibility for successful operation of plant/equipment and fulfillment of all obligations as per Bidding Documents and that both the Contracts will have a cross-fall breach clause i.e. a breach in one Contract will automatically be classified as a breach of the other contract which will confer on you the right to terminate the other contract at our risk and cost.
6 | We have read the provisions of following clauses and confirm that the specified stipulations of these clauses are acceptable to us:
| (a) | GCC 2.14 |  | Governing Law
| (b) | GCC 5 |  | Contractor’s Responsibilities
| (c) | GCC 8 |  | Terms of Payment
| (d) | GCC 9.3 |  | Performance Security
| (e) | GCC 10 |  | Taxes and Duties
| (f) | GCC 21.2 |  | Completion Time Guarantee
| (g) | GCC 22 |  | Defect Liability
| (h) | GCC 23 |  | Functional Guarantee
| (i) | GCC 25 |  | Patent Indemnity
| (j) | GCC 26 |  | Limitation of Liability
| (k) | GCC 38 |  | Settlement of Disputes
| (l) | GCC 39 |  | Arbitration
| (m) | GCC 40 |  | Conciliation
| (n) | Appendix 2 to Form of Contract Agreement |  | Price Adjustment
Further we understand that deviation taken in any of the above clauses by us may make our bid non-responsive as per provision of bidding documents and be rejected by you.
7 | We undertake, if our bid is accepted, to commence the work immediately upon your Notification of Award to us, and to achieve the delivery of goods and related services within the time stated in the Bidding Documents.
8 | If our bid is accepted, we undertake to provide a Performance Security in the form and amounts, and within the times specified in the Bidding Documents.
9 | We agree to abide by this bid for a period of six (06) months from the date fixed for opening of bids as stipulated in the Bidding Documents, and it shall remain binding upon us and may be accepted by you at any time before the expiration of that period.
10 | Until a formal Contract is prepared and executed between us, this bid, together with your written acceptance thereof in the form of your Notification of Award shall constitute a binding contract between us.
11 | We understand that you are not bound to accept the lowest or any bid you may receive.
12 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. | [6 empty] | 2
13 | We are a Micro and Small Enterprise (MSE) registered with , a designated Authority of GoI under the Public Procurement Policy for MSEs order 2012, Notification dated 01/06/2020 read in conjuction with related notifications issued from time to time for such enterprises. | [6 empty] | 2
14 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | -- |  | Printed Name :
Place : |  |  |  | Designation :
In case of bid from a Joint Venture, name & designation of representative of JV partner is to be provided and Bid Form is also to be signed by him
#REF! |  |  |  | Printed Name :
#REF! |  |  |  | Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Back to Cover
Currency
Amount
Validity in Months

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred