| ###### S N | Clause Reference | Existing Clause | Amended Clause |
| --- | --- | --- | --- |
| Volume-I; Conditions of Contract (Document Code No. DC-2900-15301, Jan’2019) |  |  |  |
| 1 | GCC Cl. 4 (SCC) | 4. Time for Commencement and Completion 4.1 The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. 4.2 …………………………….. | 4. Time for Commencement and Completion 4.1 Time for Completion is the essence of Contract. The Contractor shall commence work on the Facilities from the Effective Date of Contract and without prejudice to GCC Sub-Clause 21.2 hereof, the Contractor shall thereafter proceed with the Facilities in accordance with the time schedule specified in the corresponding Appendix – 4 (Time Schedule) to the Contract Agreement. 4.2 …………………………….. |
| 2 | ITB 24.1 (b) (BDS) | Supplementing ITB clause 24.1(b) with the following: The maximum losses permissible for 25 MVAr, 220kV, 3 Phase Reactor offered by the bidder is stipulated in the Technical Specifications, Volume-II of the Bidding Documents. Any bid with deviations to the above shall be considered non-responsive. | The provision of BDS is Deleted. (Original clause stipulated in ITB shall prevail) |
| 3 | ITB 27.5(c) (BDS) | Supplementing Clause ITB 27.5(c) with the following in BDS: For the purpose of evaluation, no adjustment to the bid price towards performance guarantees is applicable. | Supplementing Clause ITB 27.5(c) with the following in BDS: The factors and the respective Indian Rupees value per unit of differential loss (applicable for each item/unit of the facilities) for purpose of calculating differential price for evaluation shall be as stipulated below: Sl. No.; Parameter to be taken for applying differential price factor (F); Value of F in Indian Rupees (applicable for each item/unit of the facilities) per unit of parameter differential. A.; i) 25MVAR, 220KV, 3-Ph Reactor. 1.; Differential loss (KW); INR 369960/- (Indian Rupees Three Hundred Sixty Nine Thousand Nine Hundred Sixty only) per kW. The best parameter of loss quoted at rated voltage, rated frequency, rated current at 75˚C for each equipment/ unit of the facilities, under each Equipment Category quoted by any technically responsive bidder shall be taken as basis and the difference between this best parameter and that quoted by the particular bidder multiplied with the total no. of those items/ units of the facilities, shall be used to arrive at differential price to be applied for the bid. |
| 4 | GCC 24.2 (b) (SCC) | Supplementing Clause GCC 24.2 (b) LD for Non-Performance of the Equipment The maximum loss at rated condition (voltage, current and frequency, as applicable) voltage for each equipment shall be corrected in accordance with IEC-60076 for the purpose of comparison of maximum losses with measured losses for levy of liquidated damages. If during factory tests, if measured loss(es) are found to be more than the specified maximum value(s), Employer at his discretion may accept or reject the equipment after assessing the liquidated damages (LD) against the contract as per rates given below and such amount plus GST payable thereon shall be deducted from the contract price or otherwise recovered from Contractor. No cost benefit shall be considered in case measured losses are less than the specified maximum losses. Sl. No.; Equipment; Parameter; Value of Liquidated Damages in Indian Rupees (applicable for each item/unit of the facilities) per unit of parameter differential with respect to maximum losses. 1.; 25 MVAR, 3-Ph, 220kV Reactor; Differential loss (KW); INR 369,960/- (Indian Rupees Three Hundred Sixty Nine Thousand Nine Hundred Sixty only). Liquidated damages shall be applied in the following manner depending on the variation of losses with respect to the maximum values: - Measured losses exceeding Guaranteed value by 0 to +5%: Rates of LD mentioned above - Measured losses exceeding Guaranteed value by > +5% to +10%: Twice the rates of LD mentioned above - Measured losses exceeding Guaranteed value by > +10% to +15%: Four times the rates of LD mentioned above However, the equipment under no circumstances shall be accepted if the measured losses in each category are more than +15 percent of the Maximum losses at rated condition, specified in Technical Specifications, Volume-II of the Bidding Documents. | Supplementing Clause GCC 24.2 (b) LD for Non-Performance of the Equipment The guaranteed loss at rated condition (voltage, current and frequency, as applicable) for each equipment shall be corrected in accordance with IEC-60076 for the purpose of comparison of guaranteed losses with measured losses for levy of liquidated damages. The rates for liquidated damages is as given below: Differential Price Factors for Liquidated Damages The factors and the respective Indian Rupees value per unit of differential loss (applicable for each item/unit of facilities) for purpose of calculating differential price shall be as stipulated below: Sl. No.; Equipment; Parameter to be taken for applying differential price factor (F); Value of F in Indian Rupees (applicable for each item/unit of the facilities)per unit of parameter differential per KW. 1.; 25MVAR, 220kV, 3-Phase Bus Reactor; Differential Loss; INR 369,960/- (Indian Rupees Three Hundred Sixty Nine Thousand Nine Hundred Sixty only). The best parameter of loss quoted at rated voltage, rated frequency, rated current (as applicable) at 75˚C for each equipment/ unit of the facilities, under each Equipment Category quoted the contractor shall be taken as basis and the difference between this parameter and measured losses, shall be multiplied by rates as mentioned below to arrive at Liquidated damages. Liquidated damages shall be applied in the following manner depending on the variation of losses with respect to the guaranteed values: - Measured losses exceeding Guaranteed value by 0 to +5%: Rates of LD mentioned above - Measured losses exceeding Guaranteed value by > +5% to +10%: Twice the rates of LD mentioned above - Measured losses exceeding Guaranteed value by > +10% to +15%: Four times the rates of LD mentioned above However, the equipment under no circumstances shall be accepted if the measured losses are more than +15 percent of the guaranteed losses at rated condition (voltage, current and frequency, as applicable), specified in Appendix in Appendix – 8 (Guaranteed, Liquidated Damages for Non-Performance) to the bidding documents. |
| 5 | Appendix-4 (Time Schedule) to Form of Contract Agreement, Section – VI | Appendix-4 TIME SCHEDULE - The Project Completion Schedule shall be as follows: …………. 1.1 ……………………………….. Liquidated damages for delay in successful completion of the Facilities or specific part thereof (where specific parts are specified in SCC) and Operational Acceptance at rates specified in Clause 21 of GCC shall be applicable beyond the date specified above. 1.2 LD for delay as applicable under “Second Contract” shall also be recoverable from the Contractor. LD under both the Contracts shall run concurrently. | Appendix-4 TIME SCHEDULE - The Project Completion Schedule shall be as follows: …………. 1.1 …………………………………….. This master network will be discussed and agreed before Award in line with above, engineering drawing and data submission schedule shall also be discussed and finalised before Award. Liquidated damages for delay in successful Completion of the Facilities or specific part thereof (where specific parts are specified in SCC) and Operational Acceptance at rates specified in Clause 21 of GCC shall be applicable beyond the date specified above. 1.2 The Employer reserves the right to request minor changes in the work schedule at the time of Award of Contract to the successful Bidder. 1.3 The successful Bidder shall be required to prepare detailed Network(s) and project implementation plans & programmes and finalise the same with the Employer as per the requirement specified in Technical Specifications, which shall from a part of the Contract. 1.4 Time for Completion is the essence of Contract. |
| 6 | Appendix-8 (Guaranteed, Liquidated Damages for Non-Performance) to Form of Contract Agreement, Section – VI | Appendix-8 GUARANTEES, LIQUIDATED DAMAGES FOR NON – PERFORMANCE 1.0 The equipment offered shall meet the rating and performance requirements stipulated in Technical Specification for various equipment. ………………………………………………………………………… However, the equipment under no circumstances shall be accepted if the measured losses are more than +15 percent of the maximum losses mentioned at 2.0 above. Further, no cost benefit shall be considered in case measured losses are less than the above maximum losses. | Appendix-8 GUARANTEES, LIQUIDATED DAMAGES FOR NON – PERFORMANCE 1.0 The equipment offered shall meet the rating and performance requirement indicated in Data requirement. 2.0 The ratings and performance figures of the below mentioned equipment are guaranteed by you. Sl. No.; Description; Guaranteed Loss (kW); Rate of Liquidated Damages in Indian Rupees per kW of differential loss (applicable for each item/unit of the facilities). A; 25MVAR, 220kV, 3-Phase Reactor. Differential loss (KW); INR 369,960/- (Indian Rupees Three Hundred Sixty Nine Thousand Nine Hundred Sixty only)only) per kW.. 3.0 If the aforementioned guarantees are not established at factory tests, then the Employer at his discretion may reject or accept the equipment after assessing the liquidated damages as follows against the Contract: - Measured losses exceeding Guaranteed value by 0 to +5%: rates of LD mentioned above - Measured losses exceeding guaranteed value by > +5% to +10%: Twice the rates of LD mentioned above. - Measured losses exceeding Guaranteed value by > +10% to +15%: Four times the rates of LD mentioned above. 3.1 Such Liquidated damages shall be deducted from the Contract Price or otherwise recovered from the Contractor. However, the equipment under no circumstances shall be accepted if the measured losses are more than +15 percent of the guaranteed losses at rated voltage indicated by you in your Bid. |
| Volume-III; Bid Form and Price Schedule (Document Code No. DC-2900-15303, Jan’2019) |  |  |  |
| 7 | Attachment-3 (QR), Bid Form, 1st Envelope | ……………………………………… Format A Format for the Bidder (Single Firm / Partner in case of Joint Venture) [In case of Joint Venture bidder, the QR data of each of the partner (in support of meeting the requirement of para 1.1 of Annexure-A(BDS), Conditions of Contract, Volume-I of the bidding documents] is also is to furnished, as applicable, using this format. Name of the Bidder (Single Firm/Lead partner/Partners of a JV). A1.; Name of Contract (executed during the last 7 years as on the date of bid opening):. A2.; ###### Contract Reference No. & Date of Award. A3.; Name and Address of the Employer/Utility by whom the Contract was awarded e-mail ID Telephone No. Fax No.; _________________ ________________ ________________. A4(i) (ii) (iii) (iv); Name of sub-station or switchyard executed under the Contract Voltage level of sub-station or switchyard No. of bays in the sub-station or switchyard (a) No. of CB in the bay (b) No. of single phase CTs or Bushing CTs in the bay (c) No. of disconnectors in the bay; __________________ __________________. A5(i) (ii); Date of successful execution of the Contract No. of years the above referred substation is in successful operation as on the date of bid opening; ______________ ____________ years. A6.; Scope of work executed under the above contract. A7.; Capacity in which the Contract was undertaken (Check One); ○ Prime Contractor ○Sub Contractor ○Partner of JV (Tick whichever is applicable). A8.; Details/documentary evidence submitted in support of stated experience/Contract. | ……………………………………… Format A: Format for the bidders who wish to qualify through route 1.1.1 and fo Parent Company (Principals) or collaborator of bidder who want to qualify through route 1.1.2:. Name of the Bidder (Single Firm (as per 1.1.1 above)/Name of Parent Company (Principals) or Collaborator (As per para 1.1.2 above). 1.; Name of Contract. 2.; ###### Contract Reference No. & Date of Award. 3.; Name and Address of the Employer/Utility for whom the Contract was executed by bidder/Parent Company (Principals)/ Collaborator e-mail ID Telephone No. Fax No.; ____________________ ____________________ ____________________. 4.; Voltage level of Reactor supplied under the Contract (Indicate only 345 kV or above class Reactor ) MVAR Capacity of the Reactor Name of sub-station or switchyard Type of cooling in the above Reactor; ___________________ kV ________________ MVAR ___________________ ___________________. 5.; Scope of work involved in the supply of above Reactor under the Contract; □ Design □ Manufacture □ Testing □ Supply □ installation & commissioning of 345kV or above class Reactor (Tick only whichever is/are applicable). 6.; Date of Commissioning of above Reactor. 7.; No. of years the above Reactor is in satisfactory operation as on the originally scheduled date of bid opening i.e. 20/02/2019.; ______________ years. 8.; Details of documents submitted in support of stated experience/Contract/ design, infrastructure and manufacturing facilities and capacity and procedures including quality control & adequately experienced & readily available Personnel. Format B: Format for the bidders (Manufacturers) who wish to qualify through route 1.1.2 :. Name of Bidder (Manufacturer). 1. 2. 3 4. 5.; The 345kV or above class Reactor manufacturer, who has established production line in India for these equipment(s), based on technological support of a parent company or collaborator for 345 kV class Reactor or above class Reactor. Name of the parent company (Principals) or collaborator for 220 kV class Reactor (The qualifying data for parent company (Principals) or collaborator for the Reactor shall be furnished in Format-A) Whether the bidder (manufacturer) has … Date of Commissioning of above Reactor Whether the 220kV class Reactor manufacturer (bidder) has furnished: (a) a legally enforceable undertaking (jointly with the parent company or collaborator) to guarantee quality, timely supply, performance and warranty obligations as specified for the equipment(s); and (b) a confirmation letter from the parent company or collaborator alongwith the bid stating that parent company or collaborator shall furnish performance guarantee for an amount of 10% of the ex-works cost of such equipment (s) [This performance guarantee shall be in addition to Contract Performance Guarantee to be submitted by the Bidder].; □ Designed □Manufactured □Tested □ Supplied □ installation & Commissioning of 220kV or above class Reactor. (Tick only whichever is/are applicable) □ Yes □ No □ Yes □ No. 6; Details of documents submitted in support of stated experience/Contract/ design, infrastructure and manufacturing facilities and capacity and procedures including quality control & adequately experienced & readily available Personnel. (Use separate sheet for each experience / Contract). |
| 8 | Attachment-9, Bid Form, 1st Envelope | Formula errors in Attachment-9 (Work Completion Schedule) have been corrected. |  |
| 9 | Attachment-10 (Guarantee Declaration), Bid Form, 1st Envelope | ……………………………… Dear Sir, We declare that the ratings, performance figures and availability of the system furnished by us for subject Package covered under this specification are guaranteed by us. In particular, we declare that the 220 kV, 25 MVAr 3-Ph Bus Reactor offered under this package shall meet the maximum loss requirement as stipulated in Technical Specifications. We further declare that in the event of any deficiencies in meeting the guarantees in respect of the characteristics mentioned below as established after conducting the factory test, you may at your discretion, reject or accept the equipment after assessing the liquidated damages as specified in the relevant clauses of Bid document. | ……………………………….. Dear Sir, We declare that the ratings, performance figures and availability of the system furnished by us for subject Package covered under this specification are guaranteed by us.We further declare that in the event of any deficiencies in meeting the guarantees in respect of the characteristics mentioned below as established after conducting the factory test, you may at your discretion, reject or accept the equipment after assessing the liquidated damages as specified in the relevant clauses of Bid document. Applicable for following Reactor: - 220 kV, 25 MVAr 3-Ph Bus Reactor Guaranteed Differential loss at rated output per Unit (KW) (applicable for each item/unit of the facilities). Equipment; Total loss (KW). 220 kV, 25 MVAr, 3-Ph, Bus Reactor. |
| 10 | - Replace existing file “01_ First Envelope (Bid Form and Attachments.xls” with “01_ First Envelope (Bid Form and Attachments)-Rev01.xls” - Replace existing file “03_Attachment-3 (QR).doc” with “03_Attachment-3 (QR)-Rev-01.doc” |  |  |