| Sl. No. | Clause Ref. No. | Existing provision | Amended as |
| --- | --- | --- | --- |
|  | IFB Clause 3.1, IFB, Section-I | The Package Name Pre-bid tie up for 400kV AIS New Substation Package SS 131T (including Transformers) for (i) Establishment of 400/220/132 kV Washi SS (ii) 2 x 300MVA, 3-Ph, 400/132kV Transformer at Washi SS (iii) Extension of 400 kV AIS Pune(East) (iv) Extension of 220 kV AIS Manjarsumba (v) Extension of 220 kV AIS Paranda (vi) Extension of 132 kV AIS Kalamb associated with Intra-State transmission system for “Network Expansion scheme in Maharashtra for Evacuation of RE Power from Dharashiv, Beed District” through tariff based competitive bidding (TBCB) route. | The Package Name “Pre-bid tie up for 400kV AIS New Substation Package SS 131T (including Transformers) for (i) Establishment of 400/220/132 kV Washi SS (ii) 2 x 300MVA, 3-Ph, 400/132kV Transformer at Washi SS (iii) Extension of 400 kV AIS Pune(East) (iv) Extension of 220 kV AIS Manjarsumba (v) Extension of 220 kV AIS Paranda (vi) Extension of 132 kV AIS Kalamb associated with Intra-State transmission system for “Network Expansion scheme in Maharashtra for Evacuation of RE Power from Dharashiv, Beed District” through tariff based competitive bidding (TBCB) route.” to be read as “Pre-bid tie up for 400kV AIS New Substation Package SS 131T (including Transformers) for (i) Establishment of 400/220/132 kV Washi SS (ii) 2 x 315MVA, 3-Ph, 400/132kV Transformer at Washi SS (iii) Extension of 400 kV AIS Pune(East) (iv) Extension of 220 kV AIS Manjarsumba (v) Extension of 220 kV AIS Paranda (vi) Extension of 132 kV AIS Kalamb associated with Intra-State transmission system for “Network Expansion scheme in Maharashtra for Evacuation of RE Power from Dharashiv, Beed District” through tariff based competitive bidding (TBCB) route.”, |
|  | IFB Clause 3.1, IFB, Section-I | - The scope of works covered under the package inter-alia includes the following: Design, engineering, manufacture, testing at manufacture’s work, supply including transportation & insurance, unloading, storage, erection, testing and commissioning at site the specified equipment/items, complete in all respect for: - Establishment of 400/220/132 kV Washi SS & 2 x 300MVA, 3-Ph, 400/132kV Transformer at Washi SS - Extension of 400 kV AIS Pune(East) - Extension of 220 kV AIS Manjarsumba - Extension of 220 kV AIS Paranda - Extension of 132 kV AIS Kalamb The above scope of work is indicative, and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents. | 3.1 The scope of works covered under the package inter-alia includes the following: Design, engineering, manufacture, testing at manufacture’s work, supply including transportation & insurance, unloading, storage, erection, testing and commissioning at site the specified equipment/items, complete in all respect for: - Establishment of 400/220/132 kV Washi SS & 2 x 315MVA, 3-Ph, 400/132kV Transformer at Washi SS - Extension of 400 kV AIS Pune(East) - Extension of 220 kV AIS Manjarsumba - Extension of 220 kV AIS Paranda - Extension of 132 kV AIS Kalamb The above scope of work is indicative, and the detailed scope of work is given in the Technical Specification (Volume-II) of the Bidding Documents. |