| SN | Clause No. | Provision in the Bidding Documents | Bidder’s Query/Comments | POWERGRID’S Reply/Clarification |
| --- | --- | --- | --- | --- |
| 1. | Cl. 1.4 F, Appendix-1: Terms and Procedures of Payment, Section-VI: Sample Forms and Procedures, Vol.-I of the Bidding Documents | F. AMOUNT LINKED TO ESTABLISHMENT OF FACILITIES FOR LABOUR | As per the clause, we understand that establishment facilities for site labor to be arranged/provided by Contractor, for the same we will be paid by owner as per payment terms specified in the tender documents. At end, the same will be taken back by the contractor after completion of works. Kindly confirm our understanding is correct. | Please refer clause no. 2.12, Sec-II (VOL-II) of Technical Specifications. It is within the discretion of Contractor to dispose-off/take back the same after completion of works. |
| 2 | Vol-II / 01_1 Section IA (standard) Scope Rev- 5(July'2022) TW02-03 / Page No 21 | Annexure: PROFORMA OF UNDERTAKING BY THE PROPOSED AGENCY FOR PILE FOUNDATION | As per the format, we understand that the PROFORMA OF UNDERTAKING BY THE PROPOSED AGENCY FOR PILE FOUNDATION is not required to submit in the bidding stage. The same will be submit at stage of vendor approval during execution. Kindly confirm our understanding is correct. | Refer Amendment No.-1 dated 07/02/2023 to the bidding documents. |
| 3 | Sch-3 of Price Schedule | Pile Foundation; Item No: 150 Extra rate over item (1200mm diameter R.C.C. vertical bored pile upto 40 m from bottom of pile cap.) forboring including socketing, anchoring (if required) with required size, nos. & depth of Reinforcement in hard rock upto a maximum depth of 10m. | As per item description, socketing in Hard rock mentioned as maximum depth upto 10 mtr. Whereas socketing in such hard rock upto 10mtr is not possible and as per IS code IS.2911.1.2.2010 please limit the socketing depth upto 2 times the diameter of pile. | Please refer clause no. 3.2.6.13, Sec-IX (VOL-II) of TS. Socketing of piles shall be as per the design of Piles and relevant IS code. |
| 4 | Price schedule | In TW03 Package, there is 4nos of pile foundation. | As per our site visit, we found that pile foundations are falling in 2 different states (Andhra Pradesh & Telangana). So, Kindly clarify how service billing will be take place. | Provisions of Bidding Documents are amply clear. |

****************