| Sl. No. | Clause No. /Doc. Ref. | Description of Clause | Bidder’s Query/Comments | POWERGRID’S Reply/Clarification |
| --- | --- | --- | --- | --- |
|  |  |  | Please provide SBC data | Refer Amendment-I. |
|  |  |  | Please provide ERT data | ERT is in the scope of contractor. Refer Clause No. B 1.4.1 of Section-III of Vol-II Part_1 |
|  |  |  | Please confirm Supply of Stay Set is in our scope or free issue for all packages | Stay set is free issue for all packages and available in store at Dampurijo, Yingkiong and Along for handing over to the successful bidder. Refer Clause No. 2.16 of Section-I of Vol-II, Part-I. |
|  |  |  | Water Connection: Does any nearest Water Line exists or Boring to be considered at all the new substations | Boring is to be done as per relevant Item No. of BOQ (Service No :150000067) and clause no (21.0 of Section-II Civil works and soil investigation Rev. 01) of technical specification |
|  |  |  | Pile foundations for Substations: Will this be considered as extra item if required to be executed | Pile Foundation wherever required shall be paid inline with Technical Specification Clause No (13.1.8 and 24.14.1 of Section-II Civil works and soil investigation Rev. 01) of technical specification. |
|  |  |  | Please provide DC Voltages of Augmentation Site | DC Voltage shall be as per existing S/S. Contractor may visit the site. |
|  |  |  | Please confirm Hindrance free Land Availability | Hinderance free land shall be made available by owner/ Employer. |
|  |  |  | Please confirm status of Forest Clearance for 33 kV Lines | Survey of line is in the scope of contractor. After completion of survey total forest involvement can be ascertained. |
|  |  |  | Please confirm Tree Cutting/Corridor clearance: Scope to be confirmed | Tree cutting shall be arranged by owner/ Employer |
|  |  |  | Pl confirm For Lines: no. of river crossing | Survey of line is in the scope of contractor. After completion of survey, total No. of river crossing shall be determined & finalized. |