| Sl. No | Item No./Clause ref. | Existing provision | Amended provision |
| --- | --- | --- | --- |
| A | Technical Specification |  |  |
|  | Clause No. 3.7.h of section – II of Vol-II Part -I | [New Clause] added | 3.7 h) The soil bearing capacity based on soil investigation report of following S/s may be considered for necessary design input. S/s Name; SBC(T/m2) at 0.5 M; SBC(T/m2) at 1 M; SBC(T/m2) at 1.5 M; SBC(T/m2) at 2 M. 1x1 (m); 1x1 (m); 2x2(m); 3x3(m); 1x1(m); 2x2(m); 4x4(m); 1x1(m); 2x2(m). Giba; 8.33; 9.09; 8.33; 8.08; 9.84; 8.71; 6.81; 10.60; 9.09. Maro; 13.04; 21.11; 16.33; 10.89; 30.30; 16.33; 8.17; 32.67; 16.33. Murimugli; 6.86; 7.48; 6.86; 6.65; 11.12; 7.17; 6.86; 8.73; 7.48. Nacho; 4.76; 7.85; 9.52; 11.45; 11.32; 12.51; 16.20; 15.18; 15.69. Nyapin; 8.17; 13.30; 16.35; 19.85; 30.30; 33.88; 35; 35; 35. Sippi; 13.04; 21.11; 26.08; 31.79; 30.30; 33.88; 35; 35; 35. Boleng; 11.88; 18.42; 23.12; 28.44; 26.23; 29.75; 35; 34.88; 35. Geku; 14.51; 16.03; 13.61; 9.07; 25.36; 22.91; 23.21; 29.43; 25.64. Jengging; 13.23; 15.03; 13.8; 10.89; 30.30; 33.88; 35; 35; 35. Kaying; 14.21; 15.50; 13.17; 8.78; 35; 35; 35; 35; 35. Koreng; 2.83; 4.72; 5.66; 6.75; 35; 35; 35; 35; 35. Mechuka; 6.70; 10.6; 13.39; 10.89; 15.01; 16.33; 8.17; 35; 35. Rumgong; 14.70; 16.04; 12.76; 8.5; 17.37; 12.78; 6.38; 18.71; 12.78. Tuting; 13.04; 21.11; 26.08; 31.79; 30.30; 33.88; 35; 35; 35. For Balance stations, the soil investigation is in the scope of contractor |