## BOQ 400 kv
BOQ(400/220 KV LUCKNOW SUBSTATION) PART A
Name of Work:- Construction of Chain Link Fencing Boundary around new platforms and store area and dismantling of old fencing at 400/220 KV Lucknow Substation
Sl. No | DSR Ref No 2023 | Item Description | Unit | Qty
1 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m inwidth or 10 sqm on plan), including dressing of sides and ramming ofbottoms, lift upto 1.5 m, including getting out the excavated soil anddisposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | Cum | 40.56
2 | 4.1.3 | Providing and laying in position cement concrete of specified gradeexcluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | Cum | 5.16
3 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 3.89
4 | 4.3.1 | Centering and shuttering including strutting, propping etc. and removalof form work for :Foundations, footings, bases for columns | Sqm | 95.9
5 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 12.36
6 | 13.7.2 | 12 mm cement plaster finished with a floating coat of neat cement :1:4 (1 cement : 4 fine sand) | Sqm | 148.57
7 | 13.52.1 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete.On steel work | Sqm | 61.58
8 | 16.19 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for10 cm length and drilling holes upto 10 mm dia. etc. complete. | Kg | 794.96
9 | 16.70.2 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade. | Sqm | 701
10 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | kg | 300
11 | SOR 100001447 | Dismantling of existing fencing | Sqm | 227.9

## BOQ 765 KV
BOQ(765 KV LUCKNOW SUBSTATION PART B
Name of Work:- Construction of Chain Link Fencing Boundary for Store Area, dismantling of barbed wire fencing at 765/400 KV Lucknow Substation
Sl. No | DSR Ref No 2023 | Item Description | Unit | Qty
1 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m inwidth or 10 sqm on plan), including dressing of sides and ramming ofbottoms, lift upto 1.5 m, including getting out the excavated soil anddisposal of surplus excavated soil as directed, within a lead of 50 m.All kinds of soil. | Cum | 60.64
2 | 4.1.3 | Providing and laying in position cement concrete of specified gradeexcluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | Cum | 7.62
3 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 5.83
4 | 4.3.1 | Centering and shuttering including strutting, propping etc. and removalof form work for :Foundations, footings, bases for columns | Sqm | 144.55
5 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 18.33
6 | 13.7.2 | 12 mm cement plaster finished with a floating coat of neat cement :1:4 (1 cement : 4 fine sand) | Sqm | 220.53
7 | 13.52.1 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete.On steel work | Sqm | 58.5
8 | 16.19 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for10 cm length and drilling holes upto 10 mm dia. etc. complete. | Kg | 1195.48
9 | 16.70.2 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade. | Sqm | 722.32
10 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | kg | 300
11 | 15.36 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 mtr lead | Kg | 217.82