## Sch-1 supply
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 1 no. 400kV line bay (Bus Section-1) at Mandsaur S/s for 600MW RPP of M/s Sprng Green Energy 2 Pvt. Ltd. and 1 no. 220kV line bay (Bus Section-1) at Mandsaur S/s for 200MW RHGS of M/s Hexa Climate Solutions Pvt. Ltd. for providing connectivity to RE generation projects at Mandsaur PS
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
PLANT AND EQUIPMENT (INCLUDING MANDATORY SPARES PARTS) TO BE SUPPLIED INCLUDING TYPE TEST CHRGES FOR TEST TO BE CONDUCTED
Sr. No. | Activity Description | Material Code | HSN/SAC number | GST Rate applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Ex Works Charges excluding GST | Total Ex Works Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
I | 1 no. 400kv Line bay at Mandsaur S/s
1 | 400 kV AIS EQUIPMENT | 1000004463 | 85359090 | 0.18 |  | 420 kV 3000A 63KA 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0 | 0
2 | 400 kV AIS EQUIPMENT | 1000004535 | 85359090 | 0.18 |  | 420 kV 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 3 |  | 0 | 0
3 | 400 kV AIS EQUIPMENT | 1000004498 | 85353090 | 0.18 |  | 420kV 3150A 63KA Isolator (3-phase)(Double Break) with one E/S | EA | 3 |  | 0 | 0
4 | 400 kV AIS EQUIPMENT | 1000020419 | 85354010 | 0.18 |  | 336kV Surge Arrester (1-phase) | EA | 3 |  | 0 | 0
5 | 400 kV AIS EQUIPMENT | 1000004401 | 85462040 | 0.18 |  | 420 kV 1 phase Bus Post Insulator (except for Line Traps) | EA | 5 |  | 0 | 0
6 | 400 kV AIS EQUIPMENT | 1000004501 | 85352913 | 0.18 |  | 420kV 3150A 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1 |  | 0 | 0
7 | ERECTION HARDWARE-400KV | 1000011322 | 72169990 | 0.18 |  | Erection Hardware for 400kV I type layout-Line bay as per technicalspecification | SET | 1 |  | 0 | 0
8 | CONTROL AND RELAY PANEL (400KV) | 1000003398 | 85371000 | 0.18 |  | 400kV Line Protection Panel (with Automation) | EA | 1 |  | 0 | 0
9 | CONTROL AND RELAY PANEL (400KV) | 1000055446 | 85371000 | 0.18 |  | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | 0 | 0
10 | OTHER END CRP (400KV) | 1000026235 | 85371000 | 0.18 |  | Line Current Differential Relay | SET | 2 |  | 0 | 0
11 | SUBSTATION AUTOMATION SYSTEM (400KV) | 1000003409 | 85371000 | 0.18 |  | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | 0 | 0
12 | AC+FIRE PROTN+ILLUM FOR SPR (6M) | 1000006284 | 84151090 | 0.18 |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
13 | AC+FIRE PROTN+ILLUM FOR SPR (6M) | 1000012022 | 84241000 | 0.18 |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0 | 0
14 | AC+FIRE PROTN+ILLUM FOR SPR (6M) | 1000012018 | 85311020 | 0.18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0 | 0
15 | AC+FIRE PROTN+ILLUM FOR SPR (6M) | 1000013795 | 94059900 | 0.18 |  | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0 | 0
16 | ILLUMINATION SYSTEM (OUTDOOR)-400KV | 1000038387 | 94051090 | 0.18 |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 5 |  | 0 | 0
17 | ILLUMINATION SYSTEM (OUTDOOR)-400KV | 1000038325 | 94059900 | 0.18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 5 |  | 0 | 0
18 | ILLUMINATION SYSTEM (OUTDOOR)-400KV | 1000020262 | 85371000 | 0.18 |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0 | 0
19 | MAIN EARTHMAT | 1000032055 | 72159090 | 0.18 |  | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 0.5 |  | 0 | 0
20 | VISUAL MONITORING SYSTEM (400KV) | 1000030433 | 85287390 | 0.18 |  | COLOR IP CAMERA WITH PAN TILT AND ZOOM FACILITIES ALONGWITH ALLREQUIRED ITEMS ACCESSORIES LINE INTERFACE UNITS FIBER PATCH CORDSPOWER SUPPLY UNITS JUNCTION BOXES CABLES FIBER OPTIC CABLES ETC.AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0 | 0
21 | POWER & CONTROL CABLE (400KV) | 1000000442 | 85446020 | 0.18 |  | 1.1kV grade Control Cables (PVCinsulated) along with lugs glands straight joints & accessoriesetc. | LS | 1 |  | 0 | 0
22 | POWER & CONTROL CABLE (400KV) | 1000000443 | 85446020 | 0.18 |  | 1.1kV grade Power Cables (PVCinsulated)along with lugs glands straight joints & accessoriesetc. | LS | 1 |  | 0 | 0
23 | PLCC EQUIPMENT AT MANDSAUR END (400KV) | 1000004400 | 85462040 | 0.18 |  | 420 kV 1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0 | 0
24 | PLCC EQUIPMENT AT MANDSAUR END (400KV) | 1000004290 | 85176210 | 0.18 |  | 400kV 3150A 0.5mH 63kA Line Trap | EA | 2 |  | 0 | 0
25 | MANDATORY SPARES-AIS (400KV) | 1000019918 | 85359090 | 0.18 |  | Spares for 420kV Circuit Breaker | LS | 1 |  | 0 | 0
26 | MANDATORY SPARES-AIS (400KV) | 1000019919 | 85353090 | 0.18 |  | Spares for 420kV Double break Isolator | LS | 1 |  | 0 | 0
27 | MANDATORY SPARES-AIS (400KV) | 1000024186 | 85354010 | 0.18 |  | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | 0 | 0
28 | MANDATORY SPARES-AIS (400KV) | 1000025941 | 85389000 | 0.18 |  | Spare-420kV CT | SET | 1 |  | 0 | 0
29 | MANDATORY SPARES-AIS (400KV) | 1000025943 | 85359090 | 0.18 |  | Spare-420kV CVT | SET | 1 |  | 0 | 0
30 | MANDATORY SPARES-AIS (400KV) | 1000019912 | 85371000 | 0.18 |  | Relay & protection Panels (with automation) | LS | 1 |  | 0 | 0
31 | MANDATORY SPARES FOR SAS-AIS (400KV) | 1000062002 | 85371000 | 0.18 |  | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | 0 | 0
32 | MANDATORY SPARES FOR SAS-AIS (400KV) | 1000062004 | 85371000 | 0.18 |  | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | 0 | 0
33 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000031367 | 85176260 | 0.18 |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS CROSS CONNECT/CONTROL CARDS OPTICAL BASECARDS POWER SUPPLY CARDS POWER CABLING OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS PATCH CORD DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0 | 0
34 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000018706 | 85176990 | 0.18 |  | S16.1 SFP | EA | 4 |  | 0 | 0
35 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000031374 | 85176290 | 0.18 |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0 | 0
36 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000034950 | 85176990 | 0.18 |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0 | 0
37 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000031381 | 85176290 | 0.18 |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
38 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000026228 | 85176290 | 0.18 |  | Equipment Cabinets For SDH | EA | 1 |  | 0 | 0
39 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000037546 | 85447090 | 0.18 |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0 | 0
40 | TELECOM EQUIPMENT_MANDSAUR_SUPPLY | 1000023471 | 85372000 | 0.18 |  | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0 | 0
41 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000031369 | 85176260 | 0.18 |  | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS CROSS-CONNECT/CONTROL CARDS OPTICAL BASE CARD POWER SUPPLYCARDS POWER CABLING OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0 | 0
42 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000018706 | 85176990 | 0.18 |  | S16.1 SFP | EA | 1 |  | 0 | 0
43 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000031374 | 85176290 | 0.18 |  | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0 | 0
44 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000031381 | 85176290 | 0.18 |  | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0 | 0
45 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000034950 | 85176990 | 0.18 |  | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0 | 0
46 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000031398 | 85171890 | 0.18 |  | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0 | 0
47 | TELECOM EQUIPMENT_MANDSAUR_SPARE | 1000037546 | 85447090 | 0.18 |  | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.035 |  | 0 | 0
48 | NON-STD STRUCTURE SUPPLY | 1000015954 | 73082011 | 0.18 |  | Fabrication galvanising and supply of Lattice Structures (MS Steel)to be designed during detailed engineering for towers beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 19 |  | 0 | 0
49 | NON-STD STRUCTURE SUPPLY | 1000015953 | 73082011 | 0.18 |  | Fabrication galvanising and supply of Lattice Structures (HT Steel)to be designed during detailed engineering for towers beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 10 |  | 0 | 0
50 | NON-STD STRUCTURE SUPPLY | 1000011713 | 73082011 | 0.18 |  | Fabrication galvanising and supply of fasteners ( nuts bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1.4 |  | 0 | 0
51 | NON-STD STRUCTURE SUPPLY | 1000012373 | 73082011 | 0.18 |  | Fabrication galvanising and supply of foundation bolts including nutschecknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2.2 |  | 0 | 0
II | 1 no. 220kV Line Bay at Mandsaur S/s
1 | 220kV AIS EQUIPMENT | 1000001683 | 85352912 | 0.18 |  | 245kV 1600A 50KA Circuit Breaker(3-Phase) with support structure | EA | 1 |  | 0 | 0
2 | 220kV AIS EQUIPMENT | 1000001684 | 85359090 | 0.18 |  | 245 kV 1600A 50KA 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0 | 0
3 | 220kV AIS EQUIPMENT | 1000001688 | 85353090 | 0.18 |  | 245kV 1600A 50 KA 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | 0 | 0
4 | 220kV AIS EQUIPMENT | 1000001689 | 85353090 | 0.18 |  | 245kV 1600A 50 KA 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | 0 | 0
5 | 220kV AIS EQUIPMENT | 1000032777 | 85353090 | 0.18 |  | 245KV 1600 A 50KA 3-PHASE DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2 |  | 0 | 0
6 | 220kV AIS EQUIPMENT | 1000020417 | 85354010 | 0.18 |  | 216kV Surge Arrester (1-phase) | EA | 3 |  | 0 | 0
7 | 220kV AIS EQUIPMENT | 1000001695 | 85462040 | 0.18 |  | 245 kV 1 phase Bus Post Insulator (except for Line Traps) | EA | 9 |  | 0 | 0
8 | 220kV AIS EQUIPMENT | 1000001772 | 85359090 | 0.18 |  | 245 kV 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 3 |  | 0 | 0
9 | ERECTION HARDWARE-220 KV | 1000011261 | 72169990 | 0.18 |  | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Line Bay as per technical specification | SET | 1 |  | 0 | 0
10 | CONTROL AND RELAY PANEL (220KV) | 1000055443 | 85371000 | 0.18 |  | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | 0 | 0
11 | CONTROL AND RELAY PANEL (220KV) | 1000001330 | 85371000 | 0.18 |  | 220kV Line Protection Panel (with Automation) | EA | 1 |  | 0 | 0
12 | CONTROL AND RELAY PANEL (220KV) | 1000001167 | 85371000 | 0.18 |  | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0 | 0
13 | OTHER END CRP (220KV) | 1000026235 | 85371000 | 0.18 |  | Line Current Differential Relay | SET | 2 |  | 0 | 0
14 | SUBSTATION AUTOMATION SYSTEM (220KV) | 1000001333 | 85371000 | 0.18 |  | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 1 |  | 0 | 0
15 | AC+FIRE PROTN+ILLUM FOR SPR (3M) | 1000006283 | 84151090 | 0.18 |  | Air conditioning system for Switchyard Panel Room of 3m length | SET | 1 |  | 0 | 0
16 | AC+FIRE PROTN+ILLUM FOR SPR (3M) | 1000012022 | 84241000 | 0.18 |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0 | 0
17 | AC+FIRE PROTN+ILLUM FOR SPR (3M) | 1000012017 | 85311020 | 0.18 |  | Fire Detection and Alarm System for Switchyard Panel Room of 3 mlength | SET | 1 |  | 0 | 0
18 | AC+FIRE PROTN+ILLUM FOR SPR (3M) | 1000013794 | 94059900 | 0.18 |  | Illumination System for switchyard panel room of 3 m length | LS | 1 |  | 0 | 0
19 | ILLUMINATION SYSTEM (OUTDOOR)-220KV | 1000038387 | 94051090 | 0.18 |  | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 3 |  | 0 | 0
20 | ILLUMINATION SYSTEM (OUTDOOR)-220KV | 1000038325 | 94059900 | 0.18 |  | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 3 |  | 0 | 0
21 | ILLUMINATION SYSTEM (OUTDOOR)-220KV | 1000020262 | 85371000 | 0.18 |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0 | 0
22 | VISUAL MONITORING SYSTEM (220KV) | 1000030433 | 85287390 | 0.18 |  | COLOR IP CAMERA WITH PAN TILT AND ZOOM FACILITIES ALONGWITH ALLREQUIRED ITEMS ACCESSORIES LINE INTERFACE UNITS FIBER PATCH CORDSPOWER SUPPLY UNITS JUNCTION BOXES CABLES FIBER OPTIC CABLES ETC.AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0 | 0
23 | POWER & CONTROL CABLE (220KV) | 1000000442 | 85446020 | 0.18 |  | 1.1kV grade Control Cables (PVCinsulated) along with lugs glands straight joints &accessoriesetc. | LS | 1 |  | 0 | 0
24 | POWER & CONTROL CABLE (220KV) | 1000000443 | 85446020 | 0.18 |  | 1.1kV grade Power Cables (PVCinsulated)along with lugs glands straight joints &accessoriesetc. | LS | 1 |  | 0 | 0
25 | PLCC EQUIPMENT AT MANDSAUR END-220KV | 1000001568 | 85176210 | 0.18 |  | 220kV 1600A 0.5mH 50kA Line Trap | EA | 2 |  | 0 | 0
26 | PLCC EQUIPMENT AT MANDSAUR END-220KV | 1000001694 | 85462040 | 0.18 |  | 245 kV 1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0 | 0
27 | MANDATORY SPARES-AIS (220KV) | 1000025935 | 85389000 | 0.18 |  | Spare-245kV Circuit Breaker | SET | 1 |  | 0 | 0
28 | MANDATORY SPARES-AIS (220KV) | 1000025936 | 85353090 | 0.18 |  | Spare-245kV Isolator | SET | 1 |  | 0 | 0
29 | MANDATORY SPARES-AIS (220KV) | 1000025930 | 85354010 | 0.18 |  | Spare-216kV Surge Arrester | SET | 1 |  | 0 | 0
30 | MANDATORY SPARES-AIS (220KV) | 1000025933 | 85389000 | 0.18 |  | Spare-245kV CT | SET | 1 |  | 0 | 0
31 | MANDATORY SPARES-AIS (220KV) | 1000025934 | 85359090 | 0.18 |  | Spare-245kV CVT | SET | 1 |  | 0 | 0
32 | MANDATORY SPARES-AIS (220KV) | 1000019912 | 85371000 | 0.18 |  | Relay & protection Panels (with automation) | LS | 1 |  | 0 | 0
33 | MANDATORY SPARES FOR SAS-AIS (220KV) | 1000062002 | 85371000 | 0.18 |  | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | 0 | 0
34 | MANDATORY SPARES FOR SAS-AIS (220KV) | 1000062004 | 85371000 | 0.18 |  | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | 0 | 0
35 | NON-STD STRUCTURE SUPPLY | 1000015954 | 73082011 | 0.18 |  | Fabrication galvanising and supply of Lattice Structures (MS Steel)to be designed during detailed engineering for towers beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 11 |  | 0 | 0
36 | NON-STD STRUCTURE SUPPLY | 1000011713 | 73082011 | 0.18 |  | Fabrication galvanising and supply of fasteners ( nuts bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | 0 | 0
37 | NON-STD STRUCTURE SUPPLY | 1000012373 | 73082011 | 0.18 |  | Fabrication galvanising and supply of foundation bolts including nutschecknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 1 |  | 0 | 0
[6 empty] | Total of Ex Works Price |  |  |  | 0 | 0

## Sch-2 F&I
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 1 no. 400kV line bay (Bus Section-1) at Mandsaur S/s for 600MW RPP of M/s Sprng Green Energy 2 Pvt. Ltd. and 1 no. 220kV line bay (Bus Section-1) at Mandsaur S/s for 200MW RHGS of M/s Hexa Climate Solutions Pvt. Ltd. for providing connectivity to RE generation projects at Mandsaur PS
Bidder’s Name and Address (Sole Bidder) : |  |  |  | To:
Name : |  |  |  | Contract Services
Address : |  |  |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Adjacent to Riya-Revati Resort,
Sama-Savli Road, Vadodara-390024
LOCAL TRANSPORTATION, IN TRANSIT INSURANCE, LOADING AND UNLOADING
Sr. No. | Item Description | Unit | Quantity | Unit F&I Charges | Total F&I price
I
1 | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0
2 | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 3 |  | 0
3 | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 3 |  | 0
4 | 336kV Surge Arrester (1-phase) | EA | 3 |  | 0
5 | 420 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 5 |  | 0
6 | 420kV, 3150A, 63kA Circuit Breaker (3-Phase) without closing resistorand with Support Structure | EA | 1 |  | 0
7 | Erection Hardware for 400kV I type layout-Line bay as per technicalspecification | SET | 1 |  | 0
8 | 400kV Line Protection Panel (with Automation) | EA | 1 |  | 0
9 | 400KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | 0
10 | Line Current Differential Relay | SET | 2 |  | 0
11 | Augmentation of Substation automation System for 400kV Main bay as perTechnical Specification | EA | 1 |  | 0
12 | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0
13 | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0
14 | Fire Detection and Alarm System for Switchyard Panel Room of 6 mlength | SET | 1 |  | 0
15 | Illumination System for switchyard panel room of 6 m length | LS | 1 |  | 0
16 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 5 |  | 0
17 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 5 |  | 0
18 | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0
19 | 40 MM MS ROD FOR MAIN EARTHMAT | KM | 0.5 |  | 0
20 | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0
21 | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
22 | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
23 | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0
24 | 400kV,3150A,0.5mH ,63kA Line Trap | EA | 2 |  | 0
25 | Spares for 420kV Circuit Breaker | LS | 1 |  | 0
26 | Spares for 420kV Double break Isolator | LS | 1 |  | 0
27 | SPARES FOR 336KV SURGE ARRESTER | LS | 1 |  | 0
28 | Spare-420kV CT | SET | 1 |  | 0
29 | Spare-420kV CVT | SET | 1 |  | 0
30 | Relay & protection Panels (with automation) | LS | 1 |  | 0
31 | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | 0
32 | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | 0
33 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-BASEEQUIPMENT (COMMON CARDS, CROSS CONNECT/CONTROL CARDS, OPTICAL BASECARDS, POWER SUPPLY CARDS, POWER CABLING, OTHER HARDWARE ANDACCESSORIES INCLUDING SUB RACKS, PATCH CORD, DDF ETC FULLY EQUIPEDEXCLUDING OPTICAL INTERFACE & TRIBUTARY CARDS | EA | 1 |  | 0
34 | S16.1 SFP | EA | 4 |  | 0
35 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 2 |  | 0
36 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 2 |  | 0
37 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
38 | Equipment Cabinets For SDH | EA | 1 |  | 0
39 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 1 |  | 0
40 | OPGW Fibre Optic Distribution Panel (FODP): Indoor Type: 96F | EA | 1 |  | 0
41 | SDH EQUIPMENT (STM-16 MADM UPTO 5 MSP PROTECTED DIRECTIONS)-COMMONCARDS, CROSS-CONNECT/CONTROL CARDS, OPTICAL BASE CARD, POWER SUPPLYCARDS, POWER CABLING, OTHER HARDWARE & ACCESSORIES (EACH). | SET | 1 |  | 0
42 | S16.1 SFP | EA | 1 |  | 0
43 | TRIBUTARY INTERFACE- E1 INTERFACE (MINIMUM 16 NOS.) | SET | 1 |  | 0
44 | TRIBUTARY INTERFACE-GIGABIT ETHERNET INTERFACES 10/100 MBPS WITH LAYER-2 SWITCHING (MINIMUM 2 NOS.) | SET | 1 |  | 0
45 | ETHERNET INTERFACE 10/100 BASE T WITH LAYER-2 SWITCHING (MIN 8INTERFACES PER CARD) | EA | 1 |  | 0
46 | PRE CONNECTORIZED OPTICAL FIBER PATCH CORDS(10 MTRS) â€“ PACK OF SIXPATCH CORDS | SET | 1 |  | 0
47 | 48F (DWSM) APPROACH FIBRE OPTIC CABLE | KM | 0.035 |  | 0
48 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 19 |  | 0
49 | Fabrication, galvanising and supply of Lattice Structures (HT Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 10 |  | 0
50 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1.4 |  | 0
51 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2.2 |  | 0
II
1 | 245kV, 1600A, 50KA Circuit Breaker(3-Phase) with support structure | EA | 1 |  | 0
2 | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0
3 | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | 0
4 | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | 0
5 | 245KV, 1600 A, 50KA, 3-PHASE, DOUBLE BREAK TANDEM ISOLATOR WITHOUT E/S | EA | 2 |  | 0
6 | 216kV Surge Arrester (1-phase) | EA | 3 |  | 0
7 | 245 kV, 1 phase Bus Post Insulator (except for Line Traps) | EA | 9 |  | 0
8 | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 3 |  | 0
9 | Erection Hardware for 220kV layout (Double Main and TransferScheme)-Line Bay as per technical specification | SET | 1 |  | 0
10 | 220KV CIRCUIT BREAKER RELAY PANEL (WITH AUTOMATION) | EA | 1 |  | 0
11 | 220kV Line Protection Panel (with Automation) | EA | 1 |  | 0
12 | Augmentation of existing 220kV bus bar protection scheme.(No. of baysas per specification)-(with Automation) | SET | 1 |  | 0
13 | Line Current Differential Relay | SET | 2 |  | 0
14 | Augmentation of Substation automation System for 220kV bay as perTechnical Specification | EA | 1 |  | 0
15 | Air conditioning system for Switchyard Panel Room of 3m length | SET | 1 |  | 0
16 | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0
17 | Fire Detection and Alarm System for Switchyard Panel Room of 3 mlength | SET | 1 |  | 0
18 | Illumination System for switchyard panel room of 3 m length | LS | 1 |  | 0
19 | LED FLOOD LIGHT LUMINARIESTYPE FL-1 (150W) AS PER TECHNICALSPECIFICATION | EA | 3 |  | 0
20 | LIGHTING FIXTURE LED LUMINAIRES TYPE FL2 AS PER TECH. SPECIFICATIONS | EA | 3 |  | 0
21 | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0
22 | COLOR IP CAMERA, WITH PAN, TILT AND ZOOM FACILITIES, ALONGWITH ALLREQUIRED ITEMS, ACCESSORIES, LINE INTERFACE UNITS, FIBER PATCH CORDS,POWER SUPPLY UNITS, JUNCTION BOXES, CABLES, FIBER OPTIC CABLES, ETC.,AND INCLUDING INTEGRATION IN EXISTING HARDWARE AND SOFTWARE FORAUGMENTATION OF VISUAL MONITORING SYSTEM AS PER TECHNICALSPECIFICATION. | SET | 1 |  | 0
23 | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
24 | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0
25 | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 2 |  | 0
26 | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0
27 | Spare-245kV Circuit Breaker | SET | 1 |  | 0
28 | Spare-245kV Isolator | SET | 1 |  | 0
29 | Spare-216kV Surge Arrester | SET | 1 |  | 0
30 | Spare-245kV CT | SET | 1 |  | 0
31 | Spare-245kV CVT | SET | 1 |  | 0
32 | Relay & protection Panels (with automation) | LS | 1 |  | 0
33 | BAY CONTROL UNIT (IED) OF MAIN SYSTEM | EA | 1 |  | 0
34 | ETHERNET SWITCH SUITABLE FOR 19Ã‚â‚¬Â RACK MOUNTING WITH 24 FIBER OPTICPORTS | EA | 1 |  | 0
35 | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 11 |  | 0
36 | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | 0
37 | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 1 |  | 0
Total amount F&I |  |  |  |  | 0

## Sch-3 Installation
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 1 no. 400kV line bay (Bus Section-1) at Mandsaur S/s for 600MW RPP of M/s Sprng Green Energy 2 Pvt. Ltd. and 1 no. 220kV line bay (Bus Section-1) at Mandsaur S/s for 200MW RHGS of M/s Hexa Climate Solutions Pvt. Ltd. for providing connectivity to RE generation projects at Mandsaur PS
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
#REF! | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
INSTALLATION
Sr. No. | Activity Description | Service Code | HSN/SAC number | GST Rate applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Erection Charges excluding GST | Total Erection Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
I | 1 no. 400kv Line bay at Mandsaur S/s
1 | Inst. 400 kV AIS EQUIPMENT | 100000274 | 998736 | 18% |  | 420 kV, 3000A, 63KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0 | 0
2 | Inst. 400 kV AIS EQUIPMENT | 100000275 | 998736 | 18% |  | 420 kV, 4400 pF Capacitive Voltage Transformer (1-Phase) | EA | 3 |  | 0 | 0
3 | Inst. 400 kV AIS EQUIPMENT | 100000287 | 998736 | 18% |  | 420kV, 3150A, 63KA, Isolator (3-phase)(Double Break) with one E/S | EA | 3 |  | 0 | 0
4 | Inst. 400 kV AIS EQUIPMENT | 100000328 | 998736 | 18% |  | 336kV Surge Arrester (1-phase) | EA | 3 |  | 0 | 0
5 | Inst. 400 kV AIS EQUIPMENT | 100005443 | 998734 | 18% |  | 420KV, 1-PHASE BUS POST INSULATORS | EA | 5 |  | 0 | 0
6 | Inst. 400 kV AIS EQUIPMENT | 100000267 | 998736 | 18% |  | 420kV, 3150A, 63kA Circuit Breaker(3-Phase) without closing resistor(with support structure) | EA | 1 |  | 0 | 0
7 | Inst. ERECTION HARDWARE-400KV | 100000329 | 998731 | 18% |  | Erection Hardware for 400kV I type layout-Line bay as per specification | SET | 1 |  | 0 | 0
8 | Inst. CONTROL AND RELAY PANEL (400KV) | 100000735 | 998736 | 18% |  | Augmentation of existing 400kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | 0 | 0
9 | Inst. CONTROL AND RELAY PANEL (400KV) | 100016779 | 998736 | 18% |  | 400kV Circuit Breaker Relay Panel (with Automation) | EA | 1 |  | 0 | 0
10 | Inst. CONTROL AND RELAY PANEL (400KV) | 100000730 | 998736 | 18% |  | 400kV Line Protection Panel (with Automation) | EA | 1 |  | 0 | 0
11 | Inst. SUBSTATION AUTOMATION SYSTEM(400KV | 100002069 | 998736 | 18% |  | Augmentation of Substation automation System for 400kV Main bay as per Technical Specification | EA | 1 |  | 0 | 0
12 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (6M) | 100001882 | 995463 | 18% |  | Air conditioning system for Switchyard Panel Room of 6m length | SET | 1 |  | 0 | 0
13 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (6M) | 100000975 | 995461 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0 | 0
14 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (6M) | 100002062 | 995461 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 6 m length | SET | 1 |  | 0 | 0
15 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (6M) | 100001116 | 998739 | 18% |  | Illumination System for switchyard panel room of 6 m length | SET | 1 |  | 0 | 0
16 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-400KV | 100004930 | 998731 | 18% |  | LED Flood Light Luminaries Type-FL-1 as per technical specification | EA | 5 |  | 0 | 0
17 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-400KV | 100004931 | 998731 | 18% |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 5 |  | 0 | 0
18 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-400KV | 100001024 | 998731 | 18% |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0 | 0
19 | Inst. MAIN EARTHMAT | 100003103 | 998731 | 18% |  | 40 mm MS rod for Main Earthmat | KM | 0.5 |  | 0 | 0
20 | Inst. VISUAL MONITORING SYSTEM (400KV) | 100002500 | 998731 | 18% |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | 0 | 0
21 | Inst. POWER & CONTROL CABLE (400KV) | 100002181 | 998736 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
22 | Inst. POWER & CONTROL CABLE (400KV) | 100002182 | 998736 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
23 | Inst. PLCC EQUIP AT MANDSAUR END (400KV) | 100002042 | 998734 | 18% |  | 400kV,3150A,0.5mH ,63kA Line Trap | EA | 2 |  | 0 | 0
24 | Inst. PLCC EQUIP AT MANDSAUR END (400KV) | 100000883 | 998734 | 18% |  | 420 kV ,1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0 | 0
25 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 100002812 | 998734 | 18% |  | SDH Equipment (STM-16 MADM upto 5 MSP protected directions)-Base Equipment (Common cards, Cross Connect/control cards, optical basecards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equipedexcluding optical interface & Tributary cards | EA | 1 |  | 0 | 0
26 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 170000433 | 998734 | 18% |  | Optical Interface Cards/SFP# -S16.1 for SDH Equipment-STM-16 | EA | 4 |  | 0 | 0
27 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 100002825 | 998734 | 18% |  | Tributary interface- E1 interface (Minimum 16 nos.) | SET | 2 |  | 0 | 0
28 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 170000550 | 998336 | 18% |  | Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | EA | 2 |  | 0 | 0
29 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 100002829 | 998734 | 18% |  | Tributary interface-Gigabit Ethernet Interfaces 10/100 Mbps with Layer -2 Switching (minimum 2 nos.) | SET | 1 |  | 0 | 0
30 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 170000375 | 998734 | 18% |  | Equipment Cabinets-For SDH Equipments | EA | 1 |  | 0 | 0
31 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 170004395 | 998336 | 18% |  | Fibre Optic Approach cabling: Including installation hardware like GI pipe, elbow, conduits, accessories etc.: 48 Fibre | KM | 1 |  | 0 | 0
32 | TELECOM EQUIPMENT_MANDSAUR_SERVICE | 170000356 | 998336 | 18% |  | Fibre Optic Distribution Panel (FODP): Indoor Type: FC Coupling and mounted on ETSI 19" rack or slimline rack: Type 2 (96 Fibre) | EA | 1 |  | 0 | 0
33 | CIVIL WORKS | 100004518 | 995433 | 18% |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 670 |  | 0 | 0
34 | CIVIL WORKS | 100011662 | 995433 | 18% |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 447 |  | 0 | 0
35 | CIVIL WORKS | 100001325 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 33 |  | 0 | 0
36 | CIVIL WORKS | 100001326 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 5 |  | 0 | 0
37 | CIVIL WORKS | 100001327 | 995454 | 18% |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 233 |  | 0 | 0
38 | CIVIL WORKS | 100001329 | 995454 | 18% |  | Steel Reinforcement | MT | 22 |  | 0 | 0
39 | CIVIL WORKS | 100001714 | 995428 | 18% |  | Stone spreading in switchyard excluding PCC | M2 | 1000 |  | 0 | 0
40 | CIVIL WORKS | 100001713 | 995424 | 18% |  | Antiweed treatment | M2 | 1000 |  | 0 | 0
41 | CIVIL WORKS | 100048595 | 995423 | 18% |  | Providing & laying non-woven Geo-synthetics fabric of minimum 200 GSM in separration layer between sub garde and stone spreading inswitchyard as per Technical Specification and direction of Engineer-in-Charge. | M2 | 1300 |  | 0 | 0
42 | CIVIL WORKS | 100058690 | 995421 | 18% |  | 3.75m wide Bitumen road with earthen shoulder including 100 mm dia uPVC Pipe @ 100 metre interval as per drawing and TS (as per DSRitem no 16.35, 16.30.1 and 16.40) and including 225 mm thick WBM in three equal layers of 75 mm each as per CPWD specification | M2 | 263 |  | 0 | 0
43 | CIVIL WORKS | 100001409 | 995462 | 18% |  | Supplying and erecting dewatering pumps-5 HP | EA | 1 |  | 0 | 0
44 | CIVIL WORKS | 100001478 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 150 |  | 0 | 0
45 | CIVIL WORKS | 100001479 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 100 |  | 0 | 0
46 | CIVIL WORKS | 100001480 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 50 |  | 0 | 0
47 | CIVIL WORKS | 100015791 | 995454 | 18% |  | All civil works for Drains construction of Section A-A including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 40 |  | 0 | 0
48 | CIVIL WORKS | 100015792 | 995454 | 18% |  | All civil works for Drains construction of Section B-B including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | 0 | 0
49 | CIVIL WORKS | 100015793 | 995454 | 18% |  | All civil works for Drains construction of Section C-C including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 50 |  | 0 | 0
50 | CIVIL WORKS | 100015794 | 995454 | 18% |  | All civil works for Drains construction of Section D-D including crossings if any as per technical specification and tender drawingscomplete in all respect with all labour and materials. | M | 10 |  | 0 | 0
51 | CIVIL WORKS | 100003437 | 995454 | 18% |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 30 |  | 0 | 0
52 | CIVIL WORKS | 100001721 | 995428 | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 40 |  | 0 | 0
53 | CIVIL WORKS | 100002911 | 995432 | 18% |  | Earthwork in excavation & filling in all types of soil and soft/disintegrated rock in open areas/nallas/channels, to the requiredslopes, shapes, levels, elevations and profile, including trimming of bottom and slopes of excavation, bailing out rain(dewatering), pumping, removal of slush, preparing embankments/marginal banks, loosening, dressing, spreading material in layers notexceeding 200mm, as per direction of Engineer-in-Charge, water flooding, compacting to achieve 95% consolidation at optimum moisturecontent, finishing etc. all complete, for all leads and lifts within leveling boundary, including disposal of surplus earth andstacking of unsuitable material within a lead of 2.0 Km beyond substation boundary, with all labour, material, tools, tackles andequipment, safeguards and incidentals, Royalty,taxes etc. as necessary, as per drawings, specification and directions of theEngineer-in-Charge. Clearing of jungle is included in this item. (Only excavation/cutting will be measured for payment purpose.) | M3 | 1000 |  | 0 | 0
54 | CIVIL WORKS | 100002583 | 995432 | 18% |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 1000 |  | 0 | 0
55 | CIVIL WORKS | 100002914 | 995432 | 18% |  | Earthwork in excavation in Hard rocks in open areas/nallas/ channels, to the required slopes, shapes, levels, elevations andprofile, including trimming of bottom and slopes of excavation and stacking and disposal of rock for a lead up to 2.0 KM beyondleveling boundary and all lifts , with all labour, material, tools, tackles and equipment, safeguards and incidentals,Royalty,taxesetc. as per directions of the Engineer-in-Charge. Serviceable material if available shall be stacked at site as identified byEngineer-in-Charge.(50% void deduction from stack measurement) | M3 | 500 |  | 0 | 0
56 | CIVIL WORKS | 100007097 | 995454 | 18% |  | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete including construction of 600 mm high and230 mm wide cement concrete (1:3:6) (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) toe wall atthe lowest portion of stone pitching area etc. completed as per theinstruction of Engineer-In-Charge. . | M2 | 200 |  | 0 | 0
57 | CIVIL WORKS | 100001712 | 995428 | 18% |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 300 |  | 0 | 0
58 | NON-STD STRUCTURE SERVICE | 100001210 | 995455 | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 19 |  | 0 | 0
59 | NON-STD STRUCTURE SERVICE | 100001209 | 995455 | 18% |  | Erection of Lattice Structures (HT Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts. | MT | 10 |  | 0 | 0
60 | NON-STD STRUCTURE SERVICE | 100001680 | 995455 | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 1.4 |  | 0 | 0
61 | NON-STD STRUCTURE SERVICE | 100001681 | 995455 | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 2.2 |  | 0 | 0
II | 1 no. 220kV Line Bay at Mandsaur S/s
1 | Inst. 220kV AIS EQUIPMENT | 100011980 | 998736 | 18% |  | 245KV, 3150 A, 50kA Circuit Breaker (3-Phase) with support structure | EA | 1 |  | 0 | 0
2 | Inst. 220kV AIS EQUIPMENT | 100001989 | 998736 | 18% |  | 245 kV, 1600A, 50KA, 1-Phase CurrentTransformer with 120% extended currentrating | EA | 3 |  | 0 | 0
3 | Inst. 220kV AIS EQUIPMENT | 100002013 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with two E/S | EA | 1 |  | 0 | 0
4 | Inst. 220kV AIS EQUIPMENT | 100002014 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Isolator with one E/S | EA | 1 |  | 0 | 0
5 | Inst. 220kV AIS EQUIPMENT | 100002016 | 998736 | 18% |  | 245kV, 1600A, 50 KA, 3-phase DoubleBreak Tandem Isolator without E/S | EA | 2 |  | 0 | 0
6 | Inst. 220kV AIS EQUIPMENT | 100000448 | 998736 | 18% |  | 245 kV, 4400pf Capacitive Voltage Transformer (1- Phase) | EA | 3 |  | 0 | 0
7 | Inst. 220kV AIS EQUIPMENT | 100000484 | 998736 | 18% |  | 216kV Surge Arrester (1-phase) | EA | 3 |  | 0 | 0
8 | Inst. 220kV AIS EQUIPMENT | 100001907 | 998736 | 18% |  | 245 kV,1 phase Bus Post Insulator (except for Line Traps) | EA | 9 |  | 0 | 0
9 | Inst. ERECTION HARDWARE-220 KV | 100000485 | 998731 | 18% |  | Erection Hardware for 220kV layout (Double Main and Transfer Scheme as per SLD)-Line Bay as per specification | SET | 1 |  | 0 | 0
10 | Inst. CONTROL AND RELAY PANEL (220KV) | 100016778 | 998736 | 18% |  | 220kV Circuit Breaker Relay Panel (with Automation) | EA | 1 |  | 0 | 0
11 | Inst. CONTROL AND RELAY PANEL (220KV) | 100000738 | 998736 | 18% |  | 220kV Line Protection Panel (with Automation) | EA | 1 |  | 0 | 0
12 | Inst. CONTROL AND RELAY PANEL (220KV) | 100000743 | 998736 | 18% |  | Augmentation of existing 220kV bus bar protection scheme.(No. of bays as per specification)-(with Automation) | SET | 1 |  | 0 | 0
13 | Inst. SUBSTATION AUTOMATION SYSTEM(220KV | 100002070 | 998736 | 18% |  | Augmentation of Substation automation System for 220kV bay as per Technical Specification | EA | 1 |  | 0 | 0
14 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (3M) | 100001883 | 995463 | 18% |  | Air conditioning system for Switchyard Panel Room of 3m length | SET | 1 |  | 0 | 0
15 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (3M) | 100000975 | 995461 | 18% |  | 4.5 kg CO2 type Portable Fire extinguisher | EA | 2 |  | 0 | 0
16 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (3M) | 100002063 | 995461 | 18% |  | Fire Detection and Alarm System for Switchyard Panel Room of 3 m length | SET | 1 |  | 0 | 0
17 | Inst. AC+FIRE PROTN+ILLUM FOR SPR (3M) | 100001117 | 998739 | 18% |  | Illumination System for switchyard panel room of 3 m length | SET | 1 |  | 0 | 0
18 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-220KV | 100004930 | 998731 | 18% |  | LED Flood Light Luminaries Type-FL-1 as per technical specification | EA | 3 |  | 0 | 0
19 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-220KV | 100004931 | 998731 | 18% |  | LED Flood Light Luminaries Type FL-2 (250W) as per technical specification | EA | 3 |  | 0 | 0
20 | Inst. ILLUMINATION SYSTEM(OUTDOOR)-220KV | 100001024 | 998731 | 18% |  | Sub Lighting panel (outdoor) type SLP (Switchyard and Street Lighting) | EA | 1 |  | 0 | 0
21 | Inst. VISUAL MONITORING SYSTEM (220KV) | 100002500 | 998731 | 18% |  | Color IP camera, with PAN, TILT and ZOOM facilities, alongwith all required Items, Accessories, Line Interface units, Fiber patchcords, Power supply units, Junction Boxes, Cables, Fiber Optic Cables, etc., and including Integration in existing Hardware andSoftware for Augmentation of Visual Monitoring System as per technical specification. | SET | 1 |  | 0 | 0
22 | Inst. POWER & CONTROL CABLE (220KV) | 100002181 | 998736 | 18% |  | 1.1kV grade Power Cables (PVCinsulated)along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
23 | Inst. POWER & CONTROL CABLE (220KV) | 100002182 | 998736 | 18% |  | 1.1kV grade Control Cables (PVCinsulated) along withlugs,glands,straight joints &accessories,etc. | LS | 1 |  | 0 | 0
24 | Inst. PLCC EQUIP AT MANDSAUR END-220KV | 100002048 | 998734 | 18% |  | 220kV,1600A,0.5mH ,50kA Line Trap | EA | 2 |  | 0 | 0
25 | Inst. PLCC EQUIP AT MANDSAUR END-220KV | 100000884 | 998734 | 18% |  | 245 kV ,1 phase Bus Post Insulators for Line Traps | EA | 6 |  | 0 | 0
26 | CIVIL WORKS | 100004518 | 995433 | 18% |  | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | M3 | 323 |  | 0 | 0
27 | CIVIL WORKS | 100011662 | 995433 | 18% |  | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | M3 | 216 |  | 0 | 0
28 | CIVIL WORKS | 100001325 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | M3 | 19 |  | 0 | 0
29 | CIVIL WORKS | 100001326 | 995454 | 18% |  | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | M3 | 3 |  | 0 | 0
30 | CIVIL WORKS | 100001327 | 995454 | 18% |  | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning butexcluding steel reinforcement | M3 | 79 |  | 0 | 0
31 | CIVIL WORKS | 100001329 | 995454 | 18% |  | Steel Reinforcement | MT | 6 |  | 0 | 0
32 | CIVIL WORKS | 100048595 | 995423 | 18% |  | Providing & laying non-woven Geo-synthetics fabric of minimum 200 GSM in separration layer between sub garde and stone spreading inswitchyard as per Technical Specification and direction of Engineer-in-Charge. | M2 | 500 |  | 0 | 0
33 | CIVIL WORKS | 100001409 | 995462 | 18% |  | Supplying and erecting dewatering pumps-5 HP | EA | 1 |  | 0 | 0
34 | CIVIL WORKS | 100001478 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2 | M | 50 |  | 0 | 0
35 | CIVIL WORKS | 100001479 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3 | M | 200 |  | 0 | 0
36 | CIVIL WORKS | 100001480 | 995454 | 18% |  | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4 | M | 50 |  | 0 | 0
37 | CIVIL WORKS | 100003437 | 995454 | 18% |  | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | M2 | 16 |  | 0 | 0
38 | CIVIL WORKS | 100001721 | 995428 | 18% |  | Supplying, filling and compacting stone boulders mixed with sand under foundations, roads, cable trenches, drains etc in layers notexceeding 250mm thickness including ramming, watering compacting | M3 | 30 |  | 0 | 0
39 | CIVIL WORKS | 100002583 | 995432 | 18% |  | Supply of earth (excluding rock & boulders) at site including royalty, carriage and filling in specified areas in layers notexceeding 200mm in depth, compacting under optimum moisture condition to achieve 95% of Proctor density, finishing etc. allcomplete, for all leads & lifts, with all labour, material, tools, tackles, equipments, safeguards & incidentals as necessary as perdrawings, specification and direction of the Engineer- in- Charge. | M3 | 300 |  | 0 | 0
40 | CIVIL WORKS | 100001712 | 995428 | 18% |  | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC | M2 | 500 |  | 0 | 0
41 | NON-STD STRUCTURE SERVICE | 100001210 | 995455 | 18% |  | Erection of Lattice Structures (MS Steel), to be designed during detailed engineering, for towers, beams and equipment supportstructure including pack plates / packwashers and gusset plates excluding fasteners and foundation bolts | MT | 11 |  | 0 | 0
42 | NON-STD STRUCTURE SERVICE | 100001680 | 995455 | 18% |  | Erection of fasteners ( nuts, bolts and washers ) including step bolts for lattice and pipe structures to be designed duringdetailed engineering | MT | 1 |  | 0 | 0
43 | NON-STD STRUCTURE SERVICE | 100001681 | 995455 | 18% |  | Erection of foundation bolts including nuts, checknut and washers for lattice and pipe structures to be designed during detailedengineering | MT | 1 |  | 0 | 0
Total of Installation charges | [9 empty] | 0 | 0

## Summary
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction of 1 no. 400kV line bay (Bus Section-1) at Mandsaur S/s for 600MW RPP of M/s Sprng Green Energy 2 Pvt. Ltd. and 1 no. 220kV line bay (Bus Section-1) at Mandsaur S/s for 200MW RHGS of M/s Hexa Climate Solutions Pvt. Ltd. for providing connectivity to RE generation projects at Mandsaur PS
Schedule-4
Schedule 4 Grand Summary
To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Supply - (Sch-1) (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0 | 14780245
2 | Service/Installation/Erection Charges- (Sch-3) (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
3 | Total GST on Goods (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement ) |  | 0
4 | Total GST on Service/Installation/Erection (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement ) |  | 0
5 | Total F&I Charges (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : |  | Printed Name :
Place : |  | Designation :