Power Grid Corporation of India Ltd. (POWERGRID), Govt. of India Enterprise is responsible for bulk Power transmission of electrical energy from various Central Govt. Power Projects to various utilities/beneficiaries and interconnecting regional grids, operating and maintaining the National electrical grid of India.

Intent of this specification is to define a common standard and specification by which all drawings are to be developed for works related to Civil, Electrical, Transmission line, Substation works including preparation master layout, General Arrangement plans etc.

- SCOPE OF WORK

The agency shall be required to prepare drawings in AutoCAD application in (*.dwg) format. The agency shall seek approval of POWERGRID if alternative CAD applications are used. Bidder shall use licensed software for developing drawings. This includes following but is not limited to:

  - Preparation of General Arrangement (GA) drawings for various systems of the sub-station/transmission line showing location of all buildings, roads, underground facilities like trenches, tunnels, drainage, sewage etc. within the individual system.

  - Preparation of architectural drawings for various buildings covering plans, elevations, sections and other associated details like doors, windows, false ceiling, finishing schedules, sanitary & water supply details etc. as per the details/drawings furnished by POWERGRID.

  - Preparation of detailed structural drawings for various building, structures, foundations, trenches, tunnels, drains, culverts etc. and any other structure of the sub-station/colony/transmission line.

  - Preparation of survey drawings including contour maps, spot level drawings, master plan etc.

  - Preparation of drawings for charts like master network, work schedule, bar charts etc.

  - Preparation of structural steel fabrication drawings, Bill of Materials, single line diagram of buildings, towers, equipment structure etc.

  - Providing man power for modification/alteration of POWERGRID existing drawings.

  - These drawings shall be provided in editable format to Owner.

- Description of drafting standard & printing Work

  - Drawing shall be prepared using AutoCAD application in (*.dwg) format. Agency shall seek prior approval of Owner if alternative CAD applications are used. Drawings shall be prepared in the following trimmed sizes as per IS:11669, IS:11667, IS:10714.

i)		A0	-	841mm x 1189mm

ii)		A1	-	594mm x 841mm

iii)		A2	-	420mm x 594mm

iv)		A3	-	297mm x 490mm

v)		A4	-	210mm x 297mm

  - Drawings shall be generally prepared in Metric system (MKS). In case Owner is desired, other system may be used.

  - Engineering Department of POWERGRID shall indicate in a free hand sketch or in descriptive note of items of work and extent of detail required to be indicated in each of these drawings. In addition to this data indicated by Engineering Department of POWERGRID, it is expected that while preparing the detailed drawings, several other technical information will be required.  This has to be incorporated by the agency on the basis of relevant I.S. standards or sound engineering practices, if required in consultation with the concerned official of POWERGRID.

  - On receipt of intimation from POWERGRID, the agency has to collect the technical data from the office of Owner and start preparation of the drawings.  In case, any clarification is required the same would have to be discussed with officers of POWERGRID in Owner’s office.  The expenditure, thereof, shall be on the account of the agency.

  - Text heights shall be such that when the drawings are reduced to lower size, the text is still legible. Level (Layer) Naming Convention Level (Layer) names/descriptions shall be logical, concise and clear in defining information contained within. Disciplines and elements shall be drawn in their correct levels (layers). Dimensions and text shall be drawn on their own separate levels (layers).

  - All drawings shall be prepared using POWERGRID Title Block. The POWERGRID Drawing Title Block shall be referenced into each drawing, with the attributed title details being copied and edited appropriately within the individual/other drawings. Inclusion of the details such as company logo and contact details is permitted in the designated area on the Title Block.

  - In special complicated areas only, POWERGRID officials shall visit the office of the agency while drawing is on board with a view to clarify or make modifications/ alternations/ changes/ additions/ incorporations/ corrections in the design and drawing.

  - It is the responsibility of the agency to maintain quality assurance, revision status and approval processors for project drawings for the duration of the contract or agreement.

  - Drawing prepared by the agency is the exclusive property of POWERGRID and cannot be transmitted or disclosed without prior written permission POWERGRID. Un-authorized usage of these drawing shall be punishable offence.

  - Along with each sketch or statement given for preparation drawings, a time schedule shall be indicated.  This time schedule shall generally be as under:

i)		A0	-	Three days

ii)		A1	-	Three days

iii)		A2	-	Two days

iv)		A3	-	Two day

v)		A4	-	One day

  - The agency shall be required to complete the drawings one day before the final date to allow for checking and incorporating correction thereafter.

  - The time schedule for submission and checking of the drawings shall be strictly adhered to.

----- End of Section-III, TECHNICAL SPECIFICATION (TS) ----