| **Sl. No.** | **Clause Reference** | **Existing Provision** | **Amended Provision** |
| --- | --- | --- | --- |
| 2 | Volume II, Section I,  Clause 3, Sl. No. C 4 iv) | |  |  | | --- | --- | | Tension at **2.5°C** and 2/3 wind condition  (32 kg/m2 wind pressure) | **≤ 4474 kg** & not exceeding 70% of UTS of proposed conductor | | |  |  | | --- | --- | | Tension at **0°C** and 2/3 wind condition  (32 kg/m2 wind pressure) | **≤ 4523 kg** & not exceeding 70% of UTS of proposed conductor | |