## Instruction
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Sole Bidder or JV (Joint Venture) from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Sole Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch -1 : (Abstract Of Cost)
| ● | Summary of all the Schedules shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-2 (Schedule Items for Civil Works for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-3 (Non-Schedule Items for FOR CONSTRUCTION OF TL STORE (50m x 10 m) FOR BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-4 (Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Schedule Items: only % above/below DSR-2014 is to be filled up.
| ● | Total amount shall get calculated automatically.
Sch-5 (Non-Schedule Items for CONSTRUCTION OF OPEN STORE YARD OF SIZE (110m x 40) m for BANASKANTHA SUBSTATION ) :
| ● | Non-Schedule Items: Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Sch-6 ( INTERNAL ELECTRIFICATION WORKS OF 50x10 STORE SHED FOR BANASKANTHA SUBSTATION ) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
| ● | The rate quoted shall be inclusive of the Service Tax.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-3 .
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !

## Basic
Name of Package : | Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Package No : | 5002005507
Specification No. : | WR2/NT/W-MISC/DOM/G01/26/09630
Completion Period | 6 Months

## Name of Bidder
Name of Package :
Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Individual Firm
Name of Sole Bidder [Individual Firm]
Address of Registered Office & Mobile Numbers
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
…….. …… ………. ……….
Printed Name
Designation
Date
Place

## Sch-1 Supply
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Schedule-I Plant and Equipment (including mandatory Spares) to be supplied including Type Test Charges | [8 empty] | Sama - savli road, vadodara-390008
Sl. No. | Activity Description | Material Code | HSN/SAC code | Rate of GST applicable ( in %)
[5 empty] | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Item Description | Unit | Quantity | Unit Ex Works Charges excluding GST | Total Ex Works Charges excl GST | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 10 | 11 | 12 | 13 | 14
1 | 400kV Reactor Protection Panel (with Automation) | 1000003407 | 85371000 | 18% |  | 400kV, 125 MVAr Bus Reactor-1 | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 400kV, 125 MVAr Bus Reactor-2 | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 400kV, 50 MVAr Bus Reactor-3 | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-1 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-2 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-3 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-4 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Indore Ckt-1 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Indore Ckt-2 LR | Set | 1 |  | 0 | 0
|  | 1000003407 | 85371000 | 18% |  | 50 MVAr, 400 kV Itarsi- Khandwa Ckt-1 LR | Set | 1 |  | 0 | 0
2 | 400kV Line Protection Panel (with Automation) | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Jabalpur Line-1 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Jabalpur Line-2 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Jabalpur Line-3 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Jabalpur Line-4 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Indore Line-1 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Indore Line-2 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Khandwa Line-1 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Khandwa Line-2 | Set | 1 |  | 0 | 0
|  | 1000003398 | 85371000 | 18% |  | 400kV Itarsi-Satpura Line | Set | 1 |  | 0 | 0
3 | 400kV Transformer Protection Panel (For both HV & MV side)- (with Automation) | 1000004274 | 85371000 | 18% |  | 315 MVA, 400/220 kV ICT-1 | Set | 1 |  | 0 | 0
4 | 220kV Line Protection Panel (with Automation) | 1000001330 | 85371000 | 18% |  | 220 kV Itarsi (PG)-Itarsi (MP) Line-1 | Set | 1 |  | 0 | 0
|  | 1000001330 | 85371000 | 18% |  | 220 kV Itarsi (PG)-Hosangabad (MP) Line-1 | Set | 1 |  | 0 | 0
5 | 400 kV Circuit Breaker Relay Panel (with Automation) | 1000002165 | 85371000 | 18% |  | 400 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 15 |  | 0 | 0
|  | 1000002163 | 85371000 | 18% |  | 400 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 7 |  | 0 | 0
6 | 220 kV Circuit Breaker Relay Panel (with Automation) | 1000001170 | 85371000 | 18% |  | 220 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | 0 | 0
|  | 1000001168 | 85371000 | 18% |  | 220 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 2 |  | 0 | 0
7 | Complete Substation Automation System for 400 kV Bays, 220 kV Bays & Auxilary system as per Technical Specification | 1000003408 | 85371000 | 18% |  | Complete Substation Automation System for 400 kV Main Bay as per Technical Specification | EA | 13 |  | 0 | 0
|  | 1000003410 | 85371000 | 18% |  | Complete Substation Automation System for 400 kV Tie Bay as per Technical Specification | EA | 8 |  | 0 | 0
|  | 1000003413 | 85371000 | 18% |  | Complete Substation Automation System for 400 kV Switchable Line Reactor Bay as per Technical Specification | EA | 1 |  | 0 | 0
|  | 1000001332 | 85371000 | 18% |  | Complete Substation Automation System for 220 kV Bay as per Technical Specification | EA | 5 |  | 0 | 0
|  | 1000018700 | 85371000 | 18% |  | Complete Substation Automation System for controling and monitoring of Auxilary System including BCUs as per Technical Specification | SET | 1 |  | 0 | 0
8 | BUS BAR (Decentralized Scheme) | 1000002145 | 85371000 | 18% |  | 400kV Bus Bar Protection Panel (Duplicate)-(with Automation) | SET | 1 |  | 0 | 0
|  | 1000001166 | 85371000 | 18% |  | 220kV Bus Bar Protection Panel (Single)-(with Automation) | SET | 1 |  | 0 | 0
9 | Time Synchronisation Equipment | 1000021642 | 85371000 | 18% |  | Time Synchronisation Equipment | No | 1 |  | 0 | 0
[7 empty] | Total of Ex Works Price |  |  | 0 | 0

## 3B Non- schedule (hidden)
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Construction work of CABLE TRENCH SECTION 3-3 WORK AT MPPTCL S/S INDORE
Bidder’s Name and Address (Sole Bidder) : | [5 empty] | #REF! |  |  | To:
Name: | [8 empty] | Contract Services
Address: | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Non-Schedule 3B
Sl. No. | Activity Header / Substation Name | SAC | Whether SAC in column ‘3’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘5’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Erection Charges (Excluding GST) | Total Erection Charges (Excluding GST) | Total Tax GST
(Service Accounting Codes)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Non - Schedule Civil Items
1 | Indore Substation | 995428 |  | 18% |  | NS-1 Providing & fixing polythene sheet of 125 micron before casting of pcc work and as directed by engineer in charge (For casting of cable trench cover slab) | sqm | 88.5 |  | 0 | 0
2 | Indore Substation | 995424 |  | 18% |  | NS-2 Providing , laying & fixing PVC pipe of 160 mm nominal dia Pipes | mtr | 124.5 |  | 0 | 0
1 | Indore Substation | 995428 |  | 18% |  | NS-3 Removing, cleaning and washing of existing stone and respreading of stones in switching excluding PCC | sqm | 285.83 |  | 0 | 0
2 | Indore Substation | 995428 |  | 18% |  | NS-4 Antiweed Treatment | sqm | 285.83 |  | 0 | 0
3 | Indore Substation | 995433 |  | 18% |  | NS-5 Supplying, filling & compacting CNS materials as per specification under floor, foundation, roads, cable trench etc. | CUM | 100 |  | 0 | 0
4 | Indore Substation | 995424 |  | 18% |  | NS-6 RCC Culverts and cable trench crossings including supplying and laying hume pipe 250 mm dia of grade (NP 3) Excluding Concrete. | Rm | 14.5 |  | 0 | 0
[7 empty] | Total of Schedule Part 3B |  |  | 0 | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | [6 empty] | Printed Name :
Place : | [6 empty] | Designation :

## Sch-2 F&I
पावर ग्रिड कारपोरेशन ऑफ इंडिया लिमिटेड
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Bidder’s Name and Address (Sole Bidder) : |  |  |  |  | To:
Name : |  |  |  |  | Contract Services
Address : |  |  |  |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Adjacent to Riya-Revati Resort,
Sama-Savli Road, Vadodara-390024
Schedule 2 Local Transportation, In-transit insurance, loading and unloading
Sl. No. | Item Description |  | Unit | Quantity | Unit F&I Charges | Total F&I Charges
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | 400kV Reactor Protection Panel (with Automation) | 400kV, 125 MVAr Bus Reactor-1 | Set | 1 |  | 0
|  | 400kV, 125 MVAr Bus Reactor-2 | Set | 1 |  | 0
|  | 400kV, 50 MVAr Bus Reactor-3 | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-1 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-2 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-3 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-4 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Indore Ckt-1 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Indore Ckt-2 LR | Set | 1 |  | 0
|  | 50 MVAr, 400 kV Itarsi- Khandwa Ckt-1 LR | Set | 1 |  | 0
2 | 400kV Line Protection Panel (with Automation) | 400kV Itarsi-Jabalpur Line-1 | Set | 1 |  | 0
|  | 400kV Itarsi-Jabalpur Line-2 | Set | 1 |  | 0
|  | 400kV Itarsi-Jabalpur Line-3 | Set | 1 |  | 0
|  | 400kV Itarsi-Jabalpur Line-4 | Set | 1 |  | 0
|  | 400kV Itarsi-Indore Line-1 | Set | 1 |  | 0
|  | 400kV Itarsi-Indore Line-2 | Set | 1 |  | 0
|  | 400kV Itarsi-Khandwa Line-1 | Set | 1 |  | 0
|  | 400kV Itarsi-Khandwa Line-2 | Set | 1 |  | 0
|  | 400kV Itarsi-Satpura Line | Set | 1 |  | 0
3 | 400kV Transformer Protection Panel (For both HV & MV side)- (with Automation) | 315 MVA, 400/220 kV ICT-1 | Set | 1 |  | 0
4 | 220kV Line Protection Panel (with Automation) | 220 kV Itarsi (PG)-Itarsi (MP) Line-1 | Set | 1 |  | 0
|  | 220 kV Itarsi (PG)-Hosangabad (MP) Line-1 | Set | 1 |  | 0
5 | 400 kV Circuit Breaker Relay Panel (with Automation) | 400 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 15 |  | 0
|  | 400 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 7 |  | 0
6 | 220 kV Circuit Breaker Relay Panel (with Automation) | 220 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | 0
|  | 220 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 2 |  | 0
7 | Complete Substation Automation System for 400 kV Bays, 220 kV Bays & Auxilary system as per Technical Specification | Complete Substation Automation System for 400 kV Main Bay as per Technical Specification | EA | 13 |  | 0
|  | Complete Substation Automation System for 400 kV Tie Bay as per Technical Specification | EA | 8 |  | 0
|  | Complete Substation Automation System for 400 kV Switchable Line Reactor Bay as per Technical Specification | EA | 1 |  | 0
|  | Complete Substation Automation System for 220 kV Bay as per Technical Specification | EA | 5 |  | 0
|  | Complete Substation Automation System for controling and monitoring of Auxilary System including BCUs as per Technical Specification | SET | 1 |  | 0
8 | BUS BAR (Decentralized Scheme) | 400kV Bus Bar Protection Panel (Duplicate)-(with Automation) | SET | 1 |  | 0
|  | 220kV Bus Bar Protection Panel (Single)-(with Automation) | SET | 1 |  | 0
9 | Time Synchronisation Equipment | Time Synchronisation Equipment | No | 1 |  | 0
|  | Total of F&I Chrges |  |  |  | 0
# In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : |  |  |  |  | Printed Name :
Place : |  |  |  |  | Designation :

## Sch-3 Installation
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
WRTS-II,RHQ,VADODARA
Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Schedule 3 Installation Services
Bidder’s Name and Address (Sole Bidder) : | [8 empty] | To:
#REF! | [8 empty] | Contract Services
Address : | [8 empty] | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
S. NO. | Activity Description | Service Code | (Service Accounting Codes) | Rate of GST applicable ( in %) | Whether rate of GST in column ‘3’ is confirmed. If not indicate applicable rate of GST # | Installation Charges | Unit | Quantity | Unit Dismetaling Erection, Testing & Commissioning Charges (Rs) | Total Dismetaling Erection, Testing & Commissioning Charges (Rs) | Total Tax GST
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 400kV Reactor Protection Panel (with Automation) | 100000732 | 998736 | 18% |  | 400kV, 125 MVAr Bus Reactor-1 | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 400kV, 125 MVAr Bus Reactor-2 | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 400kV, 50 MVAr Bus Reactor-3 | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-1 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-2 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-3 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Jabalpur Ckt-4 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Indore Ckt-1 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Indore Ckt-2 LR | Set | 1 |  | 0 | 0
|  | 100000732 | 998736 | 18% |  | 50 MVAr, 400 kV Itarsi- Khandwa Ckt-1 LR | Set | 1 |  | 0 | 0
2 | 400kV Line Protection Panel (with Automation) | 100000730 | 998736 | 18% |  | 400kV Itarsi-Jabalpur Line-1 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Jabalpur Line-2 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Jabalpur Line-3 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Jabalpur Line-4 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Indore Line-1 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Indore Line-2 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Khandwa Line-1 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Khandwa Line-2 | Set | 1 |  | 0 | 0
|  | 100000730 | 998736 | 18% |  | 400kV Itarsi-Satpura Line | Set | 1 |  | 0 | 0
3 | 400kV Transformer Protection Panel (For both HV & MV side)- (with Automation) | 100000731 | 998736 | 18% |  | 315 MVA, 400/220 kV ICT-1 | Set | 1 |  | 0 | 0
4 | 220kV Line Protection Panel (with Automation) | 100000738 | 998736 | 18% |  | 220 kV Itarsi (PG)-Itarsi (MP) Line-1 | Set | 1 |  | 0 | 0
|  | 100000738 | 998736 | 18% |  | 220 kV Itarsi (PG)-Hosangabad (MP) Line-1 | Set | 1 |  | 0 | 0
5 | 400 kV Circuit Breaker Relay Panel (with Automation) | 100000728 | 998736 | 18% |  | 400 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 15 |  | 0 | 0
|  | 100000729 | 998736 | 18% |  | 400 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 7 |  | 0 | 0
6 | 220 kV Circuit Breaker Relay Panel (with Automation) | 100000736 | 998736 | 18% |  | 220 kV Circuit Breaker Relay Panel with Auto Reclose (with Automation) | EA | 3 |  | 0 | 0
|  | 100000737 | 998736 | 18% |  | 220 kV Circuit Breaker Relay Panel without Auto Reclose (with Automation) | EA | 2 |  | 0 | 0
7 | Complete Substation Automation System for 400 kV Bays, 220 kV Bays & Auxilary system as per Technical Specification | 100000771 | 998736 | 18% |  | Complete Substation Automation System for 400 kV Main Bay as per Technical Specification | EA | 13 |  | 0 | 0
|  | 100000777 | 998736 | 18% |  | Complete Substation Automation System for 400 kV Tie Bay as per Technical Specification | EA | 8 |  | 0 | 0
|  | 100000779 | 998736 | 18% |  | Complete Substation Automation System for 400 kV Switchable Line Reactor Bay as per Technical Specification | EA | 1 |  | 0 | 0
|  | 100000772 | 998736 | 18% |  | Complete Substation Automation System for 220 kV Bay as per Technical Specification | EA | 5 |  | 0 | 0
|  | 100000783 | 998736 | 18% |  | Complete Substation Automation System for controling and monitoring of Auxilary System including BCUs as per Technical Specification | SET | 1 |  | 0 | 0
8 | BUS BAR (Decentralized Scheme) | 100000733 | 998736 | 18% |  | 400kV Bus Bar Protection Panel (Duplicate)-(with Automation) | SET | 1 |  | 0 | 0
|  | 100000741 | 998736 | 18% |  | 220kV Bus Bar Protection Panel (Single)-(with Automation) | SET | 1 |  | 0 | 0
9 | Time Synchronisation Equipment | 100001891 | 998736 | 18% |  | Time Synchronisation Equipment | No | 1 |  | 0 | 0
[6 empty] | Total of Schedule Items as per DSR'22 Rates (Schedule3) |  |  |  | 0 | 0
Printed Name :
Designation :

## Sch 5 Taxes
Schedule 5 Taxes and Duties not included in Schedule 1 to 3
(SUMMARY OF TAXES & DUTIES)
To:
Name |  | Contract Services
Address | …….. …… ………. ………. | Power Grid Corporation of India Ltd.,
| …….. …… ………. ………. | Western Region Transmission syatem -II
| …….. …… ………. ………. | Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
#REF!
Sl. No. | Item Nos. |  | Total Price (in ₹)
1 | TOTAL GST on Services
a. | Total GST on Supply (indentified in Schedule-1) |  | 0
b. | Total GST on Installation Services (indentified in Schedule-2) |  | 0
2 | GRAND TOTAL [1 a] |  | 0
Date : | #REF! | Printed Name : | #REF!
Place : | #REF! | Designation : | #REF!

## Sch 6 summary
POWER GRID CORPORATION OF INDIA LTD.
WRTS-II,RHQ,VADODARA
Retrofitting and Replacement of Control & Relay Panel at 400/220 kV Powergrid Itarsi Substation - Under Add Cap Scheme
Schedule-6
Schedule 6 Grand Summary
#REF! |  | To:
Name |  | Contract Services
Address |  | Power Grid Corporation of India Ltd.,
Western Region Transmission syatem -II
Plot No. 54, Near Riya revati resort ,
Sama - savli road, vadodara-390008
Sl. No. | Description |  | Total Price (INR) | Total Price (INR)
1 | Supply - (Sch-1) (ITEMS TAB: Item 01 for BID PRICE SUMMARY Statement ) |  | 0 | 14780245
3 | Service/Installation/Erection Charges- (Sch-3) (ITEMS TAB: Item 02 for BID PRICE SUMMARY Statement ) |  | 0
4 | Total GST on Goods (ITEMS TAB: Item 03 for BID PRICE SUMMARY Statement ) |  | 0
6 | Total GST on Service/Installation/Erection (ITEMS TAB: Item 04 for BID PRICE SUMMARY Statement ) |  | 0
7 | Total F&I Charges (ITEMS TAB: Item 05 for BID PRICE SUMMARY Statement ) |  | 0
| Grand Total |  | 0
Date : |  | Printed Name :
Place : |  | Designation :