## Summry (hidden)
Proposed BOQ for Construction of Store Shed at 765/400KV Ghiror Sub Station
Sr No | Description | Amount (Excl GST) |  | Total Amount
|  | Schedule Item | Non Schedule/SOR
1 | Part-A Store Building Civil Work | #REF! | #REF! | #REF!
2 | Part-A Store Building Electrical Work | #REF! | #REF! | #REF!
| Total (Excl GST) |  |  | #REF!

## BoQ Part A
BOQ FOR CONSTRUCTION OF STORE SHED at Ghiror Sub Station
Sl. No. | DSR 2023 | Description | Unit | Qty
Part A :Store Building
1 | 2.6.1 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. All kind of soil | cum | 426.7242
2 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. : All kinds of soil. | cum | 176.085
3 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50m and for all lift. | cum | 391.008
4 | 2.27 | Supplying and filling in plinth with sand under floors including watering, ramming consolidating and dressing complete. | cum | 80.348
5 | 2.28.1 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15cm deep and disposal of rubbish, lead upto 50m and lift upto 1.5m: All kind of soil. | sqm | 750
6 | 2.34.1 | Supplying chemical emulsion in sealed containers including delivery as specified - Chlorpyriphos/Lindane emulsifiable concentrate of 20% | Litre | 190
7 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size). | cum | 43
8 | 4.1.4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 126.725
9 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:4:8 (1 cement: 4 coarse sand: 8 graded stone aggregate 40mm nominal size). | cum | 146.4085
10 | 4.2.3 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc upto floor five level, excluding the cost of centring, shuttering and finishing: 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size). | cum | 1
11 | 4.2.5 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc upto floor five level, excluding the cost of centring, shuttering and finishing: 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 20mm nominal size). | cum | 1
12 | 4.3.1 | Centring and shuttering including strutting, propping etc and removal of formwork for: Foundations, footings, bases of columns | sqm | 131.28
13 | 4.1 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 12.5mm nominal size). | sqm | 28
14 | 4.13 | Applying a coat of residual petroleum bitumen of penetration 80/100 of approved quality using 1.7 kg per square metre on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | sqm | 28
15 | 4.17 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | sqm | 95
16 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, finishing and reinforcement - All work up to plinth level 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 66
17 | 5.2.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string course, fillets, columns, pillars, piers, abutments, posts and struts, etc. up to floor five level excluding cost of centring, shuttering, finishing and reinforcement: 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 39
18 | 5.3 | Reinforced cement concrete work in beams, suspended floors, roofs, having slope up to 15 degree, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircase and spiral staircases up to floor five level excluding the cost of centring, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 148.6422
19 | 5.8 | Reinforced cement concrete work in Vertical and horizontal fins individually or forming box louvers, facias and eaves boards upto floor five level excluding cost of centring, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement: 1.5 coarse sand: 3 graded stone aggregate 20mm nominal size). | cum | 3
20 | 5.9.1 | Centring and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns etc. for mass concrete. | sqm | 100.79
21 | 5.9.3 | Centring and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. | sqm | 498.818
22 | 5.9.4 | Centring and shuttering including strutting, propping etc. and removal of form for: Shelves (Cast in Situ) | sqm | 160
23 | 5.9.5 | Centring and shuttering including strutting, propping etc. and removal of form for: lintels, beam, plinth beams, girders, bressumers and cantilevers. | sqm | 457
24 | 5.9.6 | Centring and shuttering including strutting, propping etc. and removal of form for: columns, pillars, piers, abutments, posts and struts. | sqm | 260
25 | 5.9.13 | Centring and shuttering including strutting, propping etc. and removal of form for: Vertical and horizontal fins individually or forming box louvers band, facias and eaves boards | sqm | 90
26 | 5.9.19 | Centring and shuttering including strutting, propping etc. and removal of form for: Weather shade, Chajjas, corbels etc including edges. | sqm | 17
27 | 5.11.1 | Extra for additional height in centring, shuttering where ever required with adequate bracing, propping etc. including cost of de-shuttering and decentring at all levels, over a height of 3.5m, for every additional height of 1 metre or part thereof (Plan area to be measured): Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | sqm | 724
28 | 5.15 | Providing, transporting, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete in lintels, beams and bressumers, including setting in cement mortar 1:3 (1 cement : 3 coarse sand), cost of required centering and shuttering but , excluding the cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 9.88
29 | 5.22.6/5.22A.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete at all level: Thermo- Mechanically Treated bars of grade Fe-500D or more | kg | 32467.3 | #REF!
30 | 5.3 | Add or deduct for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | metre | 70
31 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 111.2
32 | 6.4.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 84.0843
33 | 6.12.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in. cement mortar 1:4 (1 cement : 4 coarse sand) | sqm | 51
34 | 6.13.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | sqm | 125
35 | 6.15 | Extra for providing and placing in position 2 Nos. 6mm MS bars at every third course of brick masonry (with F.P.S bricks) | sqm | 51
36 | 9.21.2 | Providing and fixing ISI marked flush door shutters non-decorative type, core of block board construction with frame of Ist class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | sqm | 5
37 | 9.23 | Extra for providing lipping with 2nd class teak wood battens 25mm minimum depth on all edges of shutters (overall area of door shutter to be measured) | sqm | 5
38 | 9.42 | Providing and fixing 18mm thick 150mm wide pelmet of flat pressed 3 layer (like Novapan, Ecoboard etc) or graded wood particle board (like Bhutan Board) medium density Grade 1, IS:3087 marked including top cover of 6mm commercial ply wood, nickel plated M.S. pipe 20mm dia (heavy type) curtain rod with nickel plated brackets including fixing with 25x3mm M.S. flat 10cm long and rawl plugs 50mm long (designation 10 no.) etc. all complete. | metre | 2
39 | 9.96.1 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: Size 300 x 16mm | each | 1
40 | 9.96.2 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: Size 250 x 16mm | each | 2
41 | 9.97.2 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 250 x 10mm | each | 4
42 | 9.97.3 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 200 x 10mm | each | 2
43 | 9.100.1 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size: 125mm | each | 4
44 | 9.100.2 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 100mm | each | 2
45 | 9.101.2 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Twin rubber stopper | each | 2
46 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | kg | 760
47 | 10.6.1 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths interlocked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete including the cost of providing and fixing necessary 27.5cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS:4454-part 1 and MS top cover of required thickness for rolling shutters. : 80 x 1.25mm M.S. laths with 1.25mm thick top cover | sqm | 12.5
48 | 10.7 | Providing and fixing ball bearing for rolling shutters. | each | 2
49 | 10.14.1.1 | Providing and fixing pressed steel door frames conforming to IS:4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm ,or base ties of 1.60 mm pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5mm thick with mortar guards, lock strikeplate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B. Fixing with adjustable lugs with split end tail to each jamb. | metre | 17
50 | 10.17 | Providing and fixing MS fan clamp type I or II of 16mm dia MS bar, bent to shape with hooked ends in RCC slabs or beams during laying including painting the exposed portion of loop, all as per standard design complete | each | 1
51 | 10.25.2 | Steel work welded in built up sections/ framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required: In gratings, frames, guard bars, ladders, railings, brackets, gates and similar works. | kg | 1104.852
52 | 11.4 | 52mm thick cement concrete flooring with concrete hardener topping ,under layer 40mm thick cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick concrete hardener consisting of mix 1:2 (1 cement hardener mix: 2 graded stone aggregate 6mm nominal size) by volume hardening compound mixed @ 2 litre per 50kg of cement or as per manufacturer's specifications. This includes cement slurry, but excluding the cost of nosing of steps etc. complete. | sqm | 410
53 | 11.6.1 | Cement plaster skirting up to 30cm height, with cement mortar 1:3 (1 cement: 3 coarse sand), finished with a floating coat of neat cement: 18mm thick | sqm | 17
54 | 8.31 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | sqm | 14
55 | 11.37 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete.. | sqm | 3
56 | 13.1.2 | 12mm cement plaster of mix: 1:6 (1 cement: 6 fine sand) | sqm | 676.32
57 | 13.2.2 | 15mm cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement: 6 fine sand) | sqm | 555
58 | 13.16 | 6mm cement plaster to ceiling of mix: 1:3 (1 cement: 3 find sand) | sqm | 600
59 | 13.17 | 6mm cement plaster 1:3 (1 cement: 3 find sand) finished with a floating coat of neat cement and thick coat of lime wash on top of walls when dry for bearing of RCC slabs and beams | sqm | 300
60 | 13.41.1 | Distempering with 1st quality acrlic distemper(ready mixed) having VOC content less than 50gram/litre,of approved manufacturer and of required shade and colour all complete to achieve even shade and colour: New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50gram/litre. | sqm | 955
61 | 13.46.1 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.9ltr/10 sqm) | sqm | 740
62 | 13.61.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | sqm | 155.9
63 | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to given an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | sqm | 120
64 | 13.76 | Forming groove of uniform size from 12x12 mm and upto 25x15 mm in the top layer of washed stone grit plastered surface as per approved pattern, including providing and fixing aluminum channels of appropriate size and thickness (not less than 2 mm), nailed to the under layer with rust proof screws and nails and finishing the groove complete as per specifications and direction of the Engineer-inCharge. | metre | 250
65 | 16.3.2 | Supplying and stacking at site. 63 mm to 45 mm size stone aggregate | cum | 130
66 | 16.3.3 | Supplying and stacking at site. 53 mm to 22.4 mm size stone aggregate | cum | 130
67 | 16.3.6 | Supplying and stacking at site. Stone screening 13.2 mm nominal size (Type A) | cum | 41
68 | 16.3.10 | Supplying and stacking at site. Moorum | cum | 12
69 | 17.2.1 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid. | each | 1
70 | 17.7.3 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | each | 1
71 | 17.28.1.1 | Providing and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete: Semi rigid pipe: 32mm dia | each | 1
72 | 17.32.2 | Providing and fixing mirror of superior quality thickness of required shape and size with plastic moulded frame of approved make and shade with 6mm thick hard board backing. Rectangular shape 453x357mm | each | 1
73 | 18.7.2 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.20 mm nominal dia Pipes | metre | 20
74 | 18.7.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.25 mm nominal dia Pipes | metre | 20
75 | 18.8.1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls:15 mm nominal dia Pipes | metre | 10
76 | 18.8.2 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls:20 mm nominal dia Pipes | metre | 15
77 | 18.9.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work,25 mm nominal dia Pipes | metre | 10
78 | 18.9.5 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.: 40 mm nominal dia Pipes | M | 300
79 | 18.15.1 | Providing and fixing brass bib cock of approved quality: 15mm nominal bore | each | 2
80 | 18.17.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25mm nominal bore | each | 1
81 | 18.18.3 | Providing and fixing ball valve (brass) of approved quality complete. High or low pressure with plastic floats: 25mm nominal bore | each | 1
82 | 18.21.2.1 | Providing and fixing unplasticised PVC connection pipe with brass unions. 45cm length. 15mm nominal bore | each | 1
83 | 18.32.1 | Constructing masonry chamber 30x30x50cm inside ,in brick work in cement mortar 1:4 (1 cement: 4coarse sand) for stop cock, with C.I. surface box 100x100x75mm (inside) with hinged cover fixed in cement concrete slab 1:1.5:3 mix (1 cement: 1.5 course sand: 3 graded stone aggregate 20mm nominal size) including necessary excavation, foundation concrete 1:5:10 (1 cement: 5 fine sand: 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design: With common burnt clay F.P.S.(Non Modular) bricks of class designation 7.5 | each | 1
84 | 18.48 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank | per litre | 500
85 | 18.52.1 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approve make conforming to IS:8931: 15mm nominal bore | each | 1
86 | 19.4.1.1 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1
87 | 19.7.1.1 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1
88 | 19.32.1 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1
89 | 21.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
90 | 21.1.1.1 | For fixed portion:Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | kg | 300
91 | 21.1.2.1 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868,Minimum anodic coating of grade AC 15) | kg | 280
92 | 21.3.2 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | sqm | 50
93 | 21.8.1 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete:Upto 5mm depth and 5 mm width | metre | 105
94 | 22.7.1 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:(a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : 22.7.1 With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | sqm | 520
Non schedule item(Civil)
95 | NS-1 | Diluting and injecting chemical emulsion (excluding of the cost of the chemical emulsion) for PRE-CONSTRUCTIONAL ANTI-termite treatment and creating a continuous chemical barrier under and all-round the column pits, wall trenches, basement excavation, top surface of plinth filling, junction of wall and floor, along the external perimeter of building, expansion joints, over the top surface of consolidated earth on which apron is to be laid, surroundings of pipes and conduits etc. complete as per specifications (Plinth area of the building at ground floor only shall be measured for payment). (Only application charges shall be paid under this item) Chlorpyriphos / Lindane Emulsifiable concentrate 20% with 1% concentration. | sqm | 703
96 | NS-2 | Providing and fixing stainless steel gratings with or with out hole for waste pipe for floor/nahni traps 100mm dia. | Each | 1
97 | NS-3 | Supplying, laying,jointing ,testing and commisioning approved make upvc pipes SWR grade B conforming to IS 13592.The quoted rates shall include necessary fittings like Tees, bends, offsets etc. including MS angle with GI clamps complete: 110 mm dia | Metre | 50
98 | NS-4 | Supplying, laying,jointing ,testing and commisioning approved make upvc pipes SWR grade B conforming to IS 13592.The quoted rates shall include necessary fittings like Tees, bends, offsets etc. including MS angle with GI clamps complete: 75 mm dia | Metre | 20
99 | NS-5 | Supplying,installing,testing and commissioning approved make 15 mm CP health faucet with CP flexible tube 1.2 m long,CP crutch,nozzle and 2- way Bib Cock with wall flange etc. complete. Jaquar Model No. 573 and 041 or equivalent. | Nos | 1
100 | 100001412 | Drain including culverts but excluding concrete & reinforcement steel-Section A-A | M | 300
101 | 100008611 | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M | 300
102 | 1000031976 | Supply and Installation of 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 0.3
Sl. No. | DSR EM 2022 | Description | Unit | Qty
Electrical
Scheduled items for electrical
1 | 1.21 | Supply and fixing of following sizes of PVC conduit alongwith the accessories in surface/ recess including cutting the wall and making good the same in case of recessed conduit as required: 20 mm
(i) | 1.21.1 | 20 mm | Metre | 39
(ii) | 1.21.2 | 25 mm | Metre | 88
POINT WIRING:
2 | 1.10. | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5sq.mm FR PVC insulated copper conductor cable single core cable in surface/ recessed PVC conduit with modular plate, suitable GI box and earthing the point with 1.5 sqmm FR PVC insulated copper conductor single core cable etc as required:
(i) | 1.10.2 | Group B | Point | 30
(ii) | 1.10.3 | Group C | Point | 25
3 | 1.5 | Wiring for light/ power plug wiring with 2x4 sq.mm. PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit alongwith 1 number 4 sqmm FR PVC insulated copper conductor single core cable for loop earthing as required. | Metre | 110
CIRCUIT/SUB MAIN WIRING
4 | 1.7 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of PVC insulated copper conductor, single core cable in surface/recessed PVC conduit etc as required.
(i) | 1.7.1 | 2X1.5 Sqmm + 1X 1.5 sqmm Earth wire | Metre | 50
(ii) | 1.7.2 | 2X2.5 Sqmm + 1X 2.5 sqmm Earth wire | Metre | 140
SWITCHES AND ACCESSORIES
5 | 1.24 | Supplying and fixing of following modular switch/socket on the existing modular plate and switch box inclduing connections but excluding modular plare etc as required. (for incharge room)
(i) | 1.24.1 | 5/6 amp switch | Each | 5
(ii) | 1.24.4 | 3 pin 5/6 amp socket outlet | Each | 5
(iii) | 1.24.3 | .15/16 amp switch | Each | 3
(iv) | 1.24.5 | 6 pin 15/16 amp socket outlet | Each | 3
6 | 1.27 | Supplying and fixing following size / module, GI Box along with modular base & cover plate of modular switches in recess etc. as required
(i) | 1.27.1 | 1 or 2 Module (75 x 75 mm) | NO | 5
(ii) | 1.27.2 | 3 Module (100 x 75 mm) | NO | 5
(iii) | 1.27.3 | 4 Module (125 x 75 mm) | NO | 10
(iv) | 1.27.5 | 8 Module (125mmX125mm) | NO | 2
7 | 1.31 | Supply and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection, painting etc as required (for main store and incharge room) | Each | 8
8 | 1.41 | Installation, testing and commissioning of pre-wired, fluorescent fittings, of all types complete with all accessories and tubes etc. directly on ceiling/wall, including connections with 1.5 sq.mm PVC insulated copper conductor, single core cable and earthing etc. as required. | Each | 6
9 | 1.42 | Installation, testing and commissioning of pre-wired, fluorescent fittings, of all types complete with all accessories and tubes etc. including supplying and fixing ball and socket arrangement, 2 nos. down-rods of 20 mm dia. x 1.6mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connections with 1.5 sq.mm FR PVC insulated copper conductor, single core cable and earthing etc as required. | Each | 30
10 | 1.43 | Providing and fixing extra conduit down rod of 20 mm dia, 2 X 10 cm length, wiring with 2 X 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | Each | 70
11 | 1.50.1 | Installation of exhaust fan upto 450 mm sweep in the existing opening including making the hole to suit the size of the above fan, making good the damage . Conenction , testing and comissioning etc as required. | each | 6
12 | 1.57 | Supplying & fixing suitable size GI box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connections, painting etc. as required. | Nos. | 10
DISTRIBUTION PANELS / BOARDS :
13 | 2.3 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
(i) | 2.3.3 | 12 way, double door | Each | 1
14 | 2.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
(i) | 2.10.1 | Single pole | Each | 10
(ii) | 2.10.2 | Single pole and Neutral | Each | 1
15 | 19.1 | Supply, installation, testing and commissioning of 1200 mm sweep, BEE 5 STAR rated, ceiling fan with brushless direct current (BLDC) motor, class of insulation :B, 3 Nos blades, 30 cm long down rod, 2 nos canopies, shackle kit, safety rope, copper winding, power factor not less than 0.9, service value(CM/M/W) minimum 6.00, air delivary minimum 210 cum/ min, 350 rpm(tolerance as per IS:374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessoris including safety pins, nut bolts, washers, temperature rise =75 degreeC (max), insulation resistance, more than 2 Mega ohm, suitable for 230V, 50 Hz, single phase AC supply, earthing etc. complete as required. | Each | 5
Total Electrical DSR excl GST
Non scheduled items for electrical
16 | NS | Supply of Surface mounted linear LED tube 20W LED Tube Light of approved make. | Nos | 32
17 | NS | Supply of Wall mounted exhaust fan (12" dia.) of approved make. | Nos | 6

## BoQ Part B
BOQ Part -B Open Plateform, Drain, Road & Fencing
Sr No | DSR-2023 | Description | Unit | Quantity
1 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. : All kinds of soil. | cum | 176.085
2 | 2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50m and for all lift. | cum | 90.7669
3 | 4.1.4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | cum | 126.725
4 | 4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:4:8 (1 cement: 4 coarse sand: 8 graded stone aggregate 40mm nominal size). | cum | 80.898
5 | 4.3.1 | Centring and shuttering including strutting, propping etc and removal of formwork for: Foundations, footings, bases of columns | sqm | 88.28
6 | 5.1.2 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 5
7 | 5.15 | Providing, transporting, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete in lintels, beams and bressumers, including setting in cement mortar 1:3 (1 cement : 3 coarse sand), cost of required centering and shuttering but , excluding the cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | cum | 9.875
8 | 5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | KG | 1067.3
9 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 95.2012
10 | 10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | KG | 760
11 | 10.25.2 | Steel work welded in built up sections/ framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required: In gratings, frames, guard bars, ladders, railings, brackets, gates and similar works. | KG | 200
12 | 13.1.2 | 12mm cement plaster of mix: 1:6 (1 cement: 6 fine sand) | sqm | 66.322
13 | 13.61.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | sqm | 155.9
14 | 16.3.2 | Supplying and stacking at site. 63 mm to 45 mm size stone aggregate |  | 130
15 | 16.3.3 | Supplying and stacking at site. 53 mm to 22.4 mm size stone aggregate |  | 130
16 | 16.3.6 | Supplying and stacking at site. Stone screening 13.2 mm nominal size (Type A) |  | 41
17 | 16.3.10 | Supplying and stacking at site. Moorum |  | 12
18 | 18.9.5 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.: 40 mm nominal dia Pipes | M | 300
SOR Items
1 | 100001412 | Drain including culverts but excluding concrete & reinforcement steel-Section A-A | M | 300
2 | 100008611 | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M | 300
4 | 1000031976 | Supply and Installation of 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM | 0.3

## Open Store Measurment
2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. : All kinds of soil.
| For open plateform (20x30) | 2 | 100.7 | 1 | 0.775 | 156.085
| Drain Sec AA | 1 | 300 | 1.21 | 0.55 | 0
| Fencing post | 167 | 0.9 | 0.9 | 0.975 | 0
| LS for mis work |  |  |  |  | 20
| Total |  |  |  |  | 176.085
2.25 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead up to 50m and for all lift. | cum
| Total Excavation for plateform |  |  |  |  | 156.085
| Less Plateform PCC |  | -1 |  | 14.098 | -14.098
| Less Plateform B/w |  | -1 |  | 71.2201 | -71.2201
| LS for mis work |  |  |  |  | 20
| Total |  |  |  |  | 90.7669
4.1.8 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:4:8 (1 cement: 4 coarse sand: 8 graded stone aggregate 40mm nominal size).
| PCC open plateform | 2 | 100.7 | 0.7 | 0.1 | 14.098
| Fencing post | 167 | 0.6 | 0.6 | 0.075 | 0
| Road | 1 | 100 | 3.75 | 0.1 | 37.5
| Drain | 1 | 300 | 0.91 | 0.1 | 27.3
| LS |  |  |  |  | 2
| Total |  |  |  |  | 80.898
4.3.1 | Centring and shuttering including strutting, propping etc and removal of formwork for: Foundations, footings, bases of columns | sqm
| PCC open plateform | 4 | 100.7 | 0.1 |  | 40.28
| Fencing post | 167 | 1.8 | 1.2 |  | 0
| Drain | 2 | 300 | 0.075 |  | 45
| LS |  |  |  |  | 3
| Total |  |  |  |  | 88.28
5.15 | Providing, transporting, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete in lintels, beams and bressumers, including setting in cement mortar 1:3 (1 cement : 3 coarse sand), cost of required centering and shuttering but , excluding the cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources)
| RCC BLOCKS FOR STO AGE OF TOWER PARTS | 100 | 0.175 | 0.3 | 1.5 | 7.875
| LS |  |  |  |  | 2
| Total |  |  |  |  | 9.875
5.1.2 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources)
| Road | 1 | 100 | 3.75 | 0.1 | 0
| LS |  |  |  |  | 5
| Total |  |  |  |  | 5
5.22.6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more.
| Road 8mm Long bar @300 C/c | 13.5 | 100 | 0.395 |  | 0
| Road 8mm Short Bar @300 | 13.5 | 3.75 | 0.395 |  | 0
| LS |  |  |  |  | 100
| Precast RCC Block 12 Dia 4 no in each block | 400 | 1.5 | 0.888 |  | 532.8
| Ring 8 Dia | 1000 | 1.1 | 0.395 |  | 434.5
| Total |  |  |  |  | 1067.3
6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | cum
| Open Plateform | 2 | 100.7 | 0.575 | 0.375 | 43.4269
|  | 2 | 100.7 | 0.46 | 0.3 | 27.7932
|  | 2 | 100.7 | 0.345 | 0.23 | 15.9811
| Drain | 1 | 300 | 0.23 | 0.6 | 0
8
| Total |  |  |  |  | 95.2012
10.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete.
| Store Gate 2 nos | 2 | 80 |  |  | 160
| For placement of equipment Channel, Angle plate etc as per site requirement | 1 | 600 |  |  | 600
| Total |  |  |  |  | 760
10.25.2 | Steel work welded in built up sections/ framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required: In gratings, frames, guard bars, ladders, railings, brackets, gates and similar works.
| Store Gate 2 nos | 2 | 100 |  |  | 200
| Total |  |  |  |  | 200
13.1.2 | 12mm cement plaster of mix: 1:6 (1 cement: 6 fine sand) | sqm
| Open Plateform | 2 | 100.7 | 0.23 |  | 46.322
| Fencing post | 167 | 1.8 | 0.3 |  | 0
| Drain | 1 | 300 | 2.06 |  | 0
20
| Total |  |  |  |  | 66.322
13.61.1 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work
| LS for structural steel painting | 1 | 80 |  |  | 80
| Total |  |  |  |  | 80
4.1.4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 40 mm nominal size derived from natural sources) | cum
| Open Plateform | 2 | 20 | 30 | 0.1 | 120
| Fencing Post | 167 | 0.45 | 0.45 | 1.2 | 0
| Drain | 1 | 300 | 0.23 | 0.025 | 1.725
5
| Total |  |  |  |  | 126.725
16.3.2 | Supplying and stacking at site. 63 mm to 45 mm size stone aggregate
| Open Plateform | 2 | 20 | 30 | 0.1 | 120
10
| Total |  |  |  |  | 130
16.3.3 | Supplying and stacking at site. 53 mm to 22.4 mm size stone aggregate
| Open Plateform | 2 | 20 | 30 | 0.1 | 120
10
| Total |  |  |  |  | 130
16.3.6 | Supplying and stacking at site. Stone screening 13.2 mm nominal size (Type A)
| Open Plateform | 2 | 20 | 30 | 0.03 | 36
5
| Total |  |  |  |  | 41
16.3.10 | Supplying and stacking at site. Moorum
| Open Plateform | 2 | 20 | 30 | 0.01 | 12
| Total |  |  |  |  | 12
18.9.5 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge.: 40 mm nominal dia Pipes
| Store water supply | 1 |  |  | 300 | 300
| Total |  |  |  |  | 300
100001412 | Drain including culverts but excluding concrete & reinforcement steel-Section A-A
| Drain A-A | 1 |  |  | 300 | 300
| Total |  |  |  |  | 300
100008611 | Swtichyard fencing: Providing and fixing fencing of GI barbed wire consisting of galvanized MS tubular posts at 3 m intervals; GIbarded wire shall run horizontally from post to post at a spacing of 300 mm (vertically) and a cross formation in each panel,complete as per technical specification and drawing. | M
| Store fencing | 1 |  |  | 300 | 300
| Total |  |  |  |  | 300
100001379 | 3.75m wide Concrete road (including all crossings) as per drawing except reinforcement & concrete in Switchyard
| Road | 1 | 100 | 3.75 |  | 0
| Total |  |  |  |  | 0
1000031976 | Supply and Installation of 1.1KV GRADE 4CX16 SQMM (PVC) POWER CABLE | KM
| Power Cable | 1 |  |  | 0.3 | 0.3
| Total |  |  |  |  | 0.3

## JMC(Civil)
Sl.No. | DSR code | Description of work | Unit | No. | L | B | H | Qty.
PART-A Construction of Store
1 | 2.6 | Earth work in excavation by mechanical means…….
|  | F1 Footing (2100x2400)-4 nos. | Cum | 4 | 2.55 | 2.85 | 1.5 | 43.605
|  | F2 Footing (2800x3000)-16 nos. | Cum | 16 | 3.25 | 3.45 | 1.5 | 269.1
|  | F3 Footing (1200x1200)-3 nos. | Cum | 3 | 1.65 | 1.65 | 1.5 | 12.2512
|  | CF-1 Footing (2800x3300)-2 nos. | Cum | 2 | 3.25 | 3.75 | 1.5 | 36.5625
|  | Plinth Beam Grid A & B (PB3) | Cum | 2 | 25.4 | 0.6 | 0.1 | 3.048
|  | Plinth Beam Grid 1,7 & 12 (PB1) | Cum | 3 | 7.03 | 0.6 | 0.1 | 1.2654
|  | Septic Tank | Cum | 1 | 2.95 | 1.85 | 1.6 | 8.732
|  |  | Cum | 1 | 1.2 | 1.2 | 1.5 | 2.16
|  | LS | [5 empty] | 50
|  |  | Cum |  |  |  | TOTAL | 426.7242
2 | 2.25 | Filling available excavated earth (excluding rock) in trenches………
|  | Total filling( item no .01) | Cum |  |  |  |  | 376.72
|  | PCC area( item no.8) | Cum |  |  |  |  | -23.98
|  | RCC area(item no.14) | Cum |  |  |  |  | -60.61
|  | ST | Cum |  |  |  |  | -8.732
|  |  | Cum |  |  |  |  | -2.16
19
|  |  | Cum |  |  |  | TOTAL | 300.238
3 | 2.27 | Supply and filling in plinth with sand……..
|  | Store area | Cum | 1 | 23.989 | 10 | 0.15 | 35.9835
|  |  |  | 1 | 16.243 | 10 | 0.15 | 24.3645
|  | LS | [5 empty] | 20
|  |  | cum |  |  |  | Total | 80.348
4 | 2.28 | Surface dressing of the ground including removing of vegitation……..
|  |  | Sqm | 1 | 50 | 15 |  | 750
|  |  | Sqm |  |  |  | TOTAL | 750
5 | 2.34 | Supplying chemical emulsion in sealed containers including delivery as specified - Chlorpyriphos emulsifiable concentrate of 20%
|  | Chemical (702.36 x .27) | ltr | 1 |  |  |  | 190
|  |  | Ltr |  |  |  | TOTAL | 190
6 | NS | Diluting and injecting chemical emulsion (Excluding cost of chemical emulsion at site of work) for PRE-CONSTRUCTIONAL ANTI-termite treatment and creating a continuous chemical barrier under and all-round the column pits, wall trenches, basement excavation, top surface of plinth filling, junction of wall and floor, along the external perimeter of building, expansion joints, over the top surface of consolidated earth on which apron is to be laid, surroundings of pipes and conduits etc. complete as per specifications (Plinth area of the building at ground floor only shall be measured for payment). Chlorpyriphos / Lindane Emulsifiable concentrate 20% with 1% concentration.
|  | Floor Area & plinth Protection area | sqm | 1 | 12.5 | 42 |  | 525
|  | Footing Area |  | 4 | 2.1 | 2.4 |  | 20.16
|  | Footing Area with col. |  | 16 | 2.8 | 3 |  | 134.4
|  |  |  | 3 | 1.2 | 1.2 |  | 4.32
|  |  |  | 2 | 2.8 | 3.3 |  | 18.48
|  |  | Sqm |  |  |  | Total | 702.36
7 | 4.1.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work up to plinth level: 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size).
|  | Store | Cum | 1 | 23.989 | 10 | 0.1 | 23.989
|  | Godown |  | 1 | 16.243 | 10 | 0.1 | 16.243
|  | Ramp |  | 2 | 1.85 | 3.5 | 0.1 | 1.295
|  | ST |  | 1 | 2.5 | 1.4 | 0.1 | 0.35
|  |  | cum |  |  |  | Total | 41.877
8 | 4.1.8 | Providing and laying in position cement concrete of specified grade……1:4:8
|  | F1 Footing (2100x2400)-4 nos. | Cum | 4 | 2.25 | 2.55 | 0.1 | 2.295
|  | F2 Footing (2800x3000)-16 nos. | Cum | 16 | 2.95 | 3.15 | 0.1 | 14.868
|  | F3 Footing (1200x1200)-3 nos. | Cum | 3 | 1.35 | 1.35 | 0.1 | 0.54675
|  | CF-1 Footing (2800x3300)-2 nos. | Cum | 2 | 2.95 | 3.45 | 0.1 | 2.0355
|  | Plinth Beam Grid A & B (PB3) | Cum | 2 | 35.52 | 0.4 | 0.075 | 2.1312
|  | Plinth Beam Grid 1,7 & 12 (PB1) | Cum | 3 | 9.7 | 0.4 | 0.075 | 0.873
|  | Internal Wall, Office | Cum | 1 | 3.516 | 0.956 | 0.1 | 0.33613
|  | Internal Wall | Cum | 1 | 3.593 | 0.956 | 0.1 | 0.34349
|  | Internal Wall, Toilet | Cum | 1 | 1.327 | 0.61 | 0.1 | 0.080947
|  | Internal Wall | Cum | 1 | 1.685 | 0.97 | 0.1 | 0.16345
|  | PCC for ST | Cum | 1 | 2.65 | 1.55 | 0.075 | 0.30806
|  | Store | Cum | 1 | 23.989 | 10 | 0.1 | 23.989
|  | Godown |  | 1 | 16.243 | 10 | 0.1 | 16.243
|  | Ramp |  | 2 | 1.85 | 3.5 | 0.1 | 1.295
|  |  | Cum |  |  |  | TOTAL | 65.5085
9 | 4.2.3 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc upto floor five level, excluding the cost of centring, shuttering and finishing: 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size). | [5 empty] | 0
10 | 4.2.5 | P/L Cement concrete in resting wall…. | [5 empty] | 0
11 | 4.3.1 | Centering and shuttering including strutting, proping etc. and removal of form work……for foundation, footing and bases of column..
PCC 1:4:8
|  | F1 Footing (2100x2400)-4 nos. | Cum | 4 | 9.6 |  | 0.1 | 3.84
|  | F2 Footing (2800x3000)-16 nos. | Cum | 16 | 12.2 |  | 0.1 | 19.52
|  | F3 Footing (1200x1200)-3 nos. | Cum | 3 | 5.4 |  | 0.1 | 1.62
|  | CF-1 Footing (2800x3300)-2 nos. | Cum | 2 | 12.8 |  | 0.1 | 2.56
|  | Plinth Beam Grid A & B (PB3) | Cum | 4 | 35.52 |  | 0.075 | 10.656
|  | Plinth Beam Grid 1,7 & 12 (PB1) | Cum | 6 | 9.7 |  | 0.075 | 4.365
[7 empty] | TOTAL | 42.561
12 | 4.1 | P/L DPC course 40mm thick… | sqm | 20 | 3.55 | 0.25 |  | 17.75
|  |  |  | 3 | 10 | 0.25 |  | 7.5
|  | office room |  | 1 | 10.25 | 0.25 |  | 2.5625
|  |  | TOTAL |  |  |  |  | 27.8125
13 | 4.13 | Applying a coat of residual… | Same item no. 12 |  |  |  | Total | 27.81
14 | 5.1.2 | Providing and laying in position specified grade of RCC…….1:1.5:3
|  | F1 Footing (2100x2400)-4 nos.Rectangular Portion | Cum | 4 | 2.1 | 2.4 | 0.175 | 3.528
|  | Trapezoidal Portion | Cum | 4x0.175/3{(2.10x2.40+0.55x0.850+√(5.04x0.467)} |  |  |  | 1.633
|  | Pedestal | Cum | 4 | 0.55 | 0.85 | 0.2 | 0.374
|  | F2 Footing (2800x3000)-16 nos.Rectangular Portion | Cum | 16 | 2.8 | 3 | 0.225 | 30.24
|  | Trapezoidal Portion | Cum | 16x0.225/3{(2.80x3.00+0.55x0.850+√(8.4x0.467)} |  |  |  | 13.016
|  | Pedestal | Cum | 16 | 0.55 | 0.85 | 0.2 | 1.496
|  | F3 Footing (1200x1200)-3 nos.Rectangular Portion | Cum | 3 | 1.2 | 1.2 | 0.175 | 0.756
|  | Trapezoidal Portion | Cum | 3x0.175/3{(1.20x1.20+0.40x0.40+√(1.44x0.160)} |  |  |  | 0.36
|  | Pedestal | Cum | 0 | 0 | 0 | 0 | 0
|  | CF1 Footing (2800x3300)-2 nos.Rectangular Portion | Cum | 2 | 2.8 | 3.3 | 0.225 | 4.158
|  | Trapezoidal Portion | Cum | 2x0.225/3{(2.80x3.30+1.05x0.85+√(9.24x0.8925)} |  |  |  | 1.95
|  | Pedestal | Cum | 2 | 0.85 | 1.05 | 0.2 | 0.357
|  | Column C1(450x750)- 4 nos. for F1 | Cum | 4 | 0.45 | 0.75 | 0.4 | 0.54
|  | Column C2(450x750)- 16 nos. for F2 | Cum | 16 | 0.45 | 0.75 | 0.3 | 1.62
|  | Column C2(450x750)- 04 nos. for CF1 | Cum | 4 | 0.45 | 0.75 | 0.3 | 0.405
|  | Column C3(300x300)- 3 nos. for F1 | Cum | 3 | 0.3 | 0.3 | 0.6 | 0.162
|  |  | Cum |  |  |  | TOTAL | 60.595
15 | 5.2.2 | RCC work… Column 1:1.5:3
|  | (C1 +C2) up to Floor | Cum | 24 | 0.45 | 0.75 | 0.3 | 2.43
|  | (C1 +C2) floor to Slab | cum | 24 | 0.45 | 0.75 | 4.5 | 36.45
|  |  | Cum |  |  |  | Total | 38.88
16 | 5.3 | RCC work… beam, roof…. 1:1.5:3
|  | Beam (plinth.) | Cum | 2 | 40.925 | 0.3 | 0.45 | 11.0497
|  | Beam | Cum | 3 | 10 | 0.3 | 0.45 | 4.05
|  | Col. Area | Cum | 24 | 0.45 | 0.45 | 0.45 | 2.187
|  | Slab area | cum | 1 | 42.5 | 12.06 | 0.15 | 76.8825
|  | Beam B1 | cum | 4 | 10 | 0.35 | 0.45 | 6.3
|  | Beam B2 | cum | 8 | 10 | 0.35 | 0.45 | 12.6
|  | Beam 3 | cum | 20 | 3.55 | 0.35 | 0.45 | 11.1825
|  | Beam with Col. | Cum | 24 | 0.45 | 0.75 | 0.45 | 3.645
|  | Lintel Beam Grid A & B | Cum | 2 | 40.925 | 0.25 | 0.3 | 6.1387
|  | Lintel Beam Grid 1,7 & 12 | Cum | 3 | 10 | 0.25 | 0.3 | 2.25
|  | Column Area | Cum | 24 | 0.45 | 0.25 | 0.3 | 0.81
|  | Chajja | Cum | 1 | 3.45 | 0.45 | 0.0875 | 0.13584
|  | W | Cum | 12 | 2.4 | 0.45 | 0.0875 | 1.134
|  | V | Cum | 1 | 1 | 0.45 | 0.0875 | 0.039375
|  | Lintel for Office room/Bath | Cum | 1 | 3.8 | 0.25 | 0.25 | 0.2375
|  | LS | [5 empty] | 10
|  |  | Cum |  |  |  | Total | 148.6422
17 | 5.8 | RCC work in vertical….. | [5 empty] | 0
18 | 5.9.1 | Centering and shuttering including strutting, proping etc. and removal of form work……for foundation, footing and bases of column..
RCC 1:1.5:3
|  | F1 Footing (2100x2400)-4 nos.Rectangular Portion | sqm | 4 | 9 |  | 0.175 | 6.3
|  | Pedestal | sqm | 4 | 2.8 |  | 0.2 | 2.24
|  | F2 Footing (2800x3000)-16 nos.Rectangular Portion | sqm | 16 | 11.6 |  | 0.225 | 41.76
|  | Pedestal | sqm | 16 | 2.8 |  | 0.2 | 8.96
|  | F3 Footing (1200x1200)-3 nos.Rectangular Portion | sqm | 3 | 4.8 |  | 0.175 | 2.52
|  | Pedestal | sqm | 0 | 1.6 |  | 0.2 | 0
|  | CF1 Footing (2800x3300)-2 nos.Rectangular Portion | sqm | 2 | 12.2 |  | 0.225 | 5.49
|  | Pedestal | sqm | 2 | 3.8 |  | 0.2 | 1.52
32
|  |  | Sqm |  |  |  | TOTAL | 100.79
19 | 5.9.3 | Centering shutteringfor roof slab
|  | Roof Slab Area | sqm | 1 | 42.5 | 12.06 |  | 512.55
|  | Col. | sqm | -24 | 0.45 | 0.75 |  | -8.1
|  | Beam bottom | sqm | -12 | 10 | 0.35 |  | -42
|  | side | sqm | 2 | 42.5 | 0.15 |  | 12.75
|  |  | sqm | 2 | 12.06 | 0.15 |  | 3.618
|  | LS | [5 empty] | 20
|  |  | sqm |  |  |  | Total | 498.818
20 | 5.9.4 | centering and shuttering ……shelves |  |  |  |  | TOTAL | 0
21 | 5.9.5 | Centering and shuttering including strutting, proping etc. and removal of form work……for lintels, beam, plinth beams….
|  | Plinth Beam Grid A & B (PB3) | sqm | 4 | 40.925 |  | 0.45 | 73.665
|  | Plinth Beam Grid 1,7 & 12 (PB1) | sqm | 6 | 10 |  | 0.45 | 27
|  | Col. Area | sqm | 24 | 0.9 |  | 0.45 | 9.72
|  | Lintel Beam Grid A & B | Sqm | 4 | 40.925 |  | 0.3 | 49.11
|  | Bottom | Sqm | 2 | 40.925 |  | 0.25 | 20.4625
|  | Lintel Beam Grid 1,7 & 12 | Sqm | 6 | 10 |  | 0.3 | 18
|  | Bottom | Sqm | 3 | 10 |  | 0.25 | 7.5
|  | Column Area | Sqm | 24 | 0.9 |  | 0.3 | 6.48
|  | B1&B2 | sqm | 24 | 10 |  | 0.45 | 108
|  | Bottom beam, B1 &B3 | sqm | 12 | 10 |  | 0.4 | 48
|  | B1, side | sqm | 40 | 3.55 |  | 0.45 | 63.9
|  | B1,bottom | sqm | 20 | 3.55 |  | 0.35 | 24.85
|  |  | sqm |  |  |  | Total | 456.6875
22 | 5.9.6 | Centering shuttering for column - | sqm | 24 | 2.4 | 4.5 |  | 259.2
|  |  | Total |  |  |  |  | 259.2
23 | 5.9.13 | Centering shuttering for band- |  |  |  |  | total | 0
24 | 5.9.19 | Centering shuttering for Chhaja..-
|  | bott. chhaja | sqm | 10 | 2.35 | 0.475 |  | 11.1625
|  | side | sqm | 10 | 2.35 | 0.088 |  | 2.068
|  |  | sqm | 20 | 0.5 | 0.088 |  | 0.88
|  | door chhaja | sqm | 1 | 3.55 | 0.475 |  | 1.6862
|  |  | sqm | 1 | 3.55 | 0.088 |  | 0.3124
|  |  | sqm |  |  |  | Total | 16.1091
25 | 5.11.1 | Extra for addittional height in centering, shuttering
|  | Roof Slab Area | sqm | Same item no.19 |  |  |  | 478.82
|  | B1&B2 | sqm | 24 | 10 | 0.45 |  | 108
|  | Bottom beam, B1 &B3 | sqm | 12 | 10 | 0.4 |  | 48
|  | B1, side | sqm | 40 | 3.55 | 0.45 |  | 63.9
|  | B1,bottom | sqm | 20 | 3.55 | 0.35 |  | 24.85
[7 empty] | Total | 723.57
26 | 5.22.6 | Reinforcement for RCC
|  | Footing , Column & tie beam | kg |  | As per BBS |  |  | 16136.63
|  | Lintel | kg |  | As per BBS |  |  | 1297.5
|  | Beam + Slab | kg |  | As per BBS |  |  | 13923.37
|  | Lintel for Office room& toilet(12 Dia) | kg | 4 | 3.75 | 0.888 |  | 13.32
|  | rings(8 dia) | kg | 25 | 0.95 | 0.395 |  | 9.3812
|  | expensin joint for top slab(8dia) | kg | 4 | 11.45 | 0.395 |  | 18.091
|  |  | kg |  |  |  | Total | 31398.2922
27 | 5.3 | Add or deduct for plaster….. |  |  |  |  | Total | 0
28 | 6.1.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand)
|  | Grid A & B up to floor | Cum | 20 | 3.55 | 0.23 | 0.26 | 4.2458
|  | Grid 1,7 & 12 | Cum | 3 | 10 | 0.23 | 0.26 | 1.794
|  | Office Room, Internal Wall, | Cum | 1 | 3.518 | 0.806 | 0.15 | 0.42533
|  | Internal Wall |  | 1 | 3.46 | 0.69 | 0.15 | 0.35811
|  | Internal Wall |  | 1 | 3.402 | 0.575 | 0.9 | 1.7605
|  | Internal Wall | Cum | 1 | 3.344 | 0.46 | 0.15 | 0.23074
|  | Internal Wall |  | 1 | 3.286 | 0.345 | 0.15 | 0.17005
|  | Internal Wall |  | 1 | 3.591 | 0.806 | 0.9 | 2.6049
|  | Internal Wall | Cum | 1 | 3.649 | 0.69 | 0.15 | 0.37767
|  | Internal Wall | Cum | 1 | 3.706 | 0.575 | 0.15 | 0.31964
|  | Internal Wall |  | 1 | 3.764 | 0.46 | 0.15 | 0.25972
|  | Internal Wall |  | 1 | 3.821 | 0.375 | 0.15 | 0.21493
|  | Internal Wall |  | 1 | 3 | 0.25 | 0.15 | 0.1125
|  | Toilet Room Internal wall(1.5-.288+.23+.115) |  | 1 | 1.557 | 0.46 | 0.45 | 0.3223
|  | Internal Wall (1.557-.058) |  | 1 | 1.499 | 0.345 | 0.15 | 0.077573
|  | Internal Wall |  | 1 | 1.5 | 0.23 | 0.3 | 0.1035
|  | Internal Wall |  | 1 | 1.76 | 0.46 | 0.45 | 0.36432
|  | Internal Wall |  | 1 | 1.818 | 0.345 | 0.15 | 0.094081
|  | Internal Wall |  | 1 | 1.875 | 0.23 | 0.15 | 0.064688
|  |  | Cum |  |  |  | TOTAL | 13.9004
29 | 6.4.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand)
|  | Store , up to lintel level. | cum | 11 | 3.55 | 0.25 | 2.55 | 24.8944
|  | store (side wall) | cum | 2 | 10 | 0.25 | 2.55 | 12.75
|  | store (above lintel) | cum | 11 | 3.55 | 0.25 | 1.65 | 16.1081
|  | store( above door) | cum | 1 | 3.55 | 0.25 | 1.1 | 0.97625
|  | partialy /Godown | cum | 7 | 3.55 | 0.25 | 1.5 | 9.3187
|  | Godown, (aboveof lintel) | cum | 7 | 3.55 | 0.25 | 1.1 | 6.8338
|  | Godown, (aboveof door) | cum | 1 | 3.55 | 0.25 | 1.1 | 0.97625
|  | Side wall( 10m) | cum | 1 | 10 | 0.25 | 1.5 | 3.75
|  | office | cum | 1 | 3 | 0.25 | 2.55 | 1.9125
|  |  | cum | 1 | 3.879 | 0.25 | 2.55 | 2.4729
|  |  | cum | 1 | 1.5 | 0.25 | 2.55 | 0.95625
|  |  | cum | 1 | 1.875 | 0.25 | 2.55 | 1.1953
|  | above of slab for Beam side | Cum | 1 | 11.5 | 0.25 | 0.45 | 1.2937
|  | Deduction(-) W | Cum | -12 | 2 | 0.25 | 1.65 | -9.9
|  | D( front door) | Cum | -1 | 1 | 0.25 | 2.55 | -0.6375
|  | D1 (in side) | Cum | -1 | 1 | 0.25 | 2.1 | -0.525
|  | D3 | Cum | -1 | 0.75 | 0.25 | 2.1 | -0.39375
|  | v | Cum | -7 | 0.6 | 0.25 | 0.45 | -0.4725
|  | Lintel (-) | Cum | -1 | 3.87 | 0.25 | 0.15 | -0.14513
|  | ST | Cum | 2 | 2.5 | 0.25 | 1.6 | 2
|  |  |  | 2 | 0.9 | 0.25 | 1.6 | 0.72
10
[7 empty] | Total | 84.0843 |  |  |  | 1
30 | 6.12.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in. cement mortar 1:4 (1 cement : 4 coarse sand)
|  | long wall | sqm | 2 | 42.525 |  | 0.45 | 38.2725
|  |  |  | 2 | 11.83 |  | 0.45 | 10.647
|  | ST |  | 2 | 0.9 |  | 1.1 | 1.98
[7 empty] | Total | 50.8995
31 | 6.13.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class de…..up to V level.
[7 empty] | total | 0
32 | 6.15 | Extra for providing and placing in position 2 Nos. 6mm MS bars at every third course of brick masonry (with F.P.S bricks)
|  |  | Sqm | same item no.31 |  |  | Total | 50.9
33 | 9.21.2 | Providing and fixing ISI marked flush door shutters non-decorative type, core of block board construction with frame of Ist class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30mm thick including ISI marked Stainless Steel butt hinges with necessary screws.
|  | D | sqm | 1 | 0.88 | 2.03 |  | 1.7864
|  | D1 | sqm | 1 | 0.88 | 2.03 |  | 1.7864
|  | D3 | sqm | 1 | 0.63 | 2.03 |  | 1.2789
[7 empty] | Total | 4.8517
34 | 9.23 | Extra for providing lipping with 2nd class teak wood battens 25mm minimum depth on all edges of shutters (overall area of door shutter to be measured) over item no. 9.20.1 |  |  |  |  | total | 0
35 | 9.42 | Providing and fixing 18mm thick 150mm wide pelmet of flat pressed 3 layer (like Novapan, Ecoboard etc) or graded wood particle board (like Bhutan Board) medium density Grade 1, IS:3087 marked including top cover of 6mm commercial ply wood, nickel plated M.S. pipe 20mm dia (heavy type) curtain rod with nickel plated brackets including fixing with 25x3mm M.S. flat 10cm long and rawl plugs 50mm long (designation 10 no.) etc. all complete. | metre |  |  |  | total | 0
36 | 9.96.1 | Providing and fixing aluminium sliding door ……….. 300x16mm | each | 1 |  |  | total | 1
37 | 9.96.2 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: Size 250 x 16mm
|  |  | each | 2 |  |  | Total | 2
38 | 9.97.2 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 250 x 10mm | each | 4 |  |  | Total | 4
39 | 9.97.3 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS:1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 200 x 10mm | each | 2 |  |  | total | 2
40 | 9.100.1 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size: 125mm | each | 4 |  |  | Total | 4
41 | 9.100.2 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Size 100mm | each | 2 |  |  | Total | 2
42 | 9.101.2 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: Twin rubber stopper | each | 2 |  |  | Total | 2
43 | 10.6.1 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths interlocked together through their entire length and jointed together at the end by end locks mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete including the cost of providing and fixing necessary 27.5cm long wire springs grade No. 2 and M.S. top cover of required thickness for rolling shutters: 80 x 1.25mm M.S. laths with 1.25mm thick top cover | sqm | 1 | 3.55 | 3.4 |  | 12.07
[7 empty] | Total | 12.07
44 | 10.7 | Providing and fixing ball bearing for rolling shutters. | each | 2 |  |  | Total | 2
45 | 10.14.1.1 | Providing and fixing pressed steel door frames manufactured from commercial mild steel sheet of 1.25mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split and tail to each jamb including steel butt hinges 2.5mm thick with mortar guards, lock strikeplate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B. Fixing with adjustable lugs with split end tail to each jamb.
|  | D (profile-B) | metre | 1 | 6.86 |  |  | 6.86
|  | D1 |  | 1 | 5.08 |  |  | 5.08
|  | D3 |  | 1 | 4.83 |  |  | 4.83
|  |  | metre |  |  |  | Total | 16.77
46 | 10.17 | Providing and fixing MS fan clamp type I of 16mm dia MS bar bent to shape with hooked ends in RCC slab during laying including painting the exposed portion of loop, all as per standard design complete | each |  |  |  |  | 0
47 | 10.25.2 | Steel work welded in built up sections/ framed work including cutting hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required: In gratings, frames, guard bars, ladders, railings, brackets, gates and similar works. | kg
|  | 12x12mm sqr bar | kg | 7 | 26 | 1.56 | 1.1 | 312.312
|  |  |  | 7 | 6 | 3.5 | 1.1 | 161.7
|  | flate 25x5mm |  | 7 | 2 | 3.5 | 1 | 49
|  |  |  | 7 | 2 | 1.56 | 1 | 21.84
|  | For window frame |  | 12 |  |  | 30 | 360
[7 empty] | Total | 904.852
48 | 11.3.1 | Cement concrete flooring 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate) finished with a floating coat of neat cement including cement slurry but excluding the cost of nosing of steps etc. complete: 40mm thick with 20mm nominal size stone aggregate. | sqm |  |  |  | total | 0
49 | 11.4 | 52mm thick cement concrete flooring with "Hardcrete" concrete hardener topping under layer 40mm thick cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick Hardcrete concrete hardener consisting of mix 1:2 (1 cement hardener mix: 2 graded stone aggregate 6mm nominal size) by volume with which Hardcrete hardening compound of Snowcem India Ltd. or equivalent is mixed @ 2 litre Hardcrete per 50kg of cement including cement slurry, but excluding the cost of nosing of steps etc. complete. | sqm | 1 | 23.98 | 10 |  | 239.8
|  |  |  | 1 | 16.24 | 10 |  | 162.4
|  | Deduction(-) |  | -1 | 1.82 | 1.43 |  | -2.6026
|  |  |  | -1 | 0.72 | 0.3 |  | -0.216
|  | Ramp | [5 empty] | 20
|  |  | Sqm |  |  |  | Total | 419.3814
50 | 11.6.1 | Cement plaster skirting (up to 30cm height) with cement mortar 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement: 18mm thick | sqm
|  | Skirting |  | 2 | 40.22 |  | 0.15 | 12.066
|  |  |  | 4 | 10 |  | 0.15 | 6
|  | Deduction( -) |  | -2 | 3.55 |  | 0.15 | -1.065
[7 empty] | Total | 17.001
51 | 11.8 | Extra for making chequers of approved pattern on cement concrete floors, steps, landing, pavements etc. | sqm |  |  |  |  | 0
52 | 11.36 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 13753 of minimum thickness 5mm of approved make like NITCO, ORIENT, SOMANY, KAJARIA, or equivalent make in all colours, shades, design and prints except begundy, bottle green, black of any size as approved by Engineer-in-charge in skirting, risers of steps and dados over 12mm thick bed of cement mortar 1:3 (! Cement: 3 coarse sand) and joining with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete.
|  | long wall | sqm | 1 | 1.82 | 2.14 |  | 3.8948
|  |  | sqm | 1 | 2 | 2.14 |  | 4.28
|  | back | sqm | 1 | 1.42 | 2.14 |  | 3.0388
|  | front | sqm | 1 | 0.71 | 2.14 |  | 1.5194
|  |  | sqm | 1 | 0.19 | 2.14 |  | 0.4066
[7 empty] | Total | 13.1396
53 | 11.37 | Providing and laying Ceramic glazed floor tiles 300x300mm (thickness to be specified by the manufacturer) of Ist quality conforming to IS: 13755 of NITCO, ORIENT, SOMANY KAJARIA, or equivalent make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20mm thick cement mortar 1:4 (1 cement: 4 coarse sand) including pointing the joints with white cement and matching pigment etc., complete). | sqm | 1 | 1.82 | 1.43 |  | 2.6026
|  |  | sqm | 1 | 0.72 | 0.3 |  | 0.216
[7 empty] | Total | 2.8186
54 | 13.1.2 | 12mm cement plaster of mix: 1:6 (1 cement: 6 fine sand)
|  | 1n site wall | sqm | 2 | 23.99 |  | 4.8 | 230.304
|  |  | sqm | 2 | 10 |  | 4.8 | 96
|  |  | sqm | 2 | 16.34 |  | 1.35 | 44.118
|  |  | sqm | 1 | 10 |  | 1.35 | 13.5
|  | D+D1+ D3 +V , offset | sqm | 1 | 29.95 |  | 1.85 | 55.4075
|  |  | sqm | 1 | 10 |  | 0.45 | 4.5
|  | Beam side(8x2+1) | sqm | 17 | 10 |  | 0.45 | 76.5
|  |  | sqm | 1 | 26.24 |  | 0.25 | 6.56
|  | offset of window(12x2+2+1.65+1.65) | sqm | 12 | 7.3 |  | 0.25 | 21.9
|  | office | sqm | 1 | 3 |  | 2.55 | 7.65
|  |  | sqm | 1 | 3.879 |  | 2.55 | 9.8914
|  | door offset | sqm | 3 | 16.25 |  | 0.2 | 9.75
|  | Toilet | sqm | 2 | 1.5 |  | 2.55 | 7.65
|  |  | sqm | 2 | 1.875 |  | 2.5556 | 9.5833
|  | Parapet wall( including slab) | sqm | 1 | 109.1 |  | 0.6 | 65.46
|  | Deduction(-) W | sqm | -12 | 2 |  | 1.65 | -39.6
|  | V | sqm | -7 | 0.6 |  | 0.45 | -1.89
|  | RS | sqm | -1 | 3.55 |  | 1.5 | -5.325
|  | Rs | sqm | -1 | 3.55 |  | 3.1 | -11.005
|  | D | sqm | -1 | 2.1 |  | 1 | -2.1
|  |  |  | -1 | 2.55 |  | 1 | -2.55
|  |  |  | -1 | 2.1 |  | 0.75 | -1.575
|  | ST | sqm | 2 | 2 |  | 1.6 | 6.4
|  |  |  | 2 | 0.9 |  | 1.6 | 2.88
|  |  |  | 4 | 0.9 |  | 1.1 | 3.96
[7 empty] | total | 607.9693
55 | 13.2.2 | 15mm cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement: 6 fine sand) | sqm
|  | outer side | sqm | 2 | 23.99 |  | 5.25 | 251.895
|  |  | sqm | 2 | 10 |  | 5.25 | 105
|  | Doodwn, bott. | sqm | 2 | 16.243 |  | 1.8 | 58.4748
|  | top | sqm | 2 | 16.243 |  | 1.85 | 60.0991
|  |  | sqm | 1 | 10 |  | 0.45 | 4.5
|  | bott. Side wall | sqm | 1 | 10 |  | 1.8 | 18
|  | Col.side | sqm | 44 | 0.5 |  | 5.25 | 115.5
0
|  | W | sqm | -12 | 2 |  | 1.65 | -39.6
|  | V | sqm | -7 | 0.6 |  | 0.45 | -1.89
|  | RS | sqm | -1 | 3.55 |  | 1.5 | -5.325
|  | Rs | sqm | -1 | 3.55 |  | 3.1 | -11.005
|  | D | sqm | -1 | 2.55 |  | 1 | -2.55
[6 empty] | total |  | 553.0989
56 | 13.16 | 6mm cement plaster to ceiling of mix: 1:3 (1 cement: 3 find sand)
|  | Store | sqm | 1 | 23.99 | 10 |  | 239.9
|  | Godown | sqm | 1 | 16.24 | 10 |  | 162.4
|  |  | sqm | 2 | 42.54 | 0.8 |  | 68.064
|  |  | sqm | 2 | 12.06 | 0.8 |  | 19.296
|  | chhaja | sqm | 10 | 2.2 | 0.45 |  | 9.9
|  | offset | sqm | 10 | 2.2 | 0.075 |  | 1.65
|  | site | sqm | 20 | 0.45 | 0.088 |  | 0.792
|  | door & window chhaja | sqm | 1 | 3.55 | 0.075 |  | 0.26625
|  | outer chhaja for slab | sqm | 2 | 42.5 | 0.8 |  | 68
|  |  | sqm | 2 | 12.06 | 0.8 |  | 19.296
|  | bott. Lintel | sqm | 8 | 3.55 | 0.25 |  | 7.1
|  |  | sqm | 1 | 10 | 0.25 |  | 2.5
|  | Deduction(-) , Col. area | sqm | -24 | 0.5 | 0.45 |  | -5.4
[7 empty] | Total | 593.7642
57 | 13.17 | 6mm cement plaster 1:3 (1 cement: 3 find sand) finished with a floating coat of neat cement and thick coat of lime wash on top of walls when dry for bearing of RCC slabs and beams | sqm |  |  |  |  | 0
58 | 13.41.1 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade: New work (two or more coats) over and including priming coat with cement primer. | sqm
|  | 1n site wall( store) long wall | sqm | 2 | 23.99 |  | 4.8 | 230.304
|  | short wall | sqm | 2 | 10 |  | 4.8 | 96
|  | Godown | sqm | 2 | 16.24 |  | 4.8 | 155.904
|  |  | sqm | 1 | 10 |  | 4.8 | 48
|  |  | sqm | 1 | 10 |  | 1.5 | 15
|  | Beam side(8x2+1) | sqm | 17 | 10 |  | 0.45 | 76.5
|  | Room | sqm | 1 | 2.96 |  | 2.35 | 6.956
|  |  | sqm | 1 | 3.7 |  | 2.35 | 8.695
|  | ceiling(store) | Sqm | 1 | 23.99 |  | 10 | 239.9
|  | ceiling(godown)) | sqm | 1 | 16.24 |  | 10 | 162.4
|  | ceiling beam | sqm | 1 | 0.3 |  | 10 | 3
|  | offset | sqm | 14 | 3.55 |  | 0.25 | 12.425
|  |  | sqm | 14 | 1.6 |  | 0.25 | 5.6
|  | Deduction(-) W | sqm | -12 | 2 |  | 1.65 | -39.6
|  | Godown open Jali area | sqm | -7 | 3.55 |  | 1.5 | -37.275
|  | V | sqm | -7 | 0.6 |  | 0.45 | -1.89
|  | RS(store) | sqm | -1 | 3.55 |  | 3.1 | -11.005
|  | Rs(godown) | sqm | -1 | 3.55 |  | 3.1 | -11.005
|  | D | sqm | -1 | 2.1 |  | 1 | -2.1
|  |  |  | -1 | 2.55 |  | 1 | -2.55
|  |  |  | -1 | 2.1 |  | 0.75 | -1.575
[7 empty] | TOTAL | 953.684
59 | 13.43.1 | Applying one coat of cement primer of approved brand and manufacture on wall surface: Cement primer | sqm | same item no. 60 |  |  | total | 737.81
60 | 13.44.1 | Finishing walls with water proofing cement paint of required shade: New work (Two or more coats applied @3.84kg/10sqm)
|  | store | sqm | 2 | 24.49 | 5.2 |  | 254.696
|  | godown | sqm | 2 | 16.49 | 5.2 |  | 171.496
|  |  | sqm | 1 | 10.5 | 5.2 |  | 54.6
|  |  | sqm | 1 | 10.5 | 1.75 |  | 18.375
|  | top(beam) godwn | sqm | 1 | 11.5 | 0.45 |  | 5.175
|  | wall top &bott. | sqm | 2 | 10 | 0.25 |  | 5
|  | side of column | sqm | 44 | 0.5 | 5.2 |  | 114.4
|  | P. wall | sqm | 2 | 42.5 | 0.6 |  | 51
|  |  | sqm | 2 | 12.06 | 0.6 |  | 14.472
|  |  | sqm | 2 | 42.5 | 0.125 |  | 10.625
|  |  | sqm | 2 | 12.06 | 0.125 |  | 3.015
|  | Chhaja of slab(bott.) | sqm | 2 | 42.5 | 0.8 |  | 68
|  |  | sqm | 2 | 12.06 | 0.8 |  | 19.296
|  | chhaja of window (Bott & Top) | sqm | 20 | 2.2 | 0.45 |  | 19.8
|  |  | sqm | 20 | 0.45 | 0.1 |  | 0.9
|  | T &B | sqm | 2 | 3.55 | 0.45 |  | 3.195
|  | window offset | sqm | 24 | 2 | 0.25 |  | 12
|  |  | sqm | 24 | 1.65 | 0.25 |  | 9.9
|  | Deduction(-) open gril area | sqm | -7 | 3.55 | 1.5 |  | -37.275
|  | W | sqm | -11 | 2 | 1.65 |  | -36.3
|  | D | sqm | -1 | 2.55 | 1 |  | -2.55
|  | RS | sqm | -2 | 3.55 | 3.1 |  | -22.01
[7 empty] | TOTAL | 737.81
61 | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to given an even shade: Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture. | sqm |  |  |  | factor
|  | R/S door | sqm | 1 | 3.55 | 3.1 | 2.5 | 27.5125
|  | door, D | sqm | 1 | 1 | 2.55 | 2.2 | 5.61
|  | D1 | sqm | 1 | 1 | 2.1 | 2.2 | 4.62
|  | D3 | sqm | 1 | 0.75 | 2.1 | 2.2 | 3.465
|  | v | sqm | 7 | 0.6 | 0.45 | 1 | 1.89
|  | W | sqm | 12 | 2 | 1.65 | 1 | 39.6
|  | Gril | sqm | 7 | 3.5 | 1.5 | 1 | 36.75
[7 empty] | total | 119.4475
62 | 13.76 | Forming groove of uniform size from 12x12mm and upto 25x15mm in plastered surface as per approved pattern using wooden battens, nailed to the under layer including removal of wooden battens, repairs to the edges of plaster panel and finishing the groove complete as per specifications and direction of Engineer-in-Charge. | metre |  |  |  | total | 0
63 |  | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand: 6 graded stone aggregate 20mm nominal size) over 75mm bed of dry brick ballast 40mm nominal size well rammed and consolidated and grouted with fine sand including finishing the top smooth.
|  |  | sqm | 2 | 40.925 | 1 |  | 81.85
|  |  |  | 2 | 12.5 | 1 |  | 25
|  | deduction(-) col. |  | -24 | 0.45 | 0.5 |  | -5.4
|  | Ramp |  | -2 | 3.55 | 1 |  | -7.1
[7 empty] | Total | 94.35
64 | 17.1.1 | Providing and fixing water closet squatting pan (Indian type W.C. Pan) with 100mm sand cast Iron P or S trap, 10 litre low level P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS:7231, Parryware/ Hindware/ Seabird/ Orient (Coral) with all fittings and fixtures complete including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. Pan of size 580x440mm with integral type foot rests. | each | 1 |  |  | total | 1
65 | 17.7.3 | Providing and fixing wash basin with C.I./M.S. brackets, 15mm C.P. brass pillar taps, Kingston/ Gem/ Techno/ Parko, 32mm C.P. brass waste of standard pattern, including painting of fitting and brackets, cutting and making good the walls wherever required: White Vitreous China: Flat back wash basin size 550x400mm with a single 15mm C.P. brass pillar tap. | each | 1 |  |  | Total | 1
66 | 17.28.1.1 | Providing and fixing PVC waste pipe for sink or wash basin including PVC waste fittings complete: Semi rigid pipe: 32mm dia | each | 1 |  |  | Total | 1
67 | 17.32.2 | Providing and fixing mirror of superior quality thickness of required shape and size with plastic moulded frame of approved make and shade with 6mm thick hard board backing. Rectangular shape 453x357mm | each | 0 |  |  | Total | 0
68 | 18.10.2 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. (internal work) exposed on wall 20mm dia. nominal bore. | metre | 10 |  |  | total | 10
69 | 18.10.3 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. (internal work) exposed on wall 25mm dia. nominal bore. | metre | 12 |  |  | total | 12
70 | 18.11.1 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. (internal work): Concealed pipe including painting with anti-corrosive bitumastic paint, cutting chases and making good the wall: 15mm dia. nominal bore. | metre | 6 |  |  | total | 6
71 | 18.11.2 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. (internal work): Concealed pipe including painting with anti-corrosive bitumastic paint, cutting chases and making good the wall: 20mm dia. nominal bore. | metre | 0 |  |  | total | 0
72 | 18.12.3 | Providing and fixing G.I. Pipes complete with G.I. fittings including trenching and refilling etc. (external work): 25mm dia. nominal bore | metre | 0 |  |  | total | 0
73 | 18.13.1 | Making connection of G.I. distribution branch with G.I. main of sizes by providing and fixing tee including cutting & threading the pipe etc. complete: 25 to 40mm dia. nominal bore | each | 1 |  |  | total | 1
74 | 18.15.1 | Providing and fixing brass bib cock of approved quality: 15mm nominal bore | each | 2 |  |  | total | 2
75 | 18.17.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25mm nominal bore | each | 1 |  |  | total | 1
76 | 18.18.3 | Providing and fixing ball valve (brass) of approved quality complete. High or low pressure with plastic floats: 25mm nominal bore | each | 0 |  |  | total | 0
77 | 18.21.2.1 | Providing and fixing unplasticised PVC connection pipe with brass unions. 45cm length. 15mm nominal bore | each | 1 |  |  | total | 1
78 | 18.32.1 | Constructing masonry chamber 30x30x50cm inside with 75 class designation brick work in cement mortar 1:4 (1 cement: 4coarse sand) for stop cock, with C.I. surface box 100x100x75mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement: 2 course sand: 4 graded stone aggregate 20mm nominal size) necessary excavation, foundation concrete 1:5:10 (1 cement: 5 fine sand: 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12mm thick finished with a floating coat of neat cement complete as per standard design: With F.P.S. bricks. | each | 0 |  |  | total | 0
79 | 18.38.2 | Painting G.I. pipes and fittings with synthetic enamel white paint over a ready mixed priming coat, both of approved quality for new work: 20mm dia. Pipe | metre | 0 |  |  | total | 0
80 | 18.38.3 | Painting G.I. pipes and fittings with synthetic enamel white paint over a ready mixed priming coat, both of approved quality for new work: 25mm dia. Pipe | metre | 0 |  |  | total | 0
81 | 18.41.3 | Providing and filling sand of grading zone V or coarser grade alround the G.I. pipes in external work: 25mm dia. Pipe | metre | 0 |  |  | total | 0
82 | 18.46.1 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (new work): 15mm nominal bore | each | 1 |  |  | total | 1
83 | 18.46.2 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (new work): 20mm nominal bore | each | 1 |  |  | total | 1
84 | 18.46.3 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (new work): 25mm nominal bore | each | 1 |  |  | total | 1
85 | 18.48A | Providing and placing on terrace (at all floor levels) polyethylene water storage tank (circular) ISI:12701 marked indicating the BIS License No. with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank (Sintex, Electroplast, Star, Lotus or equivalent having valid ISI license).. | per lt.cap.
|  | water tank(500 ltr) |  | 500 |  |  | total | 500
86 | 18.52.1 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approve make conforming to IS:8931: 15mm nominal bore | each | 1 |  |  | total | 1
87 | 19.7.1.1 | Constructing brick masonry manhole in cement mortar 1:4 (1 cement: 4 coarse sand) R.C.C. top slabs with 1:2:4 mix (1 cement: 2 coarse sand: 4 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 (1 cement: 2 coarse sand: 4 graded stone aggregate 40mm nominal size) inside plastering 12mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 40mm nominal size) finished with a floating coat of neat cement as per standard design: Inside size 90x80cm and 45cm deep including C.I. cover with frame (light duty) 455x610mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | each | 1 |  |  | total | 1
New items of T &P shed.
1 |  | Water proofing for Roof tretment……
| 22.7.1 | Store(23.98+.25+.80-.125)=24.91 | sqm | 1 | 24.91 | 11.85 |  | 295.1835
|  |  | sqm | 2 | 24.91 | 0.3 |  | 14.946
|  | (10+.50+1.60-.25)= 11.85 | sqm | 1 | 11.5 | 0.3 |  | 3.45
|  | godown(16.24+ .80 - .125 =16.91) | sqm | 1 | 16.91 | 11.85 |  | 200.3835
|  |  | sqm | 2 | 17.16 | 0.3 |  | 10.296
|  |  | sqm | 1 | 11.5 | 0.3 |  | 3.45
|  | Store & godown | sqm | 2 | 11.85 | 0.3 |  | 7.11
[7 empty] | Total | 534.819 |  | Approx unit wt
2 | non dsr | Providing and fixing ISI marked steel glazed doors, windows and ventilators of standard rolled steel sections, joints mitred and welded with 15x3mm lugs, 10 cm long, embedded in cement concrete blocks 15x10x10cm of 1:3:6 ( 1 cement:3coarse sand:6 graded stone aggregate 20mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required, including providing and fixing of glass panes with glazing clips and special metal sash putty of approved make complete including applying a priming coat of approved steel primer, excluding the cost of metal beading and other fitting except necessary hinges or pivots as required as per drawing at all level.Windows fixed / side hung / top hung | sqm | 12 | 2 |  | 1.65 | 39.6 | 87.6 | 2.18 | 190.968
|  |  |  | 7 | 0.6 |  | 0.45 | 1.89 | 14.7 | 2.18 | 32.046
[7 empty] | Total | 41.49 |  |  | 223.014
3 | non dsr | Providing and fixing in window 12mm dia M.S square bar grills @ C/C welded on the wndow frames including apply ing a priming coat of approved . Steel primer all complete as per approved drawing at all level. | [8 empty] | 240
|  |  |  | Same item no 2 |  |  | Total | 41.49
Note on C458: Author: