| Sl. No | Clause No | Clause Description | Bidder Query | PGCIL Reply |
| --- | --- | --- | --- | --- |
|  |  | Highway Crossing | DP Structure Material for highway crossing activity and both side DP Pole not given in BOQ | DP Structure Material has been considered in the BOQ under the item described as “Fabrication and supply of MS Galvanised items”. |
|  |  | OPGW works | Required for construction method of drawings for fiber optic cable Installation. | Bidder to comply TS |
|  |  | Substations | Switchyard layout drawing required | Switchyard layout drawing shall be developed by the contractor and shall be finalized at the time of detail Engineering. |
|  | VOL-I-PART-1 OF 3 SECTION-II CIVIL WORKS | Substations | Substation Lattice Structure Drawings & civil foundation drawings required for Gantry & beam structure. | Sub-Station Lattice Structure drawing for gantry and beam will be developed by the contractor based on the relevant IS codes and technical specifications requirements during detailed engineering. Civil Foundation drawings for Gantry & Beam Structure will be developed by the contractor based on the bearing capacity of respective sites and the other engineering parameters during detailed engineering. |
|  | VOL-I-PART-1 OF 3 SECTION-II CIVIL WORKS | Substations | Substation all equipment structure Drawings & civil foundation drawings required. | Sub-Station equipment Structure drawing will be developed by the contractor based on the relevant IS codes and technical specifications requirements during detailed engineering. Civil Foundation drawings for Gantry & Beam Structure will be developed by the contractor based on the bearing capacity of respective sites and the other engineering parameters during detailed engineering. |
|  | VOL-I-PART-1 OF 3 SECTION-II CIVIL WORKS | Substations | Civil Drawing for control panel room for Substation | Civil Drawing for Control Panel Room for Sub-Station will be developed by the contractor during detailed engineering based on the relevant IS codes and electrical requirements. |
|  | Attachment-12 Price Adjustment Data – (A) For Equipment’s Ex-works Price Components | The sum of value of coefficient for raw materials: a+b+c+d+e=0.65 to 0.73 and sum of all the coefficients including labour shall be a+b+c+d+e+l=0.85. | As per latest IEEMA formula: The sum of value of coefficient for raw materials: a+b+c+d+e=0.75 and sum of all the coefficients including labour shall be a+b+c+d+e+l=0.90. Kindly clarify and amend the same. | Provision of the bidding documents shall remain unchanged. |