| Sl. No. | Clause No. | Existing Clause/item | Amendment |
| --- | --- | --- | --- |
|  | Cl .No. 9.5 of Section project Vol.II | New Clause | - Sl. no. 14 of Table mentioned at Clause 20 of section GIS rev.05A is amended as follows: 14; Reactor current switching test for Inductive Current switching capability as per IEC 62271-110. Further, the manufacturer whose circuit breakers tested with smaller current w.r.t current limits specified for Reactor current switching test duty-2, 3 & 4 in IEC 62271-110 shall also be acceptable.. |