| Sl. No | Item No./ Clause ref. | Existing provision | Amended Provision |
| --- | --- | --- | --- |
|  | 1.3(a), Section-2, Part-1 of bidding documents | a) Sanctions: Firms, which includes any of the JV members in case of bidding Joint Venture as per Clause 1. 2 above, blacklisted by the Employer/ CPSEs or any of their subsidiaries / Government of India/ Government of UT of Ladakh/ any Regulatory Authority, as on the date of submission of Bid, are not eligible to bid | a) Sanctions: Firms, which includes any of the JV members in case of bidding Joint Venture as per Clause 1. 2 above, blacklisted /debarred/banned/suspended: (i) due to conviction of an offence: I. under the Prevention of Corruption Act, 1988; or II. the Indian Penal Code or any other law for the time being in force, for causing any loss of life or property or causing threat to public health as part of execution of a public procurement contract. (ii) through any order/list issued by Department of Expenditure (DoE), Ministry of Finance (MoF) (iii) due to breach of code of Integrity as per Rule 175 of GFRs 2017 in any Govt. Organization or regulatory agencies or Govt Undertaking (iv) by any Ministry/department/Organization under the State Govt of UT of Ladakh as on the date of submission of Bid are not eligible to bid. This clause shall be interpreted in-line with Rule 151 of GFRs, 2017 along with any guidelines/amendment issued by DoE, MoF |
|  | Form-1, Section-IV, part-1 of Bidding documents | Form-1 | Revised Form-1 is attached herewith. |
|  | Form 16, Section-IV, part-1 of Bidding documents | Name of Material; Price as on 30 days prior to date of bid opening*; Price as on XX days prior to date of shipment*; Variation*. ……; …..; …….; …... | Name of Material; Price quoted by bidder at the time of bid submission*; Price as on XX days prior to date of shipment*; Variation*. ……; …..; …….; …... |
|  | GCC-19.3, SCC, Part-3 of Bidding documents | - | Any subcontract of value equal to more than 10% shall necessarily require prior approval of the Employer. The cumulative value of all subcontracts shall however be limited upto 25% of the total contract value. However, sub-contract for engagement of labour shall not require prior approval of the employer and will not be subject to this maximum limit. |
|  | Point no 2, 3, 4 and 5, GCC/SCC 23, Part-3 of Bidding documents | - Category – B (On-site inspection): This category includes the materials for which a factory inspection is not warranted and the material can be inspected upon arrival at the site before the installation. In case the Employer is apprehensive about the quality of the material supplied it reserves the right to send the selected lot to the NABL accredited testing lab for third party testing. - Employer also reserves the right to send any installed equipment / materials to the NABL accredited testing lab for testing. The Employer would have to reimburse the expenses related to transportation of material from site to testing lab and all testing expenses in this regard. - The material which has to be tested at laboratory shall be sealed in the presence of authorized official of Employer and Contractor. If the materials tested at Laboratory fails then the entire lot would be rejected. Contractor shall bear the responsibility of sending back such failed materials from site. Any subsequent delay in contract performance due to failure of materials in the test laboratory would be on account of Contractor and no time extension would be provided by the Employer in this regard. Any LD levies in this regard would be borne by the Contractor. | - Category – B (On-site inspection): This category includes the materials for which a factory inspection is not warranted and the material can be inspected upon arrival at the site before the installation. In case the Employer is apprehensive about the quality of the material supplied it reserves the right to send the selected lot to the NABL accredited testing lab for third party testing. If the materials tested at Laboratory fails then the entire lot would be rejected. Contractor shall bear the responsibility of sending back such failed materials from site. Any subsequent delay in contract performance due to failure of materials in the test laboratory would be on account of Contractor and no time extension would be provided by the Employer in this regard. Any LD levies in this regard would be borne by the Contractor - Employer also reserves the right to send any installed equipment / materials to the NABL accredited testing lab for testing. The Employer would have to reimburse the expenses related to transportation of material from site to testing lab and all testing expenses in this regard. The material which has to be tested at laboratory shall be sealed in the presence of authorized official of Employer and Contractor. The same would be done in line with the provisions under Clause 4.1.6.5 of Part-2 of the SBD. - Sub-Clause Deleted/merged - Sub-Clause Deleted/merged |
|  | GCC/SCC 23, Part-3 of Bidding documents | Pre-dispatch Inspection: …………………………………………………………….. …………………………………………… Penalty provision for defects found in Field inspection: There are three categories of defects found in field inspection they are critical, major and minor defects. There should be a provision to impose penalty on Contractor based on the percentage of major/critical defects observed by TPQMA. Sr.No; Defect Criteria; % Penalty imposed on sanctioned cost. 1; Critical Defects; 1%. 2; Major Defects; 0.5%. 3; Minor Defects; 0% if rectified within 30 days. ……………………………………………………… ………………………………………………… | Pre-dispatch Inspection: …………………………………………………………….. …………………………………………… Penalty provision for defects found in Field inspection: There are three categories of defects found in field inspection they are critical, major and minor defects. There should be a provision to impose penalty on Contractor based on the percentage of major/critical defects observed by TPQMA. Sr. No; Defect Criteria; % Penalty imposed on contract price. 1; Critical Defects; 1%. 2; Major Defects; 0.5%. 3; Minor Defects; 0% if rectified within 30 days. ……………………………………………………… ………………………………………………… |
|  | ITB 44.1, Section-III, part-1 of bidding documents | - Within twenty-one (21) days of the receipt of the Letter of Acceptance/ Notification of Award from the Employer, the successful Bidder shall furnish the Performance Security & Additional performance security (if applicable), in Indian Rupees, in accordance with the GCC and in the amount, form and details specified in the BDS, further subject to ITB 37. | - Within Twenty-Eight (28) days of the receipt of the Letter of Acceptance/ Notification of Award from the Employer, the successful Bidder shall furnish the Performance Security & Additional performance security (if applicable), in Indian Rupees, in accordance with the GCC and in the amount, form and details specified in the BDS, further subject to ITB 37. |
|  | Appendix-8 to contract agreement, Part-3 of Bidding documents | 2.0 The ratings and performance figures of the below mentioned equipment are guaranteed as per losses given in respective Indian Standard (up to date) by bidder. Sl. No.; Description. A.; 12/10/8/6.3/5/3.15/1.6 MVA 33/11kV, 3 ph. Power Transformer. B.; 1000/630/500/315/200/100/63/25/16 KVA, 11/0.433kV, 3 phase Station & Distribution Transformer. C.; 16/10KVA, 11/0.250kV, 1 phase Distribution Transformer. | 2.0 The ratings and performance figures of the below mentioned equipment are guaranteed as per losses given in respective Indian Standard (up to date) by bidder. Sl. No.; Description. A.; 12/10/8/6.3/5/3.15/1.6 MVA 33/11kV 3 ph. Power Transformer, 6.3MVA, 66/11kV 3 ph. Power Transformer. B.; 1000/630/500/400/315/250/200/100/63/25/16 KVA, 11/0.433kV, 3 phase Station & Distribution Transformer. C.; 16/10KVA, 11/0.250kV, 1 phase Distribution Transformer. |