## Sheet1 (hidden)
RFX. No. 5002004199 NIT-458
Name of the Package | Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS

## Basic
RFX. No. 5002004199 NIT-458
Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS
General Guidelines for filling up the Price Schedule and other attachments.
1 | Fill only Green shaded cells in Details and Schedule-I.
2 | All the cells in Summary will be auto filled, therefore no cell is required to be filled in that sheet.
3 | Instructions ,if any will be displayed automatically after selecting the cell.
Click here to proceed.
पावर ग्रिड कारपोरेशन ऑफ इण्डिया लिमिटेड
(भारत सरकार का उद्यम)
Power Grid Corporation of India Limited
(A Government of India Enterprises)

## Details
RFX. No. 5002004199 NIT-458
Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS
Enter the following details of the bidder
Name of the bidder
Address
Contact No.
E-mail
Alternative E-mail
Printed Name
Designation
Place
Date

## Civil
Annexure-E(I)
BOQ for Construction of Panel room building & Misc. switchyard civil works at Purnea substation.
S.no. | SOR service no. | Item Description | Unit | Qty. | Unit Rate(Rs.) | Amount excl. GST | GST % | Amount incl. GST
1 | 100001324 | Excavation in all types of soil and rock including backfilling disposal etc. for all leads and lifts. | Cum | 676.6232 |  | 0 |  | 0
2 | 100001325 | Providing and laying of Plain Cement Concrete (PCC) (1:4:8). | Cum | 27.1096 |  | 0 |  | 0
3 | 100001327 | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning but excluding steel reinforcement. | Cum | 320.9389 |  | 0 |  | 0
4 | 100001754 | Providing and laying of Reinforced Cement Concrete 1:1.5:3 including pre cast, shuttering, Grouting of pockets & underpinning but excluding steel reinforcement. | Cum | 10 |  | 0 |  | 0
5 | 100001326 | Providing and laying of Plain Cement Concrete (PCC) (1:2:4). | Cum | 10 |  | 0 |  | 0
6 | 100001329 | Steel Reinforcement | MT | 32.0939 |  | 0 |  | 0
7 | 100001331 | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement. | MT | 0.5 |  | 0 |  | 0
8 | 100001454 | Demolishing RCC work including stacking of steel bars and disposal of unserviceable material. | Sqm | 60.9079 |  | 0 |  | 0
9 | 100001451 | Demolishing cement concrete including disposal of material-1:2:4. | Cum | 5 |  | 0 |  | 0
10 | 100001453 | Demolishing PCC including disposal-1:5:10 (PCC) | Cum | 5 |  | 0 |  | 0
11 | 100001456 | Dismantling of existing brick work, stacking of bricks and other usable materials including disposal of rubbish. | Cum | 5 |  | 0 |  | 0
12 | 170002833 | SAND FILLING | Cum | 5 |  | 0 |  | 0
13 | 100001712 | Removing,cleaning and washing of existing stones and respreading of stones in switchyard excluding PCC. | Sqm | 100 |  | 0 |  | 0
14 | Derived from 100001712 | Removing of existing stones in switchyard. | Sqm | 2212.25 |  | 0 |  | 0
15 | 100001375 | Stone spreading and antiweed treatment in switchyard excluding PCC. | Sqm | 2000 |  | 0 |  | 0
16 | 100001713 | Antiweed treatment | Sqm | 200 |  | 0 |  | 0
17 | 100001693 | Panel Room - Civil Works.All civil works as per drawing and specifications complete, including - brickwork, finishing (external and internal), windows etc. However,excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | Sqm | 308.1029 |  | 0 |  | 0
18 | 100001479 | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 3-3. | Mtr. | 375 |  | 0 |  | 0
19 | 100001480 | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 4-4. | Mtr. | 300 |  | 0 |  | 0
20 | 100001478 | Cable Trench including all types of crossings, all metallic works and sump pit including concrte and reinforcement steel Section 2-2. | Mtr. | 100 |  | 0 |  | 0
21 | 100001452 | Demolishing cement concrete including disposal of material-1:4:8. | Cum | 11.9807 |  | 0 |  | 0
TOTAL | [5 empty] | 0 |  | 0
GRAND TOTAL AMOUNT | [5 empty] | 0 |  | 0

## Electrical
BOQ For Control & Protection system upgradation with SAS based CRP and Replacement of 220 KV switchyard equipment’s/Erection hardware’s/Auxiliary system with provision for new panel room building and other upgradation at 220/132 KV Purnea SS of ER-I under ADDCAP CTS 2024-29
Sr.No. | Description | Unit | Qty. | Unit Rate(Rs.) | Unit F&I (Rs.) | Unit Erection (Rs.) | Total Amount excl. taxes | [9 empty] | GST % on Unit Ex-Works rate | GST % on Erection portion | Total GST on Ex-works | Total GST on Erection | Total Amount incl. taxes and F&I
Sub - Total 1.1 | [8 empty] | Supply | Erection | Sub Total-1 | Supply | Erection | Sub Total-2 | Total Supply | Total
1.2 | 220KV Equipment
1.2.1 | 2000A,40kA DBR isolator ( 3 phase) with 01 earth switch alongwith support structure. | Nos. | 3 |  |  |  | 0 | 1000001703 & 1000020189 | 520181 | 24925 | 545106 | 174306 | 9558 | 183864 | 2083461 | 728970 |  |  | 0 | 0 | 0
1.2.2 | 2000A, 40kA DBR isolator (3 phase) without earth switch along with support structure | Nos. | 5 |  |  |  | 0 | 1000001702 & 1000020189 | 520181 | 24925 | 545106 | 174306 | 9558 | 183864 | 3472435 | 728970 |  |  | 0 | 0 | 0
1.2.3 | 2000A, 40kA DBR isolator (3 phase) with 2 earth switch alongwith support structure | Nos. | 3 |  |  |  | 0 | 1000001704 & 1000020189 | 769105 | 24925 | 794030 | 174306 | 9558 | 183864 | 2830233 | 977894 |  |  | 0 | 0 | 0
1.2.5 | 2000A,40kA DBR isolator ( 3 phase) with 01 earth switch without support structure. | Nos. | 3 |  |  |  | 0 | 1000001703 | 520181 | 24925 | 545106 |  |  |  | 1560543 | 545106 |  |  | 0 | 0 | 0
1.2.6 | 2000A, 40kA DBR isolator (3 phase) without earth switch without support structure. | Nos. | 6 |  |  |  | 0 | 1000001702 | 520181 | 24925 | 545106 |  |  |  | 3121086 | 545106 |  |  | 0 | 0 | 0
1.2.7 | 2000A, 40kA DBR isolator (3 phase) with 2 earth switch without support structure. | Nos. | 3 |  |  |  | 0 | 1000001704 | 769105 | 24925 | 794030 |  |  |  | 2307315 | 794030 |  |  | 0 | 0 | 0
1.2.8 | 2500A, 40kA DBR isolator (3 phase) without earth switch along with support structure | Nos. | 1 |  |  |  | 0 | 1000001729 & 1000020189 | 520181 | 32127 | 552308 | 174306 | 9558 | 183864 | 694487 | 736172 |  |  | 0 | 0 | 0
1.2.9 | 2500A, 40kA DBR isolator (3 phase) with 2 earth switch alongwith support structure | Nos. | 1 |  |  |  | 0 | 1000001730 & 1000020189 | 814064 | 32127 | 846191 | 174306 | 9558 | 183864 | 988370 | 1030055 |  |  | 0 | 0 | 0
1.2.10 | 220 kV CT as per TS | Nos. | 12 |  |  |  | 0 | 1000001781 | 477983 | 8311 | 486294 |  |  |  | 5735796 | 486294 |  |  | 0 | 0 | 0
1.2.11 | 220 kV, 4400 PF CVT as per TS | Nos. | 12 |  |  |  | 0 | 1000001772 | 223721 | 4930 | 228651 |  |  |  | 2684652 | 228651 |  |  | 0 | 0 | 0
1.2.12 | 220 kV CB as per TS | No's | 3 |  |  |  | 0 | 1000001671 | 1535828 | 17922 | 1553750 |  |  |  | 4607484 | 1553750 |  |  | 0 | 0 | 0
1.2.13 | Erection Hardware for 220kV system as per scope of work and TS for four bays | SET | 1 |  |  |  | 0 | 1000011258 | 1347522 | 373019 | 1720541 |  |  |  | 1347522 | 1720541 |  |  | 0 | 0 | 0
1.2.14 | 220 kV BPI | Nos. | 30 |  |  |  | 0 | 1000001695 | 20898 | 2676 | 23574 |  |  |  | 626940 | 23574 |  |  | 0 | 0 | 0
1.2.17 | CT support Structure | Nos | 18 |  |  |  | 0 | 1000020187 | 35008 | 1926 | 36934 |  |  |  | 630144 | 36934 |  |  | 0 | 0 | 0
1.2.18 | CVT support Structure | Nos | 12 |  |  |  | 0 | 1000020188 | 25035 | 1371 | 26406 |  |  |  | 300420 | 26406 |  |  | 0 | 0 | 0
1.2.19 | BPI support structure | Nos | 18 |  |  |  | 0 | 1000017562 | 22917 | 1348 | 24265 |  |  |  | 412506 | 24265 |  |  | 0 | 0 | 0
|  |  |  | Total(A) |  |  | 0
2.1 | SUBSTATION AUTOMATION SYSTEM (including requirement for substation Auxiliaries)
Complete Substation Automation System for the following 220kV bays as per Technical Specification and Scope of work:
2.1.1 | 220kV Line bays | Nos. | 4 |  |  |  | 0 | 1000001332 | 643392 | 12802 | 656194 |  |  |  | 2573568 | 656194 |  |  | 0 | 0 | 0
2.1.2 | 220kV Transformer bays | Nos. | 3 |  |  |  | 0 | 1000001332 | 643392 | 12802 | 656194 |  |  |  | 1930176 | 656194 |  |  | 0 | 0 | 0
2.1.3 | 220kV TBC bays | Nos. | 1 |  |  |  | 0 | 1000001332 | 643392 | 12802 | 656194 |  |  |  | 643392 | 656194 |  |  | 0 | 0 | 0
2.1.4 | 220kV BC bays | Nos. | 1 |  |  |  | 0 | 1000001332 | 643392 | 12802 | 656194 |  |  |  | 643392 | 656194 |  |  | 0 | 0 | 0
2.1.5 | Complete substation automation system for controlling and monitoring of auxiliary system including BCU as per TS | Set | 1 |  |  |  | 0 | 1000018700 | 574772 | 53381 | 628153 |  |  |  | 574772 | 628153 |  |  | 0 | 0 | 0
|  |  |  | Total(B) |  |  | 0
3.2 | Control & Relay Panels (220kV) (SAS based)
3.2.1 | 220kV Circuit Breaker Relay Panel with auto reclose (with automation) | Nos. | 4 |  |  |  | 0 | 1000001170 | 1444029 | 14109 | 1458138 |  |  |  | 5776116 | 1458138 |  |  | 0 | 0 | 0
3.2.2 | 220kV Circuit Breaker Relay Panel without auto reclose (with automation) | Nos. | 5 |  |  |  | 0 | 1000001168 | 307328 | 6747 | 314075 |  |  |  | 1536640 | 314075 |  |  | 0 | 0 | 0
3.2.3 | 220kV line protection panel (with automation) | Nos. | 4 |  |  |  | 0 | 1000001330 | 1831679 | 6658 | 1838337 |  |  |  | 7326716 | 1838337 |  |  | 0 | 0 | 0
3.2.4 | 220kV transformer protection panel (for both HV & MV side)-(with automation) | Nos. | 3 |  |  |  | 0 | 1000001566 | 1702271 | 6893 | 1709164 |  |  |  | 5106813 | 1709164 |  |  | 0 | 0 | 0
3.2.5 | Low Impedance type distributed Bus bar protection panel for complete 220 KV Switchyard, single busbar protection with automation | Sets | 1 |  |  |  | 0 | 1000001166 | 4550762 | 13532 | 4564294 |  |  |  | 4550762 | 4564294 |  |  | 0 | 0 | 0
|  |  |  | Total(C ) |  |  | 0
4.1 | SUBSTATION AUXILIARIES
4.1.1 | Cassette type AC, (3 Ton capacity) for newly built Panel Room | no | 7 |  |  |  | 0 | 1000009039 | 320997 | 21928 | 342925 |  |  |  | 2246979 | 342925 |  |  | 0 | 0 | 0
4.1.2 | Lighting system for Panel Room as per TS | LS | 1 |  |  |  | 0 | 1000013797 | 243948 | 43906 | 287854 |  |  |  | 243948 | 287854 |  |  | 0 | 0 | 0
4.1.3 | 415 V ACDB AS PER TS, SUITABLE FOR 220/132 kV Purnea ss. | SET | 1 |  |  |  | 0 | 1000004303 | 1674022 | 14052 | 1688074 |  |  |  | 1674022 | 1688074 |  |  | 0 | 0 | 0
4.1.4 | 110 V DCDB AS PER TS SUITABLE FOR 220/132 kV Purnea S/s | SET | 1 |  |  |  | 0 | 1000000564 | 299123 | 15898 | 315021 |  |  |  | 299123 | 315021 |  |  | 0 | 0 | 0
4.1.5 | 110 V DCDB PANEL EXTENSION FOR 220/132 kV Purnea S/s | SET | 1 |  |  |  | 0 | 1000030177 | 178245 | 22081 | 200326 |  |  |  | 178245 | 200326 |  |  | 0 | 0 | 0
4.1.6 | 48 V, DCDB AS PER TS SUITABLE FOR 220/132 kV purnea S/s | SET | 1 |  |  |  | 0 | 1000004754 | 293901 | 12207 | 306108 |  |  |  | 293901 | 306108 |  |  | 0 | 0 | 0
4.1.7 | Supply of Co-axial cable due to shifting of panels | KM | 2 |  |  |  | 0 | 1000036908 | 268588 | 40703 | 309291 |  |  |  | 537176 | 309291 |  |  | 0 | 0 | 0
4.1.8 | Fire Detection and Alaram System for Control Room Building | SET | 1 |  |  |  | 0 | 1000012013 | 565156 | 117291 | 682447 |  |  |  | 565156 | 682447 |  |  | 0 | 0 | 0
4.1.9 | Indoor AC Lighting Panel Type ACP1 as per TS | Nos. | 2 |  |  |  | 0 | 1000014546 | 10222 | 7257 | 17479 |  |  |  | 20444 | 17479 |  |  | 0 | 0 | 0
4.1.10 | Indoor DC Lighting Panel Type DCP as per TS | Nos. | 2 |  |  |  | 0 | 1000014549 | 19222 | 1281 | 20503 |  |  |  | 38444 | 20503 |  |  | 0 | 0 | 0
4.1.11 | Indoor AC Sub Distribution Box Type Sub-DB as per TS | Nos. | 2 |  |  |  | 0 | 1000038395 | 75814 | 797 | 76611 |  |  |  | 151628 | 76611 |  |  | 0 | 0 | 0
4.1.12 | Receptacles Type RO as per TS | Nos. | 4 |  |  |  | 0 | 1000028444 | 74292 | 14622 | 88914 |  |  |  | 297168 | 88914 |  |  | 0 | 0 | 0
4.1.13 | Lighting MB box | Nos | 2 |  |  |  | 0 | 1000014236 | 2020 | 56 | 2076 |  |  |  | 4040 | 2076 |  |  | 0 | 0 | 0
|  |  |  | Total(D) |  |  | 0
5 | SUBSTATION AUXILIARIES
Cables
6 | Control Cable
6.1.1 | 5CX2.5sq.mm Control cable | KM | 5 |  |  |  | 0 | 1000031987 | 151904 | 32446 | 184350 |  |  |  | 759520 | 184350 |  |  | 0 | 0 | 0
6.1.2 | 7CX2.5sq.mm Control cable | KM | 5 |  |  |  | 0 | 1000031993 | 225150 | 36050 | 261200 |  |  |  | 1125750 | 261200 |  |  | 0 | 0 | 0
6.1.3 | 10CX2.5sq.mm Control cable | KM | 5 |  |  |  | 0 | 1000031887 | 281565 | 39655 | 321220 |  |  |  | 1407825 | 321220 |  |  | 0 | 0 | 0
6.1.4 | 14CX2.5sq.mm Control cable | KM | 5 |  |  |  | 0 | 1000031904 | 421877 | 45064 | 466941 |  |  |  | 2109385 | 466941 |  |  | 0 | 0 | 0
6.1.5 | 19CX2.5sq.mm Control cable | KM | 3 |  |  |  | 0 | 1000031908 | 557477 | 45064 | 602541 |  |  |  | 1672431 | 602541 |  |  | 0 | 0 | 0
| Power Cable | [14 empty] | 0
6.1.6 | 4CX6sq.mm Power cable | KM | 5 |  |  |  | 0 | 1000031985 | 94681 | 27373 | 122054 |  |  |  | 473405 | 122054 |  |  | 0 | 0 | 0
6.1.7 | 2CX6sq.mm Power cable | KM | 1 |  |  |  | 0 | 1000031943 | 70104 | 27373 | 97477 |  |  |  | 70104 | 97477 |  |  | 0 | 0 | 0
6.1.8 | 3.5CX70Sqmm Power Cable | KM | 3.5 |  |  |  | 0 | 1000031957 | 290823 | 9320 | 300143 |  |  |  | 1017880.5 | 300143 |  |  | 0 | 0 | 0
6.1.9 | 3.5CX300sqmm Power Cable | KM | 0.5 |  |  |  | 0 | 1000031951 | 1244141 | 13049 | 1257190 |  |  |  | 622070.5 | 1257190 |  |  | 0 | 0 | 0
|  |  |  | Total( E) |  |  | 0 | [7 empty] | 79874386 | [5 empty] | 0
| Total(A+B+C+D+E) excl. taxes and incl. F&I | [5 empty] | 0
| Total(A+B+C+D+E) incl. taxes and incl. F&I | [5 empty] | 0
Erection Hardware include following (Boq sl.No.1.2.13) | Insulator strings, Disc Insulators, Hardware, conductor, Al tube, bus-bar materials, cable trays, Bay MB, clamps, spacers, connectors including equipment connectors, Junction box, earthwire, earthing material risers, auxiliary earthmat(excluding main earth mat) buried cable trenches/pipe equipment & lighting, all accessories etc.
NOTE: | (I) If any part of price including GST which required to be filled by bidder kept blank, the price bid shall be considered as included and evaluation shall be done accordingly.
(II) Evaluation will be done solely on the prices filled in the price sheet. The prices filled under the "Items" tab in the SRM portal shall not be considered.
(III) Evaluation shall be done on Total Quoted price inclusive of all taxes and duties.

## Schedule-I
RFX. No. 5002004199 NIT-458
Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS
Schedule-I of Price Bid
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
Sl. No. | Name of Work |  | Description |  |  | Total Cost Estimate
A | Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS |  | As given in sheet "Civil" |  |  | 0
B | Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS |  | As given in sheet "Electrical" |  |  | 0
Note: If any part of price which required to be filled by bidder kept blank, the bid price shall be considered as inclusive and evaluation shall be done accordingly
Date | 0 |  |  | Printed name | 0
Place | 0 |  |  | Designation | 0

## Summary (hidden)
RFX. No. 5002004199 NIT-458
Renovation of 220 kV system (Construction of New Control room, implementation of SAS system & replacement of ageing equipment) etc. at Purnea SS
Name of the bidder |  | 0 |  | To,
Address |  | 0 |  | Contracts and Materials Department
|  | 0 |  | POWER GRID CORPORATION OF INDIA LIMITED
|  | 0 |  | VIDYUT BOARD COLONY, SHASTRINAGAR, PATNA-23
We declare that following are our Total Bid Prices in Rupees for the expenditure incurred for the entire scope of work as specified in the specifications and documents. We have indicated Total Estimated Cost as indicated in the "Bill of Quantity(BOQ) & Prices" covering entire scope of works enclosed herewith as Schedule-I.
I |  | Total for Supply as per Schedule-I |  |  |  | 0
II |  | Total GST on Supply as per Schedule-I |  |  |  | #REF!
III |  | Total for services/Installation as per Schedule-I |  |  |  | 0
IV |  | Total GST on services/Installation as per Schedule-I |  |  |  | #REF!
V |  | Total for F&I as per Schedule-I |  |  |  | #REF!
VI |  | Toal BID Price including all taxes |  |  |  | #REF!
Date | 0 |  | Printed Name |  | 0
Place | 0 |  | Designation |  | 0