## Basic (hidden)
Package Name | Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
Package Code | SubStation
Specification No. | Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
32919024
|  | 9472093 | 42391117 | 50021518.06 | 51349859.06
1328341
43719458
51588960.44

## Cover
REV_01
Price Schedules | Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID |  | SubStation
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
| 1 | Fill up only green shaded cells in Sch-1, Sch-2, Sch-3 and Bid Form 2nd Envelope.
| 2 | All the cells in Sch-5 & Sch-6 are auto filled, therefore no cell is required to be filled up there.
| 3 | Instructions / error messages, if any, will be displayed automatically after selecting the cell.
| 4 | After filling up all the schedues, save the file, take print out of all the schedules and Bid form and sign & stamp and submit them as hard copy of the 2nd envelope (Price part) of the bid. Also ensure to submit the soft copy of the the same file on CD/ DVD.
Click to skip Instructions & Proceed
Click for Detailed General Instructions
General guidelines for filling up the Price Schedules

## Instructions
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package SS01
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Bidder from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Bidder and /or Joint Venture.
| ● | Fill up date in dd-mmm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Corresponding cell for mode of transaction shall be come enable only after filling up the unit rate, therefore first fill up the unit rate and then mode of transaction for the corresponding item.
| ● | Total amount shall get calculated automatically.
| ● | Type Test charges shall appear automatically after filling up Sch-7 appropriately.
Sch-2 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-3 (Erection Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-4 (Training Charges) :
| ● | Not applicable, hence no cell is required to be filled up.
Sch-5 (Summary of Taxes and Duties applicable on the Services) :
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch -6 :
| ● | Summary of all the Schedules without considering discount (mentioned in the work sheet discount) shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
Sch-7 (Type Test Charges) :
| ● | Fill up the rates & location where type tests are proposed.
| ● | Total of this Sch-7 shall automatically appear in Sch-1.
Bid from 2nd Envelope :
| ● | Fill up ref. no. as bidder's ref no. of this letter.
| ● | This letter shall consider the net price as per Sch-6 (After Discount).
| ● | Fill up names & Designation of the representatives of other JV partner(s) if the bidder is JV (Joint Venture) .
| ● | Fill up additional information as required.
* * *
Happy Bidding !
Click to Proceed

## Names of Bidder
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  |  | Sole Bidder
Others
Enter following details of the bidder
Specify type of Bidder [Select from drop down menu] | Others |  |  | 2
2 or More
Name of Lead Partner
Address of Lead Partner
Name of other Partner - 1
Address of other Partner - 1
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Name of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
Address of other Partner - 2 (more, if any) | …….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
…….. …….. …….. …….. …….. ……..
Printed Name
Designation
email ID of Bid Signatory
Mobile No. of Bid Signatory
Tel No. of Bid Signatory
Fax No. of Bid Signatory
Date |  | 2025 | 31
Place
Click for Sch-1

## Sch-1. (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 | [9 empty] | Schedule - 1
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To:
Sr.General Manager,
C&M Department
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted
All Prices are in Indian Rupees.
SI. No. | HSN Code | Whether HSN in column ‘ 2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Item Description | Unit | Qty. | Unit Ex-works price (excluding GST) | Total Ex-works price (excluding GST) | GST TAX as confirmed by Bidder
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11
I |  |  |  |  | SubStation | [5 empty] | Revaluation of J column | Tax Calculation
Part A - Indoor components of LT System
1 | 222222 |  | 18% | confirmed | 415V AC Main Switch Board as per the TS enclosed. | Set | 1 |  | Included | 0 | 0 | 0
2 | 2 |  | 18% |  | 415V ACDB- I as per the TS enlosed. | Set | 1 |  | Included | 0 | 0 | 0
3 | 2 |  | 18% |  | 415V ACDB- II as per the TS enclosed | Set | 1 |  | Included | 0 | 0 | 0
4 | 2 |  | 18% |  | 415V AC Main Lighting Distribution Board including two nos 100KVA rated lighting transformers as per the TS enclosed | Set | 1 |  | Included | 0 | 0 | 0
5 | 2 |  | 18% |  | 415V AC Emergency Lighting Distribution Board including one no 100KVA rated lighting transformers. | Set | 1 |  | Included | 0 | 0 | 0
6 | 2 |  | 18% |  | 415V AC Emergency Diesel Switchgear | Set | 1 |  | Included | 0 | 0 | 0
7 | 2 |  | 18% |  | 415V ACDB for colony lighting | Set | 2 |  | Included | 0 | 0 | 0
8 | 2 |  | 18% |  | 415V Air conditioning DB | Set | 1 |  | Included | 0 | 0 | 0
9 | 2 |  | 18% |  | 48V DCDB | Nos | 2 |  | Included | 0 | 0 | 0
10 | 2 |  | 18% |  | 220V DCDB | Nos | 2 |  | Included | 0 | 0 | 0
11 | 2 |  | 18% |  | Mandatory Spares as per the BOM in Vol-II | Lot | 1 |  | Included | 0 | 0 | 0
Part B - Out door components of LT system | [10 empty] | 0 | 0
1 | 1 |  | 18% |  | 630KVA, 22kV/433V, DYn1 LT transformer | Nos | 2 |  | Included | 0 | 0 | 0
2 | 1 |  | 18% |  | 33kV, 200A, Horn Gap fuse(1Ph) as per the TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
3 | 1 |  | 18% |  | 33KV, 630A, 3Ph, 25KA/3sec, manual operated HDB electrically ganged Isolator without earth switch as per the TS enclosed. | Nos. | 2 |  | Included | 0 | 0 | 0
4 | 1 |  | 18% |  | 22KV/433V Potential transformer (1Ph) as per the TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
5 | 1 |  | 18% |  | 18KV, 10KA , Class-III Surge arrestors as per TS enclosed. | Nos. | 6 |  | Included | 0 | 0 | 0
6 | 1 |  | 18% |  | 33KV Post insulators | Nos. | 24 |  | Included | 0 | 0 | 0
7 | 1 |  | 18% |  | H-Pole structure for 22KV sytem as per the indicative drawing enclosed, | Set | 2 |  | Included | 0 | 0 | 0
8 | 1 |  | 18% |  | Conductor, Clamps,Connector including equipment connectors earthing materials for 22KV system equipments including LT transformer neutral earthing, risers, Lighting spike, GI flats for earthing the structures, Equipments etc for connection of LT transformer and other 22KV equipments | Set | 2 |  | Included | 0 | 0 | 0
9 | 1 |  | 18% |  | 1CX630Sq.mm AL.XLPE cable along with clamps, Glands and straight Joints | Km | 1.4 |  | Included | 0 | 0 | 0
10 |  |  |  |  | Mandatory spares for LT transformer | [5 empty] | 0 | 0
a | 1 |  | 18% |  | All Bushings with metal parts | Set | 1 |  | Included | 0 | 0 | 0
b | 1 |  | 18% |  | OTI with sensing device | Set | 1 |  | Included | 0 | 0 | 0
c | 1 |  | 18% |  | Set of valves (o1 no. each type) | Set | 1 |  | Included | 0 | 0 | 0
d | 1 |  | 18% |  | Silica Gel container | Set | 1 |  | Included | 0 | 0 | 0
e | 1 |  | 18% |  | Bucholz relay | Set | 1 |  | Included | 0 | 0 | 0
11 | 1 |  | 18% |  | Mandatory spares for 22KV equipments as per the BOM attached | Lot | 1 |  | Included | 0 | 0 | 0
[10 empty] | 0 |  | 0
[5 empty] | Total Ex-Works Price Excluding GST |  |  |  | 0 |  |  | Total Tax
[5 empty] | Total Type Test charges as per Schedule-7 |  |  |  | 0
[5 empty] | Total Ex-works Price including Type Test charges |  |  |  | 0
[5 empty] | Total GST Tax as confirmed by Bidder |  |  |  |  | 0
Note : | Specify amount of GST on the transaction between the Contractor and the Employer.
* | In case the bidder leaves the cell for confirmation of the HSN code and/or GST rate “blank”, the HSN code and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --2025
Place : | [5 empty] | Printed Name :
Designation :
Click for Sch-2

## Sch-1 dis (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 | [5 empty] | Schedule - 1 |  |  |  | Direct Total | 0 | Others | `
[10 empty] | BO Total | #REF! | 0
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(SCHEDULE OF RATES AND PRICES : EX-WORKS PRICES)
Bidder’s Name and Address (Lead Partner) : |  |  |  | To:
Contract Services
Name : |  |  |  | Power Grid Corporation of India Ltd., | [7 empty] | , & …….. …….. …….. …….. …….. ……..
Address : |  |  |  | "Saudamini", Plot No.-2
Sector-29,
Gurgaon (Haryana) - 122001
Plant and Equipment (including Mandatory Spares Parts) to be supplied, including Type Test Charges for Tests to be conducted. | [10 empty] | Direct
[6 empty] | All Prices are in Indian Rupees. |  |  |  |  | Bought-Out
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct / Bought-out)
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | 7
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total Ex-Works Price Direct |  |  |  | 0 | Direct
| Total Ex-Works Price Bought Out |  |  |  | 0
| Total Ex-Works Price |  |  |  | 0
| Total Type Test charges as per Schedule-7 |  |  |  | #REF! |  |  | #REF! |  | #REF!
| Total Ex-works Price including Type Test charges |  |  |  | #REF! |  |  | #REF! |  | #REF!
[7 empty] | Discount Sch-1 | #REF! | MPD Sch-1 | #REF!
[7 empty] | Dis Alert | #REF!
Note : | Specify amount of Excise Duty, Sales Tax/'VAT and other taxes payable on the transaction between the Contractor and the Employer and octroi/entry tax as applicable for destination site/state on all items of supply including bought-out finished items (to be identified in the Contract), which shall be dispatched directly from the sub-vendor’s works to the Employer’s site (sale-in-transit), separately in Schedule-5. Excise Duty, Sales tax and other levies for all the bought-out items are to be included in the EXW Price (Col. No. 5) only and not to be indicated in Schedule-5.
Date : | --2025
Place : |  |  | Printed Name :
Designation :
Click for Sch-2

## Sch-1
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 | [8 empty] | Schedule - 1
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [13 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [13 empty] | AS per Percent |  | #REF!
[14 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To: | [5 empty] | As per Percent on Sch-3 |  | #REF!
Sr.General Manager,
[8 empty] | C&M Department | [5 empty] | Total Discount |  | #REF!
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
[8 empty] | Singanayakanahalli,Yelahanka | [5 empty] | Multipackage lum-sum |  | #REF!
Bangalore -560064
[15 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
All Prices are in Indian Rupees.
SI. No. | SAC/HSN (Service Accounting Codes/ Harmonized System of Nomenclature) | Whether HSN/ SAC in column '2’ is confirmed. If not, indicate applicable HSN/SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Rate in Rs. | Total in Rs. | GST TAX as confirmed by Bidder |  |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 = 8 x 9 | 11 |  |  |  |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
|  |  | Hiriyur Bay Extension work | [8 empty] | Revaluation of J column | Tax Calculation
I | Supply portion ( PART-A - POWERGRID ASSESSED QUANTITIES)
A | 245kV EQUIPMENT
1 | 85354010 |  | 18% | confirmed | 245kV Circuit Breakers (3-Phase) with support structure- 1600A, 50KA | No | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | 245kV Current Transformer (1-Phase) - 1600A, 50KA with 120% extended current rating | No | 3 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | 245kV Isolator (3-phase) (Double Break) -1600A, 50KA, Isolator with one earth switch | Set | 3 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | 216kV Surge Arrester (1-phase) | No | 3 |  | Included | 0 |  | 0 | 0
5 | 85353090 |  | 18% | confirmed | 245 kV Capacitive Voltage Transformer - 4400pF | No | 3 |  | Included | 0 |  | 0 | 0
6 | 85353090 |  | 18% | confirmed | 245kV Bus Post Insulators (excluding wave traps) | No | 10 |  | Included | 0 |  | 0 | 0
7 | 85353090 |  | 18% | confirmed | 245 kV Bus Post Insulator (including wave traps) | No | 6 |  | Included | 0 |  | 0 | 0
B |  |  |  |  | Control & Relay Panels
1 | 85353090 |  | 18% | confirmed | 220kV Circuit Breaker Relay Panel- With Autoreclose | No | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | 220kV Line Protection Panel | No | 1 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | 220kV Augmentation of Bus Bar Protection Scheme | Set | 1 |  | Included | 0 |  | 0 | 0
C |  |  |  |  | Substation Automation
1 | 85353090 |  | 18% | confirmed | Control panel 220kV diameter (one & half breaker scheme) | LS | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | Trip relays for 220kV Busbar protection | LS | 2 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | Augmentation Substation automation System for 220kV bay as per Technical Specification | LS | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | Augmentation of existing Control Panel | LS | 1 |  | Included | 0 |  | 0 | 0
E.1 |  |  |  |  | PLCC At Hiriyur S/S End
1 | 85353090 |  | 18% | confirmed | Line traps - 1600A, 245kV, 50KA, 0.5mH Line Trap | Nos | 2 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | BPI for above | Nos | 6 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | Coupling device (Inter-Phase) | Nos | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | Carrier Terminal equipment (Analogue type ) (S+P) | Nos | 1 |  | Included | 0 |  | 0 | 0
5 | 85353090 |  | 18% | confirmed | Protection coupler (Analogue) | Nos | 1 |  | Included | 0 |  | 0 | 0
6 | 85353090 |  | 18% | confirmed | Protection coupler (Digital) | Nos | 1 |  | Included | 0 |  | 0 | 0
7 | 85353090 |  | 18% | confirmed | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included | 0 |  | 0 | 0
8 | 85353090 |  | 18% | confirmed | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included | 0 |  | 0 | 0
9 | 85353090 |  | 18% | confirmed | HF Cable | KM | 1 |  | Included | 0 |  | 0 | 0
E.2 |  |  |  |  | PLCC At KPTCL End
1 | 85353090 |  | 18% | confirmed | Coupling device (Inter-Phase) | Nos. | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | Carrier Terminal equipment (Analogue type )(S+P) | Nos. | 1 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | Protection coupler (Analogue) | Nos. | 1 |  | Included | 0 |  | 0 | 0
4 | 85441110 |  | 18% | confirmed | Protection coupler (Digital) | Nos. | 1 |  | Included | 0 |  | 0 | 0
5 | 85441110 |  | 18% | confirmed | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included | 0 |  | 0 | 0
6 | 85441110 |  | 18% | confirmed | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included | 0 |  | 0 | 0
7 | 85441110 |  | 18% | confirmed | HF Cable | Km | 1 |  | Included | 0 |  | 0 | 0
F |  |  |  |  | Fire Protection System
1 | 85441110 |  | 18% | confirmed | Portable extinguishers- 4.5 kg CO2 type | Nos | 1 |  | Included | 0 |  | 0 | 0
G |  |  |  |  | Air Conditioning System
1 | 85441110 |  | 18% | confirmed | Air Conditioning for Switchyard panel room as per technical specification For 220 kV (6 mtr long) | Set | 1 |  | Included | 0 |  | 0 | 0
H |  |  |  |  | Illumination System- Outdoor Switchyard and Street Lighting
1 | 85441110 |  | 18% | confirmed | Lighting Panel (Outdoor) Type ACP-2 | Nos. | 2 |  | Included | 0 |  | 0 | 0
2 | 85441110 |  | 18% | confirmed | Sub-lighting panel (outdoor) Type SLP | Nos. | 2 |  | Included | 0 |  | 0 | 0
3 |  |  |  |  | Lighting fixtures and Receptacles including junction box, lighting wires& flexible conduit (if required) from junction box to lighting fixture, mounting arrangement and other accessories/materials etc. as required for complete installation and commissoning of lighting fixture.
i | 85441110 |  | 18% | confirmed | Lighting Fixture LED LuminareType FL-1 | Nos. | 10 |  | Included | 0 |  | 0 | 0
ii | 85353090 |  | 18% | confirmed | Lighting Fixture LED LuminareType FL-2 | Nos. | 10 |  | Included | 0 |  | 0 | 0
I |  |  |  |  | Structures
1 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 15 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 20 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2 |  | Included | 0 |  | 0 | 0
J |  |  |  |  | Telecom Equipments (At KPTCL end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i | 85353090 |  | 18% | confirmed | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included | 0 |  | 0 | 0
ii.a | 85353090 |  | 18% | confirmed | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 1 |  | Included | 0 |  | 0 | 0
ii.b | 85353090 |  | 18% | confirmed | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.a | 85353090 |  | 18% | confirmed | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.b | 85353090 |  | 18% | confirmed | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.c | 85353090 |  | 18% | confirmed | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included | 0 |  | 0 | 0
B | 85353090 |  | 18% | confirmed | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included | 0 |  | 0 | 0
C |  |  |  |  | Network Manager System - Craft Terminal
a | 85353090 |  | 18% | confirmed | Hardware | Set | 1 |  | Included | 0 |  | 0 | 0
b | 85353090 |  | 18% | confirmed | Software | Set | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included | 0 |  | 0 | 0
3 |  |  |  |  | Approach Cable (24Fibres)
a | 85353090 |  | 18% | confirmed | 24 Fibre (DWSM) | Kms | 1 |  | Included | 0 |  | 0 | 0
b | 85353090 |  | 18% | confirmed | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included | 0 |  | 0 | 0
Telecom Equipments (At Hiriyur Station end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i | 85353090 |  | 18% | confirmed | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included | 0 |  | 0 | 0
ii.a | 85353090 |  | 18% | confirmed | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 4 |  | Included | 0 |  | 0 | 0
ii.b | 85353090 |  | 18% | confirmed | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.a | 85353090 |  | 18% | confirmed | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.b | 85353090 |  | 18% | confirmed | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included | 0 |  | 0 | 0
iii.c | 85353090 |  | 18% | confirmed | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included | 0 |  | 0 | 0
B | 85353090 |  | 18% | confirmed | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included | 0 |  | 0 | 0
3 |  |  |  |  | Approach Cable (24Fibres)
a | 85353090 |  | 18% | confirmed | 24 Fibre (DWSM) | Kms | 1 |  | Included | 0 |  | 0 | 0
b | 85353090 |  | 18% | confirmed | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included | 0 |  | 0 | 0
( PART-B - VENDOR ASSESSED QUANTITIES)
A |  |  |  |  | Erection Hardware :[Insulator strings, Disc Insulators, Hardware, conductor, Al tube, bus-bar materials, cable trays, Bay MB, clamps, spacers, connectors including equipment connectors, Junction box, earth wire, earthing material risers, auxiliary earthmat(excluding main earth mat) buried cable trenches/pipe equipment & lighting, all accessories etc,Insulating mat, cable sealing arrangement etc.] (as required) for the following
220kV One and half breaker scheme (As per Tender Drawings)
i | 85353090 |  | 18% | confirmed | Line Bay | set | 1 |  | Included | 0 |  | 0 | 0
ii | 85353090 |  | 18% | confirmed | Spare bay of half dia | set | 1 |  | Included | 0 |  | 0 | 0
B | 85353090 |  | 18% | confirmed | Illumination System- Switchyard panel room (1 set = for 1 Switchyard panel room)- For 220 kV ( 6 mtr long) | Set | 1 |  | Included | 0 |  | 0 | 0
C |  |  |  |  | POWER & CONTROL CABLES- 1.1 kV LV Cables
i | 85353090 |  | 18% | confirmed | Power Cable(PVC insulated) | LS | 1 |  | Included | 0 |  | 0 | 0
ii | 85353090 |  | 18% | confirmed | Control Cable (PVC insulated) | LS | 1 |  | Included | 0 |  | 0 | 0
D |  |  |  |  | Fire Protection System
i | 85353090 |  | 18% | confirmed | Fire detection & Alarm System as per technical specification - Switchyard Panel room | Set | 1 |  | Included | 0 |  | 0 | 0
PART-C Mandatory Spares
1 | 85353090 |  | 18% | confirmed | Distance protection relay | LS | 1 |  | Included | 0 |  | 0 | 0
2 | 85353090 |  | 18% | confirmed | 245 kV SF6 Circuit Breaker (Without CR) 1-PHASE | LS | 1 |  | Included | 0 |  | 0 | 0
3 | 85353090 |  | 18% | confirmed | 1-PHASE 245 kV Isolator (Double Break)+1 ES | LS | 1 |  | Included | 0 |  | 0 | 0
4 | 85353090 |  | 18% | confirmed | 245kV Current Transformers 1-PHASE | LS | 1 |  | Included | 0 |  | 0 | 0
5 | 85353090 |  | 18% | confirmed | 216kV Surge Arrester | LS | 1 |  | Included | 0 |  | 0 | 0
6 | 85353090 |  | 18% | confirmed | 245kV CVT | LS | 1 |  | Included | 0 |  | 0 | 0
[5 empty] | Total |  |  |  | 0
[5 empty] | GST Amount |  |  |  |  | 0 | 0
* | In case the bidder leaves the cell for confirmation of the SAC and/or GST rate “blank”, the SAC and corresponding GST rate indicated by the Employer shall be deemed to be the one confirmed by the Bidder.
Date : | --2025
Place : | [5 empty] | Printed Name :
Designation :

## Sch-2
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 | [8 empty] | Schedule - 2
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(SCHEDULE OF RATES AND PRICES)
Bidder’s Name and Address (Lead Partner) : | [7 empty] | To:
C&M Department
Name : | [7 empty] | Power Grid Corporation of India Ltd.,
Address : | [7 empty] | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Local Transportation, Insurance and other Incidental Services
All Prices are in Indian Rupees.
SI. No. | HSN Code | Whether HSN in column ‘2’ is confirmed. If not indicate applicable the HSN code * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Freight, Insurance, loading & unloading Charges | Total Freight, Insurance, loading & unloading Charges
1 | 2 | 3 | 4 | 5 | 2 | 3 | 4 | 5 | 6 = 4 x 5
II |  |  |  |  | Freight & Insurance
( PART-A - POWERGRID ASSESSED QUANTITIES)
A | 245kV EQUIPMENT |  |  |  | 245kV EQUIPMENT
1 | 1 | 1 | 1 | 1 | 245kV Circuit Breakers (3-Phase) with support structure- 1600A, 50KA | No | 1 |  | Included
2 |  |  |  |  | 245kV Current Transformer (1-Phase) - 1600A, 50KA with 120% extended current rating | No | 3 |  | Included
3 |  |  |  |  | 245kV Isolator (3-phase) (Double Break) -1600A, 50KA, Isolator with one earth switch | Set | 3 |  | Included
4 |  |  |  |  | 216kV Surge Arrester (1-phase) | No | 3 |  | Included
5 |  |  |  |  | 245 kV Capacitive Voltage Transformer - 4400pF | No | 3 |  | Included
6 |  |  |  |  | 245kV Bus Post Insulators (excluding wave traps) | No | 10 |  | Included
7 |  |  |  |  | 245 kV Bus Post Insulator (including wave traps) | No | 6 |  | Included
B |  |  |  |  | Control & Relay Panels
1 |  |  |  |  | 220kV Circuit Breaker Relay Panel- With Autoreclose | No | 1 |  | Included
2 |  |  |  |  | 220kV Line Protection Panel | No | 1 |  | Included
3 |  |  |  |  | 220kV Augmentation of Bus Bar Protection Scheme | Set | 1 |  | Included
C |  |  |  |  | Substation Automation
1 |  |  |  |  | Control panel 220kV diameter (one & half breaker scheme) | LS | 1 |  | Included
2 |  |  |  |  | Trip relays for 220kV Busbar protection | LS | 2 |  | Included
3 |  |  |  |  | Augmentation Substation automation System for 220kV bay as per Technical Specification | LS | 1 |  | Included
4 |  |  |  |  | Augmentation of existing Control Panel | LS | 1 |  | Included
E.1 |  |  |  |  | PLCC At Hiriyur S/S End
1 |  |  |  |  | Line traps - 1600A, 245kV, 50KA, 0.5mH Line Trap | Nos | 2 |  | Included
2 |  |  |  |  | BPI for above | Nos | 6 |  | Included
3 |  |  |  |  | Coupling device (Inter-Phase) | Nos | 1 |  | Included
4 |  |  |  |  | Carrier Terminal equipment (Analogue type ) (S+P) | Nos | 1 |  | Included
5 |  |  |  |  | Protection coupler (Analogue) | Nos | 1 |  | Included
6 |  |  |  |  | Protection coupler (Digital) | Nos | 1 |  | Included
7 |  |  |  |  | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included
8 |  |  |  |  | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included
9 |  |  |  |  | HF Cable | KM | 1 |  | Included
E.2 |  |  |  |  | PLCC At KPTCL End
1 |  |  |  |  | Coupling device (Inter-Phase) | Nos. | 1 |  | Included
2 |  |  |  |  | Carrier Terminal equipment (Analogue type )(S+P) | Nos. | 1 |  | Included
3 |  |  |  |  | Protection coupler (Analogue) | Nos. | 1 |  | Included
4 |  |  |  |  | Protection coupler (Digital) | Nos. | 1 |  | Included
5 |  |  |  |  | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included
6 |  |  |  |  | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included
7 |  |  |  |  | HF Cable | Km | 1 |  | Included
F |  |  |  |  | Fire Protection System
1 |  |  |  |  | Portable extinguishers- 4.5 kg CO2 type | Nos | 1 |  | Included
G |  |  |  |  | Air Conditioning System
1 |  |  |  |  | Air Conditioning for Switchyard panel room as per technical specification For 220 kV (6 mtr long) | Set | 1 |  | Included
H |  |  |  |  | Illumination System- Outdoor Switchyard and Street Lighting
1 |  |  |  |  | Lighting Panel (Outdoor) Type ACP-2 | Nos. | 2 |  | Included
2 |  |  |  |  | Sub-lighting panel (outdoor) Type SLP | Nos. | 2 |  | Included
3 |  |  |  |  | Lighting fixtures and Receptacles including junction box, lighting wires& flexible conduit (if required) from junction box to lighting fixture, mounting arrangement and other accessories/materials etc. as required for complete installation and commissoning of lighting fixture.
i |  |  |  |  | Lighting Fixture LED LuminareType FL-1 | Nos. | 10 |  | Included
ii |  |  |  |  | Lighting Fixture LED LuminareType FL-2 | Nos. | 10 |  | Included
I |  |  |  |  | Structures
1 |  |  |  |  | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 15 |  | Included
2 |  |  |  |  | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 20 |  | Included
3 |  |  |  |  | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | Included
4 |  |  |  |  | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2 |  | Included
J |  |  |  |  | Telecom Equipments (At KPTCL end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i |  |  |  |  | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included
ii.a |  |  |  |  | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 1 |  | Included
ii.b |  |  |  |  | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included
iii.a |  |  |  |  | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included
iii.b |  |  |  |  | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included
iii.c |  |  |  |  | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included
B |  |  |  |  | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included
C |  |  |  |  | Network Manager System - Craft Terminal
i |  |  |  |  | Hardware | Set | 1 |  | Included
ii |  |  |  |  | Software | Set | 1 |  | Included
2 |  |  |  |  | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included
3 |  |  |  |  | Approach Cable (24Fibres)
a |  |  |  |  | 24 Fibre (DWSM) | Kms | 1 |  | Included
b |  |  |  |  | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included
4 |  |  |  |  | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included
Telecom Equipments (At Hiriyur end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i |  |  |  |  | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included
ii.a |  |  |  |  | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 4 |  | Included
ii.b |  |  |  |  | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included
iii.a |  |  |  |  | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included
iii.b |  |  |  |  | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included
iii.c |  |  |  |  | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included
B |  |  |  |  | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included
2 |  |  |  |  | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included
3 |  |  |  |  | Approach Cable (24Fibres)
a |  |  |  |  | 24 Fibre (DWSM) | Kms | 1 |  | Included
b |  |  |  |  | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included
4 |  |  |  |  | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included
( PART-B - VENDOR ASSESSED QUANTITIES)
A |  |  |  |  | Erection Hardware :[Insulator strings, Disc Insulators, Hardware, conductor, Al tube, bus-bar materials, cable trays, Bay MB, clamps, spacers, connectors including equipment connectors, Junction box, earth wire, earthing material risers, auxiliary earthmat(excluding main earth mat) buried cable trenches/pipe equipment & lighting, all accessories etc,Insulating mat, cable sealing arrangement etc.] (as required) for the following
220kV One and half breaker scheme (As per Tender Drawings)
i |  |  |  |  | Line Bay | set | 1 |  | Included
ii |  |  |  |  | Spare bay of half dia | set | 1 |  | Included
B |  |  |  |  | Illumination System- Switchyard panel room (1 set = for 1 Switchyard panel room)- For 220 kV ( 6 mtr long) | Set | 1 |  | Included
C |  |  |  |  | POWER & CONTROL CABLES- 1.1 kV LV Cables
i |  |  |  |  | Power Cable(PVC insulated) | LS | 1 |  | Included
ii |  |  |  |  | Control Cable (PVC insulated) | LS | 1 |  | Included
D |  |  |  |  | Fire Protection System
i |  |  |  |  | Fire detection & Alarm System as per technical specification - Switchyard Panel room | Set | 1 |  | Included
PART-C Mandatory Spares
1 |  |  |  |  | Distance protection relay | LS | 1 |  | Included
2 |  |  |  |  | 245 kV SF6 Circuit Breaker (Without CR) 1-PHASE | LS | 1 |  | Included
3 |  |  |  |  | 1-PHASE 245 kV Isolator (Double Break)+1 ES | LS | 1 |  | Included
4 |  |  |  |  | 245kV Current Transformers 1-PHASE | LS | 1 |  | Included
5 |  |  |  |  | 216kV Surge Arrester | LS | 1 |  | Included
6 |  |  |  |  | 245kV CVT | LS | 1 |  | Included
[5 empty] | Total F&I Price |  |  |  | 0
Bidders to note that the item description under various schedules are through unique material ID for respective items under SAP ERP System and therefore, identical item description appears in schedule-1(Ex-works) & schedule-2(F&I). However, the prices to be quoted in Price Schedule-2(F&I) shall be towards Local Transportation, Insurance and other Incidental Services only in line with clause ITB 11.4(b).
Date : | --2025
Place : | [6 empty] | Printed Name :
Designation :
Click for Sch-3

## Sch-2 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  |  | Schedule - 2 Dis
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [5 empty] | As per Lum-sum |  | 0
(SCHEDULE OF RATES AND PRICES : FREIGHT & INSURANCE CHARGES) | [5 empty] | AS per Percent |  | #REF!
[6 empty] | As per lum-sum on Sch-2 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: |  | As per Percent on Sch-2 |  | #REF!
|  |  |  | C&M Department |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka |  | Multipackage Discount |  | #REF!
Bangalore -560064
[5 empty] | All Prices are in Indian Rupees. |  | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | Description | Unit | Quantity | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges |  | Unit Freight & Insurance Charges | Total Freight & Insurance Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF!
| #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total F&I Price |  |  |  | #REF!
Date : | --2025
Place : |  |  | Printed Name :
Designation :
Click for Sch-3

## Sch-3
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [12 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : ERECTION CHARGES) | [12 empty] | AS per Percent |  | #REF!
[13 empty] | As per lum-sum on Sch-3 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: | [8 empty] | As per Percent on Sch-3 |  | #REF!
|  |  |  | C&M Department | [8 empty] | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka | [8 empty] | Multipackage lum-sum |  | #REF!
Bangalore -560064
[5 empty] | All Prices are in Indian Rupees. | [8 empty] | Amount after Discount (Rs.) |  | Dis Alert | Amount after MPD (Rs.)
SI. No. | SAC/HSN (Service Accounting Codes/ Harmonized System of Nomenclature) | Whether SAC in column '2’ is confirmed. If not, indicate applicable SAC * | Rate of GST applicable ( in %) | Whether rate of GST in column ‘ 4 ’ is confirmed. If not indicate applicable rate of GST * | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges | GST TAX as confirmed by Bidder |  |  |  | Unit Erection Charges | Total Erection Charges |  | Unit Erection Charges | Total Erection Charges
1 | 2 | 3 | 4 | 5 | 6 = 4 x 5 | [8 empty] | 5 | 6 = 4 x 5 |  | 5 | 6 = 4 x 5
I | Erection ( PART-A - POWERGRID ASSESSED QUANTITIES)
A | 245kV EQUIPMENT
1 | 995461 |  | 18% | confirmed | 245kV Circuit Breakers (3-Phase) with support structure- 1600A, 50KA | No | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | 245kV Current Transformer (1-Phase) - 1600A, 50KA with 120% extended current rating | No | 3 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | 245kV Isolator (3-phase) (Double Break) -1600A, 50KA, Isolator with one earth switch | Set | 3 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | 216kV Surge Arrester (1-phase) | No | 3 |  | Included | 0 | 0 | 0
5 | 995461 |  | 18% | confirmed | 245 kV Capacitive Voltage Transformer - 4400pF | No | 3 |  | Included | 0 | 0 | 0
6 | 995461 |  | 18% | confirmed | 245kV Bus Post Insulators (excluding wave traps) | No | 10 |  | Included | 0 | 0 | 0
7 | 995461 |  | 18% | confirmed | 245 kV Bus Post Insulator (including wave traps) | No | 6 |  | Included | 0 | 0 | 0
B |  |  |  |  | Control & Relay Panels
1 | 995461 |  | 18% | confirmed | 220kV Circuit Breaker Relay Panel- With Autoreclose | No | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | 220kV Line Protection Panel | No | 1 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | 220kV Augmentation of Bus Bar Protection Scheme | Set | 1 |  | Included | 0 | 0 | 0
C |  |  |  |  | Substation Automation
1 | 995461 |  | 18% | confirmed | Control panel 220kV diameter (one & half breaker scheme) | LS | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | Trip relays for 220kV Busbar protection | LS | 2 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | Augmentation Substation automation System for 220kV bay as per Technical Specification | LS | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | Augmentation of existing Control Panel | LS | 1 |  | Included | 0 | 0 | 0
E.1 |  |  |  |  | PLCC At Hiriyur S/S End
1 | 995461 |  | 18% | confirmed | Line traps - 1600A, 245kV, 50KA, 0.5mH Line Trap | Nos | 2 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | BPI for above | Nos | 6 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | Coupling device (Inter-Phase) | Nos | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | Carrier Terminal equipment (Analogue type ) (S+P) | Nos | 1 |  | Included | 0 | 0 | 0
5 | 995461 |  | 18% | confirmed | Protection coupler (Analogue) | Nos | 1 |  | Included | 0 | 0 | 0
6 | 995461 |  | 18% | confirmed | Protection coupler (Digital) | Nos | 1 |  | Included | 0 | 0 | 0
7 | 995461 |  | 18% | confirmed | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included | 0 | 0 | 0
8 | 995461 |  | 18% | confirmed | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included | 0 | 0 | 0
9 | 995461 |  | 18% | confirmed | HF Cable | KM | 1 |  | Included | 0 | 0 | 0
E.2 |  |  |  |  | PLCC At KPTCL End
1 | 995461 |  | 18% | confirmed | Coupling device (Inter-Phase) | Nos. | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | Carrier Terminal equipment (Analogue type )(S+P) | Nos. | 1 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | Protection coupler (Analogue) | Nos. | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | Protection coupler (Digital) | Nos. | 1 |  | Included | 0 | 0 | 0
5 | 995461 |  | 18% | confirmed | 4 wire telephone instrument (Alongwith associated accessories, wiring etc.) | Nos. | 2 |  | Included | 0 | 0 | 0
6 | 995461 |  | 18% | confirmed | Testing & maintenance equipment (print test kit only) | Set | 1 |  | Included | 0 | 0 | 0
7 | 995461 |  | 18% | confirmed | HF Cable | Km | 1 |  | Included | 0 | 0 | 0
F |  |  |  |  | Fire Protection System
1 | 995461 |  | 18% | confirmed | Portable extinguishers- 4.5 kg CO2 type | Nos | 1 |  | Included | 0 | 0 | 0
G |  |  |  |  | Air Conditioning System
1 | 995461 |  | 18% | confirmed | Air Conditioning for Switchyard panel room as per technical specification For 220 kV (6 mtr long) | Set | 1 |  | Included | 0 | 0 | 0
H |  |  |  |  | Illumination System- Outdoor Switchyard and Street Lighting
1 | 995461 |  | 18% | confirmed | Lighting Panel (Outdoor) Type ACP-2 | Nos. | 2 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | Sub-lighting panel (outdoor) Type SLP | Nos. | 2 |  | Included | 0 | 0 | 0
3 |  |  |  |  | Lighting fixtures and Receptacles including junction box, lighting wires& flexible conduit (if required) from junction box to lighting fixture, mounting arrangement and other accessories/materials etc. as required for complete installation and commissoning of lighting fixture.
i | 995461 |  | 18% | confirmed | Lighting Fixture LED LuminareType FL-1 | Nos. | 10 |  | Included | 0 | 0 | 0
ii | 995461 |  | 18% | confirmed | Lighting Fixture LED LuminareType FL-2 | Nos. | 10 |  | Included | 0 | 0 | 0
I |  |  |  |  | Structures
1 | 995461 |  | 18% | confirmed | Fabrication, galvanising and supply of Equipment Support (Pipe)Structures to be designed during detailed engineering | MT | 15 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | Fabrication, galvanising and supply of Lattice Structures (MS Steel),to be designed during detailed engineering, for towers, beams andequipment support structure including pack plates / packwashers andgusset plates excluding fasteners and foundation bolts | MT | 20 |  | Included | 0 | 0 | 0
3 | 995461 |  | 18% | confirmed | Fabrication, galvanising and supply of fasteners ( nuts, bolts andwashers ) including step bolts for lattice and pipe structures to bedesigned during detailed engineering | MT | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | Fabrication, galvanising and supply of foundation bolts including nuts,checknut and washers for lattice and pipe structures to be designedduring detailed engineering | MT | 2 |  | Included | 0 | 0 | 0
J |  |  |  |  | Telecom Equipments (At KPTCL end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i | 995461 |  | 18% | confirmed | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included | 0 | 0 | 0
ii.a | 995461 |  | 18% | confirmed | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 1 |  | Included | 0 | 0 | 0
ii.b | 995461 |  | 18% | confirmed | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included | 0 | 0 | 0
iii.a | 995461 |  | 18% | confirmed | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included | 0 | 0 | 0
iii.b | 995461 |  | 18% | confirmed | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included | 0 | 0 | 0
iii.c | 995461 |  | 18% | confirmed | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included | 0 | 0 | 0
B | 995461 |  | 18% | confirmed | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included | 0 | 0 | 0
C |  |  |  |  | Network Manager System - Craft Terminal
a | 995461 |  | 18% | confirmed | Hardware | Set | 1 |  | Included | 0 | 0 | 0
b | 995461 |  | 18% | confirmed | Software | Set | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included | 0 | 0 | 0
3 |  |  |  |  | Approach Cable (24Fibres)
a | 995461 |  | 18% | confirmed | 24 Fibre (DWSM) | Kms | 1 |  | Included | 0 | 0 | 0
b | 995461 |  | 18% | confirmed | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included | 0 | 0 | 0
Telecom Equipments (At Hiriyur Station end) -
A. SDH Equipment (STM-16 MADM upto 5 MSP protected directions)
i | 995461 |  | 18% | confirmed | Base Equipment (Common cards, Cross Connect/control cards, optical base cards, power supply cards, power cabling, other hardware and accessories including sub racks, patch cord, DDF etc fully equiped excluding (ii) & (iii) below | Nos. | 1 |  | Included | 0 | 0 | 0
ii.a | 995461 |  | 18% | confirmed | Optical Interface Cards/SFP - S 16.1 SFP | Nos. | 4 |  | Included | 0 | 0 | 0
ii.b | 995461 |  | 18% | confirmed | Optical Interface Cards/SFP- V16.2 SFP | Nos. | 2 |  | Included | 0 | 0 | 0
iii.a | 995461 |  | 18% | confirmed | Tributary cards - E1 Interface card (Min.16 interfaces per card) | Nos. | 2 |  | Included | 0 | 0 | 0
iii.b | 995461 |  | 18% | confirmed | Tributary cards - Ethernet Interface 10/100 Base T with Layer-2 switching (Min 8 Interfaces per card) | Nos. | 2 |  | Included | 0 | 0 | 0
iii.c | 995461 |  | 18% | confirmed | Tributary cards - Gigabit Ethernet (Layer 2) Interface (min. 2 nos.) | Set | 1 |  | Included | 0 | 0 | 0
B | 995461 |  | 18% | confirmed | Equipment Cabinet (2200mmx600mmx600mm) | Nos. | 1 |  | Included | 0 | 0 | 0
2 | 995461 |  | 18% | confirmed | VOIP telephone instrument( SIP compliance) with one common switch (min. 8 port) | Nos. | 2 |  | Included | 0 | 0 | 0
3 |  |  |  |  | Approach Cable (24Fibres)
a | 995461 |  | 18% | confirmed | 24 Fibre (DWSM) | Kms | 1 |  | Included | 0 | 0 | 0
b | 995461 |  | 18% | confirmed | Installation hardware set for above 24 Fibre, Fibre Optic Approach Cable | Set | 1 |  | Included | 0 | 0 | 0
4 | 995461 |  | 18% | confirmed | FODP - 96 Fibre : Indoor Type, Rack Mounted with FCPC Coupling & Pigtails (5mtrs) | Nos. | 1 |  | Included | 0 | 0 | 0
( PART-B - VENDOR ASSESSED QUANTITIES)
A |  |  |  |  | Erection Hardware :[Insulator strings, Disc Insulators, Hardware, conductor, Al tube, bus-bar materials, cable trays, Bay MB, clamps, spacers, connectors including equipment connectors, Junction box, earth wire, earthing material risers, auxiliary earthmat(excluding main earth mat) buried cable trenches/pipe equipment & lighting, all accessories etc,Insulating mat, cable sealing arrangement etc.] (as required) for the following
220kV One and half breaker scheme (As per Tender Drawings)
i | 995461 |  | 18% | confirmed | Line Bay | set | 1 |  | Included | 0 | 0 | 0
ii | 995461 |  | 18% | confirmed | Spare bay of half dia | set | 1 |  | Included | 0 | 0 | 0
B | 995461 |  | 18% | confirmed | Illumination System- Switchyard panel room (1 set = for 1 Switchyard panel room)- For 220 kV ( 6 mtr long) | Set | 1 |  | Included | 0 | 0 | 0
C |  |  |  |  | POWER & CONTROL CABLES- 1.1 kV LV Cables
i | 995461 |  | 18% | confirmed | Power Cable(PVC insulated) | LS | 1 |  | Included | 0 | 0 | 0
ii | 995461 |  | 18% | confirmed | Control Cable (PVC insulated) | LS | 1 |  | Included | 0 | 0 | 0
D |  |  |  |  | Fire Protection System
i | 995461 |  | 18% | confirmed | Fire detection & Alarm System as per technical specification - Switchyard Panel room | Set | 1 |  | Included | 0 | 0 | 0
Civil Works
1 | 995421 |  | 18% | confirmed | Excavation in all kind of soil including rock for all leads and lifts, backfilling, disposal of surplus earth within a lead up to2Km as per technical specification. The surplus earth shall be roughly graded . | Cum | 450 |  | Included | 0 | 0 | 0
2 | 995421 |  | 18% | confirmed | Excavation in hard rock which require blasting (including chemical blasting and rock excavated using specialized tools) for allfoundation works including stacking, measuring, disposal etc.for all leads and lifts as per technical specification. | Cum | 40 |  | Included | 0 | 0 | 0
3 | 995421 |  | 18% | confirmed | Providing and laying of Plain Cement Concrete (PCC) (1:4:8) | Cum | 45 |  | Included | 0 | 0 | 0
4 | 995421 |  | 18% | confirmed | Providing and laying of Plain Cement Concrete (PCC) (1:2:4) | Cum | 20 |  | Included | 0 | 0 | 0
5 | 995421 |  | 18% | confirmed | Providing and laying of Reinforced Cement Concrete M25 mix including pre cast, shuttering, Grouting of pockets & underpinning but excluding steel reinforcement | Cum | 95 |  | Included | 0 | 0 | 0
6 | 995421 |  | 18% | confirmed | Providing and laying Plain Cement Concrete 1:5:10 (1 cement : 5 sand : 10 brick aggregate) | Cum | 450 |  | Included | 0 | 0 | 0
7 | 995421 |  | 18% | confirmed | Steel Reinforcement | MT | 5.1 |  | Included | 0 | 0 | 0
8 | 995421 |  | 18% | confirmed | Misc. Structural steel including rails, embedments, edge protection angles, gratings etc. but excluding the reinforcement steel andsteel for lattice and pipe structures. | MT | 2.6 |  | Included | 0 | 0 | 0
9 | 995421 |  | 18% | confirmed | Stone spreading in switchyard excluding PCC | Sqm | 2000 |  | Included | 0 | 0 | 0
10 | 995421 |  | 18% | confirmed | Antiweed treatment | Sqm | 6000 |  | Included | 0 | 0 | 0
11 | 995421 |  | 18% | confirmed | RCC culverts and cable trench crossings including supplying and laying hume pipe 250mm dia of grade (NP-3) excluding concrete as perspecification. | M | 5 |  | Included | 0 | 0 | 0
12 | 995421 |  | 18% | confirmed | RCC culverts and cable trench crossings including supplying and laying hume pipe 450mm dia of grade (NP-3) excluding concrete as perspecification. | M | 5 |  | Included | 0 | 0 | 0
13 | 995421 |  | 18% | confirmed | Drain including culverts but excluding concrete & reinforcement steel-Section A-A | M | 160 |  | Included | 0 | 0 | 0
14 | 995421 |  | 18% | confirmed | Drain including culverts but excluding concrete & reinforcement steel-Section B-B | M | 20 |  | Included | 0 | 0 | 0
15 | 995421 |  | 18% | confirmed | Switchyard Panel Room - Civil Works. All civil works as per drawing and specifications complete, including - brickwork, finishing(external and internal), windows etc. However, excavation, PCC, RCC and reinforcement shall be paid separately as per BPS. | Sqm | 30 |  | Included | 0 | 0 | 0
16 | 995421 |  | 18% | confirmed | Random rubble masonary for retaining wall with locally available stone in cement sand mortar 1:6( 1 Cement:6 Course sand) including levelling up with cement conrete 1:6:12(1 cement:6 course sand: 12 graded stone aggregate 20 mm nominal size),raised and cut pointing on exposed surface,weep holes/PVC pipe sleeves of 100 mm dia( medium size) @1 mtrs c/c staggered. The top of the retaining wall to be provided with cement cncrete 1:2:4. However items of excavation,concrete(1:2:4) shall be payable under respective items of BPS. | cum | 266 |  | Included | 0 | 0 | 0
17 | 995421 |  | 18% | confirmed | Providing and fixing of 100mm UPVC pipes conforming to IS : 15328, for weep holes | M | 100 |  | Included | 0 | 0 | 0
18 | 995421 |  | 18% | confirmed | Providing and fixing of filter media with coarse aggregate confined in chicken mesh . | EA | 100 |  | Included | 0 | 0 | 0
19 | 995421 |  | 18% | confirmed | 3.75m wide Cement Concrete road with PCC shoulder including 100 mm dia RCC Hume Pipe @ 100 metre interval as per drawing and TS.However, reinforcement steel and all type concrete shall be paid separately under relevant items | Sqm | 135 |  | Included | 0 | 0 | 0
20 | 995421 |  | 18% | confirmed | Removing,cleaning and washing of existing stones and respreading of stones in switchyard after doing anti-weed treatment excludingPCC | Sqm | 4000 |  | Included | 0 | 0 | 0
21 | 995421 |  | 18% | confirmed | Providing & fixing of New chain Link Fencing excluding concrete | M | 90 |  | Included | 0 | 0 | 0
[5 empty] | Total |  |  |  | 0
[5 empty] | GST Amount |  |  |  |  | 0
Click for Sch-4

## Sch-4 (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  | Schedule - 4
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(SCHEDULE OF RATES AND PRICES )
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Training Charges for Training to be imparted
NOT APPLICABLE
| TOTAL TRAINING CHARGES |  |  | 0
Date : | -- | Printed Name :
Place : |  | Designation :
Click for Sch-5

## Sch-5
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  | Schedule - 5
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(SUMMARY OF TAXES & DUTIES APPLICABLE ON PLANT & EQUIPMENT)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Sr.General Manager,
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Item Nos. |  | Total Price (INR) |  | After Discount |  | After MPDiscount
1 | TOTAL GST ON SUPPLY(Sch-1) |  | 0 |  | Sales Tax | 0 | Sales Tax | 0
2 | TOTAL GST ON SERVICES (Sch-3) |  | 0
| GRAND TOTAL [] |  | 0 |  | Grand Total after Discount | #REF! | Grand Total after MPD | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-5 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  | Schedule - 5
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
SUMMARY OF TAXES & DUTIES APPLICABLE ON GOODS
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Item Nos. |  | Total Price (INR)
1 | TOTAL GST ON GOODS |  | #REF!
Total GST for Supply of Goods (inter-alia including Type Test Charges) between the Contractor and the Employer (identified in Schedule 1') which are not included in the Ex-works price as per the provision of the Bidding Documents, as applicable.
2 | TOTAL GST ON SERVICES |  | #REF!
Total GST on Installation Services (Schedule-3) and Training to be imparted in India (Schedule-4)
| GRAND TOTAL [1+2] |  | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-6

## Sch-6
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  | Schedule - 6
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
Sr.General Manager,
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | 0
Ex-works price of Plant and Equipment
2 | TOTAL SCHEDULE NO. 2 |  | 0
Local Transportation, Insurance and other Incidental Services
3 | TOTAL SCHEDULE NO. 3 |  | 0
Total Installtion/Service Charges
4 | TOTAL SCHEDULE NO. 4 |  | 0
Training Charges
4 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties(GST)
6 | TOTAL SCHEDULE NO. 7 |  | 0
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | 0
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Discount (hidden)
This letter of discount is optional. Bidder may / may not offer any discount.
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  |  | Letter of Discount
LETTER OF DISCOUNT
To:
Contract Services
Power Grid Corporation of India Ltd.,
"Saudamini", Plot No.-2
Sector-29, (near IFFCO Chowk)
Gurgaon (Haryana) - 122001
Subject : |  | Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
Dear Sir
With reference to the subject tender, we hereby offer unconditional discount on the prices quoted by us as per details given here below : | [6 empty] | Eq Weightage of Rs/ % | Final Discount Factor
| 1 | Discount on lum-sum basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2, Sch-3 & Sch-7] In Rs. |  |  |  | #REF! | #REF!
| 2 | Discount on percent basis on total price quoted by us without Taxes & Duties. [The discount shall be proportionately applicable on all the items of all the Schdules i.e. Sch-1 (without type test charges), Sch-2 , Sch-3 & Sch-7] In Percent (%) |  |  |  | #REF! | 0%
| 3 | Discount on lum-sum basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Rs.
|  | Schedule-1 : Ex works prices |  | In Rs. |  | 0 | 0% | Schedule-1 : (Direct Only) | #REF!
|  | Schedule-2 : Freight & Insurance |  | In Rs. |  | 0 | 0% | Schedule-2 : Freight & Insurance | #REF!
|  | Schedule-1 : Erection Charges |  | In Rs. |  | #REF! | #REF! | Schedule-3 : Erection Charges | #REF!
|  | Schedule-4 : Training Charges |  | In Rs. |  | 0 | 0% | Schedule-4 : Training Charges | #REF!
|  | Schedule-7 : Type Test Charges |  | In Rs. |  | 0 | 0% | Schedule-6 : Type Test Charges | #REF!
| 1 | Discount on percent basis on the Schedules as given below : [The discount shall be proportionately applicable on all the relevent items of the respective Schdules.] In Percent (%)
|  | Schedule-1 : Ex works prices |  | In Percent (%) |  | 0 | 0%
|  | Schedule-2 : Freight & Insurance |  | In Percent (%) |  | 0 | 0%
|  | Schedule-1 : Erection Charges |  | In Percent (%) |  | #REF! | 0%
|  | Schedule-4 : Training Charges |  | In Percent (%) |  | 0 | 0%
|  | Schedule-7 : Type Test Charges |  | In Percent (%) |  | 0 | 0%
Discount(s) offered at sl. No. 1 will get displayed and accounted for automatically in the respective items of the Schedules.
| 5 | We hereby offer Multi-package discount as given below:
Multi-Package Discount(s) offered at sl. No. 5 will not get automatically accounted for in the respective items of the Schedules. The same shall be worked out saparately for evaluation.
Please consider this letter of discount as the integral part of our price bid.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : |  | --2025 | Printed Name :
Place : |  |  | Designation :
Click for Bid Form

## Sch-6 After Discount (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  | Schedule - 6 After Discount
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID
(GRAND SUMMARY)
Bidder’s Name and Address (Lead Partner) : |  |  | To:
C&M Department
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
Singanayakanahalli,Yelahanka
Bangalore -560064
Sl. No. | Description |  | Total Price (INR)
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Ex-works price of Plant and Equipment
2 | TOTAL SCHEDULE NO. 2 |  | #REF!
Local Transportation, Insurance and other Incidental Services
1 | TOTAL SCHEDULE NO. 1 |  | #REF!
Total Charges for Site Levelling works
4 | TOTAL SCHEDULE NO. 4 |  | #REF!
Training Charges
2 | TOTAL SCHEDULE NO. 5 |  | 0
Taxes and Duties(GST)
6 | TOTAL SCHEDULE NO. 7 |  | #REF!
Type Test Charges [Total of this Schedule is included in Schedule - 1 above.]
| GRAND TOTAL [1+2] |  | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Click for Sch-7

## Sch-7 (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  |  | Schedule 7
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [7 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES ) | [7 empty] | AS per Percent |  | #REF!
[8 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  | To: |  |  |  |  | As per Percent on Sch-7 |  | #REF!
|  |  | C&M Department |  |  |  |  | Total Discount |  | #REF!
Name : |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  | SR-II,RHQ
|  |  | Singanayakanahalli,Yelahanka |  |  |  |  | Multipackage Discount |  | #REF!
Bangalore -560064
Type test Charges
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  | #REF! |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
NOT APPLICABLE
#REF!
#REF!
#REF!
| TOTAL TYPE TEST CHARGES |  |  |  | 0
[8 empty] | Dis Alert | #REF!
Date : | --2025 | Printed Name :
Place : |  | Designation :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES ) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Lead Partner) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Sch-7 Dis (hidden)
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [6 empty] | As per Lum-sum |  | 0%
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | [6 empty] | AS per Percent |  | #REF!
[7 empty] | As per lum-sum on Sch-7 |  | 0%
Bidder’s Name and Address (Lead Partner) : |  |  |  | To: |  |  | As per Percent on Sch-7 |  | #REF!
|  |  |  | C&M Department |  |  | Total Discount |  | #REF!
Name : |  |  |  | Power Grid Corporation of India Ltd.,
Address : |  |  |  | SR-II,RHQ
|  |  |  | Singanayakanahalli,Yelahanka |  |  | Multipackage Discount |  | #REF!
Bangalore -560064
Type Tests on Earthwire
SL. NO. | Description of Test | Unit | Quantity | Unit Test Charge | Total Test Charges (Rs.) |  |  | Total Test Charges After Discount (Rs.) |  | Dis Alert | Total Test Charges After MPD (Rs.)
I | 0
(a) | #REF! | #REF! | #REF! | #REF! | #REF!
(b) | #REF! | #REF! | #REF! | #REF! | #REF!
| Sub-Total (I) |  |  |  | #REF!
| TOTAL TEST CHARGES (I) |  |  |  | #REF!
[7 empty] | Discount Sche-7 | #REF! |  | MPD Sche-7 | #REF!
[7 empty] | Dis Alert | #REF!
Signature :
Date : | --2025 | Printed Name :
Place : |  | Designation :
Common Seal :
Note : | Bidder should indicate the name of test laboratories where type tests are proposed to be conducted
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | 0 | 0 |  |  |  | 0
(SCHEDULE OF RATES AND PRICES : TYPE TEST CHARGES) | 0 | 0 |  |  |  | 0
Bidder’s Name and Address (Lead Partner) : | [5 empty] | 0
| 0 | 0 |  |  |  | 0
Name : |  | 0 |  |  |  | 0
Address : |  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
|  | 0 |  |  |  | 0
SL. NO. | Description of Test | 0
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
| #REF! | #REF!
Click for Bid Form 2nd Envelope

## Octroi (hidden)
Details of Octroi
Sl No. | Description of Items | Amount on which Octroi is applicable | Rate of Octroi | Octroi
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Entry Tax (hidden)
Details of Entry Tax
Sl No. | Description of Items | Amount on which Entry Tax is applicable | Rate of Entry Tax | Entry Tax
(1) | (2) | (3) | (4) | (5) =(3) x (4)
1 |  |  |  | 0
2 |  |  |  | 0
3 |  |  |  | 0
4 |  |  |  | 0
5 |  |  |  | 0
6 |  |  |  | 0
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
| Total |  |  | 0
Back to Sch 5

## Other Taxes & Duties (hidden)
Details of Other Taxes & Duties
Sl No. | Description of Items | Amount on which Other Taxes & Duties are applicable | Description of Taxes & Duties | Rate of Taxes & Duties | Amount of Taxes & Duties
(1) | (2) | (3) | (4) | (5) | (6) =(3) x (4)
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
| Total |  |  |  | 0
Back to Sch 5

## Bid Form 2nd Envelope
Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355 |  |  |  |  | Bid Form 2nd Envelope |  | Others |  |  | 1 | st |  | 1 | January
[7 empty] | 0 |  |  | 2 | nd |  | 2 | February
BID FORM (Second Envelope) | [9 empty] | 3 | rd |  | 3 | March
[10 empty] | 4 | th |  | 4 | April
Bid Proposal Ref. No. | [9 empty] | 5 | th |  | 5 | May
Date : | --2025 | [8 empty] | 6 | th | #VALUE! | 6 | June
[10 empty] | 7 | th | #VALUE! | 7 | July
To: | [9 empty] | 8 | th | #VALUE! | 8 | August
Sr.General Manager,
C&M Department | [9 empty] | 9 | th | #VALUE! | 9 | September
Power Grid Corporation of India Ltd., | [9 empty] | 10 | th |  | 10 | October
SR-II,RHQ | [9 empty] | 11 | th |  | 11 | November
Singanayakanahalli,Yelahanka | [9 empty] | 12 | th |  | 12 | December
Bangalore -560064 | [9 empty] | 13 | th
[10 empty] | 14 | th
Name of Contract : |  | Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID | [7 empty] | 15 | th
Dear Ladies and/or Gentlemen, | [9 empty] | 16 | th
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. _____________ or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | [5 empty] | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to design, manufacture, test, deliver, install and commission (including carrying out Trial Operation, Performance & Guarantee Test as per provision of Technical Specification) under the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | _____________ | 17 | th
| The above amounts are in accordance with the price schedules attached herewith and are made part of this bid. | [8 empty] | 18 | th
2 | Price Schedules | [8 empty] | 19 | th
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma: | [8 empty] | 20 | th
| Schedule 1 |  | Plant and Equipment to be supplied. | [6 empty] | 21 | st
| Schedule 2 |  | Local Transportation, In-transit Insurance, loading and unloading | [6 empty] | 22 | th
| Schedule 3 |  | Installation Charges. |  |  | Others |  |  |  | 23 | th
| Schedule 4 |  | Training charges for training to be imparted. Not applicable | [6 empty] | 24 | th
| Schedule 5 |  | Taxes and Duties not included in Schedule 1&3 | [6 empty] | 25 | th
| Schedule 6 |  | Grand Summary [Schedule 1to 5] | [6 empty] | 26 | th
| Schedule 7 |  | Break-up of Type Test Charges for Type Tests to be conducted-Not applicable | [6 empty] | 27 | th
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit. | [8 empty] | 28 | th
2.3 | We declare that as specified in Clause 11.5, Section –II:ITB, Vol.-I of the Bidding Documents, prices quoted by us in the Price Schedules shall be subject to Price Adjustment during the execution of Contract in accordance with Appendix-2 (Price Adjustment) to the Contract Agreement. | [8 empty] | 29 | th
2.3 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices. | [8 empty] | 30 | th
2.4 | We declare that items left blank in the Schedules will be deemed to have been included in other items. The TOTAL for each Schedule and the TOTAL of Grand Summary shall be deemed to be the total price for executing the Facilities and sections thereof in complete accordance with the Contract, whether or not each individual item has been priced. | [8 empty] | 31 | st
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST, which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on supplies by us to you, imposed on the Plant & Equipment including Mandatory Spare Parts to be incorporated into the Facilities including Type Test charges for Type test to be conducted specified in Schedule No. 1, Installation Services specified in Schedule No. 3 and Charges for Training to be imparted specified in Schedule No. 4 of the Price Schedule in this Second Envelope; by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions. |  |  |  |  | 2
4 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Signature :
Date : | --2025 |  |  | Printed Name :
Place : |  |  |  | Designation :
Common Seal :
In case of bid from a Joint Venture, name & designation of representative of JV partner is to be provided and Bid Form is also to be signed by him.
Printed Name :
Designation :
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *
Back to Cover Page

## Q & C (2) (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder |  | 0
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF! | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | 0
| B) CENTRAL SALES TAX | #REF! |  | 0
| C) VAT | #REF! |  | 0
| D) ENTRY TAX / OCTROI | #REF! |  | 0
E) OTHERS
| F) TOTAL TAXES & DUTIES | #REF! |  | 0
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | 0
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
| #REF! |  |  |  | Excise Duty | #REF! | #REF!
| #REF! |  |  |  | CST | #REF! | #REF!
| #REF! |  |  |  | VAT | #REF! | #REF!
| #REF! |  |  |  | Entry Tax/ Octroi | #REF! | #REF!
| Others as |  |  |  | Others
II) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 2% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated :
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | 0
b) | Excise Duty, as applicable on (a) above at the rate : | 10% | Rs. | 0
c) | Amount on which Sales Tax is applicable | 0 |  | 0
d) | CST, as applicable on (a) + ED (b) above at the rate : | 2% | Rs. | 0
e) | VAT, as applicable on (a) + ED (b) above at the rate : | 1% |  | 0
f) | Others [……………………………………………] |  | Rs.
g) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | 0
h) | Entry Tax, as applicable on (e) above at the rate : |  | Rs. | 0
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID |  | Statement of Quoted / Corrected Prices |  | Page
Spec. No. | Ref. No: SRTS-II/C&M/WC-4218/2025--------------------- Specification Nos: SR2/NT/W-AIS/DOM/C00/25/01355

## Q & C (hidden)
STATEMENT OF QUOTED / CORRECTED PRICES
All Figures are in Rupees
Bidder
Sl. No. | Price Component | Quoted Price | Corrected Price
1 | TOTAL SCHEDULE NO. 1:Ex-Works Price of Plant and Equipment including Type Test Charges | 0 |  | 0
2 | TOTAL SCHEDULE NO.2: Local Transportation, Insurance and other Incidental Services. | 0 |  | 0
3 | TOTAL SCHEDULE NO.3: Installation Charges | 0 |  | 0
4 | TOTAL SCHEDULE NO.4: Training Charges | Not Applicable |  | Not Applicable
5 | TOTAL BID PRICE: (Excluding Taxes & Duties) | 0 |  | 0
6 | DISCOUNT | #REF! |  | #REF!
7 | NET BID PRICE (Excluding Taxes & Duties) | #REF! |  | #REF!
8 | TAXES & DUTIES PAYABLE ADDITIONALLY
| A) EXCISE DUTY | #REF! |  | #REF!
| B) CENTRAL SALES TAX /VAT | #REF! |  | #REF!
| C) ENTRY TAX / OCTROI | #REF! |  | #REF!
| D) OTHERS | #REF! |  | 0
| E) TOTAL TAXES & DUTIES | #REF! |  | #REF!
8 | TOTAL BID PRICE (INCLUDING TAXES & DUTIES) | #REF! |  | #REF!
9 | TOTAL SCHEDULE NO.7: Type Test Charges [Total of this Schedule is included in Schedule-1 above] | 0 |  | 0
I) | Bidder has indicated the following taxes and duties additionally applicable for their bid:
a) | Excise Duty |  | Rs. | #REF!
b) | CST /VAT |  | Rs. | #REF!
c) | Entry Tax / Octroi |  | Rs. | #REF!
d) | Others |  | Rs. | #REF!
II) | Bidder has offered following discount(s)
III) | With regard to Entry Tax, it may be mentioned that the substations covered under the subject pacakge falls in State of MP, where an entry tax @ 1% of Purchase Price is applicable. In view of the above, the taxes and duties inter-alia including entry tax applicable for the bids are calculated : |  |  |  | Details of dicounts
a) | Ex-Works Price of Direct Supplies (after discount, if any) |  | Rs. | #REF! | Gross LS | #REF! | #REF! | #REF! | Gross % | #REF! | #REF! | #REF!
b) | Excise Duty @ 10.3% of (a) above |  | Rs. | #REF! |  |  |  | #REF! |  |  |  | #REF!
c) | CST / VAT @ 2% of Ex-Works of Direct Supplies (a) + ED (b) above |  | Rs. | #REF! | Sch-1 Direct LS | #REF! | #REF! | #REF! | Sch-1 Direct % | #REF! | #REF! | #REF!
d) | Others |  | Rs. |  | Sch-1 BO LS | #REF! | #REF! | #REF! | Sch-1 BO % | #REF! | #REF! | #REF!
e) | Purchase Price for Entry Tax (Total Ex-Works+F&I+ED+CST+Others) |  | Rs. | #REF! | Sch-2 LS | #REF! | #REF! | #REF! | Sch-2 % | #REF! | #REF! | #REF!
f) | Entry Tax @ 1% of (e) above |  | Rs. | #REF! | Sch-3 LS | #REF! | #REF! | #REF! | Sch-3 % | #REF! | #REF! | #REF!
[5 empty] | Sch-7 LS | #REF! | #REF! | #REF! | Sch-7 % | #REF! | #REF! | #REF!
Construction of 220kV Terminal Bay at 400kV Hiriyur Substation for KPTCL by POWERGRID |  | Statement of Quoted / Corrected Prices |  | Page | Different Manner | #REF!
[5 empty] | Text for Discount | #REF!
#REF!
#REF!

## N to W (hidden)
0
Rs. Zero Only
0
0
0
0
0
0
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Five
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred