## BOQ
BOQ for Construction of Under Ground Bunker at Bhadla-I and Bhadla-II Substation
Sl. No. | Description of Item | Units |  | Quantity | Remarks
Part-I for Bhadla-I Substation
A
(I)
1 | Carriage of Material By mechani+B8:F167cal transport including loading, unloading and stacking (upto 2 km lead).
a | Earth | cum | 701.416 | 350.708
2 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. :
a | All Kinds of soil | cum | 1098.454 | 549.227
3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | cum | 397.04 | 198.52
4 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
a | All kinds of Soil | cum | 628.71 | 314.355
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering : All works upto plinth level.
a | 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | cum | 0.808 | 0.404
b | 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | cum | 19.612 | 9.806
6 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
a | All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | cum | 188.702 | 94.351
7 | All works above plinth level upto floor V level
a | 1:1.5:3 (1 Cement: 1.5 Coarse sand: 3 Graded stone aggregate 20 mm nominal size) | cum | 6.85 | 3.425
8 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal | 64.5322 | 32.2661
9 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement M25 Grade | cum | 73.478 | 36.739
10 | Centring and shuttering including strutting, propping etc. and removal of fometre for :
a | Foundations, footings, bases of columns etc. for mass concrete. | sqm | 58.098 | 29.049
b | Walls (any thickness) including attached pilasters, butteresses, | sqm | 671.456 | 335.728
c | Suspended floors & Slabs, roofs, landings, balconies and access platfometre | sqm | 225.33 | 112.665
d | Lintels, beams, plinth beams, girders, bressumers & cantilevers | sqm | 39.614 | 19.807
e | Columns, pillars, piers abutments posts & struts | sqm | 15.84 | 7.92
f | Stairs (excluding landings) except spiral staircases. | sqm | 14.04 | 7.02
11 | Reinforcement for R.C.C. work including straightening, cutting, bending, binding and placing in position complete.
a | Thermo-Mechanically Treated bars | kg | 30000 | 15000
12 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
a | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum | 16.86 | 8.43
13 | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | sqm | 49.056 | 24.528
14 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds
a | Casement door single panel with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides. Using R3 series with frame (55 mm & above) x (50mm & above) & sash (55 mm & above) x (85mm & above) (Height upto 2.5 metre). | Sqm | 6.4 | 3.2
15 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer
a | Using M.S. angels 40x40x6 mm for diagonal braces | sqm | 5.76 | 2.88
16 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
a | Double charge vitrified tile polished finish of size : Size of Tile 600 x 600 mm | sqm | 118.312 | 59.156
b | Glazed Vitrified tiles Matt/Antiskid finish of size : Size of Tile 600 x 600 mm | sqm | 26.868 | 13.434
17 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
a | Size of Tile 600x600 mm | sqm | 4.222 | 2.111
18 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
a | 1:4 (1 cement: 4 fine sand) | sqm | 49.436 | 24.718
19 | 6 mm cement plaster of mix : |  | 0
a | 1:3 (1 cement : 3 fine sand) | sqm | 508.364 | 254.182
20 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
a | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm | 98.304 | 49.152
21 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour.
a | Two coats | sqm | 410.06 | 205.03
22 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content
a | With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | sqm | 410.06 | 205.03
23 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.
a | Internal work - Exposed on wall : 25 mm nominal outer dia Pipes | each | 60 | 30
24 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.
25 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | sqm | 8 | 4 | DSR-23
26 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge | each | 4 | 2 | DSR-23
a | Concealed work, including cutting chases and making good the walls etc 20 mm nominal outer dia Pipes | each | 60 | 30
27 | Supplying, laying, jointing, testing and commissioning approved make UPVC pipes SWR grade B confirming to IS 13592 with rubber ring joints confirming to IS 5382. The quoted rate shall include necessary fittings like Tees, Bends, Offsets etc., |  | 0
a | 75 mm dia | Metre | 20 | 10 | SDC 126
b | 110 mm dia | Metre | 40 | 20 | SDC 127
28 | Providing and fixing UPVC SWR Pipe fittings for Soil and waste discharge system conforming to IS : 14735, including jointing with seal ring and solvent.
a | Coupler : 75 mm dia | Each | 16 | 8 | Included in SDC 126 & 127
b | Coupler : 110 mm dia | Each | 12 | 6
c | Plain Bend : 75 mm dia | Each | 12 | 6
d | Plain Bend : 110 mm dia | Each | 12 | 6
e | Door Tee : 75x75x75 mm dia | Each | 4 | 2
f | Door Tee : 110x110x100 mm dia | Each | 4 | 2
g | Vent Cowl : 75 mm dia | Each | 2 | 1
h | Vent Cowl : 110 mm dia | Each | 4 | 2
i | Floor Trap : 110x75 mm dia | Each | 8 | 4 | Q | Rate Ref Non Schedule Items
j | Floor Trap : 110x110 mm dia | Each | 4 | 2 | Q | Rate Ref Non Schedule Items
29 | Providing and fixing Health Faucet with 1.2 m flexible tube and wall hook Jaquar make Item code ALD-573 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
30 | Providing and fixing click clack Waste Coupling 32 mm size full thread Jaquar make item code ALD-727 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
31 | Providing and fixing Waste Coupling 32 mm Half thread Jaquar make item code ALD-709 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
32 | Providing and fixing Single Piece-WC with UF Soft Close Seat Cover, Hinges, Dual Flush Cistern Fitting, fixing accessories and accessories set, cistern fittings, S Trap-300 mm size (390x710x730) mm Jaquar make item code VGS-WHT-81853S300UF all complete. or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
33 | Providing and fixing Angular stop cock with wall flange Jaquar make item code OPP-15053PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 24 | 12 | Q | Rate Ref Non Schedule Items
34 | Providing and fixing 2 Way Bib Cock with wall flange Jaquar make item code OPP-15041PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
35 | Providing and fixing exposed part kit of concealed stop cock & flush cock with fitting sleeve, operating lever & adjustable wall flange with seal (compatible with ALD-083, ALD-089 & ALD-081) Jaquar make item code OPP-15083KPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
36 | Providing and fixing Single Lever Tall Boy with 150mm Extension Body Fixed Spout without Popup Waste System with 600 mm long braided hoses Jaquar make item code OPP-15005BPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
37 | Providing and fixing Single Towel Rail 600mm Long, Stainless Steel Jaquar make item code AKP-35711PS all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
38 | Providing and fixing Soap Dish Holder Jaquar make item code AKP-35731P all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
39 | Providing and fixing Reduced Body of concealed Stop Cock suitable for 15mm Pipe Line with Plastic Protection Cap (without exposed parts). Jaquar make item code ALD-069FT all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
40 | Providing and fixing Storage Water Heater 15 litres Jaquar make item code Elena 5 Star Rating all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
41 | Providing and fixing Soap Dispenser Push Button Jaquar make item code SDR-WHT-DJ0010F all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
42 | Providing and fixing Hand Dryer Flash touch-free infrared hand dryer with 1150W rated power & carbon brush motor Material : 304 Stainless Steel and Finish: Stainless Steel Finish Jaquar make item code HDR-SSF-AK2807 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
43 | Providing and fixing wall hung corner basin Jaquar make item code JDS-WHT-25841 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each | 4 | 2 | Q | Rate Ref Non Schedule Items
44 | Supplying and fixing C.I. cover with frame for manholes : 560 mm internal diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | each | 2 | 1 | Market Quote | Attached in excel
45 | Supplying and fixing Aluminium Louvered ventilators with frames & blades made up of extruded aluminim & typical wall thickness of 1.58 mm.The blades are spaced 75 mm on centre & set at 45 degrees to horizantal. Flyproof SS Jali is to be attached to the louvered ventilator. All complete as per directions of EIC. | sqm | 3.6 | 1.8 | Market Quote | Attached in excel
Sub Total Amount (II) Non Schedule items (Incl. GST)
Grand Total Amount A-Civil Portion (Incl. GST)
(B)
(I)
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable size GI. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.
a | Group C | Point | 38 | 19
2 | Wiring for light/Power plug with 2X4 sq.mm FRLS PVC insulated, copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq.mm FRLS PVC insulated, copper conductor single core cable for loop earthig as required. | metre | 40 | 20
3 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/recessed medium class PVC conduit as required.
a | 2 x 2.5 Sq.mm + 1X2.5 sq.mm earth wire | metre | 40 | 20
4 | Supplying and Fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 modular switch, connection etc. as required. | each | 8 | 4
5 | Supplying and Fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 A modular switch, connection etc. as required. | each | 4 | 2
6 | Supplying & fixing 5 to 32 Amps rating ,240/415 V, 10 kA, "C" Curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | Single Pole | each | 8 | 4
7 | Supplying, Installation, testing and commissioning of pre-wired LED fitting directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required.
a | Havells Batten LED ( model LHEBFOPNIA7W020 )- 20 W or equivalent make/model | each | 16 | 8 | market rate | Attached in excel | New rates 950
8 | Philips make bulkhead LED ( model WT202W LED6S NW PSU S2 PC) or equivalent make/model | each | 4 | 2 | market rate | Attached in excel
9 | Supplying, erecting, testing and commissioning of Exhaust fan for continuous duty in toilets /lavoratories/bunkers etc. The required accessories for fixing of exhaust fan on wall / Frame shall be in scope of contractor and including Exhaust pipe with all the necessary clamping accessories to mount on ceiling upto the Exhaust point as per site requirement and providing necessary louvers/Shutters (as Applicable).
a | Havells Ventilair DXC 130 mm sweep White or equivalent | each | 4 | 2 | Q | Quotation Item changed, from engineering rates for estimates only
10 | Supply & installation of high speed energy efficent Wall Fan with sweep of 450 mm of Havels or other reputed brand. | each | 14 | 7 | Market Rate | Attached in excel
Total for B-Electrical Portion (Incl. GST)
Total for PART-I (Bhadla-I SS), A-Civil Portion + B-Electrical Portion (Incl. GST)
Part-II for Bhadla-I Substation
A
(I)
1 | Carriage of Material By mechanical transport including loading, unloading and stacking (upto 2 km lead).
a | Earth | cum |  | 350.708
2 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. :
a | All Kinds of soil | cum |  | 549.227
3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | cum |  | 198.52
4 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
a | All kinds of Soil | cum |  | 314.355
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering : All works upto plinth level.
a | 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | cum |  | 0.404
b | 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | cum |  | 9.806
6 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
a | All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | cum |  | 94.351
7 | All works above plinth level upto floor V level
a | 1:1.5:3 (1 Cement: 1.5 Coarse sand: 3 Graded stone aggregate 20 mm nominal size) | cum |  | 3.425
8 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | Quintal |  | 32.2661
9 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement M25 Grade | cum |  | 36.739
10 | Centring and shuttering including strutting, propping etc. and removal of fometre for :
a | Foundations, footings, bases of columns etc. for mass concrete. | sqm |  | 29.049
b | Walls (any thickness) including attached pilasters, butteresses, | sqm |  | 335.728
c | Suspended floors & Slabs, roofs, landings, balconies and access platfometre | sqm |  | 112.665
d | Lintels, beams, plinth beams, girders, bressumers & cantilevers | sqm |  | 19.807
e | Columns, pillars, piers abutments posts & struts | sqm |  | 7.92
f | Stairs (excluding landings) except spiral staircases. | sqm |  | 7.02
11 | Reinforcement for R.C.C. work including straightening, cutting, bending, binding and placing in position complete.
a | Thermo-Mechanically Treated bars | kg |  | 15000
12 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
a | Cement mortar 1:6 (1 cement : 6 coarse sand) | cum |  | 8.43
13 | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | sqm |  | 24.528
14 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds
a | Casement door single panel with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides. Using R3 series with frame (55 mm & above) x (50mm & above) & sash (55 mm & above) x (85mm & above) (Height upto 2.5 metre). | Sqm |  | 3.2
15 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer
a | Using M.S. angels 40x40x6 mm for diagonal braces | sqm |  | 2.88
16 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
a | Double charge vitrified tile polished finish of size : Size of Tile 600 x 600 mm | sqm |  | 59.156
b | Glazed Vitrified tiles Matt/Antiskid finish of size : Size of Tile 600 x 600 mm | sqm |  | 13.434
17 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
a | Size of Tile 600x600 mm | sqm |  | 2.111
18 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
a | 1:4 (1 cement: 4 fine sand) | sqm |  | 24.718
19 | 6 mm cement plaster of mix :
a | 1:3 (1 cement : 3 fine sand) | sqm |  | 254.182
20 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
a | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | sqm |  | 49.152
21 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour.
a | Two coats | sqm |  | 205.03
22 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content
a | With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | sqm |  | 205.03
23 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.
a | Internal work - Exposed on wall : 25 mm nominal outer dia Pipes | each |  | 30
24 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.
25 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | sqm |  | 4 | DSR-23
26 | Providing and fixing CP Brass 32 mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge | each |  | 2 | DSR-23
a | Concealed work, including cutting chases and making good the walls etc 20 mm nominal outer dia Pipes | each |  | 30
27 | Supplying, laying, jointing, testing and commissioning approved make UPVC pipes SWR grade B confirming to IS 13592 with rubber ring joints confirming to IS 5382. The quoted rate shall include necessary fittings like Tees, Bends, Offsets etc.,
a | 75 mm dia | Metre |  | 10 | SDC 126
b | 110 mm dia | Metre |  | 20 | SDC 127
28 | Providing and fixing UPVC SWR Pipe fittings for Soil and waste discharge system conforming to IS : 14735, including jointing with seal ring and solvent.
a | Coupler : 75 mm dia | Each |  | 8 | Included in SDC 126 & 127
b | Coupler : 110 mm dia | Each |  | 6
c | Plain Bend : 75 mm dia | Each |  | 6
d | Plain Bend : 110 mm dia | Each |  | 6
e | Door Tee : 75x75x75 mm dia | Each |  | 2
f | Door Tee : 110x110x100 mm dia | Each |  | 2
g | Vent Cowl : 75 mm dia | Each |  | 1
h | Vent Cowl : 110 mm dia | Each |  | 2
i | Floor Trap : 110x75 mm dia | Each |  | 4 | Q | Rate Ref Non Schedule Items
j | Floor Trap : 110x110 mm dia | Each |  | 2 | Q | Rate Ref Non Schedule Items
29 | Providing and fixing Health Faucet with 1.2 m flexible tube and wall hook Jaquar make Item code ALD-573 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
30 | Providing and fixing click clack Waste Coupling 32 mm size full thread Jaquar make item code ALD-727 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
31 | Providing and fixing Waste Coupling 32 mm Half thread Jaquar make item code ALD-709 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
32 | Providing and fixing Single Piece-WC with UF Soft Close Seat Cover, Hinges, Dual Flush Cistern Fitting, fixing accessories and accessories set, cistern fittings, S Trap-300 mm size (390x710x730) mm Jaquar make item code VGS-WHT-81853S300UF all complete. or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
33 | Providing and fixing Angular stop cock with wall flange Jaquar make item code OPP-15053PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 12 | Q | Rate Ref Non Schedule Items
34 | Providing and fixing 2 Way Bib Cock with wall flange Jaquar make item code OPP-15041PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
35 | Providing and fixing exposed part kit of concealed stop cock & flush cock with fitting sleeve, operating lever & adjustable wall flange with seal (compatible with ALD-083, ALD-089 & ALD-081) Jaquar make item code OPP-15083KPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
36 | Providing and fixing Single Lever Tall Boy with 150mm Extension Body Fixed Spout without Popup Waste System with 600 mm long braided hoses Jaquar make item code OPP-15005BPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
37 | Providing and fixing Single Towel Rail 600mm Long, Stainless Steel Jaquar make item code AKP-35711PS all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
38 | Providing and fixing Soap Dish Holder Jaquar make item code AKP-35731P all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
39 | Providing and fixing Reduced Body of concealed Stop Cock suitable for 15mm Pipe Line with Plastic Protection Cap (without exposed parts). Jaquar make item code ALD-069FT all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
40 | Providing and fixing Storage Water Heater 15 litres Jaquar make item code Elena 5 Star Rating all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
41 | Providing and fixing Soap Dispenser Push Button Jaquar make item code SDR-WHT-DJ0010F all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
42 | Providing and fixing Hand Dryer Flash touch-free infrared hand dryer with 1150W rated power & carbon brush motor Material : 304 Stainless Steel and Finish: Stainless Steel Finish Jaquar make item code HDR-SSF-AK2807 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
43 | Providing and fixing wall hung corner basin Jaquar make item code JDS-WHT-25841 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | each |  | 2 | Q | Rate Ref Non Schedule Items
44 | Supplying and fixing C.I. cover with frame for manholes : 560 mm internal diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | each |  | 1 | Market Quote | Attached in excel
45 | Supplying and fixing Aluminium Louvered ventilators with frames & blades made up of extruded aluminim & typical wall thickness of 1.58 mm.The blades are spaced 75 mm on centre & set at 45 degrees to horizantal. Flyproof SS Jali is to be attached to the louvered ventilator. All complete as per directions of EIC. | sqm |  | 1.8 | Market Quote | Attached in excel
Sub Total Amount (II) Non Schedule items (Incl. GST)
Grand Total Amount A-Civil Portion (Incl. GST)
(B)
(I)
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable size GI. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.
a | Group C | Point |  | 19
2 | Wiring for light/Power plug with 2X4 sq.mm FRLS PVC insulated, copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq.mm FRLS PVC insulated, copper conductor single core cable for loop earthig as required. | metre |  | 20
3 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/recessed medium class PVC conduit as required.
a | 2 x 2.5 Sq.mm + 1X2.5 sq.mm earth wire | metre |  | 20
4 | Supplying and Fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 modular switch, connection etc. as required. | each |  | 4
5 | Supplying and Fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 A modular switch, connection etc. as required. | each |  | 2
6 | Supplying & fixing 5 to 32 Amps rating ,240/415 V, 10 kA, "C" Curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | Single Pole | each |  | 4
(II)
7 | Supplying, Installation, testing and commissioning of pre-wired LED fitting directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required.
a | Havells Batten LED ( model LHEBFOPNIA7W020 )- 20 W or equivalent make/model | each |  | 8 | market rate | Attached in excel | New rates 950
8 | Philips make bulkhead LED ( model WT202W LED6S NW PSU S2 PC) or equivalent make/model | each |  | 2 | market rate | Attached in excel
9 | Supplying, erecting, testing and commissioning of Exhaust fan for continuous duty in toilets /lavoratories/bunkers etc. The required accessories for fixing of exhaust fan on wall / Frame shall be in scope of contractor and including Exhaust pipe with all the necessary clamping accessories to mount on ceiling upto the Exhaust point as per site requirement and providing necessary louvers/Shutters (as Applicable).
a | Havells Ventilair DXC 130 mm sweep White or equivalent | each |  | 2 | Q | Quotation Item changed, from engineering rates for estimates only
10 | Supply & installation of high speed energy efficent Wall Fan with sweep of 450 mm of Havels or other reputed brand. | each |  | 7 | Market Rate | Attached in excel
Total for B-Electrical Portion (Incl. GST)
Total for PART-II (Bhadla-II SS) A-Civil Portion + B-Electrical Portion (Incl. GST)
| Total For Part I (Bhadla-I SS) & II (Bhadla-II SS) |  |  |  |  | #REF!

## Back-up Calculations
Back-up Calculations for one bunker
SI | Item Description | DSR-23 | Unit | No | Unit Wt | Length | Breadth | Height | Area | Quantity | Remarks
1 | Carriage of Earth | 1.1.2 | cum | [6 empty] | 350.7076
2 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil. | 2.6.1
| Bunker (Sunken Portion near Toilet) |  | Cum | 1 |  | 7.94 | 4.56 | 0.775 |  | 28.06 | 750 mm space on each side for shuttering in D>1.5 m
| Bunker ( Remaining Portion) |  | Cum | 1 |  | 17.94 | 7.94 | 3.075 |  | 438.0141
| Bunker (Footing Portion near to entry) |  | Cum | 1 |  | 7.94 | 3.05 | 0.325 |  | 7.8705
| Septic Tank |  | Cum | 1 |  | 3.76 | 3.76 | 5.325 |  | 75.2827
| Total = | [8 empty] | 549.2273
3 | Filling of earth | 2.25
| Bunker (Sunken Portion near Toilet) |  | Cum | 2 |  | 7.94 | 0.75 | 0.775 |  | 9.2303
| Bunker (Sunken Portion near Toilet) |  | Cum | 2 |  | 3.06 | 0.75 | 0.775 |  | 3.5572
| Bunker ( Remaining Portion) |  | Cum | 2 |  | 17.94 | 0.75 | 3.075 |  | 82.7483
| Bunker ( Remaining Portion) |  | Cum | 2 |  | 6.44 | 0.75 | 3.075 |  | 29.7045
| Bunker (Footing Portion near to entry) |  | Cum | 2 |  | 7.94 | 0.75 | 0.325 |  | 3.8708
| Bunker (Footing Portion near to entry) |  | Cum | 2 |  | 1.55 | 0.75 | 0.325 |  | 0.75563
| Septic Tank Filling |  | Cum | 1 |  | 3.76 | 3.76 | 5.325 |  | 75.2827
| (-) For Septic Volume |  | Cum | -1 |  | 1.245 | 1 | 5.325 |  | -6.6296
| Total = | [8 empty] | 198.5197
4 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials | 2.26.1
| Bunker (Sunken Portion near Toilet) |  | Cum | 1 |  | 7.94 | 4.56 | 0.775 |  | 28.06
| Bunker ( Remaining Portion) |  | Cum | 1 |  | 17.94 | 7.94 | 1.575 |  | 224.3487
| Bunker (Footing Portion near to entry) |  | Cum | 1 |  | 7.94 | 3.05 | 0.325 |  | 7.8705
| Septic Tank |  | Cum | 1 |  | 3.76 | 3.76 | 3.825 |  | 54.0763
| Total = | [8 empty] | 314.3555
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | 4.1.3
a | 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size).
| Septic Tank |  | Cum | 1 |  | 3.14 | 0.56 | 0.23 |  | 0.40443
| Total= | [8 empty] | 0.40443
a | 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) (Item code no: 4.1.5)
| Bunker (Sunken Portion near Toilet) |  | Cum | 1 |  | 6.59 | 3.21 | 0.075 |  | 1.5865
| Bunker ( Remaining Portion) |  | Cum | 1 |  | 11.83 | 6.59 | 0.075 |  | 5.847
| Bunker (Footing Portion near to entry) |  | Cum | 1 |  | 6.59 | 1.7 | 0.075 |  | 0.84023
| Septic Tank |  | Cum | 1 |  | 2.26 | 2.26 | 0.3 |  | 1.5323
| Total = | [8 empty] | 9.806
6 | Providing and laying in position specified grade of reinforced cementconcrete, excluding the cost of centering, shuttering, finishing andreinforcement - All work up to plinth level : | 5.1
a | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stoneaggregate 20 mm nominal size) | 5.1.2 | cum
| Bunker (Sunken Portion near Toilet)- Raft |  | Cum | 1 |  | 6.44 | 3.06 | 0.55 |  | 10.8385
| Bunker (Footing Portion near to entry)- Raft |  | Cum | 1 |  | 6.44 | 1.55 | 0.55 |  | 5.4901
| Bunker (Remaining Portion)-Raft |  | Cum | 1 |  | 11.83 | 6.44 | 0.3 |  | 22.8556
| Bunker Long Walls |  | Cum | 2 |  | 15.24 | 0.35 | 3.3 |  | 35.2044
| Bunker Short Walls |  | Cum | 2 |  | 4.54 | 0.35 | 3.3 |  | 10.4874
| Bunker Long Walls (Sunken Portion) |  | Cum | 2 |  | 5.24 | 0.35 | 0.45 |  | 1.6506
| Bunker Short Walls (Sunken Portion) |  | Cum | 2 |  | 1.21 | 0.35 | 0.45 |  | 0.38115
| Toilet Wall |  | Cum | 1 |  | 4.54 | 0.3 | 3.3 |  | 4.4946
| Walls near to Mumty |  | Cum | 1 |  | 1.55 | 0.3 | 1.2 |  | 0.558
| Walls near to Mumty |  | Cum | 1 |  | 3.2 | 0.35 | 0.6 |  | 0.672
| Walls on opposite end of mounty |  | Cum | 1 |  | 5.17 | 0.35 | 0.95 |  | 1.719
| Total = | [8 empty] | 94.3514
7 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc.above plinth level up to floor five level, excluding cost of centering,shuttering, finishing and reinforcement : | 5.2 | cum
| 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 5.2.2
| Walls near to Mumty |  | Cum | 1 |  | 1.55 | 0.3 | 1.65 |  | 0.76725
| Walls near to Mumty |  | Cum | 1 |  | 3.2 | 0.35 | 1.65 |  | 1.848
| Column (Typical) |  | Cum | 2 |  | 3.3 | 0.3 | 0.3 |  | 0.594
| Typical Wall |  | Cum | 2 |  | 1.2 | 0.3 | 0.3 |  | 0.216
| Total = | [8 empty] | 3.4253
8 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size). | 5.3
| Slab of Bunker at +0.6 metre level (Part-1) |  | Cum | 1 |  | 12.61 | 6.44 | 0.3 |  | 24.3625
| Slab of Bunker at +0.6 metre level (Part-2) |  | Cum | 1 |  | 4.38 | 1.88 | 0.3 |  | 2.4703
| Slab of Mumty at +1.55 metre level (Flat) |  | Cum | 1 |  | 1.76 | 1.65 | 0.3 |  | 0.8712
| Slab of Mumty at +1.55 metre level (Inclined) |  | Cum | 1 |  | 1.88 | 1.76 | 0.3 |  | 0.99264
| Slab of Mumty at +3.15 metre level (Flat) |  | Cum | 1 |  | 1.88 | 1.65 | 0.3 |  | 0.9306
| Slab of Mumty at +3.15 metre level (Inclined) |  | Cum | 1 |  | 1.65 | 1.76 | 0.3 |  | 0.8712
| Tie Beam-1 at 0.6 metre level |  | Cum | 3 |  | 5.24 | 0.3 | 0.45 |  | 2.1222
| Tie Beam-2 at 0.6 metre level |  | Cum | 1 |  | 5.24 | 0.3 | 0.6 |  | 0.9432
| Mumty Beam & Slab Beam (At all levels) |  | Cum | 3 |  | 5.24 | 0.3 | 0.45 |  | 2.1222
| Stair Slab |  | Cum | 1 |  | 5.4 | 1.3 | 0.15 |  | 1.053
| Total = | [8 empty] | 36.7391
9 | Centering and shuttering including strutting, propping etc. and removal of form for all heights
a | a. Foundations, footings, bases of columns, etc. for mass concrete (Item code no: 5.9.1) | 5.9.1 | sqm
| Bunker (Sunken Portion near Toilet)- Raft |  | sqm | 1 |  | 19 | 1 | 0.55 |  | 10.45
| Bunker (Footing Portion near to entry)- Raft |  | sqm | 1 |  | 15.98 | 1 | 0.55 |  | 8.789
| Bunker (Remaining Portion)-Raft |  | sqm | 1 |  | 23.66 | 1 | 0.3 |  | 7.098
| Septic Tank |  | sqm | 1 |  | 9.04 | 1 | 0.3 |  | 2.712
| Total = | [8 empty] | 29.049
b | a. Walls (any thickness) including attached pilasters, butteresses,plinth and string courses etc. (Item code no: 5.9.2) | 5.9.2 | sqm
| Bunker Long Walls |  | sqm | 4 |  | 15.24 | 1 | 3.3 |  | 201.168
| Bunker Short Walls |  | sqm | 4 |  | 4.54 | 1 | 3.3 |  | 59.928
| Bunker Long Walls (Sunken Portion) |  | sqm | 4 |  | 5.24 | 1 | 0.45 |  | 9.432
| Bunker Short Walls (Sunken Portion) |  | sqm | 4 |  | 1.21 | 1 | 0.45 |  | 2.178
| Toilet Wall |  | sqm | 2 |  | 4.54 | 1 | 3.3 |  | 29.964
| Walls near to Mumty |  | sqm | 2 |  | 1.55 | 1 | 1.2 |  | 3.72
| Walls near to Mumty |  | sqm | 2 |  | 3.2 | 1 | 0.6 |  | 3.84
| Walls on opposite end of mounty |  | sqm | 2 |  | 5.17 | 1 | 0.95 |  | 9.823
| Walls near to Mumty |  | sqm | 2 |  | 1.55 | 1 | 1.65 |  | 5.115
| Walls near to Mumty |  | sqm | 2 |  | 3.2 | 1 | 1.65 |  | 10.56
| Total = | [8 empty] | 335.728
c | c. Suspended floors, roofs, landings, balconies and accessplatform.(Item code no: 5.9.3) | 5.9.3 | sqm
| Slab of Bunker at +0.6 metre level (Part-1) |  | sqm | 1 |  | 12.61 | 6.44 | 1 |  | 81.2084
| Slab of Bunker at +0.6 metre level (Part-2) |  | sqm | 1 |  | 4.38 | 1.88 | 1 |  | 8.2344
| Slab of Mumty at +1.55 metre level (Flat) |  | sqm | 1 |  | 1.76 | 1.65 | 1 |  | 2.904
| Slab of Mumty at +1.55 metre level (Inclined) |  | sqm | 1 |  | 1.88 | 1.76 | 1 |  | 3.3088
| Slab of Mumty at +3.15 metre level (Flat) |  | sqm | 1 |  | 1.88 | 1.65 | 1 |  | 3.102
| Slab of Mumty at +3.15 metre level (Inclined) |  | sqm | 1 |  | 1.65 | 1.76 | 1 |  | 2.904
| Tie Beam-1 at 0.6 metre level |  | sqm | 3 |  | 5.24 | 0.3 | 1 |  | 4.716
| Tie Beam-2 at 0.6 metre level |  | sqm | 1 |  | 5.24 | 0.3 | 1 |  | 1.572
| Mumty Beam & Slab Beam (At all levels) |  | sqm | 3 |  | 5.24 | 0.3 | 1 |  | 4.716
| Total = | [8 empty] | 112.6656
d | d. Lintels, beams, plinth beams, girders, bressumers and cantilevers. (Item code no: 5.9.5) | 5.9.5 | sqm
| Tie Beam-1 at 0.6 metre level |  | sqm | 3 |  | 5.24 | 1 | 0.6 |  | 9.432
| Tie Beam-2 at 0.6 metre level |  | sqm | 1 |  | 5.24 | 1 | 0.9 |  | 4.716
| Mumty Beam & Slab Beam (At all levels) |  | sqm | 3 |  | 5.24 | 0.3 | 1.2 |  | 5.6592
| Total = | [8 empty] | 19.8072
e | e. Columns, Pillars, Piers, Abutments, Posts and Struts.(Item code no: 5.9.6) | 5.9.6 | sqm
|  |  | sqm | 2 |  | 3.3 | 1 | 1.2 |  | 7.92
| Total= | [8 empty] | 7.92
f | f. Stairs, (excluding landings) except spiral-staircases(Item code no: 5.9.7) | 5.9.7 | sqm
| Stair case slab |  | sqm | 1 |  | 5.4 | 1.3 | 1 |  | 7.02
| Total= | [8 empty] | 7.02
10 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level. a. Thermo-Mechanically Treated bars of grade Fe-500D or more. (Item code no: 5.22.6) | 5.22.6 | kg | [6 empty] | 15000
11 | Brick work with common burnt clay F.P.S. (non modular) bricks of classdesignation 7.5 in foundation and plinth in:
a | a. Cement mortar 1:6 (1 cement : 6 coarse sand)(Item code no: 6.1.2) | 6.1.2 | cum
Septic Tank Walls
[5 empty] | 1 | 3.9015 | 0.23 | 1.95 |  | 1.7498
[5 empty] | 1 | 5.4322 | 0.345 | 0.75 |  | 1.4056
[5 empty] | 1 | 5.4322 | 0.46 | 2.1 |  | 5.2475
| Total= | [8 empty] | 8.4029
12 | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | 8.31
|  |  | sqm | 2 |  | 5.84 |  | 2.1 |  | 24.528
| Total = | [8 empty] | 24.528
13 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds | 9.147
| Casement door single panel with zinc alloy (zamak) 3D hinges, multi-point locking system with cylinder, zinc alloy (zamak) powder coated handles on both sides. | 9.147.F1
| Using R3 series with frame (55 mm & above) x (50mm & above) & sash (55 mm & above) x (85mm & above) (Height upto 2.5 metre). | 9.147.F1.1
|  |  | sqm | 1 |  | 0.8 | 2 |  |  | 1.6
|  |  | sqm | 1 |  | 0.8 | 2 |  |  | 1.6
| Total= | [8 empty] | 3.2
14 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40x40x6mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer | 10.5.1 | sqm
|  |  | sqm | 1 |  | 1.2 | 2.4 |  |  | 2.88
15 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | 11.41A.1
a | Double charge vitrified tile polished finish of size | 11.41A.1.1
| Bunker |  | sqm | 1 |  | 13.03 | 4.54 |  |  | 59.1562
| Total= | [8 empty] | 59.1562
b | Glazed Vitrified tiles Matt/Antiskid finish of size | 11.41A.3
| Size of Tile 600 x 600 mm | 11.41A.3.1
| Toilet Floors |  | sqm | 2 |  | 1.2 | 2.12 |  |  | 5.088
| Staircase |  | sqm | 1 |  | 6.42 | 1.3 |  |  | 8.346
13.434
16 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | 11.46
a | Size of Tile 600x600 mm | 11.46.2 | sqm
| Bunker |  | sqm | 1 |  | 22.11 |  | 0.1 |  | 2.211
| Total= | [8 empty] | 2.211
17 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
a | 1:4 (1 cement: 4 fine sand) | 13.7.2 | sqm
Septic Tank Walls
[5 empty] | 1 | 5.1496 |  | 4.8 |  | 24.7181
| Total= | [8 empty] | 24.7181
18 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand)
| walls | 13.16.1 | sqm |  | 2 | 13.03 |  | 3 |  | 78.18
[5 empty] | 2 | 4.54 |  | 3 |  | 27.24
| Internal walls for washroom |  |  |  | 4 | 1.21 |  | 3 |  | 14.52
[5 empty] | 4 | 2.12 |  | 3 |  | 25.44
| (-) Door Deduction |  |  |  | -2 | 0.8 |  | 2 |  | -3.2
| (-) Window Deduction |  |  |  | -10 | 0.3 |  | 0.6 |  | -1.8
| ceiling |  |  |  | 1 | 14.24 | 4.54 |  |  | 64.6496
| Outside |  |  |  | 1 | 40.96 |  | 1.2 |  | 49.152
| Total= | [8 empty] | 254.1816
19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 13.47.1
|  | sqm |  |  | 1 | 40.96 |  | 1.2 |  | 49.152
| Total= | [8 empty] | 49.152
20 | Wall painting with premium acrylic emulsion paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. | 13.83 | sqm
| Two coats | [8 empty] | 205.0296
| Total= | [8 empty] | 205.0296
21 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content | 13.85
| With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 13.85.2 | sqm | [6 empty] | 205.0296
22 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | 18.7
Internal work - Exposed on wall
| 25 mm nominal outer dia Pipes | 18.7.3 | metre | 30
23 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. | 18.8
Concealed work, including cutting chases and making good the walls etc
| 20 mm nominal outer dia Pipes | 18.8.2 | metre | 30
24 | Providing and fixing UPVC SWR Pipe for Soil and waste discharge system conforming to IS : 13592 Type B, including jointing with seal ring and solvent, (i) Single socketed pipes.
a | 75 mm dia | LOA Rates | Metre | 10
b | 110 mm dia | LOA Rates | Metre | 20
25 | Providing and fixing UPVC SWR Pipe fittings for Soil and waste discharge system conforming to IS : 14735, including jointing with seal ring and solvent.
Coupler
a | 75 mm dia | LOA Rates | Each | 8
b | 110 mm dia | LOA Rates | Each | 6
Plain Bend
c | 75 mm dia | LOA Rates | Each | 6
d | 110 mm dia | LOA Rates | Each | 6
Door Tee
e | 75x75x75 mm dia | LOA Rates | Each | 2
f | 110x110x100 mm dia | LOA Rates | Each | 2
Vent Cowl
g | 75 mm dia | LOA Rates | Each | 1
h | 110 mm dia | LOA Rates | Each | 1
Floor Trap
i | 110x75 mm dia | LOA Rates | Each | 4
j | 110x110 mm dia | LOA Rates | Each | 2
25 | Providing and fixing Health Faucet with 1.2 m flexible tube and wall hook Jaquar make Item code ALD-573 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
26 | Providing and fixing click clack Waste Coupling 32 mm size full thread Jaquar make item code ALD-727 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
27 | Providing and fixing Waste Coupling 32 mm Half thread Jaquar make item code ALD-709 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
28 | Providing and fixing Bottle Trap (with internal partition) 32mm size 250 mm & 190 mm long wall connection pipes & wall flange Jaquar make item code ALD-769L250x190 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
29 | Providing and fixing Single Piece-WC with UF Soft Close Seat Cover, Hinges, Dual Flush Cistern Fitting, fixing accessories and accessories set, cistern fittings, S Trap-300 mm size (390x710x730) mm Jaquar make item code VGS-WHT-81853S300UF all complete. or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
30 | Providing and fixing Angular stop cock with wall flange Jaquar make item code OPP-15053PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 12
31 | Providing and fixing 2 Way Bib Cock with wall flange Jaquar make item code OPP-15041PM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
32 | Providing and fixing exposed part kit of concealed stop cock & flush cock with fitting sleeve, operating lever & adjustable wall flange with seal (compatible with ALD-083, ALD-089 & ALD-081) Jaquar make item code OPP-15083KPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
33 | Providing and fixing Single Lever Tall Boy with 150mm Extension Body Fixed Spout without Popup Waste System with 600 mm long braided hoses Jaquar make item code OPP-15005BPM all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
34 | Providing and fixing Single Towel Rail 600mm Long, Stainless Steel Jaquar make item code AKP-35711PS all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
35 | Providing and fixing Soap Dish Holder Jaquar make item code AKP-35731P all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
36 | Providing and fixing Reduced Body of concealed Stop Cock suitable for 15mm Pipe Line with Plastic Protection Cap (without exposed parts). Jaquar make item code ALD-069FT all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
37 | Providing and fixing Storage Water Heater 15 litres Jaquar make item code Elena 5 Star Rating all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
38 | Providing and fixing Soap Dispenser Push Button Jaquar make item code SDR-WHT-DJ0010F all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
39 | Providing and fixing Hand Dryer Flash touch-free infrared hand dryer with 1150W rated power & carbon brush motor Material : 304 Stainless Steel and Finish: Stainless Steel Finish Jaquar make item code HDR-SSF-AK2807 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | LOA Rates | each | 2
40 | Providing and fixing beveled edge mirror with minimum thickness of 8 mm of superior glass (of approved quality) complete fixed on wall with superior quality SS Studs and spacers of suitable dimensions as per approved drawing and as direction of Engineer-in-charge. | LOA Rates | sqm | 4
41 | Providing and fixing wall hung corner basin Jaquar make item code JDS-WHT-25841 all complete or equivalent model in Hindware/ Parryware/ Cera/ Somany or equivalent. | Market Rate | each | 2
42 | Supplying and fixing C.I. cover with frame for manholes : 560 mm internal diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | Market Rate | each | 1
43 | Supplying and fixing Aluminium Louvered ventilators with frames & blades made up of extruded aluminim & typical wall thickness of 1.58 mm.The blades are spaced 75 mm on centre & set at 45 degrees to horizantal. Flyproof SS Jali is to be attached to the louvered ventilator. | Market Rate | sqm | 1.8
44 | Supply & installation of high speed energy efficent Wall Fan with sweep of 450 mm of Havels or other reputed brand. | Market Rate | sqm | 7

## Sheet1 (hidden)
ABSTRACT OF COST
S.No | Item Code ( HPSOR 2020) | Description of item | Unit | Quantity | Rates as per HPSOR 2020 (Rs) | Amount( Rs)
1 | 15.9.2 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | m3 | 111.6 | 1011.75 | 112911.3 | Cement | Sand | Aggregate
2 | 2.8.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. ( All kind of soil) | m3 | 31.36 | 171.4 | 5375.104
3 | 4.2.3 | 1:2:4 (1 cement : 2 coarse sand) : 4 graded stone aggregate 20 mm nominal size). | m3 | 9.52 | 7107.1 | 67659.592 | 60.928 | 4.284 | 8.4728 | 10.24 | 6.4 | 65.536
4 | 5.9.1 | Form work foundations, footings, bases of columns, etc. for mass concrete | m2 | 3.2 | 216.45 | 692.64 | 60.928 | 4.284 | 8.4728
5 | 7.2.1 | Random rubble masonry with hard stone in superstructure above plinth level and upto floor five level, including leveling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) at window sills, ceiling level and the like. Cement mortar 1:6 (1 cement : 6 coarse sand) | m3 | 163.72 | 5843.55 | 956706.006 | [6 empty] | 2
[5 empty] | Total (A) = | 1143344.642
Material Consumption
S.No | Item Code ( HPSOR 2020) | Material | Unit | For RRM | For PCC/ Stone Back filling | Total
1 | 1.2.5 | Sand | Cum. | 163.72*0.32 = 52.39 | 9.52*0.45 = 4.28 | 56.67 | [6 empty] | 52.39 | 4.28 | 56.67
2 | 1.2.5 | Cement | Tonne | 163.72*1.67 = 273.41 | 9.52*6.4 = 60.93 | 335Bags *50= 16750 Kg Say 16.75 MT | [6 empty] | 273.4124 | 60.928 | 3046.4
3 | 1.2.12 | Stone aggregate below 40mm nominal size | Cum | 0 | 9.52*0.89 = 8.47 | 8.4728 | [7 empty] | 8.4728
Carriage of material by mannual labour for Lead of 1.00Km
S.No | Item Code | Material | Unit | Quantity | Rates as per HPSOR 2020 (Rs) for 1.00Km | Amount (Rs)
1 | 1.2.5 | Sand | m3 | 56.67 | 519.26 | 29426.4642
2 | 1.2.12 | Cement | Tonne | 16.75 | 221.74 | 3714.145
3 | 1.2.5 | Stone aggregate below 40mm nominal size | m3 | 8.47 | 519.26 | 4398.1322
Total Amount Rs (B) | [5 empty] | 37538.7414
|  | Garnd Total Amount Rs ( A+B) = | 1180883.3834
Deductions
( C) |  | Qty of Stone used for existing/ Damaged RRM Wall | m3 | 111.60*1.2 = 133.92 |  | Amount (Rs)
1 | 1157 | Qty of stone available after dismantling the damaged wall | m3 | 133.92*30% = 40.18 | 1100 | 44198 |  |  |  |  | 40.18 | 1100 | 44198
|  | Deduction for stone available (C) |  |  |  | 44198
* Note : The actual quantity of stone available from damaged wall will be worked out after stacking of stone & as per actual stack measurement at site
|  | Net Amount = (A) + (B) - ( C ) = Rs |  |  |  | 1136685.3834
[5 empty] | Grand Total | 1136685.3834

## key plan 02 (hidden)
PROPOSED RRM AT TOWER LOCATION T- 02 JHAKRI GUMMA
| Exsting partially colapse RRM Wall | L =8 |  |  | L=6.75
width on top
|  |  | 0.6 |  |  | 0.6
|  |  | w1 | H=6 |  |  | H=5 MTR
|  |  | 2.16 |  |  | 1.9
width on bottom
LEAN PAD
|  |  |  | BASE OF WALL |  | PCC WIDTH
|  |  | W1 | 0.6+6/3.846=2.16 | .15+.15 | 2.46
|  |  | W2 | 0.6+5/3.846=1.9 | .15+.15 | 2.2
D
A
B
C
A-A'(W1)
'A-A'
'
B-B'(W2)
'B-B'
'

## calculation 02 (hidden)
CALCULATION Tower no. 02 RRM WALL
S.No |  | Description of item | Unit | Measurements
|  |  |  | L (m) | W (m) Bottom | W (m) Top | W (m) Average | H (m) | Qty
1 |  | PCC FOR RRM WALL
| A-A' |  | m3 | 8 | 2.46 | 2.46 | 2.46 | 0.23 | 4.5264
| B-B' |  | m3 | 6.75 | 2.46 | 2.46 | 2.46 | 0.23 | 3.8192
8.3455
2 |  | Dismantling of exsting RRM Wall
| A-A' |  | m3 | 8 | 2.16 | 0.6 | 1.38 | 6 | 66.24
| B-B' |  | m3 | 6.75 | 1.9 | 0.6 | 1.25 | 5 | 42.1875
108.4275
3 |  | Providing of RRM wall with hard stone
| A-A' |  | m3 | 8 | 2.16 | 0.6 | 1.38 | 6 | 66.24
| B-B' |  | m3 | 6.75 | 1.9 | 0.6 | 1.25 | 5 | 42.1875
108.4275
4 |  | Top seal
|  |  | m3 | 8 | 0.6 | 0.6 | 0.6 | 0.05 | 0.24
|  |  | m3 | 6.75 | 0.6 | 0.6 | 0.6 | 0.05 | 0.2025
0.4425

## abstract 02 (hidden)
COST ABSTRACT TN 02 Jhakri gumma
(A) S.No | Item Code | Description of item | Unit | Quantity | Rates as per DSR 2021 (Rs) | Amount( Rs)
1 | 4.1.5 | 01:03:06 (1 Cement: 3 coarse sand(zone III) Derived from natural Sources: 6 graded stone aggregate20 mm nominal size derived from natural source ) | m3 | 8.35 | 6833.4 | 57058.89
2 | 7.1.1 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : 7.1.1 Cement mortar 1:6 (1 cement : 6 coarse sand) | m3 | 108.43 | 6653.45 | 721433.5835
|  | stone are avilable on site therefore 50 % cost deduction on item 7.1.1 |  |  |  | -360716.7918
3 | 15.9 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : 15.9.2 In cement mortar | m3 | 108.43 | 2027.1 | 219798.453
4 | 4.1.3 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | m3 | 0.44 | 7365.15 | 3240.666
|  |  |  | Total A ( Rs) |  | 583755.9108