## Name of Bidder
Diversion of following Lines to facilitate the construction of Railway BG line from Ginigera to Raichur by SWR,Hubli under Raichur TLM in SR-1 (Deposit work On Behalf of SWR): A) 400 kV RTPS-Munirabad S/C Line (Loc No: 147-151) B) 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
SPEC. NO.: SR-I/C&M/WC-4740/2026/Rfx-xxx
Enter the details of the bidder below:
Specify type of Bidder |  | Sole Bidder
2 or more
Name of the Bidder |  |  | TRUE
Address of Registered Office |  |  | TRUE
TRUE
email id |  |  | TRUE
Mobile no. |  |  | TRUE
Printed Name |  |  | TRUE
Designation |  |  | TRUE
Date |  |  | TRUE
Place |  |  | TRUE | False
ENTER DETAILS
General Instruction to the Bidders for filling up this workbook of Price Schedules for Package
I | While filling up the worksheets following may please be observed :
| (i) | Fill up only green shaded cells.
| (ii) | Certain data type entries have been restricted, such as Numeric values or limits of numeric values.
| (iii) | Select only the options provided in pull down menus.
| (iv) | Do not link any cell of this work book with any other work book.
| (v) | Do not use copy & paste or cut & paste options for filling up the data.
| (vi) | Do not reformat any of the cell of the work book.
II | This Workbook consists of following worksheets :
Cover :
Opening page of the workbook.
Names of Bidder :
| ● | Select Orignal Equipment Manufacturer, or Authorised Dealer of Manufacturer, or Authorised Distributor of Manufacturer orAuthorised Indian Representative of Manufacturer from the pull down menu. Do not leave this cell blank.
| ● | Select nos. of the JV Partners other than the Lead Partner from drop down menu.
| ● | In case of JV partners more than 2, enter details of 3rd & more partners along with details of 2nd partner.
| ● | Fill up names and address of the Bidder and /or Manufacturer
| ● | Fill up date in dd-mm-yyyy format from drop down menu.
| ● | Click for Sch-1 given at the right top of the worksheet to go to Sch-1.
Sch-1 (Ex-works Prices) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Unit rates of the items shall be inclusive of all duties, levies, cess etc. excluding GST. GST shall be applicable on transaction between Employer and Contractor. Employer will not pay any GST on transaction between Contractor and sub-vendors.
| ● | Total amount shall get calculated automatically.
Sch-1 (Freight & Insurance Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-II (Service (Installation & commissioning) Charges) :
| ● | Fill up unit rates for all the items in numeric values greater than 0 (zero). If unit rate is left blank, the corresponding item shall be deemed to be included in the total price.
| ● | Total amount shall get calculated automatically.
Sch-III (Summary) :
| ● | Summary of Schedule 1 & Schedule 3 shall be displayed automatically.
| ● | No cell is required to be filled in by the bidder in this worksheet.
* * *
Happy Bidding !
Note on D19: Insert date in dd-MM-yyyy format

## Attach 10 (hidden)
#REF! |  |  | ATTACHMENT-10
#REF!
Integrity Pact
#REF! |  |  | #REF!
Name : | #REF! |  | #REF!
Address : | #REF! |  | #REF!
| #REF! |  | #REF!
| #REF! |  | #REF!
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Next Attachment

## Attach 10 IP (hidden)
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (n).
0
0
0
0
INTEGRITY PACT
Between | [5 empty] | #REF! |  | #REF!
Power Grid Corporation of India Limited | [5 empty] | #REF! |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as | [5 empty] | #REF! |  | #REF!
"POWERGRID", | [5 empty] | #REF! |  | #REF!
and
0 | [5 empty] | #REF! | having its Registered Office at |  | ,
#REF!
#REF!
#REF!
hereinafter referred to as
"The Bidder/Contractor"
Preamble
#REF!
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
#REF!
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity and fairness. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personnel interest in the Companies/Agencies participating in the Bidding/Tendering process.
(2) | If Chairman and Managing Director obtains information on the conduct of any employee of POWERGRID which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, he will inform its Chief Vigilance Officer and in addition can initiate disciplinary actions under its Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
during his participation in the tender process and during the contract execution :
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to POWERGRID, or to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange an advantage during the tender process or the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor will not commit any criminal offence under the relevant Anti-corruption Laws of India; further, the Bidder/Contractor will not use for illegitimate purposes or for purposes of restrictive competition or personal gain, or pass on to others, any information provided by POWERGRID as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments he has made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/informations in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a serious transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a serious transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may after following due procedures also exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The exclusion will be imposed for a minimum of 12 months and maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the exclusion prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID may forfeit the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III, POWERGRID may forfeit the Contract Performance Guarantee of this contract besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall declare in his Bid that no previous transgressions occurred in the last 3 years with any other Public Sector Undertaking or Government Department that could justify his exclusion from the tender process.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or his subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India, out of which one of the IEMs has been indicated in the NIT/IFB.
(2) | The IEM is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. He has right of access to all project documentation. The IEM may examine any complaint received by him and submit a report to Chairman-cum-Managing Director, POWERGRID, at the earliest. He may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act. However, for ensuring the desired transparency and objectivity in dealing with the complaints arising out of any tendering process, the matter shall be referred to the full panel of IEMs, who would examine the records, conduct the investigations and submit report to Chairman-cum-Managing Director, POWERGRID, giving joint findings.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEM information as sought by him which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract.
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral or judicial proceedings (arising out of the arbitral proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(6) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## N-W (Cr.) (hidden)
USD
155885 |  |  | 4960 |  |  | 10352 |  |  | 691647 |  |  |  | EURO
RMB
INR
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only |  |  | EURO Four Thousand Nine Hundred Sixty Only |  |  | RMB Ten Thousand Three Hundred Fifty Two Only |  |  | INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only |  |  |  | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
85 | Eighty Five |  | 60 | Sixty |  | 52 | Fifty Two |  | 47 | Forty Seven
8 | Eight | Hundred | 9 | Nine | Hundred | 3 | Three | Hundred | 6 | Six | Hundred
55 | Fifty Five | Thousand | 4 | Four | Thousand | 10 | Ten | Thousand | 91 | Ninety One | Thousand | 0 | 0 | 0 | 0 | 0 |  | plus
1 | One | Lac | 0 |  |  | 0 |  |  | 6 | Six | Lac | 0 | 0 | 0 | 0 | 1
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 0
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 1
[12 empty] | 0 | 0 | 1 | 0 | 0
1 | One |  | 1 | One |  | 1 | One |  | 1 | One |  | 0 | 0 | 1 | 0 | 1
2 | Two |  | 2 | Two |  | 2 | Two |  | 2 | Two |  | 0 | 0 | 1 | 1 | 0
3 | Three |  | 3 | Three |  | 3 | Three |  | 3 | Three |  | 0 | 0 | 1 | 1 | 1
4 | Four |  | 4 | Four |  | 4 | Four |  | 4 | Four |  | 0 | 1 | 0 | 0 | 0
5 | Five |  | 5 | Five |  | 5 | Five |  | 5 | Five |  | 0 | 1 | 0 | 0 | 1
6 | Six |  | 6 | Six |  | 6 | Six |  | 6 | Six |  | 0 | 1 | 0 | 1 | 0
7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 0 | 1 | 0 | 1 | 1
8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 0 | 1 | 1 | 0 | 0
9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 0 | 1 | 1 | 0 | 1
10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 0 | 1 | 1 | 1 | 0
11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 1 | 1 | 1 | 1 | 1 | USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
12 | Twelve |  | 12 | Twelve |  | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 0 | 0 | 0 | 0 | 0 |  | +
17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 0 | 0 | 0 | 0 | 1 |  | /- +
18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 0 | 0 | 0 | 1 | 0 |  | /-
19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 0 | 0 | 0 | 1 | 1
20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 0 | 0 | 1 | 0 | 0
21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 0 | 0 | 1 | 0 | 1
22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 0 | 0 | 1 | 1 | 0
23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 0 | 0 | 1 | 1 | 1
24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 0 | 1 | 0 | 0 | 0
25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 0 | 1 | 0 | 0 | 1
26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 0 | 1 | 0 | 1 | 0
27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 0 | 1 | 0 | 1 | 1
28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 0 | 1 | 1 | 0 | 0
29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 0 | 1 | 1 | 0 | 1
30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 0 | 1 | 1 | 1 | 0
31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 1 | 1 | 1 | 1 | 1 | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty |  | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One |  | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty |  | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty |  | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy |  | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty |  | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety |  | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred

## Schedule-I
Diversion of following Lines to facilitate the construction of Railway BG line from Ginigera to Raichur by SWR,Hubli under Raichur TLM in SR-1 (Deposit work On Behalf of SWR): A) 400 kV RTPS-Munirabad S/C Line (Loc No: 147-151) B) 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
Schedule-I: Ex-Works Supply of Plant and Machinery including Freight and Insurance from within India
Bidder’s Name |  |  | 0 | [5 empty] | To:
Address : |  |  | 0 | [5 empty] | Contract Services
|  |  | 0 | [5 empty] | Power Grid Corporation of India Ltd.,
|  |  | 0 | [5 empty] | Southern Region Transmission system -I
Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST # | Description (Supply of Items) | Unit | Quantity | Unit Ex-works Price (excl GST) | Unit F&I charges (incl GST) | Total Ex-works Price (excl GST) | Total F&I charges (incl GST) | GST on EX-works Price | Remarks
1 |  | 2 | 3 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 = 6 * 7 | 10 = 6 * 8 | 11 = Appl GST% on sl. No. 9
A |  | 4: Part-A: 400kV RTPS-Munirabad S/C Line (A)
|  |  | NORMAL TOWERS |  |  | NORMAL TOWERS
Fabrication, galvanising & supply of various types of towers & tower parts, tower/leg extensions (complete) excluding stubs and bolts & nuts but including hangers, D-Shackles, pack washers etc.
1 |  | 3: HT Steel; 2: 18%; 4: HT Steel; 5: MT; 6: 14.064 | 0 | 0 | 0 | #REF!
2 |  | 3: MS Steel; 2: 18%; 4: MS Steel; 5: MT; 6: 49.703 | 0 | 0 | 0 | #REF!
Fabrication, galvanising & supply of stubs with cleats for various types of towers and tower extensions (complete) with pack washers excluding supply of bolts & nuts
3 |  | 3: HT Steel; 2: 18%; 4: HT Steel; 5: MT; 6: 1.622 | 0 | 0 | 0
4 |  | 3: MS Steel; 2: 18%; 4: MS Steel; 5: MT; 6: 0.016 | 0 | 0 | 0 | #REF!
|  | 4: Supply of Bolts & Nuts for towers and tower extensions including Step Bolts, Spring Washers etc. |  |  |  | #REF!
5 |  | 3: Hexagonal Bolts and Nuts including step bolts and spring washers for tower & tower extensions; 2: 18%; 4: Hexagonal Bolts and Nuts including step bolts and spring washers for tower & tower extensions; 5: MT; 6: 2.099 | 0 | 0 | 0 | #REF!
6 |  | 2: 18%; 4: Hexagonal Bolts and nuts including washers for Stubs; 5: MT; 6: 0.024 | 0 | 0 | 0 | #REF!
EARTHING OF TOWERS
Supply of earthing of towers
7 |  | 3: PIPE Type; 2: 18%; 4: PIPE Type; 5: NOS.; 6: 2 | 0 | 0 | 0 | #REF!
8 |  | 3: CP Type; 2: 18%; 4: CP Type; 5: NOS.; 6: 2 | 0 | 0 | 0 | #REF!
TOWER ACCESSORIES
Supply of following tower accessories
9 |  | 3: Danger Plate; 2: 18%; 4: Danger Plate; 5: NOS.; 6: 4 | 0 | 0 | 0 | #REF!
10 |  | 3: Number Plate; 2: 18%; 4: Number Plate; 5: NOS.; 6: 4 | 0 | 0 | 0 | #REF!
11 |  | 3: Phase Plate (Set of Three); 2: 18%; 4: Phase Plate (Set of Three); 5: Sets; 6: 4 | 0 | 0 | 0 | #REF!
12 |  | 3: Anti-Climbing Devices; 2: 18%; 4: Anti-Climbing Devices; 5: NOS.; 6: 4 | 0 | 0 | 0 | #REF!
SUPPLY OF HARDWAR FITTINGS
Hardware Fittings for 400kV AC with ACSR Twin Moose Conductor
13 |  | 3: Single "I" suspension fitting for PILOTstring including Counter weight (Suitable for 1x23, 120 kN standard disc insulators or 1x1, 120 kN Polymer Composite Long Rod Insultors); 2: 18%; 4: Single "I" suspension fitting for PILOTstring including Counter weight (Suitable for 1x23, 120 kN standard disc insulators or 1x1, 120 kN Polymer Composite Long Rod Insultors); 5: Sets; 6: 8 | 0 | 0 | 0 | #REF!
14 |  | 3: Double Tension insulator fitting (Suitable for 2x23, 160 kN standard disc insulators or 4X1 160 kN Polymer Composite Long Rod insulators); 2: 18%; 4: Double Tension insulator fitting (Suitable for 2x23, 160 kN standard disc insulators or 4X1 160 kN Polymer Composite Long Rod insulators); 5: Sets; 6: 27 | 0 | 0 | 0 | #REF!
15 |  | 3: Single "I" suspension fitting for suspension string (Suitable for 1x23, 120 kN standard disc insulators or 1x1, 120 kN Polymer Composite Long Rod Insultors); 2: 18%; 4: Single "I" suspension fitting for suspension string (Suitable for 1x23, 120 kN standard disc insulators or 1x1, 120 kN Polymer Composite Long Rod Insultors); 5: Sets; 6: 3 | 0 | 0 | 0 | #REF!
|  | 4: Conductor Accessories for ACSR Moose |  |  |  | #REF!
16 |  | 3: Twin Moose Bundle Spacer for ACSR Moose Conductor; 2: 18%; 4: Twin Moose Bundle Spacer for ACSR Moose Conductor; 5: NOS.; 6: 105 | 0 | 0 | 0
17 |  | 3: Twin Rigid Spacer for jumper ( for ACSR Moose Conductor); 2: 18%; 4: Twin Rigid Spacer for jumper ( for ACSR Moose Conductor); 5: NOS.; 6: 60 | 0 | 0 | 0 | #REF!
|  | 4: Earthwire Accessories for 7/3.66mm Earthwire |  |  |  | #REF!
18 |  | 3: Flexible Copper Bond; 2: 18%; 4: Flexible Copper Bond; 5: NOS.; 6: 8 | 0 | 0 | 0
19 |  | 3: Flexible AI Bond; 2: 18%; 4: Flexible AI Bond; 5: NOS.; 6: 8 | 0 | 0 | 0
20 |  | 3: Vibration damper; 2: 18%; 4: Vibration damper; 5: NOS.; 6: 20 | 0 | 0 | 0
21 |  | 3: Tension clamp; 2: 18%; 4: Tension clamp; 5: NOS.; 6: 10 | 0 | 0 | 0
22 |  | 3: Suspension Clamp; 2: 18%; 4: Suspension Clamp; 5: NOS.; 6: 2 | 0 | 0 | 0
OPGW Accessories for 24F
23 |  | 3: Tension assemby for Dead end - 24F OPGW; 2: 18%; 4: Tension assemby for Dead end - 24F OPGW; 5: NOS.; 6: 10 | 0 | 0 | 0
24 |  | 3: Tension assemby for passing tension - 24F OPGW; 2: 18%; 4: Tension assemby for passing tension - 24F OPGW; 5: NOS.; 6: 5 | 0 | 0 | 0
25 |  | 3: Suspension clamp assembly - 24F OPGW; 2: 18%; 4: Suspension clamp assembly - 24F OPGW; 5: NOS.; 6: 1 | 0 | 0 | 0
26 |  | 3: Vibration damper for 24F OPGW; 2: 18%; 4: Vibration damper for 24F OPGW; 5: NOS.; 6: 20 | 0 | 0 | 0
27 |  | 3: Down lead clamp; 2: 18%; 4: Down lead clamp; 5: Sets; 6: 120 | 0 | 0 | 0
28 |  | 3: Joint Box 24F OPGW; 2: 18%; 4: Joint Box 24F OPGW; 5: NOS.; 6: 2 | 0 | 0 | 0
29 |  | 3: Design, MANUFACTURE AND SUPPLY OF 7/3.66mm Earthwire; 2: 18%; 4: Design, MANUFACTURE AND SUPPLY OF 7/3.66mm Earthwire; 5: KMS; 6: 1.404 | 0 | 0 | 0
30 |  | 3: Supply of ACSR Moose Conductor; 2: 18%; 4: ACSR Moose Conductor; 5: KMS; 6: 8.423 | 0 | 0 | 0
31 |  | 3: OPGW Cable 24 Fibre (DWSM) OPGW fibre optic cable; 2: 18%; 4: OPGW Cable 24 Fibre (DWSM) OPGW fibre optic cable; 5: KMS; 6: 1.46 | 0 | 0 | 0
CLR Insulators
32 |  | 3: Supply of 400KV 120KN Composite Long Rod Insulators ( Length 3335 mm, Creepage - 13020 mm); 2: 18%; 4: Supply of 400KV 120KN Composite Long Rod Insulators ( Length 3335 mm, Creepage - 13020 mm); 5: NOS.; 6: 12 | 0 | 0 | 0
33 |  | 3: Supply of 400KV 160KN Composite Long Rod Insulators ( Length 3910 mm, Creepage - 13020 mm); 2: 18%; 4: Supply of 400KV 160KN Composite Long Rod Insulators ( Length 3910 mm, Creepage - 13020 mm); 5: NOS.; 6: 56 | 0 | 0 | 0
|  | 4: Part-A: Sub Total 400kV RTPS-Munirabad S/C Line (A) | 0 | 0 | 0
B. |  | 4: 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
NORMAL TOWERS
Fabrication, galvanising & supply of various types of towers & tower parts, tower/leg extensions (complete) excluding stubs and bolts & nuts but including hangers, D-Shackles, pack washers etc.
1 |  | 2: 18%; 4: HT Steel; 5: MT; 6: 50.4 | 0 | 0 | 0
2 |  | 2: 18%; 4: MS Steel; 5: MT; 6: 58.838 | 0 | 0 | 0
Fabrication, galvanising & supply of stubs with cleats for various types of towers and tower extensions (complete) with pack washers excluding supply of bolts & nuts
3 |  | 2: 18%; 4: HT Steel; 5: MT; 6: 2.287 | 0 | 0 | 0
4 |  | 2: 18%; 4: MS Steel; 5: MT; 6: 0.349 | 0 | 0 | 0
Supply of Bolts & Nuts for towers and tower extensions including Step Bolts, Spring Washers etc.
5 |  | 2: 18%; 4: Hexagonal Bolts and Nuts including step bolts and spring washers for tower & tower extensions; 5: MT; 6: 3.687 | 0 | 0 | 0
6 |  | 2: 18%; 4: Hexagonal Bolts and nuts including washers for Stubs; 5: MT; 6: 0.046 | 0 | 0 | 0
EARTHING OF TOWERS
Supply of earthing of towers
7 |  | 2: 18%; 4: PIPE Type; 5: NOS.; 6: 3 | 0 | 0 | 0
TOWER ACCESSORIES
Supply of following tower accessories
8 |  | 2: 18%; 4: Danger Plate; 5: NOS.; 6: 3 | 0 | 0 | 0
9 |  | 2: 18%; 4: Number Plate; 5: NOS.; 6: 3 | 0 | 0 | 0
10 |  | 2: 18%; 4: Phase Plate (Set of three); 5: Sets; 6: 3 | 0 | 0 | 0
11 |  | 2: 18%; 4: Circuit Plates ( Set of Two); 5: Sets; 6: 3 | 0 | 0 | 0
12 |  | 2: 18%; 4: Anti-Climbing Devices; 5: NOS.; 6: 3 | 0 | 0 | 0
SUPPLY OF HARDWAR FITTINGS
Hardware Fittings for 765 kV AC with ACSR Quad Bersimis conductor
14 |  | 2: 18%; 4: Single "I" suspension fitting for PILOTstring including Counter weight (Suitable for 1x40, 160 kN standard disc insulators or 1x2, 120 kN CLR Polymer insulators); 5: Sets; 6: 12 | 0 | 0 | 0
15 |  | 2: 18%; 4: Double "I" suspension fitting (Suitable for Standard 160 KN Disc Insulators or 2X2, 120 KN CLR Polymer Insulators); 5: Sets; 6: 6 | 0 | 0 | 0
16 |  | 2: 18%; 4: Quad Tension insulator fitting (Suitable for 4x40, 210 kN standard disc insulators or 2x4, 210 kN CLR Polymer insulators); 5: Sets; 6: 18 | 0 | 0 | 0
Conductor Accessories for ACSR Bersimis
18 |  | 2: 18%; 4: Spacer Dampers for Quad Bersimises Conductor; 5: NOS.; 6: 88 | 0 | 0 | 0
19 |  | 2: 18%; 4: Rigid Spacer for jumper ( for Quad Bersimises Conductor); 5: NOS.; 6: 63 | 0 | 0 | 0
Earthwire Accessories for 7/3.66mm Earthwire
20 |  | 2: 18%; 4: Flexible Copper Bond; 5: NOS.; 6: 12 | 0 | 0 | 0
21 |  | 2: 18%; 4: Vibration damper; 5: NOS.; 6: 24 | 0 | 0 | 0
22 |  | 2: 18%; 4: Tension clamp; 5: NOS.; 6: 12 | 0 | 0 | 0
30 |  | 2: 18%; 4: Design, MANUFACTURE AND SUPPLY OF 7/3.66mm Earthwire; 5: KMS; 6: 2.521 | 0 | 0 | 0
31 |  | 2: 18%; 4: Supply of ACSR Bersimis Conductor; 5: KMS; 6: 15.126 | 0 | 0 | 0
CLR Insulators
32 |  | 2: 18%; 4: Supply of 765 KV 210KN Composite Long Rod Insulators ( Length 2975 mm, Creepage - 12400 mm); 5: NOS.; 6: 146 | 0 | 0 | 0
33 |  | 2: 18%; 4: Supply of 765 KV 120KN Composite Long Rod Insulators ( Length 2900 mm, Creepage - 12400 mm); 5: NOS.; 6: 37 | 0 | 0 | 0
|  | 4: Sub Total -765 kV Raichur-Kurnool Ckt-01 S/C Line (B) | 0 | 0 | 0
|  | 4: Total of Ex-Works Supply of Plant and Machinery including Freight and Insurance from within India | 0 | 0 | 0
As all the line items are Left Blank the bid is considered as Non-responsive
Note on I62: 30999:

## Schedule-II
Diversion of following Lines to facilitate the construction of Railway BG line from Ginigera to Raichur by SWR,Hubli under Raichur TLM in SR-1 (Deposit work On Behalf of SWR): A) 400 kV RTPS-Munirabad S/C Line (Loc No: 147-151) B) 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
Schedule-II : Installataion Charges
Bidder’s Name |  |  | 0 | [5 empty] | To:
Address : |  |  | 0 | [5 empty] | Contract Services
|  |  | 0 | [5 empty] | Power Grid Corporation of India Ltd.,
|  |  | 0 | [5 empty] | Southern Region Transmission system -I
Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘4’ is confirmed. If not indicate applicable rate of GST # | Description | Unit | Quantity | Unit installation charges(excl GST) | Total installation charges(excl GST) | GST | Remarks |  | 61
1 |  | 2 | 3 | 2 | 3 | 4 | 5 | 6 | 7 | 8= 6 * 7 | 9 = Appl GST% on sl. No. 8 |  |  | 38
A |  | 4: Part-A: 400kV RTPS-Munirabad S/C Line
SURVEY
1 | 120000349 | 995419 |  | 18% |  | Detailed survey including route alignment, profiling and tower spotting using modern survey techniques | km. | 1.39 |  | 0 | 0 | Included in other item
2 |  | 2: 18%; 4: Check Survey; 5: km.; 6: 1.39 | 0 | 0 | Included in other item
ERECTION OF VARIOUS TYPES OF TOWERS & TOWER PARTS,TOWER EXTENSIONS (COMPLETE) INCLUDING BOLTS & NUTS, HANGERS, D-SHACKLES, STEP BOLTS, PACK WASHERS ETC., INCLUDING TACK WELDING & SUPPLY & APPLICATION OF ZINC RICH PRIMER & TWO COATS OF ENAMEL PAINT
3 |  | 2: 18%; 4: 400 kV Single Circuit Horizontal Tower; 5: MT; 6: 65.866 | 0 | 0 | Included in other item
BENCHING
4 |  | 2: 18%; 4: All kinds of soils except fissured rock,hard rock and sandy soil; 5: Cu.m.; 6: 20 | 0 | 0
Work associated with tower foundations for various type of towers
Excavation in various types of soils
5 |  | 2: 18%; 4: Normal soil; 5: Cu.m.; 6: 165.112 | 0 | 0
6 |  | 2: 18%; 4: wet soil; 5: Cu.m.; 6: 1486.004 | 0 | 0 | Included in other item
|  | 4: CONCRETING (INCLUDING ALL ASSOCIATED WORKS RELATED TO FOUNDATION NOT COVERED IN 5.1 & 5.3) |  |  | Included in other item
7 |  | 2: 18%; 4: Concreting (1:1.5:3); 5: Cu.m.; 6: 81.808 | 0 | 0
8 |  | 2: 18%; 4: Lean Concrete (1:3:6); 5: Cu.m.; 6: 24.776 | 0 | 0
9 |  | 2: 18%; 4: Reinforcement Cement Concrete (RCC-M25); 5: Cu.m.; 6: 81.808 | 0 | 0 | Included in other item
REINFORCEMENT STEEL
10 |  | 2: 18%; 4: Supply, transportation and placement; 5: MT; 6: 8.989 | 0 | 0
11 |  | 2: 18%; 4: Installation of 400 kV S/C Stub including bolts, nuts, washers etc.; 5: MT; 6: 1.661 | 0 | 0
Installation of earthing of towers
12 |  | 2: 18%; 4: Pipe Type; 5: No.; 6: 2 | 0 | 0
13 |  | 2: 18%; 4: CP Type; 5: No.; 6: 2 | 0 | 0
Installation of tower accessories
14 |  | 2: 18%; 4: Danger Plate; 5: No.; 6: 4 | 0 | 0
15 |  | 2: 18%; 4: Number Plate; 5: No.; 6: 4 | 0 | 0
16 |  | 2: 18%; 4: Phase Plate (Set of three); 5: Set; 6: 4 | 0 | 0
17 |  | 2: 18%; 4: Anti-Climbing Devices; 5: No.; 6: 4 | 0 | 0
Installation of insulator strings complete with arcing horns & necessary hardware, installing and stringing of conductor including fixing of conductor accessories, installing & stringing of earth wire &OPGW including fixing of earth wire/OPGW accessories.
18 |  | 2: 18%; 4: 400KV S/C transmission line; 5: km.; 6: 1.39 | 0 | 0
Installation of OPGW
19 |  | 2: 18%; 4: Installation of Joint Box for 24F OPGW.; 5: No.; 6: 2 | 0 | 0
20 |  | 2: 18%; 4: Dismantling of existing towers ( 2 nos ) piece by piece in safe condition by removing the tack welding / punching etc. and handing over to POWERGRID STORE as directed by Engineer in Charge including transportation,loading, unloading and stacking in store; 5: MT; 6: 20.974 | 0 | 0
21 |  | 2: 18%; 4: Destringing of Conductor & earthwire/OPGW of 400KV S/C Twin moose line and handing over to POWERGRID store including transportation, loading and unloading; 5: km; 6: 1.271 | 0 | 0
|  | 4: Part-A: Sub Total 400kV RTPS-Munirabad S/C Line (A) | 0 | 0
PART-B: 765kV Raichur-Kurnool Ckt-01 S/C Line (B)
SURVEY
1 |  | 2: 18%; 4: Detailed survey including route alignment, profiling and tower spotting using modern survey techniques; 5: km.; 6: 1.248 | 0 | 0
2 |  | 2: 18%; 4: Check Survey; 5: km.; 6: 1.248 | 0 | 0
ERECTION OF VARIOUS TYPES OF TOWERS & TOWER PARTS,TOWER EXTENSIONS (COMPLETE) INCLUDING BOLTS & NUTS, HANGERS, D-SHACKLES, STEP BOLTS, PACK WASHERS ETC., INCLUDING TACK WELDING & SUPPLY & APPLICATION OF ZINC RICH PRIMER & TWO COATS OF ENAMEL PAINT
3 |  | 2: 18%; 4: 765 kV Single Circuit Towers; 5: MT; 6: 112.925 | 0 | 0
Work associated with tower foundations for various type of towers
Excavation in various types of soils
4 |  | 2: 18%; 4: wet soil; 5: Cu.m.; 6: 2258.22 | 0 | 0
CONCRETING (INCLUDING ALL ASSOCIATED WORKS RELATED TO FOUNDATION NOT COVERED IN 5.1 & 5.3)
5 |  | 2: 18%; 4: Concreting (1:1.5:3); 5: Cu.m.; 6: 301.72 | 0 | 0
6 |  | 2: 18%; 4: Lean Concrete (1:3:6); 5: Cu.m.; 6: 34.83 | 0 | 0
REINFORCEMENT STEEL
7 |  | 2: 18%; 4: Supply, transportation and placement; 5: MT; 6: 23.036 | 0 | 0
8 |  | 2: 18%; 4: Installation of 765 kv S/C Stub including bolts, nuts, washers etc.; 5: MT; 6: 2.681 | 0 | 0
Installation of earthing of towers
9 |  | 2: 18%; 4: Pipe Type; 5: No.; 6: 3 | 0 | 0
Installation of tower accessories
10 |  | 2: 18%; 4: Danger Plate; 5: No.; 6: 3 | 0 | 0
11 |  | 2: 18%; 4: Number Plate; 5: No.; 6: 3 | 0 | 0
12 |  | 2: 18%; 4: Phase Plate (Set of three); 5: Set; 6: 3 | 0 | 0
13 |  | 2: 18%; 4: Circuit Plate (Set of Two); 5: Set; 6: 3 | 0 | 0
14 |  | 2: 18%; 4: Anti-Climbing Devices; 5: No.; 6: 3 | 0 | 0
Installation of insulator strings complete with arcing horns & necessary hardware, installing and stringing of conductor including fixing of conductor accessories, installing & stringing of earth wire &OPGW including fixing of earth wire/OPGW accessories.
15 |  | 2: 18%; 4: 765 kV S/C Transmission Line; 5: km.; 6: 1.248 | 0 | 0
16 |  | 2: 18%; 4: Dismantling of existing towers ( 2 nos ) piece by piece in safe condition by removing the tack welding / punching etc. and handing over to POWERGRID STORE as directed by Engineer in Charge including transportation,loading, unloading and stacking in store; 5: MT; 6: 40.932 | 0 | 0
17 |  | 2: 18%; 4: Destringing of Conductor & earthwire/OPGW of 765KV S/C Quad bersimis line and handing over to POWERGRID store including transportation, loading and unloading; 5: km; 6: 1.186 | 0 | 0
|  | 4: Sub Total -765 kV Raichur-Kurnool Ckt-01 S/C Line (B) | 0 | 0
|  | 4: Total of Installataion Charges (A+B) | 0 | 0 |  | Sheet OK
Sheet OK
As all the line items are Left Blank the bid is considered as Non-responsive

## Schedule-III-Summary
Diversion of following Lines to facilitate the construction of Railway BG line from Ginigera to Raichur by SWR,Hubli under Raichur TLM in SR-1 (Deposit work On Behalf of SWR): A) 400 kV RTPS-Munirabad S/C Line (Loc No: 147-151) B) 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
SPEC. NO.: SR-I/C&M/WC-4740/2026/Rfx-xxx
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  | To:
Name : | 0 | Contract Services
Address : | 0 | Power Grid Corporation of India Ltd.,
| 0 | Southern Region Transmission system -I
| Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Description |  | Total Price (INR)
1.1 | TOTAL SCHEDULE NO. I
| Schedule-I: Ex-Works Supply of Plant and Machinery including Freight and Insurance from within India |  | Not Quoted
1.2 | TOTAL SCHEDULE NO. II
| Schedule-II : Installataion Charges |  | Not Quoted
1.3 | GST
| GST on Schedulre-I |  | Not quoted
| GST on Schedule-II |  | Not Quoted
1 | Total Bid Price excluding GST |  | Non Responsive
2 | Total GST |  | Non Responsive
3 | GRAND TOTAL including GST |  | Non Responsive
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Bid Form
SPEC. NO.: SR-I/C&M/WC-4740/2026/Rfx-xxx |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date : | 0
To:
Contract Services
Power Grid Corporation of India Ltd.,
Southern Region Transmission System-I
Name of Contract : |  | Diversion of following Lines to facilitate the construction of Railway BG line from Ginigera to Raichur by SWR,Hubli under Raichur TLM in SR-1 (Deposit work On Behalf of SWR): A) 400 kV RTPS-Munirabad S/C Line (Loc No: 147-151) B) 765 kV Raichur-Kurnool Ckt-01 S/C Line (Loc No: 305-308)
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. Non Responsive /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | Non Responsive
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | Ex-Works Supply of Plant and Machinery including Freight and Insurance from within India
| Sch-2 | Installataion Charges
| Sch-3 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 4.6, ITB, Vol.-IA of the Bidding Documents, the prices of all the Services to be supplied under this contract shall be FIRM and doesnot subject to any price adjustment as per relevant clauses in bidding document.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Installation Services specified in Schedule No. I & II of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of 0
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *