## Name of Bidder
Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
Specification No: Ref: SR-I/C&M/WC-4193/2025/RFx-5002004478 (SR1/T/W-CIVIL/DOM/B00/25/06877)
Enter the details of the bidder below:
Specify type of Bidder |  | Sole Bidder
Name of the Bidder |  |  | TRUE
Address of Registered Office |  |  | TRUE
TRUE
TRUE
email id |  |  | TRUE
Mobile no. | +91 |  | TRUE
Printed Name |  |  | TRUE
Designation |  |  | TRUE
Date |  |  | TRUE
Place |  |  | TRUE | False
ENTER DETAILS
Note on C20: Insert date in dd-MMM-yyyy format

## Attach 10 (hidden)
#REF! |  |  | ATTACHMENT-10
#REF!
Integrity Pact
#REF! |  |  | #REF!
Name : | #REF! |  | #REF!
Address : | #REF! |  | #REF!
| #REF! |  | #REF!
| #REF! |  | #REF!
Dear Sir,
Integrity Pact is annexed herewith this Volume.
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0
Click for Next Attachment

## Attach 10 IP (hidden)
Instruction for printing & submitting Integrity Pact
1. | The requisite format of Integrity Pact is getting generated automatically and displayed here below.
2. | Take print out of first page on a non-judicial stamp paper of Rs. 100/- and other seven pages on plain A4 size paper. Such two sets shall be prepared by the bidder.
3. | All the pages of both the copies of the Integrity Pact shall be signed by the authorised representative of the bidder and duly stamped.
4. | Both the original copies shall be submitted by the bidder in the form of Hard Copy as part of the first envelope before due date & time of submission of the bid.
5. | For further details bidders may please refer ITB Clause 9.3 (n).
0
0
0
0
INTEGRITY PACT
Between | [5 empty] | 0 |  | #REF!
Power Grid Corporation of India Limited | [5 empty] | 0 |  | #REF!
having its Registered Office at B-9, Qutab Institutional Area, Katwaria Sarai, New Delhi – 110016 hereinafter referred to as | [5 empty] | #REF! |  | #REF!
"POWERGRID", | [5 empty] | #REF! |  | #REF!
and
0 | [5 empty] | #REF! | having its Registered Office at |  | ,
#REF!
#REF!
#REF!
hereinafter referred to as
"The Bidder/Contractor"
Preamble
#REF!
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 1 of 8
#REF!
In order to achieve these goals, POWERGRID and the above named Bidder/Contractor enter into this agreement called 'Integrity Pact' which will form a part of the bid.
It is hereby agreed by and between the parties as under:
Section I - Commitments of POWERGRID
(1) | POWERGRID commits itself to take all measures necessary to prevent corruption and to observe the following principles :
| a) | No employee of POWERGRID, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for him/herself or third person, any material or other benefit which he/she is not legally entitled to.
| b) | POWERGRID will, during the tender process treat all Bidder(s) with equity and fairness. POWERGRID will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.
| c) | POWERGRID will exclude from evaluation of Bids its such employee(s) who has any personnel interest in the Companies/Agencies participating in the Bidding/Tendering process.
(2) | If Chairman and Managing Director obtains information on the conduct of any employee of POWERGRID which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, he will inform its Chief Vigilance Officer and in addition can initiate disciplinary actions under its Rules.
Section II - Commitments of the Bidder/Contractor
(1) | The Bidder/Contractor commits himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 2 of 8
during his participation in the tender process and during the contract execution :
| a) | The Bidder/Contractor will not, directly or through any other person or firm, offer, promise or give to POWERGRID, or to any of POWERGRID's employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange an advantage during the tender process or the execution of the contract.
| b) | The Bidder/Contractor will not enter into any illegal agreement or understanding, whether formal or informal with other Bidders/Contractors. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or actions to restrict competitiveness or to introduce cartelization in the bidding process.
| c) | The Bidder/Contractor will not commit any criminal offence under the relevant Anti-corruption Laws of India; further, the Bidder/Contractor will not use for illegitimate purposes or for purposes of restrictive competition or personal gain, or pass on to others, any information provided by POWERGRID as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.
| d) | The Bidder/Contractor of foreign origin shall disclose the name and address of the Agents/representatives in India, if any, involved directly or indirectly in the Bidding. Similarly, the Bidder/Contractor of Indian Nationality shall furnish the name and address of the foreign principals, if any, involved directly or indirectly in the Bidding.
| e) | The Bidder/Contractor will, when presenting his bid, disclose any and all payments he has made, or committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract and/or with the execution of the contract.
| f) | The Bidder/Contractor will not misrepresent facts or furnish false/forged documents/informations in order to influence the bidding process or the execution of the contract to the detriment of POWERGRID.
(2) | The Bidder/Contractor will not instigate third persons to commit offences outlined above or be an accessory to such offences.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 3 of 8
Section III- Disqualification from tender process and exclusion from future contracts
(1) | If the Bidder, before contract award, has committed a serious transgression through a violation of Section II or in any other form such as to put his reliability or credibility as Bidder into question, POWERGRID may disqualify the Bidder from the tender process or terminate the contract, if already signed, for such reason.
(2) | If the Bidder/Contractor has committed a serious transgression through a violation of Section II such as to put his reliability or credibility into question, POWERGRID may after following due procedures also exclude the Bidder/Contractor from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder/Contractor and the amount of the damage. The exclusion will be imposed for a minimum of 12 months and maximum of 3 years.
(3) | If the Bidder/Contractor can prove that he has restored/recouped the damage caused by him and has installed a suitable corruption prevention system, POWERGRID may revoke the exclusion prematurely.
Section IV - Liability for violation of Integrity Pact
(1) | If POWERGRID has disqualified the Bidder from the tender process prior to the award under Section III, POWERGRID may forfeit the Bid Guarantee under the Bid.
(2) | If POWERGRID has terminated the contract under Section III, POWERGRID may forfeit the Contract Performance Guarantee of this contract besides resorting to other remedies under the contract.
Section V- Previous Transgression
(1) | The Bidder shall declare in his Bid that no previous transgressions occurred in the last 3 years with any other Public Sector Undertaking or Government Department that could justify his exclusion from the tender process.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 4 of 8
(2) | If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.
Section VI - Equal treatment to all Bidders / Contractors
(1) | POWERGRID will enter into agreements with identical conditions as this one with all Bidders.
(2) | POWERGRID will disqualify from the tender process any bidder who does not sign this Pact or violate its provisions.
Section VII - Punitive Action against violating Bidders / Contractors
If POWERGRID obtains knowledge of conduct of a Bidder or a Contractor or his subcontractor or of an employee or a representative or an associate of a Bidder or Contractor or his Subcontractor which constitutes corruption, or if POWERGRID has substantive suspicion in this regard, POWERGRID will inform the Chief Vigilance Officer (CVO).
(*)Section VIII - Independent External Monitor/Monitors
(1) | POWERGRID has appointed a panel of Independent External Monitors (IEMs) for this Pact with the approval of Central Vigilance Commission (CVC), Government of India, out of which one of the IEMs has been indicated in the NIT/IFB.
(2) | The IEM is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. He has right of access to all project documentation. The IEM may examine any complaint received by him and submit a report to Chairman-cum-Managing Director, POWERGRID, at the earliest. He may also submit a report directly to the CVO and the CVC, in case of suspicion of serious irregularities attracting the provisions of the PC Act. However, for ensuring the desired transparency and objectivity in dealing with the complaints arising out of any tendering process, the matter shall be referred to the full panel of IEMs, who would examine the records, conduct the investigations and submit report to Chairman-cum-Managing Director, POWERGRID, giving joint findings.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 5 of 8
(3) | The IEM is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairman-cum-Managing Director, POWERGRID.
(4) | The Bidder(s)/Contractor(s) accepts that the IEM has the right to access without restriction to all documentation of POWERGRID related to this contract including that provided by the Contractor/Bidder. The Bidder/Contractor will also grant the IEM, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his documentation. The same is applicable to Subcontractors. The IEM is under contractual obligation to treat the information and documents of the Bidder(s)/Contractor(s)/Subcontractor(s) with confidentiality.
(5) | POWERGRID will provide to the IEM information as sought by him which could have an impact on the contractual relations between POWERGRID and the Bidder/Contractor related to this contract.
(6) | As soon as the IEM notices, or believes to notice, a violation of this agreement, he will so inform the Chairman-cum-Managing Director, POWERGRID and request the Chairman-cum-Managing Director, POWERGRID to discontinue or take corrective action, or to take other relevant action. The IEM can in this regard submit non-binding recommendations. Beyond this, the IEM has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the IEM shall give an opportunity to POWERGRID and the Bidder/Contractor, as deemed fit, to present its case before making its recommendations to POWERGRID.
(7) | The IEM will submit a written report to the Chairman-cum-Managing Director, POWERGRID within 8 to 10 weeks from the date of reference or intimation to him by POWERGRID and, should the occasion arise, submit proposals for correcting problematic situations.
(8) | If the IEM has reported to the Chairman-cum-Managing Director, POWERGRID, a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairman-cum-Managing Director, POWERGRID has not, within the reasonable time taken visible action to proceed against such offence or reported it to the CVO, the Monitor may also transmit this information directly to the CVC, Government of India.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 6 of 8
(9) | The word ‘IEM’ would include both singular and plural.
(*) | This Section shall be applicable for only those packages wherein the IEMs have been identified in Section – I : Invitation for Bids and/or Clause ITB 9.3 in Section – III: Bid Data Sheets of Conditions of Contract, Volume-I of the Bidding Documents.
Section IX - Pact Duration
This Pact begins when both parties have legally signed it. It expires for the Contractor after the closure of the contract and for all other Bidder's six month after the contract has been awarded.
Section X - Other Provisions
(1) | This agreement is subject to Indian Law. Place of performance and jurisdiction is the establishment of POWERGRID. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.
(2) | Changes and supplements as well as termination notices need to be made in writing.
(3) | If the Contractor is a partnership firm or a consortium or Joint Venture, this agreement must be signed by all partners, consortium members and Joint Venture partners.
(4) | Nothing in this agreement shall affect the rights of the parties available under the General Conditions of Contract (GCC) and Special Conditions of Contract (SCC).
(5) | Views expressed or suggestions/submissions made by the parties and the recommendations of the CVO/IEM# in respect of the violation of this agreement, shall not be relied on or introduced as evidence in the arbitral or judicial proceedings (arising out of the arbitral proceedings) by the parties in connection with the disputes/differences arising out of the subject contract.
# | CVO shall be applicable for packages wherein IEM are not identified in Section IFB/BDS of Condition of Contract, Volume-I. IEM shall be applicable for packages wherein IEM are identified in Section IFB/BDS of Condition of Contract, Volume-I.
(Signature) |  |  | (Signature)
(For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
Integrity Pact |  |  |  |  | Page 7 of 8
(6) | Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.
| Signature |  |  | Signature
| (For & On behalf of POWERGRID) |  |  | (For & On behalf of Bidder/ Contractor)
| (Office Seal) |  |  | (Office Seal)
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 1 : |  |  | Witness 1 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
| Witness 2 : |  |  | Witness 2 :
| Name : |  |  | Name :
| Designation : |  |  | Designation :
Integrity Pact |  |  |  |  | Page 8 of 8
Click for Next Attachment

## N-W (Cr.) (hidden)
USD
155885 |  |  | 4960 |  |  | 10352 |  |  | 691647 |  |  |  | EURO
RMB
INR
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only |  |  | EURO Four Thousand Nine Hundred Sixty Only |  |  | RMB Ten Thousand Three Hundred Fifty Two Only |  |  | INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only |  |  |  | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
85 | Eighty Five |  | 60 | Sixty |  | 52 | Fifty Two |  | 47 | Forty Seven
8 | Eight | Hundred | 9 | Nine | Hundred | 3 | Three | Hundred | 6 | Six | Hundred
55 | Fifty Five | Thousand | 4 | Four | Thousand | 10 | Ten | Thousand | 91 | Ninety One | Thousand | 0 | 0 | 0 | 0 | 0 |  | plus
1 | One | Lac | 0 |  |  | 0 |  |  | 6 | Six | Lac | 0 | 0 | 0 | 0 | 1
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 0
0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 1 | 1
[12 empty] | 0 | 0 | 1 | 0 | 0
1 | One |  | 1 | One |  | 1 | One |  | 1 | One |  | 0 | 0 | 1 | 0 | 1
2 | Two |  | 2 | Two |  | 2 | Two |  | 2 | Two |  | 0 | 0 | 1 | 1 | 0
3 | Three |  | 3 | Three |  | 3 | Three |  | 3 | Three |  | 0 | 0 | 1 | 1 | 1
4 | Four |  | 4 | Four |  | 4 | Four |  | 4 | Four |  | 0 | 1 | 0 | 0 | 0
5 | Five |  | 5 | Five |  | 5 | Five |  | 5 | Five |  | 0 | 1 | 0 | 0 | 1
6 | Six |  | 6 | Six |  | 6 | Six |  | 6 | Six |  | 0 | 1 | 0 | 1 | 0
7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 7 | Seven |  | 0 | 1 | 0 | 1 | 1
8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 8 | Eight |  | 0 | 1 | 1 | 0 | 0
9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 9 | Nine |  | 0 | 1 | 1 | 0 | 1
10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 10 | Ten |  | 0 | 1 | 1 | 1 | 0
11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 11 | Eleven |  | 1 | 1 | 1 | 1 | 1 | USD One Lac Fifty Five Thousand Eight Hundred Eighty Five Only plus EURO Four Thousand Nine Hundred Sixty Only plus RMB Ten Thousand Three Hundred Fifty Two Only plus INR Six Lac Ninety One Thousand Six Hundred Forty Seven Only
12 | Twelve |  | 12 | Twelve |  | 12 | Twelve |  | 12 | Twelve
13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen |  | 13 | Thirteen
14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen |  | 14 | Fourteen
15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen |  | 15 | Fifteen
16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 16 | Sixteen |  | 0 | 0 | 0 | 0 | 0 |  | +
17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 17 | Seventeen |  | 0 | 0 | 0 | 0 | 1 |  | /- +
18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 18 | Eighteen |  | 0 | 0 | 0 | 1 | 0 |  | /-
19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 19 | Nineteen |  | 0 | 0 | 0 | 1 | 1
20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 20 | Twenty |  | 0 | 0 | 1 | 0 | 0
21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 21 | Twenty One |  | 0 | 0 | 1 | 0 | 1
22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 22 | Twenty Two |  | 0 | 0 | 1 | 1 | 0
23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 23 | Twenty Three |  | 0 | 0 | 1 | 1 | 1
24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 24 | Twenty Four |  | 0 | 1 | 0 | 0 | 0
25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 25 | Twenty Five |  | 0 | 1 | 0 | 0 | 1
26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 26 | Twenty Six |  | 0 | 1 | 0 | 1 | 0
27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 27 | Twenty Seven |  | 0 | 1 | 0 | 1 | 1
28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 28 | Twenty Eight |  | 0 | 1 | 1 | 0 | 0
29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 29 | Twenty Nine |  | 0 | 1 | 1 | 0 | 1
30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 30 | Thirty |  | 0 | 1 | 1 | 1 | 0
31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 31 | Thirty One |  | 1 | 1 | 1 | 1 | 1 | USD 155885/- + EURO 4960/- + RMB 10352/- + INR 691647/-
32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two |  | 32 | Thirty Two
33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three |  | 33 | Thirty Three
34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four |  | 34 | Thirty Four
35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr |  | 35 | Thirty Fivr
36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six |  | 36 | Thirty Six
37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven |  | 37 | Thirty Seven
38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight |  | 38 | Thirty Eight
39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine |  | 39 | Thirty Nine
40 | Forty |  | 40 | Forty |  | 40 | Forty |  | 40 | Forty
41 | Forty One |  | 41 | Forty One |  | 41 | Forty One |  | 41 | Forty One
42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two |  | 42 | Forty Two
43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three |  | 43 | Forty Three
44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four |  | 44 | Forty Four
45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five |  | 45 | Forty Five
46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six |  | 46 | Forty Six
47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven |  | 47 | Forty Seven
48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight |  | 48 | Forty Eight
49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine |  | 49 | Forty Nine
50 | Fifty |  | 50 | Fifty |  | 50 | Fifty |  | 50 | Fifty
51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One |  | 51 | Fifty One
52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two |  | 52 | Fifty Two
53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three |  | 53 | Fifty Three
54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four |  | 54 | Fifty Four
55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five |  | 55 | Fifty Five
56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six |  | 56 | Fifty Six
57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven |  | 57 | Fifty Seven
58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight |  | 58 | Fifty Eight
59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine |  | 59 | Fifty Nine
60 | Sixty |  | 60 | Sixty |  | 60 | Sixty |  | 60 | Sixty
61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One |  | 61 | Sixty One
62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two |  | 62 | Sixty Two
63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three |  | 63 | Sixty Three
64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four |  | 64 | Sixty Four
65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five |  | 65 | Sixty Five
66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six |  | 66 | Sixty Six
67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven |  | 67 | Sixty Seven
68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight |  | 68 | Sixty Eight
69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine |  | 69 | Sixty Nine
70 | Seventy |  | 70 | Seventy |  | 70 | Seventy |  | 70 | Seventy
71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One |  | 71 | Seventy One
72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two |  | 72 | Seventy Two
73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three |  | 73 | Seventy Three
74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four |  | 74 | Seventy Four
75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five |  | 75 | Seventy Five
76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six |  | 76 | Seventy Six
77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven |  | 77 | Seventy Seven
78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight |  | 78 | Seventy Eight
79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine |  | 79 | Seventy Nine
80 | Eighty |  | 80 | Eighty |  | 80 | Eighty |  | 80 | Eighty
81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One |  | 81 | Eighty One
82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two |  | 82 | Eighty Two
83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three |  | 83 | Eighty Three
84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four |  | 84 | Eighty Four
85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five |  | 85 | Eighty Five
86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six |  | 86 | Eighty Six
87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven |  | 87 | Eighty Seven
88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight |  | 88 | Eighty Eight
89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine |  | 89 | Eighty Nine
90 | Ninety |  | 90 | Ninety |  | 90 | Ninety |  | 90 | Ninety
91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One |  | 91 | Ninety One
92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two |  | 92 | Ninety Two
93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three |  | 93 | Ninety Three
94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four |  | 94 | Ninety Four
95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five |  | 95 | Ninety Five
96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six |  | 96 | Ninety Six
97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven |  | 97 | Ninety Seven
98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight |  | 98 | Ninety Eight
99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine |  | 99 | Ninety Nine
100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred |  | 100 | One Hundred
BG VALUE:
#REF!
#REF!
#REF!
#REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
1 | One
2 | Two
3 | Three
4 | Four
5 | Five
6 | Six
7 | Seven
8 | Eight
9 | Nine
10 | Ten
11 | Eleven
12 | Twelve
13 | Thirteen
14 | Fourteen
15 | Fifteen
16 | Sixteen
17 | Seventeen
18 | Eighteen
19 | Nineteen
20 | Twenty
21 | Twenty One
22 | Twenty Two
23 | Twenty Three
24 | Twenty Four
25 | Twenty Five
26 | Twenty Six
27 | Twenty Seven
28 | Twenty Eight
29 | Twenty Nine
30 | Thirty
31 | Thirty One
32 | Thirty Two
33 | Thirty Three
34 | Thirty Four
35 | Thirty Fivr
36 | Thirty Six
37 | Thirty Seven
38 | Thirty Eight
39 | Thirty Nine
40 | Forty
41 | Forty One
42 | Forty Two
43 | Forty Three
44 | Forty Four
45 | Forty Five
46 | Forty Six
47 | Forty Seven
48 | Forty Eight
49 | Forty Nine
50 | Fifty
51 | Fifty One
52 | Fifty Two
53 | Fifty Three
54 | Fifty Four
55 | Fifty Five
56 | Fifty Six
57 | Fifty Seven
58 | Fifty Eight
59 | Fifty Nine
60 | Sixty
61 | Sixty One
62 | Sixty Two
63 | Sixty Three
64 | Sixty Four
65 | Sixty Five
66 | Sixty Six
67 | Sixty Seven
68 | Sixty Eight
69 | Sixty Nine
70 | Seventy
71 | Seventy One
72 | Seventy Two
73 | Seventy Three
74 | Seventy Four
75 | Seventy Five
76 | Seventy Six
77 | Seventy Seven
78 | Seventy Eight
79 | Seventy Nine
80 | Eighty
81 | Eighty One
82 | Eighty Two
83 | Eighty Three
84 | Eighty Four
85 | Eighty Five
86 | Eighty Six
87 | Eighty Seven
88 | Eighty Eight
89 | Eighty Nine
90 | Ninety
91 | Ninety One
92 | Ninety Two
93 | Ninety Three
94 | Ninety Four
95 | Ninety Five
96 | Ninety Six
97 | Ninety Seven
98 | Ninety Eight
99 | Ninety Nine
100 | One Hundred

## Schedule-I
Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
Schedule-I : DSR Scheduled Items
To:
Bidder’s Name and Address (Sole Bidder) : |  | 0 | [7 empty] | Contract Services
Address : |  | 0 | [7 empty] | Power Grid Corporation of India Ltd.,
|  | 0 | [7 empty] | Southern Region Transmission system -I
|  | 0 | [7 empty] | Kavadiguda Main Raod, Secunderabad - 500080
All prices are in INR
Sl. No. | DSR 2023 Ref No: | Service Number | SAC (Service Accounting Codes) | Whether SAC in column ‘4’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (DSR'23 Items- Civil Works) | Unit | Quantity | Unit Erection Charges including GST as per DSR 2023 | GST % included in DSR 2023 | Unit Erection Charges excluding GST | Amount excluding GST | GST
1 | 2 | 3 | 4 | 5 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=8/(1+Sl.No.9) | 11=10*7 | 12=18% of 11
SCHEDULE ITEMS - CIVIL
1 | 1.1.4 |  |  |  | 18% |  | Carraige of Materials By Mechnical trasport including loading, unloading and stacking. Excavted Rock upto 1km | Cum | 275 | 348.08 | 0.18 | 294.98 | 81119.5 | 14601.51
2 | 2.8.1 |  |  |  | 18% |  | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | Cum | 20 | 260.3 | 0.18 | 220.59 | 4411.8 | 794.124
3 | 2.9.1 |  |  |  | 18% |  | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | Cum | 236 | 632.95 | 0.18 | 536.4 | 126590.4 | 22786.272
4 | 2.9.2 |  |  |  | 18% |  | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Hard rock (requiring blasting) | Cum | 157 | 1049.8 | 0.18 | 889.66 | 139676.62 | 25141.7916
5 | 2.25 |  |  |  | 18% |  | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | Cum | 506 | 196 | 0.18 | 166.1 | 84046.6 | 15128.388
6 | 2.26.2 |  |  |  | 18% |  | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. Ordinary or Hard rock | Cum | 20 | 227.4 | 0.18 | 192.71 | 3854.2 | 693.756
7 | 2.34.1 |  |  |  | 18% |  | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos emulsifiable concentrate of 20% | Litre | 170 | 234.75 | 0.18 | 198.94 | 33819.8 | 6087.564
8 | 4.1.3 |  |  |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 7 | 7878.5 | 0.18 | 6676.69 | 46736.83 | 8412.6294
9 | 4.1.5 |  |  |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 58 | 7294.7 | 0.18 | 6181.95 | 358553.1 | 64539.558
10 | 4.1.8 |  |  |  | 18% |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | Cum | 20 | 6812 | 0.18 | 5772.88 | 115457.6 | 20782.368
11 | 4.3.1 |  |  |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | Sqm | 50 | 392.15 | 0.18 | 332.33 | 16616.5 | 2990.97
12 | 4.11 |  |  |  | 18% |  | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | Sqm | 32 | 495.75 | 0.18 | 420.13 | 13444.16 | 2419.9488
13 | 4.12 |  |  |  | 18% |  | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification | per bag of cement of 50 kg used | 69 | 18.15 | 0.18 | 15.38 | 1061.22 | 191.0196
14 | 4.13 |  |  |  | 18% |  | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | sqm | 32 | 146.15 | 0.18 | 123.86 | 3963.52 | 713.4336
15 | 4.17 |  |  |  | 18% |  | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | sqm | 90 | 749.3 | 0.18 | 635 | 57150 | 10287
16 | 5.1.2 |  |  |  | 18% |  | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | Cum | 64 | 9045.75 | 0.18 | 7665.89 | 490616.96 | 88311.0528
17 | 5.2.2 |  |  |  | 18% |  | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | Cum | 39 | 10852.95 | 0.18 | 9197.42 | 358699.38 | 64565.8884
18 | 5.9.1 |  |  |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | Sqm | 137 | 392.15 | 0.18 | 332.33 | 45529.21 | 8195.2578
19 | 5.9.3 |  |  |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | Sqm | 169 | 927.25 | 0.18 | 785.81 | 132801.89 | 23904.3402
20 | 5.9.5 |  |  |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | Sqm | 201 | 736.4 | 0.18 | 624.07 | 125438.07 | 22578.8526
21 | 5.9.6 |  |  |  | 18% |  | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | Sqm | 158 | 961.3 | 0.18 | 814.66 | 128716.28 | 23168.9304
22 | 5.22.6 |  |  |  | 18% |  | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more | Kg | 12360 | 107.85 | 0.18 | 91.4 | 1129704 | 203346.72
23 | 6.1.2 |  |  |  | 18% |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 39 | 7132.25 | 0.18 | 6044.28 | 235726.92 | 42430.8456
24 | 6.4.2 |  |  |  | 18% |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 91 | 9105.95 | 0.18 | 7716.91 | 702238.81 | 126402.9858
25 | 6.12.2 |  |  |  | 18% |  | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : Cement mortar 1:4 (1 cement : 4 coarse sand) | Sqm | 49 | 905.05 | 0.18 | 766.99 | 37582.51 | 6764.8518
26 | 6.13.2 |  |  |  | 18% |  | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | Sqm | 149 | 1123.8 | 0.18 | 952.37 | 141903.13 | 25542.5634
27 | 6.15 |  |  |  | 18% |  | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | Sqm | 198 | 104.8 | 0.18 | 88.81 | 17584.38 | 3165.1884
28 | 7.1.1 |  |  |  | 18% |  | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 28 | 7311.25 | 0.18 | 6195.97 | 173487.16 | 31227.6888
29 | 8.31 |  |  |  | 18% |  | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 24 | 1267.95 | 0.18 | 1074.53 | 25788.72 | 4641.9696
30 | 9.21.1 |  |  |  | 18% |  | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part 1) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Sqm | 13 | 2392.65 | 0.18 | 2027.67 | 26359.71 | 4744.7478
31 | 9.23 |  |  |  | 18% |  | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | Sqm | 13 | 462.35 | 0.18 | 391.82 | 5093.66 | 916.8588
32 | 9.48.1 |  |  |  | 18% |  | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | Kg | 408 | 219.1 | 0.18 | 185.68 | 75757.44 | 13636.3392
33 | 9.96.1 |  |  |  | 18% |  | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | Each | 10 | 303.25 | 0.18 | 256.99 | 2569.9 | 462.582
34 | 9.97.3 |  |  |  | 18% |  | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | Each | 12 | 99.7 | 0.18 | 84.49 | 1013.88 | 182.4984
35 | 9.100.1 |  |  |  | 18% |  | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | Each | 16 | 66.25 | 0.18 | 56.14 | 898.24 | 161.6832
36 | 10.1 |  |  |  | 18% |  | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | kg | 465 | 117.35 | 0.18 | 99.45 | 46244.25 | 8323.965
37 | 10.5.2 |  |  |  | 18% |  | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using flats 30x6mm for diagonal braces and central cross piece. | Sqm | 14 | 5563.75 | 0.18 | 4715.04 | 66010.56 | 11881.9008
38 | 10.6.2 |  |  |  | 18% |  | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.20 mm M.S. laths with 1.20 mm thick top cover | Sqm | 7 | 3307.05 | 0.18 | 2802.58 | 19618.06 | 3531.2508
39 | 10.7 |  |  |  | 18% |  | Providing and fixing ball bearing for rolling shutters. | Each | 2 | 492.35 | 0.18 | 417.25 | 834.5 | 150.21
40 | 10.8.1 |  |  |  | 18% |  | Extra for providing mechanical device chain and crank operation for operating rolling shutters. 10.8.1 Exceeding 10.00 sqm and upto 16.80 sqm in the area | Sqm | 7 | 1281.35 | 0.18 | 1085.89 | 7601.23 | 1368.2214
41 | 10.14.1.1 |  |  |  | 18% |  | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge:Profile B Fixing with adjustable lugs with split end tail to each jamb | Meter | 32 | 583.3 | 0.18 | 494.32 | 15818.24 | 2847.2832
42 | 10.16.1 |  |  |  | 18% |  | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. 10.16.1 Hot finished welded type tubes | Kg | 4638 | 194.4 | 0.18 | 164.75 | 764110.5 | 137539.89
43 | 10.25.2 |  |  |  | 18% |  | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets,gates and similar works | Kg | 2401 | 172.6 | 0.18 | 146.27 | 351194.27 | 63214.9686
44 | 11.4 |  |  |  | 18% |  | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Sqm | 390 | 978.45 | 0.18 | 829.19 | 323384.1 | 58209.138
45 | 11.6.1 |  |  |  | 18% |  | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. 11.6.1 18 mm thick | Sqm | 15 | 662.05 | 0.18 | 561.06 | 8415.9 | 1514.862
46 | 11.13.1 |  |  |  | 18% |  | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. 40 mm wide and 4 mm thick | Metre | 512 | 91.75 | 0.18 | 77.75 | 39808 | 7165.44
47 | 11.38 |  |  |  | 18% |  | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 7 | 1315.3 | 0.18 | 1114.66 | 7802.62 | 1404.4716
48 | 11.41.2 |  |  |  | 18% |  | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | Sqm | 118 | 1553.45 | 0.18 | 1316.48 | 155344.64 | 27962.0352
49 | 11.46.2 |  |  |  | 18% |  | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete Size of Tile 600x600 mm | Sqm | 8 | 1623.05 | 0.18 | 1375.47 | 11003.76 | 1980.6768
50 | 12.50 |  |  |  | 18% |  | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50 mm (base metal of minimum 0.45 mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | Sqm | 693 | 738.65 | 0.18 | 625.97 | 433797.21 | 78083.4978
51 | 13.1.1 |  |  |  | 18% |  | Cement plaster 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | Sqm | 716 | 347.05 | 0.18 | 294.11 | 210582.76 | 37904.8968
52 | 13.5.1 |  |  |  | 18% |  | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | Sqm | 390 | 411.75 | 0.18 | 348.94 | 136086.6 | 24495.588
53 | 13.11 |  |  |  | 18% |  | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | sqm | 470 | 518.55 | 0.18 | 439.45 | 206541.5 | 37177.47
54 | 13.16.1 |  |  |  | 18% |  | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | Sqm | 422 | 300.45 | 0.18 | 254.62 | 107449.64 | 19340.9352
55 | 13.41.1 |  |  |  | 18% |  | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : 13.41.1 New work (two or more coats) over and including water thinnable priming coat with cement primer | Sqm | 282 | 185.65 | 0.18 | 157.33 | 44367.06 | 7986.0708
56 | 13.46.1 |  |  |  | 18% |  | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | Sqm | 1381 | 160.6 | 0.18 | 136.1 | 187954.1 | 33831.738
57 | 13.62.1 |  |  |  | 18% |  | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | sqm | 469 | 226.25 | 0.18 | 191.74 | 89926.06 | 16186.6908
58 | 13.85.1 |  |  |  | 18% |  | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. With ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ litre | Sqm | 9.6 | 70.35 | 0.18 | 59.62 | 572.35 | 103.023
59 | 16.3.10 |  |  |  | 18% |  | Supplying and stacking of moorum at site | Cum | 396 | 768.25 | 0.18 | 651.06 | 257819.76 | 46407.5568
60 | 17.1.1 |  |  |  | 18% |  | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | Each | 2 | 6767.4 | 0.18 | 5735.08 | 11470.16 | 2064.6288
61 | 17.7.2 |  |  |  | 18% |  | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | Each | 2 | 2226.35 | 0.18 | 1886.74 | 3773.48 | 679.2264
62 | 17.28.2.1 |  |  |  | 18% |  | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete : Flexible pipe 32 mm dia | Each | 2 | 119.55 | 0.18 | 101.31 | 202.62 | 36.4716
63 | 17.31 |  |  |  | 18% |  | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | Each | 2 | 1607.95 | 0.18 | 1362.67 | 2725.34 | 490.5612
64 | 17.73.2 |  |  |  | 18% |  | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms | Each | 2 | 708.95 | 0.18 | 600.81 | 1201.62 | 216.2916
65 | 18.11.1 |  |  |  | 18% |  | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 15 mm dia nominal bore | Metre | 15 | 580.45 | 0.18 | 491.91 | 7378.65 | 1328.157
66 | 18.12.3 |  |  |  | 18% |  | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 25 mm dia nominal bore | Metre | 50 | 467.75 | 0.18 | 396.4 | 19820 | 3567.6
67 | 18.17.1 |  |  |  | 18% |  | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | Each | 2 | 622.4 | 0.18 | 527.46 | 1054.92 | 189.8856
68 | 18.18.1 |  |  |  | 18% |  | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 15 mm nominal bore | Each | 1 | 406.85 | 0.18 | 344.79 | 344.79 | 62.0622
69 | 18.21.2.1 |  |  |  | 18% |  | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | Each | 4 | 97.75 | 0.18 | 82.84 | 331.36 | 59.6448
70 | 18.46.3 |  |  |  | 18% |  | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | Each | 2 | 439.25 | 0.18 | 372.25 | 744.5 | 134.01
71 | 18.48 |  |  |  | 18% |  | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | Per Litre | 500 | 11 | 0.18 | 9.32 | 4660 | 838.8
72 | 18.51.1 |  |  |  | 18% |  | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | Each | 2 | 798.95 | 0.18 | 677.08 | 1354.16 | 243.7488
73 | 18.52.1 |  |  |  | 18% |  | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | Each | 4 | 670.45 | 0.18 | 568.18 | 2272.72 | 409.0896
74 | 19.1.1 |  |  |  | 18% |  | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :100 mm diameter | Metre | 30 | 443.6 | 0.18 | 375.93 | 11277.9 | 2030.022
75 | 19.2.1 |  |  |  | 18% |  | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 100 mm diameter S.W. pipe | Metre | 30 | 964.75 | 0.18 | 817.58 | 24527.4 | 4414.932
76 | 19.7.1.1 |  |  |  | 18% |  | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : 19.7.1 Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : 19.7.1.1 With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 2 | 12770.55 | 0.18 | 10822.5 | 21645 | 3896.1
77 | 19.4.1.1 |  |  |  | 18% |  | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 19.4.1 100x100 mm size P type 19.4.1.1 With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 2 | 2707.65 | 0.18 | 2294.62 | 4589.24 | 826.0632
78 | 19.32.1 |  |  |  | 18% |  | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. 19.32.1 With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | Each | 1 | 26861.9 | 0.18 | 22764.32 | 22764.32 | 4097.5776
79 | 21.1.1.2 |  |  |  | 18% |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 110 | 530.9 | 0.18 | 449.92 | 49491.2 | 8908.416
80 | 21.1.2.2 |  |  |  | 18% |  | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | Kg | 69 | 634.45 | 0.18 | 537.67 | 37099.23 | 6677.8614
81 | 21.3.1 |  |  |  | 18% |  | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm | Sqm | 28 | 1176.8 | 0.18 | 997.29 | 27924.12 | 5026.3416
82 | 26.27.1 |  |  |  | 18% |  | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance ? 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.6 sqm ) | Sqm | 96 | 2333.6 | 0.18 | 1977.63 | 189852.48 | 34173.4464
[7 empty] | TOTAL FOR SCHEDULE ITEMS -CIVIL | [5 empty] | 8882804.98 | 1598904.8964
| DSR 2022 | [5 empty] | SCHEDULE ITEMS - ELECTRICAL
1 | 1.1 |  |  |  | 18% |  | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
2 | 1.10.1 |  |  |  | 18% |  | Group A | Point | 40 | 1015 | 0.12 | 906.25 | 36250 | 6525
3 | 1.10.2 |  |  |  | 18% |  | Group B | Point | 12 | 1182 | 0.12 | 1055.36 | 12664.32 | 2279.5776
4 | 1.10.3 |  |  |  | 18% |  | Group C | Point | 10 | 1467 | 0.12 | 1309.82 | 13098.2 | 2357.676
5 | 1.7.2 |  |  |  | 18% |  | Wiring for circuit/submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor single core cable in surface/receseed steel conduit as required 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | Meter | 250 | 369 | 0.12 | 329.46 | 82365 | 14825.7
6 | 1.24.1 |  |  |  | 18% |  | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | Each | 50 | 103 | 0.12 | 91.96 | 4598 | 827.64
7 | 1.33 |  |  |  | 18% |  | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | Each | 10 | 87 | 0.12 | 77.68 | 776.8 | 139.824
8 | 2.18 |  |  |  | 18% |  | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | Each | 10 | 1621 | 0.12 | 1447.32 | 14473.2 | 2605.176
9 | 5.6 |  |  |  | 18% |  | Earthing with copper earth plate 600mm X 600mmX 3mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required | Set | 1 | 13838 | 0.12 | 12355.36 | 12355.36 | 2223.9648
[7 empty] | TOTAL FOR SCHEDULE ITEMS - ELECTRICAL | [5 empty] | 176580.88 | 31784.5584
Total of Schedule (CIVIL and E& M) Items as per DSR excluding Rebate | [12 empty] | 9059385.86 | 1630689.4548
03% escalation over DSR schdeule civil items as per circular no DG/Cost Index/10 | [12 empty] | 266484.1494 | 47967.1469
Total of Schedule (CIVIL and E& M) Items as per DSR after considering 03% escalation over DSR sch civil items, but excluding Rebate | [12 empty] | 9325870.0094 | 1678656.6017
Percentage (%) above/below +/- on DSR 2023 Rates incl escalation excluding GST mentioned above (to be quoted by Bidder) | [13 empty] | 0
Add Amount above/below +/- on the amount for DSR Items as per quoted percentage
Total of Schedule I excluding GST considering offered % Rebate
Total GST
As the %variation w.r.t total DSR Amount cell left Blank the bid is considered as Non-responsive
0

## Schedule-II
Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
Schedule-II : Non-Scheduled Items
Bidder’s Name |  |  | 0 | [5 empty] | To:
Address : |  |  | 0 | [5 empty] | Contract Services
|  |  | 0 | [5 empty] | Power Grid Corporation of India Ltd.,
|  |  | 0 | [5 empty] | Southern Region Transmission system -I
Kavadiguda Main Raod, Secunderabad - 500080
Sl. No. | Service Number | SAC Code | Whether SAC in column ‘2’ is confirmed. If not indicate applicable the SAC # | Rate of GST applicable ( in %) | Whether rate of GST in column ‘6’ is confirmed. If not indicate applicable rate of GST # | Description (Non Schedule Items) | Unit | Quantity | Unit Rate without GST | Total Amount | GST | Remarks |  |  | 20
1 | 2 | 2 | 3 | 3 | 4 | 5 | 6 | 7 | 8 | 9= 8 x 7 | 11 = Appl GST% of 9 |  |  |  | 20
A | [5 empty] | NON-SCHEDULE ITEMS: CIVIL
1 | NS-1 |  |  | 18% |  | Forming groove of uniform size from 12x12mm and upto 25x15mm in plastered surface as per approved pattern using wooden battens, nailed to the under layer including removal of wooden battens, repairs to the edges of plaster panel and finishing the groove complete as per specifications and direction of Engineer-in-Charge. | Rmt | 344 |  | 0 | 0 |  | TRUE | FALSE
2 | NS-2 |  |  | 18% |  | Providing & fixing chicken wire mesh 24 gauge and 20 mesh at junctions of RCC and masonry walls including fixing in position, scaffolding etc. complete as directed by Engineer-in-charge. | Sqm | 14 |  | 0 | 0
3 | NS-3 |  |  | 18% |  | Diluting and injecting chemical emulsion (excluding cost of chemical) for PRE- CONSTRUCTIONAL anti-termite treatment and creating a continuous chemical barrier under and alround the column pits, wall trenches, top surface of plinth, junction of wall and floor, along the external perimeter of building, expansion joints, over the top surface of consolidated earth before laying flooring concrete on which apron is to be laid, surroundings of pipes and conduits etc. complete as per specification and directions of Engineer-in-charge. The rate for supplying chemical shall be paid seperately under relevant item. (plinth area of the building shall be measured for payment). | Sqm | 515 |  | 0 | 0
4 | NS-4 |  |  | 18% |  | Supply, providing and fixing welded steel wire fabric of required width having rectangular mesh (approx. 50x25mm size) including cost of mesh, wastages, transportation, taxes, fixing mesh to MS angle frame by tack welding, fitting the finished frame work in position to RCC columns by fastner bolts/welding etc. complete as per drawing and instructions of Engineer-in-charge. (Payment for structural steel like MS Angle/Tees/Flats etc. shall be paid separately under relevant item). | Kg | 690 |  | 0 | 0
5 | NS-5 |  |  | 18% |  | Providing and fixing UPVC waste and vent pipes in floors and wall faces confirming to IS: 13592 ring fit type-B including jointing with seal ring etc, complete 110mm dia: | Mtr | 15 |  | 0 | 0
|  |  |  | 18% |  | Providing and fixing the following SWR UPVC moulded fittings confirming to IS 14735 including cost and conveyance of all materials and labour charges etc, complete as per the direction of Enginee-in-charge.
6 | NS-6 |  |  | 18% |  | Vent cowl 110mm dia | No | 1 |  | 0 | 0
7 | NS-7 |  |  | 18% |  | PVC floor or Nahani trap 100X75 mm without cover | No | 4 |  | 0 | 0
8 | NS-8 |  |  | 18% |  | Providing and fixing of Thermocol sheet of 20mm thickness in expansion joint including transportation,cutting,fixing as directed by Engineer-In-Charge | Sqm | 6 |  | 0 | 0
9 | NS-9 |  |  | 18% |  | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Clerestory windows & other Frames/Chowkhat comprising of virgin PVC polymer,calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives and fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws and resistance to spread of flame of with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. Frame Size 65 X 100 mm Note: For WPC solid door/window frames, minus 5 mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Make-Qute/HDHMR Doors-NCL/Ecoste/Ecocell/Greenpannel/DEC Industries/Jamex or equivalant specification. | Metre | 8.55 |  | 0 | 0
10 | NS-10 |  |  | 18% |  | Providing and fixing factory made minimum 28 mm thick single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size and design/pattern comprising of virgin polymer, calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives and resistance to spread of flame of with property of being termite/borer proof, water/moisture proof and fire retardant of approved brand and fixing with stainless steel butt hinges 4 nos of size 100x58x1.9 mm with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. Make-Qute/HDHMR Doors-NCL/Ecoste/Ecocell/Greenpannel/DEC Industries/Jamex or equivalant specification. | Sqm | 4 |  | 0 | 0
[6 empty] | TOTAL FOR NON-SCHEDULE ITEMS: CIVIL |  |  |  | 0 | 0
B | [5 empty] | NON-SCHEDULE ITEMS:ELECTRICAL
1 | NSE-1 |  |  | 18% |  | Flood lamps fitting with LED bulb 80W | Each | 8 |  | 0 | 0
2 | NSE-2 |  |  | 18% |  | Ceiling fans 1200mm | Each | 5 |  | 0 | 0
3 | NSE-3 |  |  | 18% |  | Industrial exaust fan 450mm | Each | 12 |  | 0 | 0
4 | NSE-4 |  |  | 18% |  | LED tube lights 18W | Each | 25 |  | 0 | 0
5 | NSE-5 |  |  | 18% |  | 5 stepped Electronic fan regulator - Modular type ( 2module) | Each | 5 |  | 0 | 0
6 | NSE-6 |  |  | 18% |  | Supply and laying of 3.5C x 35 Sq.mm, Aluminium condutor, XLPE, wire armoured cabledirect in ground as per IS1255 including excavation, sand cushioning, Bricks, protective covering, backfilling cable mettalic route markers at every 50m length and at every turning, at every road crossing and termination at both ends including all accessories like glands, lugs etc. | Mtrs | 150 |  | 0 | 0
7 | NSE-7 |  |  | 18% |  | Supply & installation of Copper wire (10SWG) for earthing | Kg | 25 |  | 0 | 0
|  |  |  | 18% |  | Supply and fixing of following size GI metal box ( concealed) along with modular base, cover plates suitable for modular switches of follwing sizes
8 | NSE-8 |  |  | 18% |  | 6 module | Nos | 6 |  | 0 | 0
9 | NSE-9 |  |  | 18% |  | 8 module | Nos | 6 |  | 0 | 0
10 | NSE-10 |  |  | 18% |  | Distribution Board: Supply, Installation and commissioning pre-wired, factory fabricated, distribution board of steel sheet for 415v AC system, with double door arrangement, IP-52 protected duly poweder coated paint, with thinned copper bus bars of suitable size,RCCB/MCBs of Type-C,10kA short circuit rating, with following configuration(concealed type) 1. 63A four pole( 3phase and neutral) RCCB, 30mA-1No 2. Bus Bars for 3-phases, Neutral and Earthing. 3. 32A-SPMCBs- 3 4. 16A, SPMCBs-10 5. 6A, SPMCBs - 5 6. Red Yellow Blue indicating lamps for each phase (connected at the output of RCCB) | Nos | 1 |  | 0 | 0
[6 empty] | TOTAL FOR NON-SCHEDULE ITEMS: (Electrical) |  |  |  | 0 | 0
[6 empty] | Total of Non-Schedule Items- Civil and E&M (Schedule - II) | [6 empty] | False
As all the line items are Left Blank the bid is considered as Non-responsive
Sheet OK

## Schedule-III-Summary
Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
(GRAND SUMMARY)
Bidder’s Name and Address (Sole Bidder) : |  | To:
Name : | 0 | Contract Services
Address : | 0 | Power Grid Corporation of India Ltd.,
| 0 | Southern Region Transmission system -I
| 0 | Kavadiguda Main Raod,
Secunderabad - 500080
Sl. No. | Description |  | Total Price (INR)
1.1 | TOTAL SCHEDULE NO. I
Supply & Installation Charges- Schedule Civil & Electrical Items for Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
1.2 | TOTAL SCHEDULE NO. II
Supply & Installation Charges- Non-Schedule Civil & Electrical Items for Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
I | Total of Service/Installation Charge (ITEMS TAB: Item 01 INSTALLATION FOR DCB (INR) : SRM ATB for BID PRICE SUMMARY Statement ) |  | Non-responsive Bid
II | GST
GST on Schedule-I
GST on Schedule-II
| Total GST for BID PRICE SUMMARY Statement ) |  | Non-responsive Bid
III | GRAND TOTAL |  | Non-responsive Bid
Date : | 0 | Printed Name : | 0
Place : | 0 | Designation : | 0

## Bid Form
Specification No: Ref: SR-I/C&M/WC-4193/2025/RFx-5002004478 (SR1/T/W-CIVIL/DOM/B00/25/06877) |  |  |  | Bid Form 2nd Envelope
BID FORM (Second Envelope)
Bid Proposal Ref. No.
Date :
To:
Contract Services
Power Grid Corporation of India Ltd.,
Southern Region Transmission System-I
Name of Contract : |  | Construction of Closed and Semi Closed store building at 765/400 kV Anathpuram pooling station
Dear Ladies and/or Gentlemen,
1 | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. Non-responsive Bid /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. |  |  |  | In continuation of First Envelope of our Bid, we hereby submit the Second Envelope of the Bid, both of which shall be read together and in conjunction with each other, and shall be construed as an integral part of our Bid. Accordingly, we the undersigned, offer to undertake the above-named package in full conformity with the said Bidding Documents for the sum of Rs. | /- only or such other sums as may be determined in accordance with the terms and conditions of the Bidding Documents. | Non-responsive Bid
The above amounts are in accordance with the price schedules attached herewith and are made part of this bid.
2 | Price Schedules
2.1 | In line with the requirements of the Bidding documents, we enclose herewith the following Price Schedules, duly filled - in as per your proforma:
| Sch-1 | Schedules Items as per DSR 2021 excluding GST
| Sch-2 | Non-Scheduled Items
| Sch-3 | Grand Summary
2.2 | We are aware that the Price Schedules do not generally give a full description of the Work to be performed under each item and we shall be deemed to have read the Technical Specifications and other sections of the Bidding Documents and Drawings to ascertain the full scope of Work included in each item while filling-in the rates and prices. We agree that the entered rates and prices shall be deemed to include for the full scope as aforesaid, including overheads and profit.
2.3 | We declare that as specified in Clause 4.6, ITB, Vol.-IA of the Bidding Documents, the prices of all the Services to be supplied under this contract shall be FIRM and doesnot subject to any price adjustment as per relevant clauses in bidding document.
2.4 | We understand that in the price schedules, where there are errors between the total of the amounts given under the column for the price Breakdown and the amount given under the Total Price, the former shall prevail and the latter will be corrected accordingly. We further understand that where there are discrepancies between amounts stated in figures and amounts stated in words, the amount stated in words shall prevail. Similarly, any discrepancy in the total bid price and that of the summation of Schedule price (price indicated in a Schedule indicating the total of that schedule), the total bid price shall be corrected to reflect the actual summation of the Schedule prices.
3 | We confirm that except as otherwise specifically provided our Bid Prices in this Second Envelope include all taxes, duties, levies and charges as may be assessed on us/our Associate (applicable for Foreign Bidder), our Sub-Contractor/Sub-Vendor or their employees by all municipal, state or national government authorities in connection with the Facilities, in and outside of India.
3.1 | 100% of applicable Taxes and Duties i.e GST , which are payable by the Employer under the Contract, shall be reimbursed by the Employer on production of satisfactory documentary evidence by the Contractor in accordance with the provisions of the Bidding Documents.
3.2 | We further understand that notwithstanding 3.0 above, in case of award on us, you shall also bear and pay/reimburse to us, GST applicable on Installation Services specified in Schedule No. I & II of the Price Schedule in this Second Envelope, by the Indian Laws.
3.3 | We confirm that we have also registered/we shall also get registered in the GST Network with a GSTIN, in all the states where the project is located and the states from which we shall make our supply of goods.
4 | # (For Joint Venture only) We, the partners of Joint Venture submitting this bid, do agree and confirm that in case of Award of Contract on the Joint Venture, we shall be jointly and severally liable and responsible for the execution of the Contract in accordance with Contract terms and conditions.
5 | We, hereby, declare that only the persons or firms interested in this proposal as principals are named here and that no other persons or firms other than those mentioned herein have any interest in this proposal or in the Contract to be entered into, if the award is made on us, that this proposal is made without any connection with any other person, firm or party likewise submitting a proposal is in all respects for and in good faith, without collusion or fraud.
Thanking you, we remain,
Yours faithfully,
For and on behalf of
Date : | 0 |  | Printed Name : | 0
Place : | 0 |  | Designation : | 0
Please provide additional information of the Bidder
Business Address :
Country of Incorporation :
State/Province to be indicated :
Name of Principal Officer :
Address of Principal Officer :
Note: Bidders may note that no prescribed proforma has been enclosed for Attachment 2 : Power of Attorney. Bidders may use their own proforma for furnishing the required information with the bid.
* * *