**स्पीड पोस्ट/फैक्स**

#### सन्दर्भ संख्या/Ref: ODP/BB/C&M-3575/OT-24/RFx No. 5002003243/23-24/Clar-III/

#### दिनांक/Date: 30.04.2024

**प्रति (On Individual Basis)**

**......................................................**

**.......................................................**

विषय/SUB: “ ओपीटीसीएल को कंसल्टेंसी सेवाओं के तहत पावरग्रिड द्वारा ओपीटीसीएल स्टैम्स (स्टेट ट्रांसमिशन एसेट मैनेजमेंट सिस्टम) परियोजना के लिए एक नियंत्रण केंद्र भवन का निर्माण |/ Construction of a Control Centre Building for OPTCL STAMS (State Transmission Asset Management System) Project by POWERGRID under Consultancy Services to OPTCL”- Clarification-III.

**निविदा संदर्भ सं./NIT Ref. No. ODP/BB/C&M-3575/OT-24/RFx No. 5002003243/23-24 dated 23.01.2024**

महोदय/Dear Sir,

1. **इसका सन्दर्भ उपर्युक्त विषय से है।** /This has reference to above.
2. Some of the bidders have sought some queries regarding Technical Specifications. In this regard please find the clarifications as mentioned below:

|  |  |  |
| --- | --- | --- |
| **Sl. No.** | **Query raised by Bidder (s)** | **POWERGRID's Clarification** |
| 1 | As per electrical SLD sent by you on 25/04/2024 on the portal, the incoming cable of 11 KV RMU is 3 core x 300 sq.mm 33 KV XLPE, which is a mis-match combination of cable and RMU capacity. Please confirm the correct size of cable. | **In the referred drawing there is a typo error. The cable voltage rating should have been 11 KV instead of 33 KV. In the BOQ for Electrical works, the cable rating has been mentioned as 11 KV and same may be followed.** |

1. यह आपके जानकारी हेतु तथा बोलियां प्रस्तुत करने के लिए है।/This is for information and submission of bids accordingly.

सधन्यवाद् |

भवदीय/Yours’ faithfully,

For and on behalf of POWERGRID



(योगेश कुशवाहा / Yogesh Kushwaha)

उप प्रबंधक (सं सा)/Dy. Manager (C&M)